Statement of Work

Provision of a Sealed CO2 Laser

for Advanced LIGO Thermal Compensation System

The following documents are incorporated into and made a part this purchase order.  Click on the following LIGO Document Control Center (DCC) links to access these documents or go on line to the LIGO Public DCC at https://dcc.ligo.org/ to access the DCC#.

- Terms:

| DCC # | Description |
| --- | --- |
| C080185-v1 | Laser Interferometer Gravitational Wave Observatory (LIGO) Commercial Items or Services Contract General Provisions California Institute of Technology “Institute”, LIGO Rev 11/12/08 |
| F0810001-v4 | Technical Direction Memorandum. |

- Quality Control:

| DCC # | Description |
| --- | --- |
| Q0900001-v4 | Advanced LIGO Supplier Quality Requirements, dated 2/10/10, describes following contractor/supplier QA/QC actions for this procurement: |
|  | 3.1 Pre-Award Inspection |  | 3.9 Discrepant Material Storage |  | 4.4 Calibration Program |
|  | 3.2 Supplier In Process Quality Control |  | 3.10 Quality Records |  | 4.5 Critical Interface |
|  | 3.3 In Process Inspection |  | 3.11 Drawing and Specification Change Control |  | 4.6 Cleanliness |
|  | 3.4 Pre-Ship Inspection |  | 3.12 Welding Certification |  | 4.7 Packaging |
|  | 3.5 Receiving Inspection |  | 3.13 End Item Data Package (including Certifications of Compliance) |  | 4.8 Storage |
|  | 3.6 Discrepant Material |  | 4.1 Design Verification |  | 4.9 Transport |
|  | 3.7 Material Review Action |  | 4.2 Raw Material Procurement |  | 4.10 Customs |
|  | 3.8 Material Review Actions at Contractor |  | 4.3 Traceability of Materials |  |  |

For the above list the Supplier shall: 1) Identify the corresponding sections/paragraphs in their existing QA/QC system 2) meet or exceed the design requirements contained in the attached engineering documents for each area called out.

- End Item Data Package:

At the time of delivery of the device(s), the Supplier shall also provide the following data, as a minimum:

- Installation, operation and performance check/verification instructions

- Pre-shipment test results (see Specification Document E1000065-v2).

- Engineering drawings of mechanical, electrical and optical interface(s).

- Engineering & procurement  specifications for required interface equipment (such as connectors and adapters).

- Mass properties (including center of mass and mass moments of inertia).

- Principal construction materials of housings and interfaces.

- Unique serial number for each device.

- Warranted lifetime of operation.

- References for contacting past customers utilizing similar devices.

- Access to any operational and performance data for similar devices delivered in the past.

- Qualitative and quantitative description(s) of anticipated failure mechanism(s).

- Included Documents:

The documents cited below must be considered by respondents.

| DCC # | Description |
| --- | --- |
| E1000065-v4 | TCS Laser Specification |

- Scope:

This RFQ is for the provision of a stable and reliable CW laser source emitting at least 50W at a wavelength of 10.6 m in a circular, well polarized and high quality mode. Specification Document (E1000065-v3) enumerates detailed requirements for the device.

- Quantity Required:

One laser source is required immediately. A priced option for eight additional units shall be furnished, valid for 90 days.

- Delivery Requirements:

The deliveries are FOB at these destinations, i.e. the contractor has responsibility for shipping title and control of goods until they are delivered and the transportation has been completed. The contractor selects the carrier and is responsible for the risk of transportation and for filing claims for loss or damage.

Shipping Location:

These items will be shipped to three locations:

LIGO Project

California Institute of Technology
Attn: Phil Willems
MC 18-34

1201 E. California Blvd. 
	Pasadena, CA 91125

LIGO Hanford Observatory (LHO)
Attn: Cheryl Vorvick

LIGO Hanford Observatory

127124 North Route 10

Richland, WA 99354

LIGO Livingston Observatory (LLO)
Attn: Chris Guido 
19100 LIGO Lane 
Livingston, LA 70754

Shipping Containers:

The contractor is responsible for providing shipping containers and transportation which protects these parts from damage from the transportation environment (weather, handling, accidents, etc.).  Mating edges of parts should be especially protected from damage during shipping.

- Delivery Schedule:

| Quantity | Purpose | Early | Late | Location |
| --- | --- | --- | --- | --- |
| 1 | First article for evaluation & system integration test | 4/15/10 | 5/31/10 | Caltech |
| 4 | Production (on review: quoted option) | 10/1/10 | 5/15/11 | LIGO Hanford |
| 4 | Production (on review: quoted option) | 10/1/10 | 5/15/11 | LIGO Livingston |

- Manufacturing:

## Marking

Serial number, model and type (if applicable) and manufacturing date shall be marked in a visually prominent location.

# Text boxes

# LIGO LABORATORY

California Institute of Technology

1200 E. California Blvd.

Pasadena, CA  91125