LIGO Laboratory / LIGO Scientific Collaboration

LIGO-LIGO-T1000095-v1	LIGO	21st February 2010

Parameters and Predicted Mode Frequencies and Transfer Functions for the As-Built HLTS Prototype

Norna A Robertson

Distribution of this document:

LIGO Scientific Collaboration

This is an internal working note

of the LIGO Laboratory.

| California Institute of Technology LIGO Project – MS 18-34 1200 E. California Blvd. Pasadena, CA 91125 Phone (626) 395-2129 Fax (626) 304-9834 E-mail: info@ligo.caltech.edu | Massachusetts Institute of Technology LIGO Project – NW22-295 185 Albany St Cambridge, MA 02139 Phone (617) 253-4824 Fax (617) 253-7014 E-mail: info@ligo.mit.edu |
| --- | --- |
| LIGO Hanford Observatory P.O. Box 159 Richland WA 99352 Phone 509-372-8106 Fax 509-372-8137 | LIGO Livingston Observatory P.O. Box 940 Livingston, LA 70754 Phone 225-686-3100 Fax 225-686-7189 |

http://www.ligo.caltech.edu/

# Introduction

The purpose of this document is to serve as a record of the parameter set and the expected mode frequencies and transfer functions for the prototype HAM Large Triple Suspension (HLTS) under test at LLO February 2010.

# General Description of the HLTS

The HLTS is a triple pendulum with two stages of maraging steel blades. Refer to “HAM Small and Large Triple Suspensions - Preliminary Design”, T080187-00-R, for details of the design. Figure 1 shows two views of the prototype which has been assembled at LLO.

Figure 1. Prototype HLTS at LLO. Left – face on, right – side on.

# MATLAB model of the HLTS.

The MATLAB model for the HLTS with parameters as below can be found in T080310-v2. Version v1 at that link gives the model and parameters presented at the Preliminary Design Review. The notes on the DCC entry give information of the changes between the two models.

Units are in SI. Diagrams illustrating the physical dimensions and explanations of other notation used below are given in appendix A.

3.1 Parameter Set.

pend =

m1: 1.1910e+001

I1x: 1.2250e-001

I1y: 1.8130e-002

I1z: 1.2370e-001

m2: 1.2150e+001

I2x: 8.2070e-002

I2y: 1.9960e-002

I2z: 8.1900e-002

tr: 1.3250e-001

m3: 1.2090e+001

I3x: 1.2000e-001

I3y: 6.9900e-002

I3z: 7.0700e-002

l1: 2.0250e-001

l2: 2.0360e-001

l3: 2.5520e-001

nw1: 2

nw2: 4

nw3: 4

r1: 3.0500e-004

r2: 1.7000e-004

r3: 1.3450e-004

Y1: 2.1200e+011

Y2: 2.1200e+011

Y3: 2.1200e+011

l1b: 2.5000e-001

a1b: 6.5000e-002

h1b: 2.3000e-003

ufc1: 2.7000e+000

l2b: 1.2000e-001

a2b: 3.2000e-002

h2b: 1.3000e-003

ufc2: 3.1800e+000

su: 0

si: 3.0000e-002

sl: 5.0000e-003

n0: 7.7000e-002

n1: 1.3000e-001

n2: 7.0000e-002

n3: 1.3750e-001

n4: 1.4050e-001

n5: 1.4050e-001

stage2: 1

d0: 1.0000e-003

d1: 1.0000e-003

d2: 1.0000e-003

d3: 1.0000e-003

d4: 1.0000e-003

ribbon: 0

db: 0

g: 9.8100e+000

kc1: 1.7138e+003

kc2: 2.4253e+003

tl1: 1.9644e-001

tl2: 1.9409e-001

tl3: 2.5720e-001

l_suspoint_to_centreofoptic: 6.4773e-001

l_suspoint_to_bottomofoptic: 7.8023e-001

flex1: 2.7029e-003

flex2: 1.4016e-003

flex3: 1.3556e-003

flex3tr: 1.3556e-003

3.2 Mode Frequencies

In the MATLAB model the longitudinal and pitch modes, and transfer and roll modes, are coupled together. The modes which are more closely associated with longitudinal and transverse motion are italicised below although it should be noted that for longitudinal and pitch the first pair of modes are quite closely coupled and that for transverse/roll all the modes except the highest roll mode are quite closely coupled. This can also be seen in the transfer functions shown in section 3.3. All values in Hz.

longpitch1: [0. 668 0.760 1.58]

longpitch2: [2.33 2.86 4.14]

yaw: [0.986 2.25 3.34]

transroll1: [0.695 1.54 2.37]

transroll2: [2.83 4.70 44.2]

vertical: [1.32 4.53 28.2]

3.3. Transfer Functions

Transfer functions are shown in figures 2 to 7 inclusive for the six degrees of freedom. These are all transfer functions from force or torque acting on the top mass to motion at the top mass. Thes transfer functions can be measured using the BOSEMs. The damping has been turned down so that the modes can be clearly identified. Units are all in SI. The highest vertical and roll modes are very weakly coupled to the top mass and therefore are effectively not visible. The longitudinal direction is the laser beam direction.

Figure 2: Transfer function for longitudinal: force at top mass to long. displacement of top mass

Figure 3: Transfer function for pitch: torque at top mass to pitch of top mass

Figure 4: Transfer function for vertical: force at top mass to vertical displacement of top mass

Figure 5: Transfer function for yaw: torque at top mass to yaw of top mass

Figure 6: Transfer function for transverse: force at top mass to transverse displacement of top mass

Figure 7: Transfer function for roll: torque at top mass to roll of top mass

Appendix A.

Explanation of parameters listed in section 3 (other than those shown in the diagrams above).

m1, m2, m3: masses from top to bottom

Iix, Iiy, Iiz where i = 1,2,3 from top to bottom mass = moments of inertia as follows

Iix: moment of inertia (transverse roll)

Iiy: moment of inertia (longitudinal pitch)

Iiz: moment of inertia (yaw)

nwi = number of suspension wires at each stage from top to bottom

ri = wire radius from top to bottom

Yi = Young’s modulus of wire/fibre from top to bottom

l1b, a1b, h1b: length, width at root, thickness of top blades

ufc1: uncoupled frequency of top blade with mass immediately below it

l2b etc – same as above for lower blades

stage 2 = 1

If pend.stage2 is defined and non-zero, d0-d4 are interpreted as raw values, i.e., as actual wire breakoff vertical positions

tl1, tl2, tl3: centre to centre vertical separations at each stage -  from top suspension point to centre of top mass, centre of top mass to centre of intermediate mass, and centre of intermediate mass to centre of beamsplitter optic respectively

ribbon = 0: round wires/fibres are used (i.e not ribbons)

db = 0: no natural damping included

g: accel. due to gravity

kc1, kc2: blade stiffness (top and bottom respectively)

l_suspoint_to_centreofoptic: length from top suspension point to centre of topic = tl1+tl2+tl3

l_suspoint_to_bottomofoptic: length from top suspension point to bottom of optic

flex1, flex2, flex3: flexure length for wire (top to bottom respectively)

flextr – flexure length for ribbon in transverse/roll direction (same as flex3 if round fibre used)