## Sheet1
Pressure Contribution from Flag Hydrocarbons
40M Lab RGA Scan Results
Job # | B53105_DC | Description: |  | Diodes | Date: | 2005-05-31
|  |  | Oven Used: | B
AMU 41 | 1.2e-17 | amps | from RGA scan listing
AMU 43 | 1.1e-16 | amps | from RGA scan listing
AMU 53 | 2e-18 | amps | from RGA scan listing
AMU 55 | 1.7e-18 | amps | from RGA scan listing
AMU 57 | 2.4e-18 | amps | from RGA scan listing
Sum Flag H/C AMUs | 1.281e-16 | amps
Calib leak rate | 2e-08 | torr l/s | (Argon)
AMU 40 (w/leak open) | 4e-14 | amps
AMU 40 (background) | 7e-15 | amps
Calib leak contributes | 3.3e-14 | amps | = (w/leak open) - (background)
Flag H/C Outgassing | 7.7636e-11 | torr l/s | = (Sum Flag H/C AMUs) x (Calib leak rate)/(Calib leak contrib.)
Test item surf area |  | cm2
Normalized outgassing | #DIV/0! | torr l/s-cm2 |  | = Flag H/C Outgassing/Test item surf area
Full description: | 40 emitter & 40 Photo Diodes with vent holes
Pre-scan bake: | 120C for 48hrs.