## F51210
2010-05-12 | 2010 01:51:44 PM
Residual Gas Analyzer Software
Software Version | 3.005
Analog Scan Setup:
Data Points in Scan | 991
Units | Amps
Noise Floor | 1
CEM Status | ON
Points Per AMU | 10
Scan Start Mass | 1 | amu
Scan Stop Mass | 100 | amu
Focus Voltage | 90 | Volts
Ion Energy | LOW
Electron Energy | 70 | eV
CEM Voltage | 2205 | Volts
CEM Gain | 191
Sensitivity Factor | 0.00104
Filament Current | 1 | mAmps
|  |  | 2 | # entries < 0
|  |  | -1.05e-16 | minimum value
1 | 3.07e-16 |  | 1.4218e-11 | sum (A)
1.1 | 5.76e-17 |  | 1.8642e-07 | approx. total outgas rate (torr-liter/sec)
1.2 | 5.37e-16
1.3 | 4.26e-15
1.4 | 2.16e-12
1.5 | 3.71e-12
1.6 | 3e-12
1.7 | 1.92e-12
1.8 | 2.89e-13
1.9 | 7.97e-15
2 | 2.11e-15
2.1 | 7.46e-16
2.2 | 3.65e-16
2.3 | 1e-16
2.4 | 1.2e-16
2.5 | 4.52e-16
2.6 | 4.76e-16
2.7 | 3.31e-16
2.8 | 1.36e-16
2.9 | 1.92e-16
3 | 1.92e-16
3.1 | 5.82e-16
3.2 | 2.49e-15
3.3 | 3.7e-15
3.4 | 6.12e-15
3.5 | 5.1e-15
3.6 | 7.13e-15
3.7 | 4.45e-15
3.8 | 2.06e-15
3.9 | 9.82e-16
4 | 7.27e-16
4.1 | 5.56e-16
4.2 | 3.57e-16
4.3 | 1.71e-16
4.4 | 1.9e-16
4.5 | 2.9e-16
4.6 | 2.97e-16
4.7 | 2.75e-16
4.8 | 1.48e-16
4.9 | 2.17e-16
5 | 3.39e-16
5.1 | 2.73e-16
5.2 | 2.18e-16
5.3 | 2.54e-16
5.4 | 3.83e-16
5.5 | 3.97e-16
5.6 | 2.69e-16
5.7 | 2.07e-16
5.8 | 2.69e-16
5.9 | 2.97e-16
6 | 9.63e-17
6.1 | 1.99e-16
6.2 | 2.86e-16
6.3 | 1.18e-16
6.4 | 2.21e-16
6.5 | 1.83e-16
6.6 | 1.64e-16
6.7 | 2.15e-16
6.8 | 2.77e-16
6.9 | 1.57e-16
7 | 1.55e-16
7.1 | 1.43e-16
7.2 | 3.88e-16
7.3 | 7.79e-16
7.4 | 6.5e-16
7.5 | 3.5e-16
7.6 | 8.58e-16
7.7 | 1.01e-15
7.8 | 6.41e-16
7.9 | 3.66e-16
8 | 9.37e-17
8.1 | 2.3e-16
8.2 | 3.8e-16
8.3 | 4.53e-16
8.4 | 2.64e-16
8.5 | 4.93e-16
8.6 | 4.26e-16
8.7 | 4.18e-16
8.8 | 2.35e-16
8.9 | 2.93e-16
9 | 3.41e-16
9.1 | 2.72e-16
9.2 | 4e-16
9.3 | 3.44e-16
9.4 | 2.9e-16
9.5 | 3.05e-16
9.6 | 3.8e-16
9.7 | 3.74e-16
9.8 | 3.78e-16
9.9 | 2.6e-16
10 | 2.94e-16
10.1 | 3.63e-16
10.2 | 4.15e-16
10.3 | 1.55e-16
10.4 | 2.34e-16
10.5 | 3.03e-16
10.6 | 1.07e-16
10.7 | 1.73e-16
10.8 | 1.77e-16
10.9 | 3.28e-16
11 | 3.55e-16
11.1 | 5.21e-16
11.2 | 1.32e-15
11.3 | 4.48e-15
11.4 | 8.69e-15
11.5 | 1.05e-14
11.6 | 7.25e-15
11.7 | 5.03e-15
11.8 | 3.34e-15
11.9 | 1.59e-15
12 | 7.92e-16
12.1 | 4.58e-16
12.2 | 4.22e-16
12.3 | 3.88e-16
12.4 | 3.54e-16
12.5 | 3.76e-16
12.6 | 8.07e-16
12.7 | 8.27e-16
12.8 | 3.72e-15
12.9 | 1.5e-15
13 | 8.68e-16
13.1 | 6.72e-16
13.2 | 2.53e-15
13.3 | 1.13e-14
13.4 | 2.98e-14
13.5 | 2.82e-14
13.6 | 2.52e-14
13.7 | 2.4e-14
13.8 | 1.28e-14
13.9 | 4.03e-15
14 | 1.39e-15
14.1 | 6.15e-16
14.2 | 6.27e-16
14.3 | 2.84e-15
14.4 | 2.73e-15
14.5 | 2.07e-15
14.6 | 2.37e-15
14.7 | 1.3e-15
14.8 | 9.63e-16
14.9 | 6.7e-16
15 | 2.89e-16
15.1 | 6.24e-16
15.2 | 2.03e-15
15.3 | 8.31e-15
15.4 | 1.21e-14
15.5 | 1.2e-14
15.6 | 1.86e-14
15.7 | 1.2e-14
15.8 | 6.84e-15
15.9 | 2.61e-15
16 | 1.01e-15
16.1 | 8.47e-16
16.2 | 1.37e-15
16.3 | 3.81e-15
16.4 | 1.05e-14
16.5 | 1.31e-14
16.6 | 1.75e-14
16.7 | 1.38e-14
16.8 | 8.65e-15
16.9 | 4.13e-15
17 | 1.59e-15
17.1 | 1.15e-15
17.2 | 2.42e-15
17.3 | 2.01e-14
17.4 | 5.74e-14
17.5 | 6.38e-14
17.6 | 5.82e-14
17.7 | 4.61e-14
17.8 | 3.65e-14
17.9 | 9.08e-15
18 | 2.7e-15
18.1 | 1.36e-15
18.2 | 7.19e-16
18.3 | 1.53e-15
18.4 | 2.84e-15
18.5 | 3.9e-15
18.6 | 3.47e-15
18.7 | 2.56e-15
18.8 | 1.6e-15
18.9 | 1.08e-15
19 | 5.21e-16
19.1 | 2.18e-16
19.2 | 2.32e-16
19.3 | 3.66e-16
19.4 | 4.22e-16
19.5 | 4.47e-16
19.6 | 4.68e-16
19.7 | 5.02e-16
19.8 | 5.83e-16
19.9 | 4.07e-16
20 | 2.26e-16
20.1 | 3.88e-16
20.2 | 2.61e-16
20.3 | 1.98e-16
20.4 | 2.72e-16
20.5 | 1.58e-16
20.6 | 3.71e-16
20.7 | 3.68e-16
20.8 | 3.95e-16
20.9 | 9.79e-16
21 | 7.02e-16
21.1 | 4.06e-16
21.2 | 4.1e-16
21.3 | 4.37e-16
21.4 | 2.32e-16
21.5 | 3.19e-16
21.6 | 7.2e-16
21.7 | 5.31e-16
21.8 | 5.13e-16
21.9 | 2.76e-16
22 | 2.85e-16
22.1 | 2.63e-16
22.2 | 1.28e-16
22.3 | 2.84e-16
22.4 | 1.96e-16
22.5 | 3.51e-16
22.6 | 2.54e-16
22.7 | 3.15e-16
22.8 | 2.92e-16
22.9 | 1.51e-16
23 | 3.73e-16
23.1 | 3.28e-16
23.2 | 2.25e-16
23.3 | 1.59e-16
23.4 | 2.4e-16
23.5 | 5.16e-16
23.6 | 3.44e-16
23.7 | 4.39e-16
23.8 | 2.23e-16
23.9 | 1.26e-16
24 | 2.65e-16
24.1 | 1.97e-16
24.2 | 2.54e-16
24.3 | 2.15e-16
24.4 | 5.66e-16
24.5 | 5.01e-16
24.6 | 3.52e-16
24.7 | 2.36e-16
24.8 | 6.17e-16
24.9 | 4.75e-16
25 | 5.17e-16
25.1 | 2.96e-16
25.2 | 2.24e-16
25.3 | 2.96e-16
25.4 | 3.65e-16
25.5 | 3.78e-16
25.6 | 4.21e-16
25.7 | 5.18e-16
25.8 | 4.95e-16
25.9 | 4.91e-16
26 | 3.65e-16
26.1 | 2.1e-16
26.2 | 2.87e-16
26.3 | 9.43e-16
26.4 | 6.51e-16
26.5 | 6.1e-16
26.6 | 6.47e-16
26.7 | 7.03e-16
26.8 | 1.12e-15
26.9 | 1.59e-15
27 | 1.66e-15
27.1 | 2.8e-15
27.2 | 6.8e-15
27.3 | 1.54e-14
27.4 | 9.59e-14
27.5 | 2.71e-13
27.6 | 3.77e-13
27.7 | 3.96e-13
27.8 | 3.08e-13
27.9 | 1.94e-13
28 | 2.07e-14
28.1 | 3.44e-15
28.2 | 1.21e-15
28.3 | 6.75e-16
28.4 | 3.88e-16
28.5 | 1.26e-15
28.6 | 2.42e-15
28.7 | 2.98e-15
28.8 | 3.58e-15
28.9 | 2.81e-15
29 | 1.17e-15
29.1 | 7.35e-16
29.2 | 5.03e-16
29.3 | 2.45e-16
29.4 | 2.87e-16
29.5 | 8.51e-16
29.6 | 1.23e-15
29.7 | 8e-16
29.8 | 8.76e-16
29.9 | 1.21e-15
30 | 8.14e-16
30.1 | 7.01e-16
30.2 | 4.74e-16
30.3 | 3.73e-16
30.4 | 1.52e-16
30.5 | 3.48e-16
30.6 | 4.51e-16
30.7 | 3.63e-16
30.8 | 2.7e-16
30.9 | 3.32e-16
31 | 2.57e-16
31.1 | 1.88e-16
31.2 | 2.55e-16
31.3 | 3.47e-16
31.4 | 1.07e-15
31.5 | 5.89e-15
31.6 | 1.76e-14
31.7 | 2.53e-14
31.8 | 2.72e-14
31.9 | 2.18e-14
32 | 7.94e-15
32.1 | 2.54e-15
32.2 | 9.16e-16
32.3 | 4.8e-16
32.4 | 3.58e-16
32.5 | 3.87e-16
32.6 | 4.07e-16
32.7 | 1.89e-16
32.8 | 3.41e-16
32.9 | 3.36e-16
33 | 3.48e-16
33.1 | 2.45e-16
33.2 | 2.17e-16
33.3 | 3.13e-16
33.4 | 3.58e-16
33.5 | 2.19e-16
33.6 | 2.86e-16
33.7 | 3.58e-16
33.8 | 5.35e-16
33.9 | 3.47e-16
34 | 2.47e-16
34.1 | 1.87e-16
34.2 | 2.65e-16
34.3 | 3.88e-16
34.4 | 2.92e-16
34.5 | 2.23e-16
34.6 | 1.2e-16
34.7 | 3.87e-16
34.8 | 4.42e-16
34.9 | 2.25e-16
35 | 1.74e-16
35.1 | 2.44e-16
35.2 | 1.81e-16
35.3 | 2.55e-16
35.4 | 2.98e-16
35.5 | 2.87e-16
35.6 | 1.46e-16
35.7 | 3.15e-16
35.8 | 3.32e-16
35.9 | 3.77e-16
36 | 3.37e-16
36.1 | 3.92e-16
36.2 | 3.9e-16
36.3 | 1.6e-16
36.4 | 2.49e-16
36.5 | 4.1e-16
36.6 | 3.59e-16
36.7 | 3.15e-16
36.8 | 2.67e-16
36.9 | 2.88e-16
37 | 3.54e-16
37.1 | 2.59e-16
37.2 | 1.49e-16
37.3 | 2.56e-16
37.4 | 2.55e-16
37.5 | 3.14e-16
37.6 | 6.3e-16
37.7 | 1.12e-15
37.8 | 5.39e-16
37.9 | 4.99e-16
38 | 3.59e-16
38.1 | 3.11e-16
38.2 | 2.27e-16
38.3 | 2.69e-16
38.4 | 2.82e-16
38.5 | 4.42e-16
38.6 | 3.05e-16
38.7 | 3.16e-16
38.8 | 5.29e-16
38.9 | 3.8e-16
39 | 4.98e-16
39.1 | 3.46e-16
39.2 | 3.56e-16
39.3 | 2.8e-16
39.4 | 4.54e-16
39.5 | 3.66e-16
39.6 | 5.99e-16
39.7 | 6.7e-16
39.8 | 1.23e-15
39.9 | 1.58e-15
40 | 1.12e-15
40.1 | 3.99e-16
40.2 | 2.87e-16
40.3 | 3.93e-16
40.4 | 4.41e-16
40.5 | 2.79e-16
40.6 | 4.01e-16
40.7 | 3.11e-16
40.8 | 4.31e-16
40.9 | 4.21e-16
41 | 1.5e-16
41.1 | 2.65e-16
41.2 | 3.53e-16 | 3.53e-16 | 41
41.3 | 2.1e-16
41.4 | 3.54e-16
41.5 | 2.94e-16
41.6 | 3.08e-16
41.7 | 3.25e-16
41.8 | 3.09e-16
41.9 | 4.83e-16
42 | 5.11e-16
42.1 | 5.11e-16
42.2 | 3.99e-16
42.3 | 3.23e-16
42.4 | 2.91e-16
42.5 | 2.63e-16
42.6 | 4.54e-16
42.7 | 3.52e-16
42.8 | 2.03e-16
42.9 | 1.59e-16
43 | 5.43e-16
43.1 | 1.24e-15
43.2 | 1.48e-15 | 1.48e-15 | 43
43.3 | 3.05e-15
43.4 | 3.07e-15
43.5 | 2.49e-15
43.6 | 3.98e-15
43.7 | 3.1e-14
43.8 | 5.72e-14
43.9 | 8.04e-14
44 | 7.44e-14
44.1 | 3.13e-14
44.2 | 5.9e-15
44.3 | 2.11e-15
44.4 | 8.59e-16
44.5 | 6.26e-16
44.6 | 4.26e-16
44.7 | 5.28e-16
44.8 | 4.17e-16
44.9 | 1.21e-15
45 | 1.1e-15
45.1 | 7.02e-16
45.2 | 4.38e-16
45.3 | 1.65e-16
45.4 | 4.34e-16
45.5 | 1.87e-16
45.6 | 3.91e-16
45.7 | 4.72e-16
45.8 | 6.86e-16
45.9 | 8.05e-16
46 | 1.05e-15
46.1 | 5.41e-16
46.2 | 4.01e-16
46.3 | 2.92e-16
46.4 | 3.68e-16
46.5 | 3.47e-16
46.6 | 2.9e-16
46.7 | 2e-16
46.8 | 3.2e-16
46.9 | 2.92e-16
47 | 3.88e-16
47.1 | 2.93e-16
47.2 | 2.39e-16
47.3 | 3.63e-16
47.4 | 4.03e-16
47.5 | 3.14e-16
47.6 | 1.23e-16
47.7 | 1.16e-15
47.8 | 8.56e-16
47.9 | 7.25e-16
48 | 6.23e-16
48.1 | 6.02e-16
48.2 | 4.76e-16
48.3 | 4.69e-16
48.4 | 2.2e-16
48.5 | 3.39e-16
48.6 | 3.41e-16
48.7 | 3.76e-16
48.8 | 2.66e-16
48.9 | 2.1e-16
49 | 1.96e-16
49.1 | 2.65e-16
49.2 | 3.44e-16
49.3 | 3.95e-16
49.4 | 2.1e-16
49.5 | 3.09e-16
49.6 | 2.69e-16
49.7 | 4.45e-16
49.8 | 1.41e-16
49.9 | 1.13e-16
50 | 3.38e-16
50.1 | 5.42e-16
50.2 | 3.77e-16
50.3 | 2.62e-16
50.4 | 2.71e-16
50.5 | 2.39e-16
50.6 | 1.97e-16
50.7 | 3.24e-16
50.8 | 2.05e-16
50.9 | 2.06e-16
51 | 3.25e-16
51.1 | 3.25e-16
51.2 | 1.21e-16
51.3 | 1.94e-16
51.4 | 2.62e-16
51.5 | 3.93e-16
51.6 | 4.74e-16
51.7 | 2.43e-16
51.8 | 2.94e-16
51.9 | 1.77e-16
52 | 4.08e-16
52.1 | 4.61e-16
52.2 | 3.28e-16
52.3 | 2.91e-16
52.4 | 3.24e-16
52.5 | 3.94e-16
52.6 | 2.91e-16
52.7 | 2.8e-16
52.8 | 1.77e-16
52.9 | 4.03e-16
53 | 2.02e-16
53.1 | 2.88e-16
53.2 | 3.03e-16 | 3.03e-16 | 53
53.3 | 2.15e-16
53.4 | 3.91e-16
53.5 | 3.15e-16
53.6 | 1.88e-16
53.7 | 2.05e-16
53.8 | 3.09e-16
53.9 | 3.86e-16
54 | 2.72e-16
54.1 | 3.14e-16
54.2 | 2.34e-16
54.3 | 2.98e-16
54.4 | 3.01e-16
54.5 | 1.96e-16
54.6 | 3.37e-16
54.7 | 4.07e-16
54.8 | 4.41e-16
54.9 | 3.03e-16
55 | 3.6e-16
55.1 | 2.41e-16
55.2 | 4.39e-16 | 4.39e-16 | 55
55.3 | 4.03e-16
55.4 | 2.26e-16
55.5 | 2.54e-16
55.6 | 2.98e-16
55.7 | 3.11e-16
55.8 | 2.83e-16
55.9 | 1.92e-16
56 | 2.25e-16
56.1 | 3.32e-16
56.2 | 4.43e-16
56.3 | 1.97e-16
56.4 | 1.17e-16
56.5 | 2.02e-16
56.6 | 3.92e-16
56.7 | 4.06e-16
56.8 | 1.96e-16
56.9 | 2.31e-16
57 | 3.31e-16
57.1 | 3.43e-16
57.2 | 3.72e-16 | 3.72e-16 | 57
57.3 | 2.85e-16
57.4 | 1.61e-16
57.5 | 2.04e-16
57.6 | 4.03e-16
57.7 | 3.64e-16
57.8 | 2.26e-16
57.9 | 1.84e-16
58 | 3.05e-16
58.1 | 2.62e-16
58.2 | 2.75e-16
58.3 | 2.97e-16
58.4 | 2.18e-16
58.5 | 3.26e-16
58.6 | 2.08e-16
58.7 | 6.23e-17
58.8 | 3.66e-16
58.9 | 3.75e-16
59 | 2.42e-16
59.1 | 2.93e-16
59.2 | 7.17e-17
59.3 | 2.97e-16
59.4 | 3.55e-16
59.5 | 4.07e-16
59.6 | 2.27e-16
59.7 | 2.25e-16
59.8 | 3.16e-16
59.9 | 3.96e-16
60 | 4.37e-16
60.1 | 2.17e-16
60.2 | 3.72e-16
60.3 | 3.52e-16
60.4 | 3.8e-16
60.5 | 3.36e-16
60.6 | 2.8e-16
60.7 | 3.41e-16
60.8 | 4.07e-16
60.9 | 3.93e-16
61 | 2.3e-16
61.1 | 3.5e-16
61.2 | 2.28e-16
61.3 | 3.83e-16
61.4 | 4.17e-16
61.5 | 3.93e-16
61.6 | 1.93e-16
61.7 | 3.34e-16
61.8 | 4.16e-16
61.9 | 4.29e-16
62 | 3.69e-16
62.1 | 3.3e-16
62.2 | 3.2e-16
62.3 | 4.23e-16
62.4 | 2.91e-16
62.5 | 3.1e-16
62.6 | 2.19e-16
62.7 | 3.17e-16
62.8 | 2.86e-16
62.9 | 1.07e-16
63 | 2.19e-16
63.1 | 1.4e-16
63.2 | 3.24e-16
63.3 | 2.86e-16
63.4 | 2.04e-17
63.5 | 3.03e-16
63.6 | 3.94e-16
63.7 | 2.96e-16
63.8 | 2.75e-16
63.9 | 3.43e-16
64 | 3.29e-16
64.1 | 3.66e-16
64.2 | 4.03e-16
64.3 | 3.95e-16
64.4 | 3.67e-16
64.5 | 4.06e-16
64.6 | 4.7e-16
64.7 | 4.35e-16
64.8 | 3.61e-16
64.9 | 2.02e-16
65 | 3.94e-16
65.1 | 2.71e-16
65.2 | 2.82e-16
65.3 | 2.51e-16
65.4 | 3.64e-16
65.5 | 3.52e-16
65.6 | 3.99e-16
65.7 | 3.06e-16
65.8 | 3.04e-15
65.9 | 1.69e-15
66 | 9.18e-16
66.1 | 7.54e-16
66.2 | 4.13e-16
66.3 | 3.45e-16
66.4 | 3.68e-16
66.5 | 3.45e-16
66.6 | 2.48e-16
66.7 | 2.88e-16
66.8 | 1.75e-16
66.9 | 4.22e-16
67 | 3.73e-16
67.1 | 3.08e-16
67.2 | 3.7e-16
67.3 | 2.87e-16
67.4 | 4.43e-16
67.5 | 2.52e-16
67.6 | 2.77e-16
67.7 | 1.25e-16
67.8 | 3.4e-16
67.9 | 4.63e-16
68 | 2.16e-16
68.1 | 8.43e-17
68.2 | 3.88e-16
68.3 | 2.85e-16
68.4 | 3.69e-16
68.5 | 3.03e-16
68.6 | 3.22e-16
68.7 | 3.62e-16
68.8 | 3.28e-16
68.9 | 4.38e-16
69 | 1.87e-16
69.1 | 3.4e-16
69.2 | 3.82e-16
69.3 | 3.83e-16
69.4 | 3.05e-16
69.5 | 2.3e-16
69.6 | 2.83e-16
69.7 | 4.2e-16
69.8 | 3.63e-16
69.9 | 2.33e-16
70 | 2.52e-16
70.1 | 3.19e-16
70.2 | 3.95e-16
70.3 | 2.95e-16
70.4 | 2.67e-16
70.5 | 2.8e-16
70.6 | 3.35e-16
70.7 | 3.26e-16
70.8 | 2.79e-16
70.9 | 2.41e-16
71 | 3.17e-16
71.1 | 4.73e-16
71.2 | 3.43e-16
71.3 | 2.17e-16
71.4 | 2.95e-16
71.5 | 2.97e-16
71.6 | 3.61e-16
71.7 | 2.04e-16
71.8 | 2.15e-16
71.9 | 2.96e-16
72 | 3.5e-16
72.1 | 2.48e-16
72.2 | 3.53e-16
72.3 | 2.73e-16
72.4 | 2.41e-16
72.5 | 2.45e-16
72.6 | 3.39e-16
72.7 | 2.51e-17
72.8 | 1.41e-16
72.9 | 2.86e-16
73 | 3.84e-16
73.1 | 3.56e-16
73.2 | 3.19e-16
73.3 | 4.49e-16
73.4 | 4.41e-16
73.5 | 4.08e-16
73.6 | 1.3e-15
73.7 | 7.43e-16
73.8 | 5.35e-16
73.9 | 6.04e-16
74 | 4.66e-16
74.1 | 3.19e-16
74.2 | 2.51e-16
74.3 | 2.29e-16
74.4 | 3.82e-16
74.5 | 4.07e-16
74.6 | 2.13e-16
74.7 | 4.1e-16
74.8 | 3.77e-16
74.9 | 3.66e-16
75 | 3.98e-16
75.1 | 3.81e-16
75.2 | 3.4e-16
75.3 | 3.35e-16
75.4 | 3.28e-16
75.5 | 1.64e-16
75.6 | 1.96e-16
75.7 | 3.09e-16
75.8 | 4.17e-16
75.9 | 3.44e-16
76 | 1.57e-16
76.1 | 2.27e-16
76.2 | 3.91e-16
76.3 | 4.03e-16
76.4 | 4.14e-16
76.5 | 3.32e-16
76.6 | 2.79e-16
76.7 | 2.75e-16
76.8 | 1.62e-16
76.9 | 1.82e-16
77 | 2.9e-16
77.1 | 4.65e-16
77.2 | 3.99e-16
77.3 | 3.08e-16
77.4 | 3.01e-16
77.5 | 3.23e-16
77.6 | 3.81e-16
77.7 | 3.59e-16
77.8 | 2.45e-16
77.9 | 2.37e-16
78 | 2.37e-16
78.1 | 3.74e-16
78.2 | 2.73e-16
78.3 | 3.19e-16
78.4 | 4.7e-16
78.5 | 3.81e-16
78.6 | 2.6e-16
78.7 | 2.68e-16
78.8 | 2.01e-16
78.9 | 2.33e-16
79 | 3.73e-16
79.1 | 3.53e-16
79.2 | 2.35e-16
79.3 | 2.62e-16
79.4 | 2.74e-16
79.5 | 3.67e-16
79.6 | 2.8e-16
79.7 | 1.99e-16
79.8 | 2.39e-16
79.9 | 3.35e-16
80 | 4.02e-16
80.1 | 2.45e-16
80.2 | 9.84e-17
80.3 | 2.02e-16
80.4 | 3.25e-16
80.5 | 4.02e-16
80.6 | 3.33e-16
80.7 | 5.6e-17
80.8 | 3.49e-16
80.9 | 3.47e-16
81 | 2.48e-16
81.1 | 1.62e-16
81.2 | 1.96e-16
81.3 | 1.98e-16
81.4 | 3.48e-16
81.5 | 2.02e-16
81.6 | 3.01e-16
81.7 | 4.01e-16
81.8 | 3.18e-16
81.9 | 3.94e-16
82 | 2.53e-16
82.1 | 2.42e-16
82.2 | 3.83e-16
82.3 | 3.33e-16
82.4 | 3.69e-16
82.5 | 2.28e-16
82.6 | 3.23e-16
82.7 | 3.53e-16
82.8 | 4.16e-16
82.9 | 2.96e-16
83 | 2.9e-16
83.1 | 2.44e-16
83.2 | 4.86e-16
83.3 | 1.06e-15
83.4 | 5.23e-16
83.5 | 2.99e-16
83.6 | 3.46e-16
83.7 | 5.01e-16
83.8 | 3.99e-16
83.9 | 2.94e-16
84 | 2.06e-16
84.1 | 3.77e-16
84.2 | 3.37e-16
84.3 | 2.43e-16
84.4 | 1.29e-16
84.5 | 8.17e-17
84.6 | 2.01e-16
84.7 | 2.61e-16
84.8 | 3.12e-16
84.9 | 2.95e-16
85 | 3.09e-16
85.1 | 3.13e-16
85.2 | 4.85e-16
85.3 | 1.29e-16
85.4 | 2.33e-16
85.5 | 1.75e-16
85.6 | 4.39e-16
85.7 | 1.91e-16
85.8 | 3.88e-16
85.9 | 1.01e-15
86 | 5.26e-16
86.1 | 4.52e-16
86.2 | 3.37e-16
86.3 | 2.72e-16
86.4 | 3.01e-16
86.5 | 2.73e-16
86.6 | 3.57e-16
86.7 | 2.3e-16
86.8 | 1.42e-16
86.9 | 3.12e-16
87 | 3.82e-16
87.1 | 3.25e-16
87.2 | 3.24e-16
87.3 | 2.73e-16
87.4 | 3.24e-16
87.5 | 4.64e-16
87.6 | 3.27e-16
87.7 | 1.94e-16
87.8 | 3.62e-16
87.9 | 3.03e-16
88 | 2.98e-16
88.1 | 2.58e-16
88.2 | 1.3e-16
88.3 | 5.25e-16
88.4 | 4.67e-16
88.5 | 3.33e-16
88.6 | 1.37e-16
88.7 | 1.93e-16
88.8 | 3.49e-16
88.9 | 4.21e-16
89 | 2.07e-16
89.1 | 1.59e-16
89.2 | 2.86e-16
89.3 | 3.29e-16
89.4 | 3.31e-16
89.5 | 2.62e-16
89.6 | 2.71e-16
89.7 | 2.73e-16
89.8 | 3.34e-16
89.9 | 2.57e-16
90 | 1.79e-16
90.1 | 3.62e-16
90.2 | 4.11e-16
90.3 | 2.83e-16
90.4 | 2.68e-16
90.5 | 1.52e-16
90.6 | 3.93e-16
90.7 | 4.96e-16
90.8 | 5.57e-16
90.9 | 2.93e-16
91 | 1.57e-16
91.1 | 3.84e-16
91.2 | 3.48e-16
91.3 | 1.7e-16
91.4 | 2.01e-16
91.5 | 3.84e-16
91.6 | 4.42e-16
91.7 | 4.17e-16
91.8 | 1.64e-16
91.9 | 1.21e-16
92 | 3.88e-16
92.1 | 3.17e-16
92.2 | 2.76e-16
92.3 | 2.05e-16
92.4 | 1.4e-16
92.5 | 1.85e-16
92.6 | 5.15e-16
92.7 | 8.63e-16
92.8 | 7.15e-16
92.9 | 5.6e-16
93 | 3.91e-16
93.1 | 3.99e-16
93.2 | 2.74e-16
93.3 | 2.88e-16
93.4 | 3.19e-16
93.5 | 2.02e-16
93.6 | 3.31e-16
93.7 | 4.82e-17
93.8 | 2.64e-16
93.9 | 3.74e-16
94 | 3.87e-16
94.1 | 3.07e-16
94.2 | 3.09e-16
94.3 | 5.04e-16
94.4 | 3.53e-16
94.5 | 3.47e-16
94.6 | 2.48e-16
94.7 | 4.23e-16
94.8 | 3.72e-16
94.9 | 4.06e-16
95 | 2.3e-16
95.1 | 2.15e-16
95.2 | 1.55e-16
95.3 | 4.4e-16
95.4 | 3.58e-16
95.5 | 2.72e-16
95.6 | -1.05e-16
95.7 | 3.57e-16
95.8 | 6.45e-16
95.9 | 3.1e-16
96 | 2.96e-16
96.1 | 1.97e-16
96.2 | 5.6e-17
96.3 | 4.55e-16
96.4 | 3.68e-16
96.5 | 8.27e-17
96.6 | 3.03e-16
96.7 | 3.04e-16
96.8 | 4.77e-16
96.9 | 2.78e-16
97 | 1.45e-16
97.1 | 1.59e-16
97.2 | 3.75e-16
97.3 | 1.62e-16
97.4 | 1.88e-16
97.5 | 2.91e-16
97.6 | 3.54e-16
97.7 | 4.9e-16
97.8 | 3.48e-16
97.9 | 2.85e-16
98 | -5.24e-19
98.1 | 6.09e-16
98.2 | 5.03e-16
98.3 | 3.39e-16
98.4 | 2.2e-16
98.5 | 1.71e-16
98.6 | 3.27e-16
98.7 | 4.82e-16
98.8 | 7.64e-17
98.9 | 3.72e-16
99 | 5.3e-16
99.1 | 2.31e-16
99.2 | 3.22e-16
99.3 | 2.39e-16
99.4 | 3.04e-16
99.5 | 3.59e-16
99.6 | 5.95e-16
99.7 | 3.85e-16
99.8 | 3.37e-16
99.9 | 2.9e-16
100 | 4.22e-16

## outgas
Pressure Contribution from Flag Hydrocarbons
40M Lab RGA Scan Results
Job #F51210 |  | Description: |  | Ferro PE RTU GC Gloss Blk RM108 Porcelain on 304 Stainless Steel
|  |  | Oven Used: | F |  |  | Date: | 2010-05-17
AMU 41 | 3.53e-16 | amps | from RGA scan listing
AMU 43 | 1.48e-15 | amps | from RGA scan listing
AMU 53 | 3.03e-16 | amps | from RGA scan listing
AMU 55 | 4.39e-16 | amps | from RGA scan listing
AMU 57 | 3.72e-16 | amps | from RGA scan listing
Sum Flag H/C AMUs | 2.947e-15 | amps
Calib leak rate | 2.36e-10 | torr l/s | (Argon)
AMU 40 (w/leak open) | 2.2e-14 | amps
AMU 40 (background) | 4e-15 | amps
Calib leak contributes | 1.8e-14 | amps | = (w/leak open) - (background)
Flag H/C Outgassing | 3.8638e-11 | torr l/s | = (Sum Flag H/C AMUs) x (Calib leak rate)/(Calib leak contrib.)
Test item surf area | 174193.2 | cm2
Normalized outgassing | 2.2181e-16 | torr l/s-cm2 |  | = Flag H/C Outgassing/Test item surf area
Hydrogen | 3.71e-12 | amps | AMU 2 |  | 2.7924e-13 | Torr-Liter/Sec/cm^2
Water (100h) |  |  |  |  | 6.8343e-15 | Torr-Liter/Sec |  | guess
Water (1000h) | 9.08e-15 | amps | AMU 18 |  | 6.8343e-16 | Torr-Liter/Sec
Air | 1.088e-13 | amps | 4 X AMU 32 |  | 8.1891e-15 | Torr-Liter/Sec
CO | 3.96e-13 | amps | AMU 28 |  | 2.9806e-14 | Torr-Liter/Sec
CO2 | 8.04e-14 | amps | AMU 44 |  | 6.0515e-15 | Torr-Liter/Sec
Full description: | 30 sheets of porcelainized stainless steel, each 15 inch x 30 inch, coated on both sides
Bake: | 200C for 48 hrs.