## Data
stage reading | Pixel location | Pixel location | Pixel location | Pixel location
(mm) |  |  |  | (avg of 3 readings) |  | Standard dev of 3 readings
3.273 | 435.78 | 435.68 | 436.08 | 435.8467 |  | 0.20817
6.219 | 425.96 | 425 | 426.19 | 425.7167 |  | 0.63122
9.816 | 411.13 | 411.43 | 410.77 | 411.11 |  | 0.33045
12.868 | 399.58 | 399.65 | 399.72 | 399.65 |  | 0.07
15.88 | 388.72 | 388.68 | 388.43 | 388.61 |  | 0.15716
18.544 | 378.49 | 378.39 | 378.66 | 378.5133 |  | 0.1365
20.158 | 372.43 | 372.54 | 372.45 | 372.4733 |  | 0.058595
22.711 | 363.03 | 362.98 | 362.5 | 362.8367 |  | 0.29263
24.857 | 355.11 | 354.87 | 354.79 | 354.9233 |  | 0.16653
26.675 | 347.83 | 347.96 | 347.83 | 347.8733 |  | 0.075056
28.608 | 340.57 | 340.52 | 340.66 | 340.5833 |  | 0.070946
30.391 | 333.95 | 333.85 | 333.68 | 333.8267 |  | 0.1365
32.734 | 324.57 | 324.68 | 325.09 | 324.78 |  | 0.27404
34.355 | 318.68 | 318.88 | 318.68 | 318.7467 |  | 0.11547
36.006 | 312.68 | 312.46 | 312.57 | 312.57 |  | 0.11
37.633 | 306.71 | 306.76 | 306.68 | 306.7167 |  | 0.040415
38.81 | 301.76 | 302.2 | 302.19 | 302.05 |  | 0.2512
40.034 | 297.27 | 297.41 | 297.33 | 297.3367 |  | 0.070238
42.099 | 289.69 | 289.87 | 289.61 | 289.7233 |  | 0.13317
44.379 | 280.89 | 281.16 | 280.93 | 280.9933 |  | 0.14572
46.875 | 271.73 | 271.76 | 271.83 | 271.7733 |  | 0.051316
48.456 | 265.43 | 265.84 | 265.73 | 265.6667 |  | 0.21221
50.469 | 258.22 | 258.21 | 258.23 | 258.22 |  | 0.01
52.272 | 251.21 | 250.96 | 251.51 | 251.2267 |  | 0.27538
54.562 | 242.74 | 242.74 | 242.79 | 242.7567 |  | 0.028868
56.583 | 235.05 | 235.03 | 235.43 | 235.17 |  | 0.22539
58.607 | 227.66 | 227 | 227.36 | 227.34 |  | 0.33045
60.786 | 219.21 | 219.33 | 219.22 | 219.2533 |  | 0.066583
62.437 | 212.83 | 213.04 | 212.96 | 212.9433 |  | 0.10599
63.299 | 209.53 | 209.79 | 209.78 | 209.7 |  | 0.14731
64.904 | 203.51 | 203.67 | 203.67 | 203.6167 |  | 0.092376
66.328 | 198.26 | 198.48 | 198.62 | 198.4533 |  | 0.18148
68.758 | 189.1 | 189.21 | 189.25 | 189.1867 |  | 0.077675
70.73 | 182.09 | 181.79 | 181.83 | 181.9033 |  | 0.16289
72.859 | 173.67 | 173.84 | 173.8 | 173.77 |  | 0.088882
74.729 | 166.98 | 166.74 | 166.77 | 166.83 |  | 0.13077
76.608 | 159.38 | 159.37 | 159.43 | 159.3933 |  | 0.032146
78.568 | 151.92 | 152.2 | 151.79 | 151.97 |  | 0.20952
80.333 | 145.66 | 145.14 | 145.94 | 145.58 |  | 0.40596
82.031 | 139.21 | 138.8 | 138.83 | 138.9467 |  | 0.22855
84.687 | 128.81 | 128.87 | 128.92 | 128.8667 |  | 0.055076
86.71 | 121.22 | 121.18 | 121.35 | 121.25 |  | 0.088882
88.573 | 114.42 | 113.75 | 114.11 | 114.0933 |  | 0.33531
90.675 | 106.37 | 106.38 | 106.55 | 106.4333 |  | 0.10116
92.509 | 99.36 | 99.4 | 99.53 | 99.43 |  | 0.088882
94.215 | 92.9 | 92.95 | 92.86 | 92.9033 |  | 0.045092
[5 empty] | Average Standard deviation | 0.15766
LIGO-T1000380-v1
A crosshair was mounted on a translation stage with an optical encoder. Three measurements of pixel location were taken at each stage setting. 90mm of the 150 mm aperture were covered, in the x direction only. The response is quite linear with a calculated slope of 0.2651 mm/pixel. Work by Tim Mcdonald 7-8-2010.
The calibrated instrument is the WYKO 6000, located in 39 Lauritsen. The instrument was in the max zoom position. Data were taken near the null fringe each time.