## Sheet1
Advanced LIGO
E1000363-v3
Table 2. HAM Large Triple Suspension (HLTS) Machined Parts Quantities
Item # | Part # | Rev. | Description | LLO Qty | LHO Qty | Total Qty | Inspection Criteria | Priority Level | Engrave/Bag and Tag
1 | D020601 | v2 | Blade Clamp (0.0 Degree), Upper Blade, Outside | 8 | 12 | 20 | Level 3 | Priority 1 | Engrave
2 | D020602 | v2 | Blade Clamp (0.0 Degree), Lower Blade, Inside | 16 | 24 | 40 | Level 3 | Priority 1 | Engrave
3 | D020605 | v3 | Main Section, Upper Mass | 4 | 6 | 10 | Level 1 | Priority 1 | Engrave
4 | D020607 | v3 | T-Piece, Upper Mass | 4 | 6 | 10 | Level 2 | Priority 2 | Engrave
5 | D020610 | v3 | Lower Clamp, Upper Wire, Inside | 12 | 20 | 32 | Level 3 | Priority 2 | Bag and Tag
6 | D020611 | v4 | Upper Clamp, Upper Wire, Inside | 12 | 20 | 32 | Level 3 | Priority 2 | Engrave
7 | D020622 | v3 | Blade Clamp (0.0 Degree), Upper Blade, Inside | 8 | 12 | 20 | Level 3 | Priority 1 | Engrave
8 | D020623 | v2 | Blade Clamp (0.0 Degree), Lower Blade, Outside | 16 | 24 | 40 | Level 3 | Priority 1 | Engrave
9 | D020624 | v3 | Lower Clamp, Upper Wire, Outside | 12 | 20 | 32 | Level 3 | Priority 2 | Bag and Tag
10 | D020652 | v2 | C-Clamp, Upper Mass | 12 | 20 | 32 | Level 4 | Priority 2 | Engrave
11 | D020653 | v2 | Screwdrive System | 16 | 24 | 40 | Level 4 | Priority 2 | Engrave
12 | D030021 | v2 | SHCS, 1/4-20 X 2.5 Long, Fully Threaded, Rounded End | 130 | 216 | 346 | Level 4 | Priority 2 | Bag and Tag
13 | D030023 | v3 | SHCS, 1/4-20 X 1 Long, Fully Threaded, Rounded End | 44 | 72 | 116 | Level 4 | Priority 2 | Bag and Tag
14 | D030139 | v2 | Roll Offset, T-Piece, Upper Mass | 4 | 6 | 10 | Level 2 | Priority 2 | Engrave
15 | D030148 | v2 | Lower Wire Breakoff, Intermediate Mass | 12 | 20 | 32 | Level 4 | Priority 2 | Engrave
16 | D030149 | v2 | Intermediate Wire Breakoff, Intermediate Mass | 24 | 40 | 64 | Level 4 | Priority 2 | Engrave
17 | D030155 | v2 | Center Offset, Intermediate Mass | 4 | 6 | 10 | Level 2 | Priority 2 | Engrave
18 | D030156 | v2 | Side Offset, Intermediate Mass | 8 | 12 | 20 | Level 4 | Priority 2 | Engrave
19 | D070309 | v2 | Top Blade Guard Riser | 16 | 24 | 40 | Level 4 | Priority 2 | Engrave
20 | D070310 | v2 | Top Blade Guard Bar | 8 | 12 | 20 | Level 4 | Priority 2 | Engrave
21 | D070321 | v2 | Earthquake Stop Bridge Crossbar | 16 | 24 | 40 | Level 4 | Priority 2 | Engrave
22 | D070322 | v2 | Earthquake Stop Bracket, Long | 30 | 48 | 78 | Level 4 | Priority 2 | Engrave
23 | D070327 | v2 | Base Plate, Rotational Adjuster | 8 | 12 | 20 | Level 4 | Priority 1 | Engrave
24 | D070328 | v2 | Rotating Plate, Rotational Adjuster | 8 | 12 | 20 | Level 4 | Priority 1 | Engrave
25 | D070329 | v2 | Pull Plate | 8 | 12 | 20 | Level 4 | Priority 2 | Engrave
26 | D070330 | v2 | Push Plate | 8 | 12 | 20 | Level 4 | Priority 2 | Engrave
27 | D070331 | v3 | Shim, 1mm, Upper Blade | 8 | 12 | 20 | Level 3 | Priority 1 | Engrave
28 | D070333 | v2 | Additional Mass Disk, 100g | 90 | 148 | 238 | Level 4 | Priority 3 | Engrave
29 | D070336 | v3 | Main Section, Intermediate Mass | 4 | 6 | 10 | Level 1 | Priority 1 | Engrave
30 | D070338 | v4 | Metal Bottom Mass | 4 | 6 | 10 | Level 2 | Priority 1 | Engrave
31 | D070341 | v3 | Upper Clamp, Upper Wire, Outside | 12 | 20 | 32 | Level 3 | Priority 2 | Bag and Tag
32 | D070394 | v3 | Upper Clamp, Intermediate Wire, Outside | 24 | 40 | 64 | Level 3 | Priority 2 | Bag and Tag
33 | D070405 | v3 | Lower Clamp, Intermediate Wire, Inside | 24 | 40 | 64 | Level 3 | Priority 2 | Bag and Tag
34 | D070406 | v3 | Lower Clamp, Intermediate Wire, Outside | 24 | 40 | 64 | Level 3 | Priority 2 | Bag and Tag
35 | D070438 | v4 | Clamp, Lower Loop Wire | 24 | 40 | 64 | Level 3 | Priority 2 | Bag and Tag
36 | D070449 | v2 | Coil Holder (Tablecloth) | 4 | 6 | 10 | Level 1 | Priority 2 | Engrave
37 | D070460 | v2 | Earthquake Stop Mount, Long | 36 | 60 | 96 | Level 4 | Priority 2 | Engrave
38 | D070585 | v4 | Upper Clamp, Intermediate Wire, Inside | 24 | 40 | 64 | Level 3 | Priority 2 | Engrave
39 | D080124 | v3 | Prism Breakoff, Lower Wire | 8 | 12 | 20 | Level 4 | Priority 1 | Engrave
40 | D080182 | v2 | Collar, Upper, 100g, Intermediate Mass | 2 | 4 | 6 | Level 2 | Priority 3 | Engrave
41 | D080183 | v2 | Collar, Lower, 100g, Intermediate Mass | 2 | 4 | 6 | Level 2 | Priority 3 | Engrave
42 | D080221 | v2 | Guard, Lower Blade | 8 | 12 | 20 | Level 4 | Priority 1 | Engrave
43 | D080223 | v2 | Collar, Upper, 300g, Intermediate Mass | 4 | 6 | 10 | Level 2 | Priority 3 | Engrave
44 | D080225 | v2 | Collar, Upper, 500g, Intermediate Mass | 4 | 6 | 10 | Level 2 | Priority 3 | Engrave
45 | D080227 | v2 | Collar, Upper, 700g, Intermediate Mass | 2 | 4 | 6 | Level 2 | Priority 3 | Engrave
46 | D080229 | v2 | Collar, Upper, 900g, Intermediate Mass | 2 | 4 | 6 | Level 2 | Priority 3 | Engrave
47 | D080232 | v2 | Collar, Lower, 300g, Intermediate Mass | 4 | 6 | 10 | Level 2 | Priority 3 | Engrave
48 | D080234 | v2 | Collar, Lower, 500g, Intermediate Mass | 4 | 6 | 10 | Level 2 | Priority 3 | Engrave
49 | D080236 | v2 | Collar, Lower, 700g, Intermediate Mass | 2 | 4 | 6 | Level 2 | Priority 3 | Engrave
50 | D080238 | v2 | Collar, Lower, 900g, Intermediate Mass | 2 | 4 | 6 | Level 2 | Priority 3 | Engrave
51 | D080724 | v3 | Mounting Cap, Earthquake Stop | 104 | 176 | 280 | Level 4 | Priority 3 | Bag and Tag
52 | D0900340 | v2 | Lower AOSEM Mounting Bracket, Bottom Mass | 8 | 12 | 20 | Level 4 | Priority 2 | Engrave
53 | D0900666 | v2 | Base Plate, Library of Clamps, Upper Blade | 2 | 4 | 6 | Level 2 | Priority 1 | Engrave
54 | D0900667 | v3 | Blade Clamp (0.5 Degree), Upper Blade, Inside | 4 | 8 | 12 | Level 3 | Priority 1 | Engrave
55 | D0900668 | v3 | Blade Clamp (1.0 Degree), Upper Blade, Inside | 4 | 8 | 12 | Level 3 | Priority 1 | Engrave
56 | D0900669 | v3 | Blade Clamp (1.5 Degree), Upper Blade, Inside | 4 | 8 | 12 | Level 3 | Priority 1 | Engrave
57 | D0900670 | v3 | Blade Clamp (2.0 Degree), Upper Blade, Inside | 4 | 8 | 12 | Level 3 | Priority 1 | Engrave
58 | D0900671 | v3 | Blade Clamp (2.5 Degree), Upper Blade, Inside | 4 | 8 | 12 | Level 3 | Priority 1 | Engrave
59 | D0900672 | v3 | Blade Clamp (3.0 Degree), Upper Blade, Inside | 4 | 8 | 12 | Level 3 | Priority 1 | Engrave
60 | D0900673 | v3 | Blade Clamp (3.5 Degree), Upper Blade, Inside | 4 | 8 | 12 | Level 3 | Priority 1 | Engrave
61 | D0900674 | v2 | Blade Clamp (0.5 Degree), Upper Blade, Outside | 4 | 8 | 12 | Level 3 | Priority 1 | Engrave
62 | D0900675 | v2 | Blade Clamp (1.0 Degree), Upper Blade, Outside | 4 | 8 | 12 | Level 3 | Priority 1 | Engrave
63 | D0900676 | v2 | Blade Clamp (1.5 Degree), Upper Blade, Outside | 4 | 8 | 12 | Level 3 | Priority 1 | Engrave
64 | D0900677 | v2 | Blade Clamp (2.0 Degree), Upper Blade, Outside | 4 | 8 | 12 | Level 3 | Priority 1 | Engrave
65 | D0900678 | v2 | Blade Clamp (2.5 Degree), Upper Blade, Outside | 4 | 8 | 12 | Level 3 | Priority 1 | Engrave
66 | D0900679 | v2 | Blade Clamp (3.0 Degree), Upper Blade, Outside | 4 | 8 | 12 | Level 3 | Priority 1 | Engrave
67 | D0900680 | v2 | Blade Clamp (3.5 Degree), Upper Blade, Outside | 4 | 8 | 12 | Level 3 | Priority 1 | Engrave
68 | D0900682 | v2 | Blade Clamp (0.5 Degree), Lower Blade, Inside | 8 | 16 | 24 | Level 3 | Priority 1 | Engrave
69 | D0900683 | v2 | Blade Clamp (1.0 Degree), Lower Blade, Inside | 8 | 16 | 24 | Level 3 | Priority 1 | Engrave
70 | D0900684 | v2 | Blade Clamp (1.5 Degree), Lower Blade, Inside | 8 | 16 | 24 | Level 3 | Priority 1 | Engrave
71 | D0900685 | v2 | Blade Clamp (2.0 Degree), Lower Blade, Inside | 8 | 16 | 24 | Level 3 | Priority 1 | Engrave
72 | D0900686 | v2 | Blade Clamp (2.5 Degree), Lower Blade, Inside | 8 | 16 | 24 | Level 3 | Priority 1 | Engrave
73 | D0900687 | v2 | Blade Clamp (3.0 Degree), Lower Blade, Inside | 8 | 16 | 24 | Level 3 | Priority 1 | Engrave
74 | D0900688 | v2 | Blade Clamp (3.5 Degree), Lower Blade, Inside | 8 | 16 | 24 | Level 3 | Priority 1 | Engrave
75 | D0900689 | v2 | Base Plate, Library of Clamps, Lower Blade | 2 | 4 | 6 | Level 2 | Priority 1 | Engrave
76 | D0900690 | v2 | Blade Clamp (0.5 Degree), Lower Blade, Outside | 8 | 16 | 24 | Level 3 | Priority 1 | Engrave
77 | D0900691 | v2 | Blade Clamp (1.0 Degree), Lower Blade, Outside | 8 | 16 | 24 | Level 3 | Priority 1 | Engrave
78 | D0900692 | v2 | Blade Clamp (1.5 Degree), Lower Blade, Outside | 8 | 16 | 24 | Level 3 | Priority 1 | Engrave
79 | D0900693 | v2 | Blade Clamp (2.0 Degree), Lower Blade, Outside | 8 | 16 | 24 | Level 3 | Priority 1 | Engrave
80 | D0900694 | v2 | Blade Clamp (2.5 Degree), Lower Blade, Outside | 8 | 16 | 24 | Level 3 | Priority 1 | Engrave
81 | D0900695 | v2 | Blade Clamp (3.0 Degree), Lower Blade, Outside | 8 | 16 | 24 | Level 3 | Priority 1 | Engrave
82 | D0900696 | v2 | Blade Clamp (3.5 Degree), Lower Blade, Outside | 8 | 16 | 24 | Level 3 | Priority 1 | Engrave
83 | D0900990 | v2 | SHCS, #8-32 X 1.5 Long, Fully Threaded, Rounded End | 24 | 36 | 60 | Level 4 | Priority 2 | Bag and Tag
84 | D0900999 | v3 | SHCS, 1/4-20 X 2 Long, Fully Threaded, Rounded End | 16 | 24 | 40 | Level 4 | Priority 2 | Bag and Tag
85 | D0901241 | v2 | Earthquake Stop Mount, Bridge | 32 | 48 | 80 | Level 4 | Priority 2 | Engrave
86 | D0901286 | v2 | Secondary Metal Prism Breakoff | 30 | 50 | 80 | Level 3 | Priority 1 | Bag and Tag
87 | D0901405 | v2 | Additional Mass Disk, 50g | 22 | 36 | 58 | Level 4 | Priority 3 | Engrave
88 | D0901492 | v2 | AOSEM Alignment Bracket, Intermediate Mass | 16 | 24 | 40 | Level 4 | Priority 2 | Engrave
89 | D0901493 | v2 | Lower AOSEM Mounting Bracket, Intermediate Mass | 8 | 12 | 20 | Level 4 | Priority 2 | Engrave
90 | D0901549 | v2 | AOSEM Alignment Bracket, Bottom Mass | 16 | 24 | 40 | Level 4 | Priority 2 | Engrave
91 | D0901550 | v2 | Upper AOSEM Mounting Bracket, Bottom Mass | 8 | 12 | 20 | Level 4 | Priority 2 | Engrave
92 | D0902025 | v2 | Upper AOSEM Mounting Bracket, Intermediate Mass | 8 | 12 | 20 | Level 4 | Priority 2 | Engrave
93 | D0902431 | v1 | Magnet Standoff | 24 | 40 | 64 | Level 4 | Priority 1 | Bag and Tag
94 | D1000659 | v1 | AOSEM Adjuster Shaft | 64 | 96 | 160 | Level 4 | Priority 3 | Bag and Tag
95 | D1001229 | v1 | Additional Mass Disk, 20g | 64 | 104 | 168 | Level 4 | Priority 3 | Engrave
96 | D1001230 | v1 | Additional Mass Disk, 10g | 22 | 36 | 58 | Level 4 | Priority 3 | Engrave
97 | D1001534 | v1 | Magnetic Plug | 84 | 126 | 210 | Level 3 | Priority 3 | Bag and Tag
98 | D1001669 | v1 | Pitch Offset, T-Piece, Upper Mass | 4 | 6 | 10 | Level 2 | Priority 2 | Engrave
99 | D1001697 | v1 | Magnet Retainer, BOSEM | 42 | 63 | 105 | Level 3 | Priority 3 | Engrave
100 | D1001698 | v1 | Magnet Flag, BOSEM | 54 | 90 | 144 | Level 3 | Priority 3 | Engrave (if possible)
101 | D1001699 | v1 | Magnet Holder, BOSEM, HLTS | 36 | 54 | 90 | Level 4 | Priority 2 | Engrave
102 | D1001914 | v2 | Shim, 2mm, Upper Blade | 8 | 12 | 20 | Level 3 | Priority 1 | Engrave
103 | D1002134 | v1 | Mounting Bracket Lateral Section | 16 | 24 | 40 | Level 4 | Priority 2 | Engrave
104 | D1002135 | v1 | Mounting Bracket Longitudinal Section | 16 | 24 | 40 | Level 4 | Priority 2 | Engrave
105 | D1002823 | v1 | Earthquake Stop Bracket Back, Bottom Mass, Lower | 8 | 12 | 20 | Level 4 | Priority 2 | Engrave
106 | D1002824 | v1 | Earthquake Stop Bracket Side, Bottom Mass, Lower | 8 | 12 | 20 | Level 4 | Priority 2 | Engrave
107 | D1002858 | v1 | AOSEM Adjustment Collar (Reverse Side) | 32 | 48 | 80 | Level 4 | Priority 3 | Bag and Tag
108 | D1002865 | v1 | Adjustment Nut, Thick, AOSEM Alignment Assembly | 77 | 115 | 192 | Level 4 | Priority 3 | Bag and Tag
109 | D1002973 | v2 | Shim, 0.5mm, Upper Blade | 8 | 12 | 20 | Level 3 | Priority 1 | Engrave
110 | D1003104 | v1 | Shim, 1.5mm, Upper Blade | 8 | 12 | 20 | Level 3 | Priority 1 | Engrave
111 | D1003105 | v1 | Shim, 0.0mm, Upper Blade | 8 | 12 | 20 | Level 3 | Priority 1 | Engrave
112 | D970075 | v2 | Dumbbell Standoff | 24 | 40 | 64 | Level 4 | Priority 1 | Bag and Tag
[5 empty] | Total Quantity: | 4835
Inpection Criteria:
| Level 1 |  | Inspect all parts and provide inspection reports by serial number prior to shipment to LIGO.
| Level 2 |  | Inspect all parts and provide inspection reports on first and last items only prior to shipment to LIGO.
| Level 3 |  | Inspect first and last parts and random 30% and provide inspection reports by serial number prior to shipment to LIGO.
| Level 4 |  | Inspect first and last parts and random 10% and provide inspection reports on first and last items only prior to shipment to LIGO.
Production Priority Level:
| Priority 1 |  | Parts to be produced first
| Priority 2 |  | Parts to be produced second
| Priority 3 |  | Parts to be produced third