LIGO Laboratory / LIGO Scientific Collaboration

LIGO-D051299-00-D	LIGO	24th of February 2006

Bill Of Materials for the production of the HAM optical bench Seismic Attenuation System prototype

Gianni Gennaro,   Riccardo DeSalvo

Distribution of this document:

LIGO Science Collaboration

This is an internal working note

of the LIGO Project.

| California Institute of Technology LIGO Project – MS 18-34 1200 E. California Blvd. Pasadena, CA 91125 Phone (626) 395-2129 Fax (626) 304-9834 E-mail: info@ligo.caltech.edu | Massachusetts Institute of Technology LIGO Project – NW17-161 175 Albany St Cambridge, MA 02139 Phone (617) 253-4824 Fax (617) 253-7014 E-mail: info@ligo.mit.edu |
| --- | --- |
| LIGO Hanford Observatory P.O. Box 1970 Mail Stop S9-02 Richland WA 99352 Phone 509-372-8106 Fax 509-372-8137 | LIGO Livingston Observatory P.O. Box 940 Livingston, LA 70754 Phone 225-686-3100 Fax 225-686-7189 |

http://www.ligo.caltech.edu/

# List of drawings for the HAM-OPTICAL BENCH 					LIGO-D051100-01-D to D051165-01

HAM Seismic attenuator Assembly

| Drawing LIGO number | Drawing Type | Drawing sub-Title | Part # shown or drawn (in drawing sheet or assembly) [D051 dropped] |
| --- | --- | --- | --- |
| D051100-01 | Assembly | Section D-D | 1-1.1(114)-2(127)-3-3.1(117-206)-64-64.1-64.2-75(113)-gr.1(106)-gr.2(107)-gr.3-(105)gr.4(109)-gr.5(108)-gr.8(166) |
| D051101-00 | Assembly | Section A-A |  |
| D051102-00 | Assembly | Section C-C | 4(128)-gr.1(106)-gr.2(107)-gr.3(105)-gr.4(109)-gr.6(110)-gr.8(166) |
| D051103-00 | Assembly | Section E-E | 7-8-8.1-8.2-73-74(142)-gr.1(106)-gr.2(107)-gr.3(105)-gr.4(109)-gr.5(108)-gr.6(110) |
| D051104-00 | Assembly | Section B-B | gr.2(107)-gr.3(105)-gr.5(108) |
| D051105-00 | Assembly | LVDT-actuator gr.3 | 5-5.1-6(130)-65-68(129)-72(123)-gr.3.1(112)-gr.3.2(111) |
| D051106-00 | Assembly | Filter gr.1 | 9-77(121)-10(168)-11-12-19-20(124)-13-23-23.1-23.2(122)-22(168)14-15-18(125)-16-17(126)-21-24-26-27-28-72(123)-25(120)-77(121)-gr.9(167) |
| D051107-00 | Assembly | Inverted pendulum gr.2 | 29-30-66-67(135)-31-35-62-63(136)-32-33-71(138)-34-36-37-38-39-40-41(137)-94-95(154) |
| D051108-00 | Assembly | Slide gr.5 | 42-43-45-46-47-50-51(143)-44-48-49-52-76(139) |
| D051109-01 | Assembly | Motorized vertical spring gr.4 | 53-54-55-56-60-61(140)57-59-69-70(141)-76(139) |
| D051111-00 | Assembly | Actuator gr.3.2 | 124-129(134)-125-126-127-128(133) |
| D051112-00 | Assembly | LVDT gr.3.1 | 130-131-138-139-134-136(132)-132-133-135-137(131) |
| D051113-00 | Details | Tube suspension | 64-64.1-64.2-75(100) |
| D051114-01 | Details | Base | 1-1.1(100) |
| D051115-00 | Details | Base | 1.2-1.3(114) |
| D051116-00 | Details | Base | 1.4-1.5-1.6(114) |
| D051117-01 | Details | Table | 3-3.1(100) |
| D051118-00 | Details | Table | 3.2-3.5(117) |
| D051119-00 | Details | Table | 3.3-3.4(117) |
| Drawing LIGO number | Drawing Type | Drawing sub-Title | Part # shown or drawn (in drawing sheet or assembly) [D051 dropped] |
| D051120-00 | Details | Blade | 25-25.1-25.2-25.3(106) |
| D051121-00 | Details | Platform | 9-77(106) |
| D051122-01 | Details | Filter | 13-23-23.1-23.2(106) |
| D051123-00 | Details | Filter | 21-24-26-27-28-72(105-106) |
| D051124-00 | Details | Filter | 11-12-19-20(106) |
| D051125-00 | Details | Filter | 14-15-18(106) |
| D051126-00 | Details | Filter | 16-17(106) |
| D051127-01 | Details | Suspension filter | 2(100) |
| D051128-00 | Details | Filter’s plate | 4(102) |
| D051129-00 | Details | LVDT actuator | 65-68(105) |
| D051130-00 | Details | LVDT actuator | 5-5.1-6(105) |
| D051131-00 | Details | LVDT | 132-133-135-137(112) |
| D051132-00 | Details | LVDT | 130-131-134-136-136.1-138-139(112) |
| H-OPT-133-00 | Details | Actuator | 125-126-127-128(111) |
| D051134-00 | Details | Actuator | 124-129(111) |
| D051135-00 | Details | Inverted pendulum | 29-30-66-67(107) |
| D051136-00 | Details | Inverted pendulum | 31-35-62-63(107) |
| D051137-00 | Details | Inverted pendulum | 34-36-37-38-39-40-41(107) |
| D051138-00 | Details | Inverted pendulum | 32-33-71(107) |
| D051139-00 | Details | Slide | 44-48-49-52-76(108-109) |
| D051140-01 | Details | Motorized vertical spring | 53-54-55-56-60-61(109) |
| D051141-02 | Details | Motorized vertical spring | 57-59-69-70(109) |
| D051142-00 | Details | Mounting tools | 7-8-8.1-8.2-73-73.1-74(103) |
| D051143-01 | Details | Slide | 42-43-45-46-47-50-51(108) |
| D051144-00 | Assembly | Mounting blade tool | 78-80-81(145)-79-82-83-84-85-86(146)-87-88-89-90-91-92(147) |
| D051145-00 | Details | Mounting blade tool | 78-80-81(144) |
| D051146-00 | Details | Mounting blade tool | 79-82-83-84-85-86(144) |
| D051147-00 | Details | Mounting blade tool | 87-88-89-90-91-92(144) |
| D051148-00 | Details | Mounting top plate tool | 93-93.1 |
| D051149-00 | Assembly | Horizontal calibrator | 96-96.1-97-98-99(152)-100-101-102(153) |
| D051150-00 | Assembly | Horizontal calibrator |  |
| D051151-00 | Assembly | Horizontal calibrator |  |
| D051152-00 | Details | Horizontal calibrator | 96-96.1-97-99(149) |
| D051153-00 | Details | Assembly | 100-101-102(149-157) |
| D051154-00 | Details | Inverted pendulum | 94-95(107) |
| D051155-00 | Details | Horizontal calibrator | 98(149) |
| D051156-00 | Assembly | Vertical calibrator | gr.7 (157) |
| Drawing LIGO number | Drawing Type | Drawing sub-Title | Part # shown or drawn (in drawing sheet or assembly) [D051 dropped] |
| D051157-01 | Assembly | Large filter gr.7 | 102(153)-103(158)-104-109-111-112-114-117-120(160)-105-110-113-116(161)-106-107-115(163)-108-118(162)-119(159) |
| D051158-01 | Details | Large filter | 103(157) |
| D051159-00 | Details | Large filter | 119(157) |
| D051160-01 | Details | Large filter | 104-109-111-112-114-117-120(157) |
| D051161-00 | Details | Large filter | 105-110-113-116(157) |
| D051162-00 | Details | Large filter | 108-118(157) |
| D051163-00 | Details | Large filter | 106-107-115(157) |
| D051164-00 | Assembly | Filter’s test | 121-122-123(165) |
| D051165-00 | Details | Filter’s test | 121-122-123(164-176) |
| D051166-01 | Assembly | Magnetic damper gr.8 | 140-141-144-145(171)-142-143-146(172)-159-160-161-162(173) |
| D051167-00 | Assembly | Balance gr.9 | 10(168)-147-148-149-150-152-156-157-158(169)-151-153-154-155(170) |
| D051168-01 | Details | Blade central support | 10(106-167) |
| D051169-01 | Details | Balance | 147-148-149-150-152-156-157-158(167) |
| D051170-00 | Details | Balance | 151-153-154-155(167-183) |
| D051171-01 | Details | Magnetic damper | 140-141-144-145(166) |
| D051172-01 | Details | Magnetic damper | 142-143-146(166) |
| D051173-00 | Details | Magnetic damper | 159-160-161-162 (166) |
| D051174-00 | Details | Balance tool | 163-164-165(183) |
| D051175-00 | Details | Ballast | 166-167-168(176) |
| D051176-00 | Assembly | Filter’s test | 102(153)-121-122(165)-166(175)-169-171-173-186(177)-170(178)-172-174(179)-191(185) |
| D051177-00 | Details | Filter’s test | 169-171-173-186 (176) |
| D051178-00 | Assembly | Structure | 170.1-170.2-170.3-170.4(184) |
| D051179-00 | Details | Flats | 172-174 (176) |
| D051180-00 | Assembly | Large blade tool | 175-177-178-179(181)-176-180-182-189(185)-181-183-184-185-187-188-190(182) |
| D051181-00 | Details | Large blade tool | 175-177-178-179 (180) |
| D051182-00 | Details | Large blade tool | 181-183-184-185-187-188-190 (180) |
| D051183-00 | Assembly | Assembly drawing | 147-158(169)-154(170)-163-164-165(174) |
| D051184-00 | Details | Structure | 170.1-170.2-170.3-170.4(178) |
| Drawing LIGO number | Drawing Type | Drawing sub-Title | Part # shown or drawn (in drawing sheet or assembly) [D051 dropped] |
| D051185-00 | Details | Structure | 176-180-182-189(180)-191(176) |
| D051186-00 | Assembly | Front insertion filters |  |
| D051187-00 | Assembly | Lateral insertion filters | 192(200) |
| D051188-00 | Assembly | Front insertion bench | 193(200)-194-194.1(199)-216(205) |
| D051189-00 | Assembly | Lateral insertion bench |  |
| D051190-00 | Assembly | Filter’s complex on trolley | 195(197)-196-198-(196)-197(195)-199(191) |
| D051191-00 | Assembly | Mounting support | 199-199.2(198)-199.1(197) |
| D051192-00 | Assembly | Elevator | 200(204)-201-202(202)-203-205(203)-204-215(205) |
| D051193-00 | Assembly | Elevator | 206-207-208-209-210-211(202) |
| D051194-00 | Assembly | Elevator | 212(201)-213-214(203) |
| D051195-00 | Details | Trolley base | 197-197.1-197.2-197.3(190) |
| D051196-00 | Details | Trolley-vertical part | 196-198(190) |
| D051197-00 | Details | Mounting supports | 199.1(191)-195(190) |
| D051198-00 | Details | Mounting supports | 199-192.2(191) |
| D051199-00 | Details | Mounting supports | 194-194.1-194.2(188) |
| D051200-00 | Details | Guide beam | 192-192.1(187)-193(188) |
| D051201-00 | Details | Elevator | 212-212.1(194) |
| D051202-00 | Details | Elevator | 201-202(192)-206-207-208-209-210-211(193) |
| D051203-00 | Details | Elevator | 203-205(192)-213-214(194) |
| D051204-00 | Details | Body elevator | 200(192) |
| D051205-00 | Details | Elevator | 204-215(192)-216(188)) |
| D051206-00 | Details | Old table |  |
| D051207-00 | Details | Connection to table | 22.1-22.2-22.3-22.4(106)-217(208) |
| D051208-00 | Assembly | Motorized vertical spring | 57(141)-217(207) |
| D051209-00 | Details | Jig to drill old table | 218-219 |

# List of Production parts

For the LASTI HAM-SAS unit Assembly

Note The complete part number of a component has the format D0511xx-Rxx-Pxx-SNxx (example D051114-R01-P01-SN01) where D0511xx is the Drawing number in column 2  below, Rxx is the Revision number, Pxx is the part number of column 1 and SNxx is a serial number assigned to each produced part..

In the right column, the number of parts foreseen in original bid appears in parenthesis when changed.

| Part number | Detailed in drawing | Description | Shown in assembly number | Production pieces per unit |
| --- | --- | --- | --- | --- |
| 1 | D051114 | Base structure ass’y | D051100 | 0 (1) |
| 1.1 | D051114 | Base structure bottom plate | D051114 | 0(1) |
| 1.2 | D051115 | Base structure side | D051114 | 0(2) |
| 1.3 | D051115 | Base structure side | D051114 | 0(2) |
| 1.4 | D051116 | Base structure rib | D051114 | 0(2) |
| 1.5 | D051116 | Base structure rib | D051114 | 0(4) |
| 1.6 | D051116 | Base structure rib | D051114 | 0(4) |
| 2 | D051127 | Filter’s top plate | D051100 | 1 |
| 3 | D051117 | Optical table ass’y | D051100 | 0(1) |
| 3.1 | D051117 | Optical table bottom plate | D051100 | 1 |
| 3.2 | D051118 | Optical table side | D051117 | 2 |
| 3.3 | D051119 | Optical table rib | D051117 | 6 |
| 3.4 | D051119 | Optical table rib | D051117 | 6 |
| 3.5 | D051118 | Optical table side | D051117 | 2 |
| 4 | D051128 | Filter’s bottom plate | D051102 | 1 |
| 5 | D051130 | Sensor/actuator plate | D051105 | 4 |
| 5.1 | D051130 | Sensor/actuator bar | D051130 | 8 |
| 6 | D051130 | Sensor/actuator base | D051105 | 4 |
| Part number | Detailed in drawing | Description | Shown in assembly number | Production pieces per unit |
| 7 | D051142 | Wedge | D051103 | 8 |
| 8 | D051142 | Stiffener fastening | D051103 | 8 |
| 8.1 | D051142 | Fastening | D051103 | 8 |
| 8.2 | D051142 | Fastening | D051103 | 8 |
| 9 | D051121 | Filter main platform | D051106 | 4 |
| 10 | D051168 | Blade central support | D051106 | 4 |
| 11 | D051124 | Central screw | D051106 | 4 |
| 12 | D051124 | End-stop blade | D051106 | 4 |
| 13 | D051122 | End-stop column | D051106 | 16 |
| 14 | D051125 | LVDT coil | D051106 | 4[+1] |
| 15 | D051125 | Magnet yoke front | D051106 | 4 |
| 16 | D051126 | Magnet yoke back | D051106 | 4 |
| 17 | D051126 | LVDT/actuator coils | D051106 | 4[+1] |
| 18 | D051125 | Coil adjustment plate | D051106 | 4 |
| 19 | D051124 | Washer | D051106 | 4 |
| 20 | D051124 | Filter’s structural column | D051106 | 64(32) |
| 21 | D051123 | Blade clamp plate | D051106 | 32 |
| 22.1 | D051207 | Connection (new) table | D051106 | 0(2) |
| 22.2 | D051207 | Connection (new) table | D051106 | 0(2) |
| 22.3 | D051207 | Connection (exist.) table | D051106 | 2(0) |
| 22.4 | D051207 | Connection (exist.) table | D051106 | 2(0) |
| 23 | D051122 | Connection, nose (point) | D051106 | 1 |
| 23.1 | D051122 | Connection nose (flat) | D051106 | 2 |
| 23.2 | D051122 | Connection nose (line) | D051106 | 1 |
| 24 | D051123 | Tuning pusher | D051106 | 32 |
| Part number | Detailed in drawing | Description | Shown in assembly number | Production pieces per unit |
| 25 | D051120 | GAS blade (80 mm base) | D051106 | 32 |
| 25.1 | D051120 | GAS blade ¾ width | D051106 | 0(8) |
| 25.2 | D051120 | GAS blade ½ width | D051106 | 0(8) |
| 25.3 | D051120 | GAS blade ¼ width | D051106 | 0(8) |
| 26 | D051123 | Blade clamp | D051106 | 32 |
| 27 | D051123 | Guide left | D051106 | 32 |
| 28 | D051123 | Guide right | D051106 | 32 |
| 29 | D051135 | LIGO-I flex joint base | D051107 | 2 |
| 30 | D051135 | Main flex joint | D051107 | 4 |
| 31 | D051136 | LIGO-I safety tube extension | D051107 | 4 |
| 32 | D051138 | Safety tube | D051107 | 4 |
| 33 | D051138 | Maintenance locking screw | D051107 | 4 |
| 34 | D051137 | Flex joint connector | D051107 | 4 |
| 35 | D051136 | IP leg | D051107 | 4 |
| 36 | D051137 | Small flex joint | D051107 | 4 [+4 spares] |
| 37 | D051137 | Top leg disk | D051107 | 4 |
| 38 | D051137 | 1/2 cup retainer | D051107 | 4 |
| 39 | D051137 | Small flex joint base plate | D051107 | 4 |
| 40 | D051137 | 1/2 cups | D051107 | 8 pairs [+ 8 spares] |
| 41 | D051137 | Disk | D051107 | 4 |
| 42 | D051143 | Support | D051108 | 4 |
| 43 | D051143 | Hor. movement screw | D051108 | 4 |
| 44 | D051139 | Sled | D051108 | 4 |
| 45 | D051143 | Rod | D051108 | 8 |
| 46 | D051143 | Motor flange | D051108 | 4 |
| 47 | D051143 | Hor. movement nut | D051108 | 4 |
| Part number | Detailed in drawing | Description | Shown in assembly number | Production pieces per unit |
| 48 | D051139 | Spring clamp | D051108 | 8 |
| 49 | D051139 | Spring support | D051108 | 8 |
| 50 | D051143 | Central spring clamp | D051108 | 4 |
| 51 | D051143 | Central spring support | D051108 | 4 |
| 52 | D051139 | Bushing | D051108 | 8 |
| 53 | D051140 | Vert. movement screw | D051109 | 4 |
| 54 | D051140 | Vert. movement nut | D051109 | 4 |
| 55 | D051140 | Rod | D051109 | 4 |
| 56 | D051140 | Counter rotation | D051109 | 4 |
| 57 | D051141 | Spring clamp support | D051109 | 4 |
| 58 |  | (Suppressed) |  |  |
| 59 | D051141 | Spring clamp | D051109 | 4 |
| 60 | D051140 | Joint | D051109 | 4 |
| 61 | D051140 | Support plate | D051109 | 4 |
| 62 | D051136 | C. weight bell | D051107 | 2 |
| 63 | D051136 | C. weight | D051107 | 8 |
| 64 | D051113 | Support tube ass’y | D051100 | 0(2) |
| 64.1 | D051113 | Support tube endcap | D051100 | 0(4) |
| 64.2 | D051113 | Support bushing tube spools | D051100 | 0(22) |
| 65 | D051129 | LVDT/actuator LIGO-I spacer | D051105 | 4 |
| 66 | D051135 | Adv-LIGO extension spool | D051107 | 2 |
| 67 | D051135 | Flex joint base | D051107 | 2 |
| 68 | D051129 | LVDT/act. transport plate | D051105 | 8 |
| 69 | D051141 | Vert. spring clamp support | D051109 | 4 |
| 70 | D051141 | Spacer | D051109 | 8 |
| 71 | D051138 | Adv-LIGO flex joint base | D051107 | 2 |
| Part number | Detailed in drawing | Description | Shown in assembly number | Production pieces per unit |
| 72 | D051123 | Electrical connection bar | D051105 | 8 |
| 73 | D051142 | LIGO_I transport column | D051103 | 4 |
| 73.1 | D051142 | Adv. LIGO transport column | D051103 | 4 |
| 74 | D051142 | Transport bracket | D051103 | 4 |
| 75 | D051113 | Support tube | D051100 | 0(4) |
| 76 | D051139 | Hor/Vert.-vert. spring | D051108/9 | 12 [+88 spares] |
| 77 | D051121 | GAS F. Mounting tool | D051106 | 4 |
| 78 | D051145 | Support base | D051144 | 2 |
| 79 | D051146 | Tie rod | D051144 | 8 |
| 80 | D051145 | Curve-gauge | D051144 | 8 (4) |
| 81 | D051145 | Curve-gauge | D051144 | 4 (2) |
| 82 | D051146 | Spacer | D051144 | 16 (8) |
| 83 | D051146 | Clamp spacer | D051144 | 4 (2) |
| 84 | D051146 | Fork stop block | D051144 | 4 (2) |
| 85 | D051146 | Clamp blade | D051144 | 4 (2) |
| 86 | D051146 | Clamp blade | D051144 | 4 (2) |
| 87 | D051147 | Clamp blade tip | D051144 | 2 (1) |
| 88 | D051147 | Axis of rotation | D051144 | 4 (2) |
| 89 | D051147 | Rotary jar | D051144 | 2 (1) |
| 90 | D051147 | Rotary jar | D051144 | 2 (1) |
| 91 | D051147 | Tie rod | D051144 | 2 (1) |
| 92 | D051147 | Handle | D051144 | 2 (1) |
| 93 | D051148 | Alignment part 2 and 4 (LIGO) | D051148 | 4 |
| 93.1 | D051148 | Alignment part 2 and 4 (AdLIGO) | D051148 | 4 |
| Part number | Detailed in drawing | Description | Shown in assembly number | Production pieces per unit |
| 94 | D051154 | Magnets separator 35.5 mm | D051107 | 16 [+14 spares] |
| 94 | D051154 | Magnets separator 51 mm | D051107 | 32 [+18 spares] |
| 95 | D051154 | Magnets support | D051107 | 8 |
| 96 | D051152 | Clamping cups | D051149 | 0 (4) |
| 96.1 | D051152 | Clamping cups | D051149 | 0 (4) |
| 96.1 | D051152 | Clamping cups | D051149 | 0 (4) |
| 97 | D051152 | Support ring ass’y | D051149 | 0 (4) |
| 98 | D051155 | Main support tube | D051149 | 0 (4) |
| 99 | D051152 | Top plate | D051149 | 0 (4) |
| 100 | D051153 | wire | D051149 | 0 (4) |
| 101 | D051153 | Adjustment screw | D051149 | 9 (4) |
| 102 | D051153 | ½ cups | D051149-157 | 10 pairs (9) |
| 103 | D051158 | Filter main platform | D051157 | 1 (4) |
| 104 | D051160 | Tuning pusher | D051157 | 8 (32) |
| 105 | D051161 | Magnet yoke back | D051157 | 1 (4) |
| 106 | D051163 | Coil adjust. plate | D051157 | 1 (4) |
| 107 | D051163 | LVDT coil | D051157 | 2 (4) |
| 108 | D051162 | Blade central support | D051157 | 1 (4) |
| 109 | D051160 | End-stop plate | D051157 | 1 (4) |
| 110 | D051161 | Electrical conn. bar | D051157 | 1 (4) |
| 111 | D051160 | End-stop column | D051157 | 4 (16) |
| 112 | D051160 | End-stop column | D051157 | 4 (16) |
| 113 | D051161 | Blade clamp plate | D051157 | 8 (32) |
| 114 | D051160 | Blade clamp | D051157 | 8 (32) |
| 115 | D051163 | LVDT/act.coils | D051157 | 2 (4) |
| 116 | D051161 | Magnet yoke front | D051157 | 1 (4) |
| Part number | Detailed in drawing | Description | Shown in assembly number | Production pieces per unit |
| 117 | D051160 | Guide right | D051157 | 8 (32) |
| 118 | D051162 | End-stop plate | D051157 | 1 (4) |
| 119 | D051159 | GAS blade | D051157 | 8 (X) |
| 120 | D051160 | Guide left | D051157 | 8 (32) |
| 121 | D051165 | ½ cup | D051164 | 4 pairs (+6 spares) (0) |
| 122 | D051165 | Nut | D051164 | 4 (8) |
| 123 | D051165 | wire | D051164 | 0 (6) |
| 124 | D051134 | Coil spool base | D051111 | 4 |
| 125 | D051133 | Coil tray | D051111 | 8 |
| 126 | D051133 | Flux guides | D051111 | 8 |
| 127 | D051133 | Central flux guide | D051111 | 4 |
| 128 | D051133 | Coil1/2 spools | D051111 | 8 |
| 129 | D051134 | Magnet base | D051111 | 4 |
| 130 | D051132 | Insulator washer | D051112 | 32 [+28 spares] |
| 131 | D051132 | Insulator bushing | D051112 | 32 [+28 spares] |
| 132 | D051131 | Lateral plate | D051112 | 16 |
| 133 | D051131 | Lateral plate | D051112 | 8 |
| 134 | D051132 | Top plate | D051112 | 8 |
| 135 | D051131 | Bottom support | D051112 | 4 |
| 136 | D051132 | Small coil support | D051112 | 4 |
| 136.1 | D051132 | Small coil cabling connectror | D051112 | 4 |
| 137 | D051131 | Large coil | D051112 | 8 [+1 spare] |
| 138 | D051132 | Small coil | D051112 | 4 [+1 spare] |
| 139 | D051132 | Holder small coil | D051112 | 8 |
| 140 | D051171 | Magnetic damper | D051166 | 4 (on request) |
| 141 | D051171 | Magnetic damper | D051166 | 4 (on request) |
| Part number | Detailed in drawing | Description | Shown in assembly number | Production pieces per unit |
| 142 | D051172 | Magnetic damper | D051166 | 32 (on request) |
| 143 | D051172 | Magnetic damper | D051166 | 32 (on request) |
| 144 | D051171 | Magnetic damper | D051166 | 4 (on request) |
| 145 | D051171 | Magnetic damper | D051166 | 4 (on request) |
| 146 | D051172 | Magnetic damper | D051166 | 4 (on request) |
| 147 | D051169 | Balance | D051167 | 8 (0) |
| 148 | D051169 | Balance | D051167 | 8 (0) |
| 149 | D051169 | Balance | D051167 | 8 (0) |
| 150 | D051169 | Balance | D051167 | 8 (0) |
| 151 | D051170 | Balance | D051167 | 8 (0) |
| 152 | D051169 | Balance | D051167 | 16 (+14 spares) (0) |
| 153 | D051170 | Balance | D051167 | 8 (0) |
| 154 | D051170 | Balance | D051167 | 8 (0) |
| 155 | D051170 | Balance | D051167 | 8 (0) |
| 156 | D051169 | Balance | D051167 | 8 (+12 spares) (0) |
| 157 | D051169 | Balance | D051167 | 16 (0) |
| 158 | D051169 | Balance | D051167 | 8 (0) |
| 159 | D051173 | Magnetic damper | D051166 | 16 (on request) |
| 160 | D051173 | Magnetic damper | D051166 | 16 (on request) |
| 161 | D051173 | Magnetic damper | D051166 | 32 (+18 spares) (on request) |
| 162 | D051173 | Magnetic damper | D051166 | 64 (on request) |
| 163 | D051174 | Balance tool | D051183 | 1 (0) |
| 164 | D051174 | Balance tool | D051183 | 1 (0) |
| 165 | D051174 | Balance tool | D051183 | 1 (0) |
| Part number | Detailed in drawing | Description | Shown in assembly number | Production pieces per unit |
| 166 | D051175 | Ballast filter tuning | D051176 | 2x~30kg, 2x~20kg, 2x~10kg, 2x~5kg (0) |
| 167 | D051175 | Ballast optical bench | D051176 | (0) 16 |
| 168 | D051175 | Ballast optical bench | D051176 | (0) 17 |
| 169 | D051177 | Filter’s test | D051176 | 1 (0) |
| 170.1 | D051184 | Structure | D051178 | 3 (0) |
| 170.2 | D051184 | Structure | D051178 | 3 (0) |
| 170.3 | D051184 | Structure | D051178 | 3 (0) |
| 170.4 | D051184 | Structure | D051178 | 3 (0) |
| 171 | D051177 | Filter’s test | D051178 | 16 (0) |
| 172 | D051179 | Flats | D051176 | 1 (0) |
| 173 | D051177 | Filter’s test | D051176 | 1 (0) |
| 174 | D051179 | Flats | D051176 | 1 (0) |
| 175 | D051181 | Large blade tool | D051180 | 1 (0) |
| 176 | D051185 | Structure | D051180 | 4 (0) |
| 177 | D051181 | Large blade tool | D051180 | 1 (0) |
| 178 | D051181 | Large blade tool | D051180 | 1 (0) |
| 179 | D051181 | Large blade tool | D051180 | 1 (0) |
| 180 | D051185 | Large blade tool | D051180 | 1 (0) |
| 181 | D051182 | Large blade tool | D051180 | 2 (0) |
| 182 | D051185 | Large blade tool | D051180 | 1 (0) |
| 183 | D051182 | Large blade tool | D051180 | 1 (0) |
| 184 | D051182 | Large blade tool | D051180 | 2 (0) |
| 185 | D051182 | Large blade tool | D051180 | 2 (0) |
| 186 | D051177 | Filter’s test | D051176 | 2 (+2 spares) (0) |
| 187 | D051182 | Large blade tool | D051180 | 2 (0) |
| Part number | Detailed in drawing | Description | Shown in assembly number | Production pieces per unit |
| 188 | D051182 | Large blade tool | D051180 | 10 (0) |
| 189 | D051185 | Large blade tool | D051180 | 2 (0) |
| 190 | D051182 | Large blade tool | D051180 | 12 (0) |
| 191 | D051185 | Accelerometer holder | D051176 | 1 (0) |
| 192 | D051200 | Guide beam | D051187 | 2 (0) |
| 192.1 | D051200 | Guide beam | D051187 | 4 (0) |
| 193 | D051200 | Supp. thrust bearing | D051188 | 4 (0) |
| 194 | D051199 | Mounting support | D051188 | 2 (0) |
| 194.1 | D051199 | Fixing support | D051188 | 2 (0) |
| 194.1 | D051199 | Fixing support | D051188 | 2 (0) |
| 195 | D051197 | Supp. thrust bearing | D051190 | 4 (0) |
| 196 | D051196 | Trolley-vertical part | D051190 | 4 (0) |
| 197 | D051195 | Trolley base | D051190 | 2 (0) |
| 197.1 | D051195 | Trolley base | D051190 | 8 (0) |
| 197.2 | D051195 | Trolley base | D051190 | 8 (0) |
| 197.3 | D051195 | Trolley base | D051190 | 40 (0) |
| 198 | D051196 | Joint load cell | D051190 | 4 (0) |
| 199 | D051198 | Mounting support | D051191 | 2 (0) |
| 199.1 | D051197 | Fixing plate | D051191 | 4 (0) |
| 199.2 | D051198 | Rod support | D051191 | 2 (0) |
| 200 | D051204 | Elevator Body | D051192 | 2 (0) |
| 201 | D051202 | Screw | D051192 | 2 (0) |
| 202 | D051202 | Foot | D051192 | 2 (0) |
| 203 | D051203 | Bracket | D051192 | 4 (0) |
| 204 | D051205 | Horizontal cover | D051192 | 2 (0) |
| 205 | D051203 | Surface bearing | D051192 | 4 (0) |
| Part number | Detailed in drawing | Description | Shown in assembly number | Production pieces per unit |
| 206 | D051202 | Belt pulley | D051193 | 8 (0) |
| 207 | D051202 | Axle | D051193 | 4 (0) |
| 208 | D051202 | Jockey pulley | D051193 | 8 (0) |
| 209 | D051202 | Space | D051193 | 8 (0) |
| 210 | D051202 | Pulley axle | D051193 | 8 (0) |
| 211 | D051202 | Axle | D051193 | 4 (0) |
| 212 | D051201 | Support guide beam | D051194 | 2 (0) |
| 212.1 | D051201 | Support guide beam | D051194 | 2 (0) |
| 213 | D051203 | Bottom space | D051194 | 4 (0) |
| 214 | D051203 | End spacer | D051194 | 4 (0) |
| 215 | D051205 | Vertical cover | D051192 | 4 (0) |
| 216 | D051205 | Brace | D051188 | 1 (0) |
| 217 | D051207 | Spring support | D051208 | 1 (0) |
| 218 | D051209 | Drilling Jig for old optical bench | D051209 | 1 (0) |
| 219 | D051209 | Bracket | D051209 | 4 (0) |

## Commercial supplies

| Number ref. | Manufacturer/code | Pieces per unit | Shown in Assembly # D051- |
| --- | --- | --- | --- |
| 1 | Ring seeger J 19x1 V | 16 | 108 |
| 2 | Oriental Motor flexible coupling type MC120505C | 4 | 108 |
| 3 | Stepping motor AML type B17.2-R | 8 | 108-109 |
| 4 | Newport fine adjustement screws type AJS-05H | 12 | 110 |
| 5 | Bunting magnets type NEB3590 | 32 | 106 |
| 6 | Bunting magnets type NEB3554NP/N35P500500 | 128 | 107 |
| 7 | Bunting magnets type NEB3586NP/N35P500500 | 64 | 111 |
| 8 | Bunting magnets type NEB3586NP/N35P500500 | 64 | 157 |
| 9 | Thrust bearing Rollon type CSW63-235-2ZR | 4 | 186 |
| 10 | Guide Rollon type TLV63 length 4300 mm | 2 | 187 |
| 11 | Foot ROBO cod. 132/60611 | 4 | 190 |
| 12 | Whell Tellure-Rota cod. 656602 | 4 | 190 |
| 13 | Support series ATI SILVER STAINLESS type MUP006 | 2 | 190 |
| 14 | National Instruments compression load cell type LPU-2K | 2 | 190 |
| 15 | Hand wheel ELESA VD:300FP+I+CM | 2 | 192 |
| 16 | Worm gear reducer Bonfiglioli VF/W 44/75, I=120 | 2 | 192 |
| 17 | Wheel Tellure-Rota cod. 658604 | 6 | 192 |
| 18 | Handle ELESA cod. 67901 | 2 | 192 |
| 19 | Guide Rollon type TLV63 length 960 mm | 4 | 192 |
| 20 | Thrust bearing Rollon type CSW63-235-2ZR | 4 | 192 |
| 21 | Handle ELESA cod. 222661 | 4 | 192 |
| 22 | Belt pulley AT10 Z36 width 56 mm | 8 | 193 |
| 23 | ATI SIT_LOCK 1300.0 20x47 | 8 | 193 |
| 24 | Bearing housing ATI type BPF4 | 16 | 193 |
| 25 | Bushing bearing SKF 6202 | 16 | 193 |
| 26 | Open belt ATI CDS/AT10/50/A length 2.9 m | 4 | 193 |
| 27 | Drive extensible type S-3A ATI length closed 669.5 mm | 4 | 193 |
| 28 | Plug-in output shaft W 75-D28 | 2 | 193 |
| 29 | Clamp belt | 4 | 194 |

# Bolt and screw list

To be updated

List of Stainless Steel screws and bolts needed to assemble one unit of HAM-SAS

(S) stands for silver plated for mating with Stainless Steel parts.

Of each kind provide at least 10% spares (when plating, process screws in units of full boxes).

All screws should be of high standard with strength certification.

Large screws (M12 and above) to be shipped separately packages to avoid thread damage.

Wash, degrease and bake-out clean assembly screws according to UHV specifications.

All clean assembly screws to be stored in clean plastic boxes and/or sealable bags.

Black steel screws should be used in the dirty assembly instead of the silver plated stainless steel screws.

| Screw type | Thread type and length (mm) | Number needed | Detailed in Drawing number |
| --- | --- | --- | --- |
| Tommy head (socket cap) | M12x35 | 64 | D051100 |
| Tommy head (socket cap) | M10x20 | 64 | D051103 |
| Tommy head (socket cap) | M10x50 | 16 | D051103 |
| Tommy head (socket cap) | M12x30 | 16 | D051103 |
| Tommy head (socket cap) | M16x35 | 8 | D051103 |
| Tommy head (socket cap) | M10x25 (S) | 80 | D051106 |
| Tommy head (socket cap) | M10x35 (S) | 128 | D051106 |
| Tommy head (socket cap) | M10x40 (S) | 96 | D051106 |
| Tommy head (socket cap) | M12x40 (S) | 64 | D051106 |
| Tommy head (socket cap) | M8x20 (S) | 76 | D051106 |
| Tommy head (socket cap) | M5x30 (S) | N°24 | D051106 |
| Tommy head (socket cap) | M4x12 (S) | N°32 | D051106 |
| Tommy head (socket cap) | M4x12 | N°12 | D051106 |
| Flat head | M3x8 (S) | N°12 | D051106 |
| Tommy head (socket cap) | M10x30 | 32 | D051107 |
| Screw type | Thread type and length (mm) | Number needed | Detailed in Drawing number |
| Tommy head (socket cap) | M10x25 (S) | 16 | D051107 |
| Tommy head (socket cap) | M10x35 | 8 | D051107 |
| Tommy head (socket cap) | M4x12 | 8 | D051107 |
| Tommy head (socket cap) | M4x12 (S) | 8 | D051107 |
| Flat head | M10x25 (S) | 8 | D051108 |
| Tommy head (socket cap) | M6x60 (S) | 8 | D051108 |
| Tommy head (socket cap) | M6x50 (S) | 8 | D051108 |
| Tommy head (socket cap) | M5x16 | 16 | D051108 |
| Tommy head (socket cap) | M4x16 (S) | 24 | D051108 |
| Nut | M3 | 16 | D051108 |
| Grub | M5x8 | 16 | D051108 |
| Tommy head (socket cap) | M10x30 | 8 | D051109 |
| Tommy head (socket cap) | M10x70 | 8 | D051109 |
| Tommy head (socket cap) | M5x12 | 8 | D051109 |
| Tommy head (socket cap) | M5x20 | 8 | D051109 |
| Tommy head (socket cap) | M3x12 | 8 | D051109 |
| Nut | M6 | 4 | D051109 |
| Nut | M3 | 16 | D051109 |
| Grub | M4x5 | 4 | D051109 |
| Tommy head (socket cap) | M5x12 (S) | 24 | D051111 |
| Tommy head (socket cap) | M5x12 | 24 | D051111 |
| Flat head | M2.5x6 (S) | 48 | D051111 |
| Tommy head (socket cap) | M5x12 | 32 | D051112 |
| Tommy head (socket cap) | M3x8 | 64 | D051112 |
| Flat head | M3x5 | 4 | D051112 |
| Flat head | M4x16 (S) | 16 | D051112 |
| Flat head | M2.5x5 | 8 | D051112 |
| Tommy head (socket cap) | M10x100 | 2 | D051144 |
| Tommy head (socket cap) | M6x35 | 2 | D051144 |
| Tommy head (socket cap) | M6x20 | 4 | D051144 |
| Tommy head (socket cap) | M12x35 | 8 | D051149 |
| Hexagonal head | M12x40 | 32 | D051149 |
| Screw type | Thread type and length (mm) | Number needed | Detailed in Drawing number |
| Nut | M18 | 8 | D051149 |
| Grub | M10x15 | 4 | D051149 |
| Hexagonal head | M12x40 | 32 | D051156 |
| Tommy head (socket cap) | M10x25 | 64 | D051157 |
| Tommy head (socket cap) | M12x55 | 96 | D051157 |
| Tommy head (socket cap) | M12x45 | 128 | D051157 |
| Tommy head (socket cap) | M12x30 | 16 | D051157 |
| Tommy head (socket cap) | M8x25 | 64 | D051157 |
| Tommy head (socket cap) | M6x55 | 16 | D051157 |
| Tommy head (socket cap) | M5x45 | 32 | D051157 |
| Tommy head (socket cap) | M5x16 | 32 | D051157 |
| Tommy head (socket cap) | M4x12 | 16 | D051157 |
| Tommy head (socket cap) | M3x10 | 32 | D051157 |