Rack Input Power Box

Die Cast Zinc Flexible Metal Conduit Fitting, 90 Degree Elbow Connector, 3/8" Trade Size							McMaster-Carr 7267K33

Adjustable Compression Miniature Cam Latch, Zinc-plated Steel, Knob Head, 3/32"-3/8"grip Range					McMaster-Carr 1887A52

18-8 Ss Pan Head Phillips Machine Screw, 8-32 Thread, 7/16" Length

McMaster-Carr 91772A193

Type 316 SS Flat Head Phillips Machine Screw 6-32 Thread, 1/4" Length										McMaster-Carr 91500A144

DIODE DO-35 4.7mA CURR REG			Mouser 610-1N5314

LED GREEN 1/4" HOLE 5V PANEL MNT		Digi-Key L10025-ND

POWER BOX BUS BARS				ECINSGB14

TIE HOLD FLAT RIVET					Digi-Key FTH-13R-01-ND

Rack Input  Power Box					Hamilton Metal D070124-A