| Originator | Cognizant Engineer | Ext./Phone# | Project | Account Number |
| --- | --- | --- | --- | --- |
| Edith Innerhofer | Edith Innerhofer | (617) 452-3156 | LIGO | 6898207 |

| Dwg/Part Number | Rev | Part Description | Serial Number | Qty |
| --- | --- | --- | --- | --- |
| LIGO-D050363-00-R LIGO-D050364-00-R |  | Stainless Steel SOS sideplate right Stainless Steel SOS sideplate left |  | 3 3 |

| Used In (next higher assembly): | These are the sideplates for the SOS suspension cage assembly. The sealed assembly will then be placed inside the LASTI vacuum chambers. |
| --- | --- |

| Vendor Name | PO/Contract Number |
| --- | --- |
| Lavallee Machines |  |

Data Package, Receiving/Inspection Remarks:

| Inspection Required Y/N | Visual Damage Y/N | Comments | Name/ Initials | Date Comp. |
| --- | --- | --- | --- | --- |
|  |  | Shipped fedex overnight on 11/04/05. |  |  |

Process Flow:

| # | Operation | Start Date | Work Area | Instructions | Name/ Initials | Date Comp. |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Clean & Vacuum Bake per LIGO Vacuum Prep. Form |  | LLO | per E960022 | Tom Evans |  |
| 2 | Control Point |  | LLO | Review/approve RGA scan #_________ _________ | Tom Evans |  |
| 3 | Wrap & Tag vacuum clean parts per E960022-A |  | LLO | Wrap (UHV foil) and bag (CP Stat or equiv.) per E980022 | Tom Evans |  |
| 4 | Ship |  | LLO MIT | Please send overnight delivery to: Edith Innerhofer MIT LIGO Group Nw17-161, 175 Albany Street Cambridge, MA 02139 Make 2 copies of the Traveler. File one copy with the DCC. Second copy sent per email to Tom Evans Note: Ship copy of traveler with these parts. | Tom Evans Edith Innerhofer | 11/10/05 |
| END: Go to Traveler associated with next higher assembly processing |  |  |  |  |  |  |

Special Instructions (Handling/Packaging Constraints, Remarks, etc.) or Notes:

Note: remove pins prior to clean and bake, put them back at the end.

11/10/05

E050312-00-X

E050312-00-X