LIGO Laboratory / LIGO Scientific Collaboration

LIGO-T050057-00-D	Advanced LIGO	7 Apr 2005

Beamsplitter
Coating Strain Induced Radius of Curvature
(Advanced LIGO)

Dennis Coyne

Distribution of this document:

COC subsystem group

This is an internal working note

of the LIGO Project.

| California Institute of Technology LIGO Project – MS 18-34 1200 E. California Blvd. Pasadena, CA 91125 Phone (626) 395-2129 Fax (626) 304-9834 E-mail: info@ligo.caltech.edu | Massachusetts Institute of Technology LIGO Project – NW17-161 175 Albany St Cambridge, MA 02139 Phone (617) 253-4824 Fax (617) 253-7014 E-mail: info@ligo.mit.edu |
| --- | --- |
| LIGO Hanford Observatory P.O. Box 1970 Mail Stop S9-02 Richland WA 99352 Phone 509-372-8106 Fax 509-372-8137 | LIGO Livingston Observatory P.O. Box 940 Livingston, LA 70754 Phone 225-686-3100 Fax 225-686-7189 |

http://www.ligo.caltech.edu/

# Introduction

There are many factors that need to be considered in choosing appropriate dimensions for the beamsplitter for advanced LIGO (e.g. manufacturability, coating strain induced distortion, physical limits to fitting in the optical layout, clipping/diffraction loss, vibration isolation performance, etc.). This memo addresses the effect of coating strain on the radius of curvature (ROC) as a function of the beamsplitter diameter and thickness. The effect of coating strain can be compensated by various approaches such as pre-figuring, balancing with opposite face, or barrel, coating stress, or thermal compensation.

# Coating Strain Calculation

Kirchoff thin plate bending analysis has been shown to calculate the change in radius of curvature (ROC) due to coating stress, for even the low aspect ratios (diameter over thickness) of LIGO test masses. When applied to the initial LIGO test masses (25 cm diameter and 10 cm thickness fused silica), plate bending theory calculates a ROC for the central region (6 cm diameter) which is within 15% of the value calculated with a finite element analysis. Better accuracy is expected for the BS due to it's higher aspect ratio (i.e. more plate like).

The analytical formulation in reference 1 indicates (as one might suspect) that the ROC change is independent of the optic radius and only dependent upon the substrate thickness, substrate elastic modulus and differential (HR minus AR) coating stress.

The largest uncertainties in the calculation of the coating induced ROC change are the coating process (ion beam sputtering) induced strain and the effect of high temperature annealing on reduction of the built-in coating stress. The origin of the approximate coating strain values (for Ta2O5 and SiO2) are given in reference 1. Limited experimental data from which one can derive an annealing stress reduction factor, is discussed in the next section.

# Coating Induced ROC Change Data

In the course of the development of low absorption and low mechanical loss coatings for advanced LIGO, a number of small "coupons" were coated. The surface figure of these coupons (3 in diameter by either 1 inch or 0.1 inch thickness) was measured before coating, after coating and then after annealing. Using this data one can derive an approximate factor for the stress reduction effect of the annealing process (Tables 1 and 2). Sapphire results are shown just for completeness; The beamsplitter substrate is fused silica. Fused Silica has also been chosen as the test mass substrate material for advanced LIGO. There were no post annealing measurements for sapphire substrates so no annealing stress reduction factors are derived for sapphire substrates.

The coating R&D to date suggests that a doped tantalum and silica coating is likely to be used for advanced LIGO. For the Ta2O5 / SiO2 coatings on fused silica, the apparent annealing stress reduction factor is ~0.10 for the thin samples and ~0.26 for the thick samples. For use in predicting residual coating induced ROC changes for adv. LIGO optics, I suggest that we use 0.26 to be conservative, i.e. 26% of the stress remains after annealing.

Table 1: ROC Changes for Fused Silica Substrates

Table 2: ROC Changes for Sapphire Substrates

# Beamsplitter ROC Change

The nominal dimensions of the beamsplitter for advanced LIGO are defined in the COC Design Requirements Document as 350 mm diameter and 60 mm thick. We do not yet have coating designs for the advanced LIGO beamsplitter; In lieu of advanced LIGO coating designs, we'll use the initial LIGO beamsplitter coating design for estimation (8 layer high reflectance (HR) coating and 3 layer anti-reflection (AR) coating). What really matters is the difference in number of layers between the HR and AR coatings (in the nominal case 5) and not the absolute number of layers.

The variation in ROC for changes in the HR-AR coating layer difference and for variation in the BS fused silica substrate thickness are indicated in Figure 1. For the nominal case of a 60 mm thick BS with a 5 layer difference between HR and AR coatings, the ROC resulting from residual coating strain is estimated to be 533 km (without measures taken to compensate for the ROC change). If the acceptable ROC change is 200 km, then the following layer difference and thickness combinations are acceptable, without ROC compensation:

Table 3: Combinations of Coating Layer Difference Number (HR – AR) and thickness to meet a 200 km minimum ROC

| # HR Layers - # AR Layers | Minimum Thickness (mm) |
| --- | --- |
| 5 | 37 |
| 10 | 52 |
| 15 | 64 |
| 20 | 74 |
| 25 | 82 |

Other considerations, such as manufacturability, are likely to require the thickness to be at least 60 mm. If the difference in the number of coating layers (HR – AR) is as few as for initial LIGO (5), then it would appear that a 200 km ROC can be achieved without resorting to means to compensate for the coating strain induced ROC change.

# Parameters

The parameters used in the calculations for fused silica and sapphire are given in Tables 4 and 5.

Figure 1: ROC Change versus Thickness and Difference in HR and AR Layer Numbers

Table 4: Fused Silica and Coating Properties

Table 5: Sapphire Properties

Kartik Srinivasan, Coating Strain Induced Distortion in LIGO Optics, LIGO-T970176-00, Oct. 1997.

Greg Harry, Coating Program Status Report, LSC Meeting at LIGO Livingston Observatory, LIGO-G05pending, Mar 22, 2005.

G. Billingsley, G. Harry, W. Kells, Core Optics Components Design Requirements Document, LIGO-T000127-01, Jun 20, 2004.

The BS initial LIGO coating is defined in reference 1 as 7 layers for the HR and 2 layers for the AR. The AR coating was prone to change if/as the outer layer was etched. Here I've assumed a design which is made insensitive to the thickness of an added top or cap layer.

Bill Kells, personal communication: Bill made a very rough estimate that 200 km ROC might be acceptable from the standpoint of degradation to the gravity-wave sidebands, 4/7/2005.