CRYOGENIC INTERFEROMETERS:

Some Good Reasons for Pursuing Them

Amaldi Conference

11 July 2003

Adalberto Giazotto

LIGO-G030367-00-Z

FW

W              W LASER        2W                      FW

The Fabry-Perot Michelson optical scheme:

Where F is the finesse and W the power on the beam-splitter

# Radiation Pressure (RP) and Shot Noise (SN) are Quantum noises and undergoe Heisenberg Uncertainty Principle:

RADIATION PRESSURE                           SHOT NOISE

F21+FωLc2

## The terms W and

have dramatic effects on the detector sensitivity and bandwidth:

Radiation Pressure

Shot Noise

ĥ

BS pow.103 W

104 W

105 W

106 W

107 W

Hz

10                         100                     1000

Sagnac are “natural” QND ITF

x(t)

L        L

d               Δn2(t)

A

B

Δn1(t)

V(t)

φ=ε sin(ωMt)→

φ

Recent development on

Quantum-Non-Demolition

(QND) techniques are

extremely interesting.

Sagnac ITF measures

mirror speed dx/dtix and

RP fluctuations cancels out

up to (d/c)2 terms.

Unfortunately  in Sagnac ITF

Shot Noise is overwhelming

(with respect to Michelson

ITF) due to the d/c~O(10-5)

term in the signal:

V(ω)~ωdcFLh+λ4πhυW

More suitable optical schemes have been investigated succesfully; as an example the Courty, Heidman, Pinard scheme:

Radiation Pressure and

Shot Noise after correction

ĥ

Before Correction

After Correction

No LP  filter     With LP filter

Hz

10                         100                     1000

Courty, Heidman, Pinard scheme for QND

Detuned                                    Cavity

L

Virgo             Short

cavity       cavity

This method should be used on each FP cavity and allows in priciple to reduce very strongly RP effects; the price to pay is anyway an increase of Shot Noise which can be reduced by increasing the power on Beam Splitter (BS).

After these considerations an optimistic statement could be the following:

Radiation Pressure effects can be transformed in a Shot noise increase and, in priciple, this noise can be reduced by increasing the power on the BS.

In an optimistic view, since it seems we can reduce strongly RP and SN problems by using QND methods and by increasing the power on BS, we are left to worry about two enormous problems:

- Thermal Noise

- Lensing effects in the mirrors due to the power increase.

Going to low temperature could be an interesting option giving several advantages.

6 good reasons for going to low temperature:

1)For reducing Phothermal noise

2)For reducing the thermodynamical noise

3)For reducing the thermoelastic noise

4)For reducing Electromagnetic coupling Mirror-Environment by making the superconductive the cryostat surrounding the mirror. (See Mitrofanov)

5)For Reducing TN

6)For reducing Mirror Optical Lensing

- Pendulum and Bulk TN

The TN displacement noise due to pendulum and mirror bulk are expected to contains the term (T)1/2 and  decreases as T decreases; we can expect at 4K a factor 1/100 TN noise reduction with respect 300 K.

- Mirror Coating internal losses:

more complex seems the problem of coating internal friction and coating-mirror surface friction.

Very preliminary experimental data show no improvement on the coating loss angle by going to low temperature (Yamamoto):

These are very preliminary results and tests need to be repeated  again with different bulk and coating materials (at present it is Ta2O5) and in particular to check what is the scaling law.

At present the following scaling law is considered valid

φTotal=φBulk+ECEBφCoating

Where EC and EB are the Coating and bulk stored energy respectively. By assuming the same Young’s modulus for both coating and bulk, the displacement of the mirror is:

xTotal(ω)=16kBT(φBulk+ECEBφCoating)ω12E12w012

In any case even if Coating does not decrease at low temperature but remain constant, as shown by Yamamoto, and limits the maximum Q reacheable,

This is a key point: we may still try to reduce X̃Total by a factor ~ 10 by going to 4K

### Some ideas on how to reach 4-5K

#### As an example: if we have 8-10 MW in the FP cavities and coating losses are ~5 10-8 we need to extract ~0.5 W @ 4 K

Si

CaF2

Si

Let us suppose a mirror

support like this:

How good is the Q of

Material connections???

2) The equation for T is the following:

CVdTdt=ΔW−β(T)σL+5,6.10−8.4T3SMT−T0

Where (T) is the mirror supporting rods/wires thermal conductivity coefficient,  the area where the heat goes trough, L the length of heat extraction device and Cv the specific heat , T0 the thermostat temperature and SM the total mirror surface.

In the stationary case dT/dt=0, we obtain:

T−T0=ΔWβ(T)σL+5,6.10−8.4T3SM

As an example we consider two kinds of materials:

1)Mirrors in Fluorite (CaF2) because is not Birefringent.

2)Mirror supporting hinges in Silicon (Si) because it has high thermal conductivity at low temperature and low Young modulus.

In the following we consider only lensing due to the thermal expansion coefficient and assume dn/dT~10-12T3, negligeable.

1)Room Temperature Case

CaF2 Ther. exp. coef. CaF2(300)=1,9 10-5 K-1

CaF2 Ther. cond. coef. CaF2(300)=10W/(m.K)

S

S

Si Ther. cond. coef. Si(300)=100W/(m.K)

Mirror radiating area S=0,3 m2

T@300K is Stefan-Boltzmann dominated:

T ~W/1.8~ 0.1 K

With S=.1m S=SCaF2(300) T~2 10-7m

2) Temperature 5K

CaF2 Ther. exp. coef. CaF2(5)= 10-9 K-1

CaF2 Ther. cond. coef. CaF2(5)=600W/(m.K)

Si Ther. cond. coef. Si(5)=600W/(mK)

Si

2

L      Si                   A

δ

As an example, for transporting 0,5 W away from mirror we may use 4 Si hinges;

If  we have A=3 10-2m, L=0,3 m it follows =1,6 10-3m. and T=1K.

This corresponds to a negligeable lensing effect:

S

S

S=S CaF2(5) T ~10-10m

A problem is then how to extract ~0,5 W from mirrors preserving the Superattenuator softness.

jellyfish

Cryostat

COLD FINGER

Al or Cu

~1 m

~ 40 cm

Some Ideas for a cooled Last Stage

Vertical TN

Filter

Cryostat

Cold Bar

Jellyfish

Marionette reference mass

Mirror

Reference mass

Conduct. pipe

Test 4K cryo chamber by some Virgo groups-Leiden- ACIGA-GEO

4 m

Yamamoto experiment needs to be

repeated to check down to mK if

there are phase transition.

The mechanism for coatings high loss angle is today not

understoodt.