Opening a new window to the universe:
 Present astrophysical results and
the predicted reach of
Advanced LIGO detectors
Yoichi Aso for the LIGO Scientific Collaboration
Columbia University, Experimental Gravity Group
Oct. 17th 2007 @ Columbia Particle Seminar
LIGO-G070655-00-Z

---
Gravitational Waves
Ripples of spacetime
Propagate at the speed of light
Generated by non-spherical
  motion of heavy masses
A NEW WINDOW
ON THE UNIVERSE
Electro-Magnetic Wave Observations
New wavelength Discoveries
Gravitational Waves: Totally New
        (not even EMW)

---
Interferometric detection of gravitational waves
Photo detector
Laser

---
Global network of detectors
(interferometers)
LISA
GEO
LIGO
VIRGO
TAMA/CLIO/LCGT
LIGO
AIGO
Operating detectors: Yellow, Planned detectors: Blue

---
LIGO
(Laser Interferometer Gravitational-wave Observatory)
Hanford, Washington
4km and 2km interferometer
in the same vacuum system
Livingston, Louisiana
4km interferometer

---
Noise History
http://www.ligo.caltech.edu/docs/G/G060009-03/

---
Fifth Science Run
Nov. 4th 2005 - Oct. 1 2007
Accumulated more than 1 year of triple coincidence data
http://www.ligo.caltech.edu/docs/G/G070366-00/

---
1.4M – 1.4M Neutron Star Binary
SNR=8

---
Some recent results from LIGO

---
Pulsar Search
:Principal moment of inertia
size 22 {I_{zz}}
:Equatorial ellipticity
size 22 {%epsilon}
Rapidly rotating neutron stars
size 22 {h_0={16 %pi^2 G } over {c^4} {%epsilon I_{zz} %nu^2} over {r}}
Coherent integration for long time a good SNR
Size of distortion can reveal information about NS Equation of State
Non-axisymmetry Continuous gravitational wave
[Speaker Notes: Source of the figures and numbers: Matthew Pitkin's presentation LIGO-G070230-01-Z]

---
Beating the Spin Down Upper Limit for the Crab Pulsar
Spin down UL: Assume energy dissipation is solely due to GW emission.
size 22 {h^{nitalic {spin down}}_0=left (5 over 2 {G I_{zz} dot %nu} over {c^3 r^2 %nu} right )^{1 over 2} }
Current upper limit from LIGO S5 data (up to Aug. 23 2006)
color red size 26 {%epsilon < 2.6 times 10^{-4}, h_0 < 5.0 times 10^{-25}}
Beat the spin down limit by a factor of 2.9
size 22 {h_0 < 1.4 times 10^{-24}}
The ellipticity: in the range of most speculative EQOS
        (Owen, 2005)
[Speaker Notes: Source of the figures and numbers: Matthew Pitkin's presentation LIGO-G070230-01-Z]

---
Stochastic Background GW
Superposition of a large number of unresolved sources
Cosmological sources
Vacuum fluctuations during inflation
Pre-big bang models
Phase transitions
Cosmic strings
Astrophysical foregrounds
Binary neutron stars
Supernovae
Low-mas X-ray binaries
size 30 {%OMEGA_{nitalic GW}(f)=f over %rho_c {d %rho_{nitalic GW}} over {df}}
size 26 {%rho_c}
: critical energy density for closing the universe
size 26 {[f,f+df]}
size 26 {d%rho_{nitalic GW}}
:energy density of GW in
size 30 {%OMEGA_{nitalic GW}(f)=%OMEGA_{%alpha} left( f over {100{nitalic Hz}} right )^%alpha}
: power-low model of GW spectra
Search: Correlation between independent detectors

---
S3, S4 results
B. Abbott et al., Astrophys. J. 659:918-930, 2007
Cosmic string model
excluded parameter space
S3 (H1-L1)
S4(H1+H2-L1)
Combined UL
for
size 26 {%OMEGA_%alpha}
Comparison
with other
experiments and
theoretical models
pre-big bang excluded
parameter space
S5 data shall
beat the big bang
nucleosynthesis
bound.

---
SGR1806-20 Hyper Flare
Soft Gamma-ray Repeater 1806-20: Hyper Flare on December 24 2004
Quasi Periodic Oscillation(QPO) observed
 in X-ray tail
Possible connection with excitations of
 neutron star's mechanical oscillation modes
LIGO status at the moment:
Post-S3, pre-S4
Only Hanford 4km was in operation
Search method:
Look for excess power at the event time in the QPO frequency range
(several frequencies, time intervals)
No significant deviation from the background noise found.
The best upper limit:
(92.5Hz QPO observed from 150-260sec after the start of the flare)
size 18 {4.5 times 10^{-22} 1/sqrt{nitalic Hz}}
Corresponding GW energy:
size 24 color red {7.7 times 10^{46} {nitalic erg}= 4.3 times 10^{-8} M_%solarmass c^2}
(assuming isotropic emission)
Comparable to the electromagnetically radiated energy
The best GW upper limit on this type of source.
First multiple-frequency asteroseismology using a GW detector
Details published in
B. Abbott et al., Phys. Rev. D 76, 062003 (2007)
T.Strohmayer and A.Watts, ApJ 653 L594 (2006)

---
GRB070201
A short hard gamma-ray burst (Feb. 1st 2007)
Detected by Konus-Wind, INTEGRAL, Swift, MESSENGER
Short GRB progenitors: possibly NS/NS or NS/BH mergers
Emits strong gravitational waves
Other possibility: SGR (may emit GW but weaker)
The error box for the source location overlaps with
the spiral arms of M31
Eiso ~ 1045 ergs
        if at M31 distance
(more similar to SGR energy than GRB energy)
What can we do with this event ?
In the case of a detection:
  - Confirmation of a progenitor (e.g. coalescing binary system)
  - GW observation could determine the distance to the GRB
No-detection:
Exclude progenitor in mass-distance region
With EM measured distance to hypothetical GRB, could exclude binary progenitor of various masses
Possible statements on progenitor models
Bound the GW energy emitted by a source at M31
Konus-WIND
light curve

---
GRB070201
Search for compact binary inspiral signals
Waveform: analytically given by Post Newtonian approximation
Matched filtering: Good SNR signal extraction
Mass parameters unknown: search in the parameter space
size 20 {1 M_%solarmass < m_1 < 3.0 M_%solarmass ~` 1.0 M_%solarmass < m_2 40.0 M_%solarmass }
Chirp signal
No plausible gravitational waves identified
The progenitor of GRB070201: Unlikely to be a compact binary in M31
Burst signal search
Wide bandwidth correlation based burst signal search
        (40 – 2000Hz)
Sensitivity: around 150Hz
Corresponding energy:
  assuming the distance of M31 within a ~100ms period
Does not exclude SGR at the M31 distance
color blue size 20 {h_{nitalic RSS}^{90%percent} sim 10^{-21} 1/sqrt{nitalic Hz}}
color blue size 20 {E_{nitalic ISO} sim 10^{-4} - 10^{-3} M_%solarmass c^2 ({} sim 10^{50} - 10^{51} nitalic {ergs})}
For more quantitative discussion: refer to a paper to be appear soon in ApJ

---
Coincidence Analysis with IceCube
Burst GW search: Overwhelming number of noise events
IceCube: a neutrino detector at the south pole
Search for astrophysical events emitting GW and high-energy neutrino
bursts simultaneously.
Coincident analysis between independent detectors
        Reject most background events
Two-stage coincidence
Event time coincidence
(within a certain time window)
Spatial coincidence
(evaluated by an unbinned
maximum likelihood method)
Monte Carlo simulations
Simulated LIGO S5 and IceCube 9-string events
: Time Window
size 22 {T_{nitalic w}}
size 20 color blue {1 over 435 left ({p} over {1 {nitalic %percent}}right )left (T_{nitalic w} over {1 {nitalic sec}}right )}
False Alarm Rate [events/year] =
: p-value
size 22 {p}
Better than the SNEWS standard
We can relax the event trigger threshold better sensitivity
Note: Above are not real data analysis results. This is a proposal of a method.
LIGO event
IceCube event
Overlap event

---
Advanced LIGO
Major upgrade of LIGO interferometers
A factor of 10 improvement in strain sensitivity x1000 in detectable volume
1 day of AdvLIGO observation = 1 year of current LIGO observation
Detect gravitational waves regularly
Installation : planed to start in 2011, Observation: start in 2014
Before Advanced LIGO
Enhanced LIGO: a factor of 2 improvement from the current LIGO
Installation and commissioning has just started (2 years)
S6: 1 year of triple coincidence data with improved sensitivities
Time-line
Other interferometers in operation (GEO, Virgo)
NOW
06
07
10
09
08
11
Adv
LIGO
S5
~2 years
S6
Initial LIGO
Commissioning
Enhanced LIGO

---
Technical Challenges for Advanced LIGO detector

---
Sensitivity estimate of Advanced LIGO

---
Evolution of Interferometer Scheme
Fabry-Perot Michelson Interferometer
Multiple bounce of photons inside arm cavities
Signal enhancement
BS
Laser
PD

---
Evolution of Interferometer Scheme
Power Recycling
Higher laser power
Smaller shot noise
PRM
BS
Laser
PD

---
Evolution of Interferometer Scheme
Resonant Sideband Extraction
Higher finesse arm cavities
Retain bandwidth
Reduce the light power at BS
Smaller thermal lensing
PRM
BS
Laser
SEM
PD

---
Control System
5 degrees of freedom to control
with extremely high precision
L+=(Lx+Ly)/2
L- =(Lx-Ly)/2
l+=(lx+ly)/2
l-=(lx-ly)/2
ls=(lsx+lsy)/2
Ly
ly
Laser
Complicated MIMO system
lx
lsx
lsy
Lx
Signal Extraction schemes
RF phase/amplitude modulation
Demodulation at various
        ports/harmonics/quadratures
Homodyne detection for GW channel
PD

---
Seismic Isolation
Required for: Seismic noise reduction, Stable operation
Combination of active and passive isolation stages.
Active system requirement
 x3000 attenuation @ 10Hz
Internal Active Isolation Platform

---
Passive Vibration Isolation Chain
Quadruple pendulum:
  - ~107 attenuation @10 Hz
  - Controls applied to upper layers; noise filtered from test masses
Seismic isolation and suspension together:
  - 10-19 m/rtHz at 10 Hz
Magnets
Electrostatic
Fused silica fiber
Welded to ‘ears’, hydroxy-catalysis bonded to optic

---
Suspension Point Interferometer
Active vibration isolation using auxiliary interferometers
Additional vibration isolation for improving the stability of interferometers
Considered as an option for Advanced LIGO
SPI
Laser
40dB
RMS: 1/9
Prototype experiment @ University of Tokyo

---
Thermal Noise
Thermal vibration of the molecules of mirror / suspension material
Fluctuation Dissipation Theorem
Mechanical loss Connection to the heat bath Thermal fluctuation
High mechanical quality mirror substrate / coating materials
Low mechanical loss suspension fibers
Fused silica fibers with silica bonding
Fused silica mirror
Other challenges for mirrors
Large mirror (40kg):
large beam size (average out thermal fluctuations)
Small radiation pressure noise
Precision manufacturing/metrology:
Large radius of curvature
Smooth polishing (<0.1nm RMS micro roughness)
Optical Absorption:
Optical loss < 0.5 ppm/cm
Thermal lensing compensation system

---
High Power Laser
Shot Noise: Photon number fluctuation
Larger laser power Less significant
Requirements
High power 180W
Intensity stability:
Frequency stability:
Good mode shape (TEM00 Gaussian beam)
size 26 {{} sim 2 times 10^{-9}}
size 26 {{} sim 10^{-7} nitalic {Hz/sqrt{Hz}}}
Advanced LIGO Laser System
Front end
high power, injection-locked stage
12 W
Master
Oscillator
180 W
Alternative front end
35 W

---
Beating the Standard Quantum Limit
Heisenberg's uncertainty principle
size 26 {%DELTA x %DELTA p >= hbar /2 }
Measurement uncertainty = Shot Noise
Measurement back action = Radiation Pressure
size 26 {h_{nitalic SQL}=1 over {L%omega} sqrt {{8 hbar}over{m}} }
Free mass SQL
Quantum Non-Demolition Measurement
Squeezed light: non-classical state of light
x-
LIGO I
One quadrature is less
fluctuating than the other
Ad LIGO
x+
Squeezed vacuum injection
Ponderomotive squeezing

---
Astrophysical Reach of Advanced LIGO

---
Event rate estimate for NS/NS inspirals
Current LIGO: 0.01 event/year
        Advanced LIGO: 40 events/year
Many other astrophysical sources reachable

---
Conclusion
Initial LIGO has reached its design sensitivity
S5 accomplished : more than 1 year of data collected
Several astrophysically interesting results are coming out
Crab pulsar upper limit
Stochastic background
SGR1806-20
GRB070201
and many others to come
Advanced LIGO
Factor of 10 improvement in strain sensitivities
Factor of 1000 increase in the detectable volume
Many advanced technologies have developed and R&Ds are going on for Advanced LIGO
Installation will start in 2011, Observation expected to start in 2014
Advanced LIGO is expected to start an era of gravitational wave astronomy
Acknowledgments
Members of the LIGO Laboratory, members of the
LIGO Science Collaboration, National Science Foundation