## Slide 1: GEO Status
Harald Lück
LVC meeting
Amsterdam September 22nd 2008

## Slide 2
GEO600 still in Astrowatch (Oct.2007 – Spring 2009)
Always observing but only doing triggered data searches

## Slide 3: GEO600 Sensitivity Evolution

## Slide 4: Astrowatch science time
November 2007: 81.1%
December 2007: 81.5%
January 2008: 89.1%
February 2008: 86.6%
March 2008: 76.0% (DAQS problems)
April 2008: 90.9%
May 2008: 92.1%
June 2008: 91.2%
Juli 2008: 83.1%
August 2008: 83.6%
Sept. < 16. 2008 91.6%
______________________________________
TOTAL 10.5 mon.: 85.8% y 275 days

## Slide 5: Maintaining the sensitivity
Electronics aging
  MTTF's
    ~100.000 Solder joints -> ~1 / year (~3)‏
    ~5000 Opamps -> ~1/50 years (~1)‏
    29 LC modules -> ~1/8 months (~1)‏
...a constant effort to keep entropy constant...

## Slide 6: New on-site data storage and processing system
48TB + 3x8TB + 2TB
100 days of h(t) frames
200 days of raw data
10 days of frame data
48TB
8TB
8TB
8TB
2TB
4x4 XEON

## Slide 7
AC inlet
Silencer

## Slide 8: Some small improvements from silencer
Acoustics
Laser intensity noise

## Slide 10: Understanding the noise… Noise projections

## Slide 11: Plans
Until Spring 2009: Astrowatch + low-risk commissioning until Enhanced IFOs come online
After Spring 2009: Upgrade GEO600 towards GEO HF
Keywords: DC readout, squeezing, tuned SR, lower SR factor, OMC, higher power, thermal comp., extend digital control...

## Slide 12
Now:
Auto Alignment on detection bench
Main photo detector on detection bench outside vacuum system
Then:
Auto Alignment on new AA bench
Main photo detector in additional vacuum tank
OMC to reduce higher order TEM mode contributions to detected light

## Slide 13: New and old AA board
Tilt/Pitch Rotation/Yaw
1% of DF
5% of DF

## Slide 14: DC-readout without OMC (Hild 2007)
Nominal heterodyne
Heterodyne with only
10% modulation
Offset to dark fringe
~40mW
~40mW
~15mW
Turning down the RF-modulation (factor 10 is possible)
Using an offset from dark fringe (of the order of 20pm)
 Dark port dominated by carrier light

## Slide 15: Going to tuned DC readout & DC locking, preparations for 2009
Preliminary calibration

## Slide 16: Schematics of injecting squeezed light
More about squeezed light:
Wednesday morning in AIC
Moritz 1550nm, André Twin SR

## Slide 17
Thursday morning in AIC: Henning Vahlbruch

## Slide 18: What can be gained with squeezed light?

## Slide 19: What can be gained with squeezed light?

## Slide 20: Squeezed light and optical losses
6 dB

## Slide 21: Power increase
Currently 3.5kW @ MPR
Increase laser power 10 W (6 W) -> 35 W
Exchange MC mirrors
-> increase throughput 2x
-> 30kW @ MPR

## Slide 22: Options Towards GEO-HF
Frequency [Hz]
Strain / sqrt(Hz)

## Slide 23: Quantum Noise GEO600 vs. GEO-HF
GEO600: 7kW, Schnupp Modulation, 350Hz detuning
GEO-HF: 30kW, DC Readout, OMC, Tuned, broadband

## Slide 24: GEO HF Noises

## Slide 25: Timeline / Summary
DC readout
OMC
In vacuum read out
Squeezed light into output port
Increase laser power
Exchange main mirrors
Spring 2009
Towards 2010

## Slide 26
Assuming thermorefractive noise is 3 times higher -> fits…