## Slide 1: Understanding Cabling Noise in LIGO
Chihyu Chen
Lafayette College
Mentors: Mark Barton
Norna Robertson
Helpful Researcher: Calum Torrie
Co-SURF: Julian Freed-Brown

## Slide 2
Cabling connecting the OMC bench to the cage
OMC double pendulum suspension
E.g. Cabling on OMC
Suspension

## Slide 3: Pendulum as a vibration isolator
Single pendulum resonant at 1 Hz
?
How would the cabling deteriorate the isolation?

## Slide 4
For structural damping
For velocity damping

## Slide 5: Method
Experimental characterization of the cabling’s damping function.
-Jimmy Chen
Computer modeling to apply the damping function to specific cabling-attached-to-suspension systems.
-Julian Freed-Brown

## Slide 6: Apparatus
Two wire torsion pendulum
Support structure for the pendulum
Cabling
Apparatus Design Goals
1. An order of magnitude variability in yaw and pitch frequency
2. Cases that can be easily modeled
3. Stiff support structure

## Slide 7
Yaw frequency range:
0.14 Hz – 1.27 Hz
Pitch frequency range:
0.41 Hz - 2.97Hz
Varying pitch frequency
Varying yaw frequency

## Slide 8
Clamps ensure straight connection pts.
Optics table helps stiffen the support structure

## Slide 9: Data Collecting
Equipment used:
  Kaman eddy current displacement sensor
  LabVIEW data logging system

## Slide 10: Data Analysis
Data analysis method and computer program by Mark Barton

## Slide 11: Results
Model predictions by
Julian Freed-Brown, based on
equations by Calum Torrie.
 | frequency |  |  |  | frequency | 
 | measured | predicted |  |  | measured | predicted
n=1 cm | 0.134 | 0.1366 |  | 0 plate | 0.656 | 0.414
n=3 cm | 0.4089 | 0.4098 |  | 1 plate | 1.56 | 1.458
n=5 cm | 0.6836 | 0.683 |  | 2 plates | 2.14 | 2.066
n=7 cm | 0.958 | 0.956 |  | 3 plates | 2.61 | 2.559
n=9 cm | 1.227 | 1.229 |  | 4 plates | 3.01 | 2.97
Yaw mode
Pitch mode

## Slide 12: Results
 | pitch mode |  |  |  | n = 5 cm |  |  | 
 | without cabling |  |  |  | with cabling |  |  | 
 | frequency | Q |  |  | frequency | Q | Q^0.5 | 
0 plate | 0.656 | 1703 |  |  | 1.2 | 34.8 | 5.899152 | 
1 plate | 1.56 | 2376 |  |  | 2 | 62.9 | 7.930952 | 
2 plates | 2.14 | 3775 |  |  | 2.57 | 93.8 | 9.68504 | 
3 plates | 2.61 | 4627 |  |  | 3.14 | 202 | 14.21267 | 
4 plates | 3.01 | 6293 |  |  | 3.43 | 211 | 14.52584 | 

## Slide 13
Chart: Pitch Mode with Cabling Attached
| 1.2 | 2 | 2.57 | 3.14 | 3.4299999999999997
Q^0.5 | 5.8992 | 7.931 | 9.685 | 14.2127 | 14.5258
Q^0.5 | 5.8992 | 7.931 | 9.685 | 14.2127 | 14.5258

## Slide 14: Results
Future Work
Feed results into Julian’s Mathematica model
Check for agreement between the model and
experiment frequency results.
Study the resulting transfer functions and make
recommendations on cabling dressing.