## viewports
IFO | CHAMBER | VIEWPORT | FUNCTION | DESCRIPTION | VIEWPORT P/N | SOURCE
H1 | A-1B | VP1 | VIDEO | ETMY 2 | 5.4 DIA VP800/450009 | CATALOG
H1 | A-1B | VP2 | PHOTCAL | ETMY-IN | 6.0 in-AR1064/532_nonwedge | CUSTOM
H1 | A-1B | VP3 | OPTLEV | ETMY-IN | 7.8 DIA, ISI 9722012-AR635 | iLIGO
H1 | A-1B | VP4 | VIDEO | ETMY 1 | 5.4 DIA VP800/450009 | CATALOG
H1 | A-1B | VP5 | PHOTCAL | ETMY-OUT | 6.0 in-AR1064/532_nonwedge | CUSTOM
H1 | A-1B | VP6 | OPTLEV | ETMY-OUT | 7.8 DIA, ISI 9722012-AR635 | iLIGO
H1 | A-1C | VP3 | OPTLEV | ITMX-IN | 7.8 DIA, ISI 9722012-AR635 | iLIGO
H1 | A-1C | VP5 | VIDEO | ITMX | 5.4 DIA VP800/450009 | CATALOG
H1 | A-1C | VP6 | OPTLEV | ITMX-OUT | 7.8 DIA, ISI 9722012-AR635 | iLIGO
H1 | A-1E | VP1 | OPTLEV | ETMX-OUT | 7.8 DIA, ISI 9722012-AR635 | iLIGO
H1 | A-1E | VP2 | PHOTCAL | ETMX-OUT | 6.0 in-AR1064/532_nonwedge | CUSTOM
H1 | A-1E | VP3 | VIDEO | ETMX1 | 5.4 DIA VP800/450009 | CATALOG
H1 | A-1E | VP4 | OPTLEV | ETMX-IN | 7.8 DIA, ISI 9722012-AR635 | iLIGO
H1 | A-1E | VP5 | PHOTCAL | ETMX-IN | 6.0 in-AR1064/532_nonwedge | CUSTOM
H1 | A-1E | VP6 | VIDEO | ETMX2 | 5.4 DIA VP800/450009 | CATALOG
H1 | A-1F | VP1 | OPTLEV | ITMY-OUT | 7.8 DIA, ISI 9722012-AR635 | iLIGO
H1 | A-1F | VP2 | VIDEO | ITMY | 5.4 DIA VP800/450009 | CATALOG
H1 | A-1F | VP4 | OPTLEV | ITMY-IN | 7.8 DIA, ISI 9722012-AR635 | CATALOG
H1 | BSC1 | C0G5 | CO2-LASER | ITMY | TCS | CUSTOM
H1 | BSC1 | G11 | VIDEO | ITMY-CP | 5.4 DIA VP800/450009 | CATALOG
H1 | BSC1 | G3 | ILLUMINATION |  | 5.4 DIA VP800/450009 | iLIGO
H1 | BSC10 | C90G3 | DIAGNOSTIC | TRANSMONY GREEN-HARTMANN | 6.0 in-AR1064/532_nonwedge | CUSTOM
H1 | BSC10 | C90G4 | DIAGNOSTIC | TRANSMONY-IR | 6.0 in-AR1064/532_nonwedge | CUSTOM
H1 | BSC10 | G8 | ILLUMINATION |  | 5.4 DIA VP800/450009 | iLIGO
H1 | BSC10 | G9 | VIDEO | TRANSMONY-IR | 5.4 DIA VP800/450009 | CATALOG
H1 | BSC1-S | C0G5 | CO2-LASER | ITMY | TCS | CUSTOM
H1 | BSC2 | G2 | OPTLEV | BS-IN/OUT | 2.7 DIA, MDC450004-AR635 | CATALOG
H1 | BSC2 | G8 | VIDEO | BS | 5.4 DIA VP800/450009 | CATALOG
H1 | BSC2 | G9 | ILLUMINATION |  | 5.4 DIA VP800/450009 | iLIGO
H1 | BSC3 | C0G3 | CO2-LASER | ITMX | TCS | CUSTOM
H1 | BSC3 | G1 | VIDEO | ITMX-CP | 5.4 DIA VP800/450009 | CATALOG
H1 | BSC3 | G11 | ILLUMINATION |  | 5.4 DIA VP800/450009 | iLIGO
H1 | BSC9 | C90G4 | DIAGNOSTIC | TRANSMONX-IR | 6.0 in-AR1064/532_nonwedge | CUSTOM
H1 | BSC9 | C90G5 | DIAGNOSTIC | TRANSMONX GREEN-HARTMANN | 6.0 in-AR1064/532_nonwedge | CUSTOM
H1 | BSC9 | G2 | ILLUMINATION |  | 5.4 DIA VP800/450009 | iLIGO
H1 | BSC9 | G3 | VIDEO | TRANSMONX-IR | 5.4 DIA VP800/450009 | CATALOG
H1 | HAM1 | BF1 | DIAGNOSTIC | ISC Beam | 6.0 in-AR1064/532_nonwedge | CUSTOM
H1 | HAM1 | BF2 | DIAGNOSTIC | COVER GLASS WEDGED | High Quality 6 in Wedged viewport optic | CUSTOM
H1 | HAM1 | BF2 | DIAGNOSTIC | PSL-IN | High Quality 6 in Wedged viewport optic | CUSTOM
H1 | HAM1 | VPA1F3 | DIAGNOSTIC | POP-REFL | 6.0 in-AR1064/532_nonwedge | CUSTOM
H1 | HAM1 | VPA1F4 | DIAGNOSTIC | ALS-GREEN-BEAM | 6.0 in-AR1064/532_nonwedge | CUSTOM
H1 | HAM1 | VPA1F5 | DIAGNOSTIC | IR PSL beam | 6.0 in-AR1064/532_nonwedge | CUSTOM
H1 | HAM1 | VPA2F1 | VIDEO |  | 5.4 DIA VP800/450009 | CATALOG
H1 | HAM1 | VPA2F4 | ILLUMINATION |  | 5.4 DIA VP800/450009 | iLIGO
H1 | HAM2 | C1 | VIDEO | ZERO LENGTH REDUCER | 16 in to 10 in zero length reducer | CUSTOM
H1 | HAM2 | C1 | VIDEO | FI/FR OUTPUT, SM1, SM2 | 5.4 DIA VP800/450009 | CATALOG
H1 | HAM2 | D7 | VIDEO | ZERO LENGTH REDUCER | 12 in to 10 in zero length reducer | CUSTOM
H1 | HAM2 | D7 | VIDEO | MC3 | 5.4 DIA VP800/450009 | CATALOG
H1 | HAM2 | D8 | DIAGNOSTIC | ZERO LENGTH REDUCER | 12 in to 10 in zero length reducer | CUSTOM
H1 | HAM2 | D8 | DIAGNOSTIC | COVER GLASS NON-WEDGED | 6.0 in-AR1064/532_nonwedge | CUSTOM
H1 | HAM2 | D8 | DIAGNOSTIC | REFL & PARKING DUMP BEAMS | 6.0 in-AR1064/532_nonwedge | CUSTOM
H1 | HAM2 | VPA1F1 | ILLUMINATION |  | 5.4 DIA VP800/450009 | iLIGO
H1 | HAM2 | VPA1F2 | VIDEO | general view of HAM2 | 5.4 DIA VP800/450009 | CATALOG
H1 | HAM2 | VPA1F3 | VIDEO | MC1 | 5.4 DIA VP800/450009 | CATALOG
H1 | HAM2 | VPA1F4 | DIAGNOSTIC | COVER GLASS WEDGED | High Quality 6 in Wedged viewport optic | CUSTOM
H1 | HAM2 | VPA1F4 | DIAGNOSTIC | MC-REFL | High Quality 6 in Wedged viewport optic | CUSTOM
H1 | HAM2 | VPA1F5 | DIAGNOSTIC | SM1_TRANS | 6.0 in-AR1064/532_nonwedge | CUSTOM
H1 | HAM2 | VPA2F1 | VIDEO | FR input | 5.4 DIA VP800/450009 | CATALOG
H1 | HAM2 | VPA2F2 | VIDEO | general view of HAM2 | 5.4 DIA VP800/450009 | CATALOG
H1 | HAM2 | VPA2F3 | DIAGNOSTIC | IO-TRANS-MONBEAM/PRC-MM-MONBEAM | 6.0 in-AR1064/532_nonwedge | CUSTOM
H1 | HAM2 | VPA2F4 | DIAGNOSTIC | IO-TRANS-MONBEAM/PRC-MM-MONBEAM | 6.0 in-AR1064/532_nonwedge | CUSTOM
H1 | HAM2 | VPA2F5 | VIDEO | PRM | 5.4 DIA VP800/450009 | CATALOG
H1 | HAM3 | VPA1F3 | ILLUMINATION |  | 5.4 DIA VP800/450009 | iLIGO
H1 | HAM3 | VPA1F4 | DIAGNOSTIC | MC2-TRANS | 6.0 in-AR1064/532_nonwedge | CUSTOM
H1 | HAM3 | VPA1F5 | VIDEO | MC2 | 5.4 DIA VP800/450009 | CATALOG
H1 | HAM3 | VPA2F3 | VIDEO | PR2 | 5.4 DIA VP800/450009 | CATALOG
H1 | HAM4 | VPA1F4 | ILLUMINATION |  | 5.4 DIA VP800/450009 | iLIGO
H1 | HAM4 | VPA2F4 | DIAGNOSTIC | HARTMANN_ITMX | 6.0 in-AR800-1080_non-wedge | CUSTOM
H1 | HAM4 | VPA2F5 | DIAGNOSTIC | HARTMANN_ITMY | 6.0 in-AR800-1080_non-wedge | CUSTOM
H1 | HAM5 | VPA1F3 | ILLUMINATION |  | 5.4 DIA VP800/450009 | CATALOG
H1 | HAM5 | VPA2F3 | VIDEO | OFI | 5.4 DIA VP800/450009 | CATALOG
H1 | HAM6 | BF1 | DIAGNOSTIC | AS | 6.0 in-AR1064/532_nonwedge | CUSTOM
H1 | HAM6 | BF3 | DIAGNOSTIC | OMC-REFL | 6.0 in-AR1064/532_nonwedge | CUSTOM
H1 | HAM6 | VPA2F3 | DIAGNOSTIC | OMC_TRANS | 6.0 in-AR1064/532_nonwedge | CUSTOM
H1 | HAM6 | VPA2F4 | ILLUMINATION |  | 5.4 DIA VP800/450009 | CATALOG
H1 | MCA1 | VP3 | VIDEO | PR2 | 5.4 DIA VP800/450009 | CATALOG
H1 | MCA1 | VP5 | OPTLEV | HAM3_IN/OUT | 7.8 DIA, ISI 9722012-AR635 | CATALOG
H1 | MCA1 | VP9 | VIDEO | MC2 | 5.4 DIA VP800/450009 | CATALOG
H1 | MCA2 | VP10 | VIDEO | SR2 | 5.4 DIA VP800/450009 | CATALOG
H1 | MCA2 | VP5 | OPTLEV | HAM4_IN/OUT | 7.8 DIA, ISI 9722012-AR635 | CATALOG
H1 | MCB1 | VP10 | VIDEO | MC1 | 5.4 DIA VP800/450009 | CATALOG
H1 | MCB1 | VP11 | OPTLEV | PR3_OUT | 7.8 DIA, ISI 9722012-AR635 | CATALOG
H1 | MCB1 | VP12 | VIDEO | PR3 | 5.4 DIA VP800/450009 | CATALOG
H1 | MCB1 | VP3 | VIDEO | MC3 | 5.4 DIA VP800/450009 | CATALOG
H1 | MCB1 | VP5 | OPTLEV | HAM2_IN/OUT | 7.8 DIA, ISI 9722012-AR635 | CATALOG
H1 | MCB1 | VP7 | OPTLEV | PR3_IN | 7.8 DIA, ISI 9722012-AR635 | CATALOG
H1 | MCB1 | VP9 | VIDEO | PRM | 5.4 DIA VP800/450009 | CATALOG
H1 | MCB2 | VP1 | OPTLEV | SR3_OUT | 7.8 DIA, ISI 9722012-AR635 | CATALOG
H1 | MCB2 | VP12 | VIDEO | SR3 | 5.4 DIA VP800/450009 | CATALOG
H1 | MCB2 | VP5 | OPTLEV | SR3_IN | 7.8 DIA, ISI 9722012-AR635 | CATALOG
H1 | MCB2 | VP7 | OPTLEV | HAM5_IN/OUT | 7.8 DIA, ISI 9722012-AR635 | CATALOG
H1 | MCB2 | VP9 | VIDEO | SRM | 5.4 DIA VP800/450009 | CATALOG
H1 | SEPTUM-BSC2 | VP1 | DIAGNOSTIC |  | 6.0 in-AR1064/532_nonwedge | CUSTOM
H1 | SEPTUM-IO | VP1 | DIAGNOSTIC | ALS & POB BEAMS | 6.0 in-AR1064/532_nonwedge | CUSTOM
H1 | SEPTUM-IO | VP2 | DIAGNOSTIC | REFL BEAM | High Quality 6 in Wedged viewport optic | CUSTOM
H1 | SEPTUM-IO | VP3 | DIAGNOSTIC | PSL-IN | High Quality 6 in Wedged viewport optic | CUSTOM
H1 | SEPTUM-IO | VP4 | VIDEO | FI input | 6 in viewport uncoated, nonwedge | CUSTOM
H1 | SEPTUM-OUT | VP1 | TBD |  | blank septum | CUSTOM
H1 | SEPTUM-OUT | VP2 | TBD |  | blank septum | CUSTOM
H1 | SEPTUM-OUT | VP3 | DIAGNOSTIC | AS | High Quality 6 in Wedged viewport optic | eLIGO
H2 | A-17A | VP2 | VIDEO | FETMX2 | 5.4 DIA VP800/450009 | CATALOG
H2 | A-17A | VP3 | PHOTCAL | FETMX-IN | 6.0 in-AR1064/532_nonwedge | CUSTOM
H2 | A-17A | VP5 | OPTLEV | FETMX-IN | 7.8 DIA, ISI 9722012-AR635 | iLIGO
H2 | A-17A | VP6 | VIDEO | FETMX1 | 5.4 DIA VP800/450009 | CATALOG
H2 | A-17A | VP8 | PHOTCAL | FETMX-OUT | 6.0 in-AR1064/532_nonwedge | CUSTOM
H2 | A-17A | VP9 | OPTLEV | FETMX-OUT | 7.8 DIA, ISI 9722012-AR635 | iLIGO
H2 | A-17B | VP2 | OPTLEV | FETMY-OUT | 7.8 DIA, ISI 9722012-AR635 | iLIGO
H2 | A-17B | VP3 | PHOTCAL | FETMY-OUT | 6.0 in-AR1064/532_nonwedge | CUSTOM
H2 | A-17B | VP5 | VIDEO | FETMY1 | 5.4 DIA VP800/450009 | CATALOG
H2 | A-17B | VP6 | OPTLEV | FETMY-IN | 7.8 DIA, ISI 9722012-AR635 | iLIGO
H2 | A-17B | VP8 | PHOTCAL | FETMY-IN | 6.0 in-AR1064/532_nonwedge | CUSTOM
H2 | A-17B | VP9 | VIDEO | FETMY2 | 5.4 DIA VP800/450009 | CATALOG
H2 | A-1C | VP1 | OPTLEV | FITMX-OUT | 7.8 DIA, ISI 9722012-AR635 | iLIGO
H2 | A-1C | VP2A | C02-LASER | FITMX_CO2 | TCS | CUSTOM
H2 | A-1C | VP2B | VIDEO | FITMX_VIDEO | TCS | CUSTOM
H2 | A-1C | VP4 | OPTLEV | FITMX-IN | 7.8 DIA, ISI 9722012-AR635 | iLIGO
H2 | A-1F | VP3 | OPTLEV | FITMY-IN | 7.8 DIA, ISI 9722012-AR635 | iLIGO
H2 | A-1F | VP5A | C02-LASER | FITMY_CO2 | TCS | CUSTOM
H2 | A-1F | VP5B | VIDEO | FITMY_VIDEO | TCS | CUSTOM
H2 | A-1F | VP6 | OPTLEV | FITMY-OUT | 7.8 DIA, ISI 9722012-AR635 | CATALOG
H2 | BSC4 | G11 | ILLUMINATION |  | 5.4 DIA VP800/450009 | iLIGO
H2 | BSC4 | G2 | VIDEO | BS | 5.4 DIA VP800/450009 | CATALOG
H2 | BSC4 | G8 | OPTLEV | BS_IN/OUT | 2.7 DIA, MDC450004-AR635 | CATALOG
H2 | BSC5 | C90G4 | DIAGNOSTIC | TRANSMON IR | 6.0 in-AR1064/532_nonwedge | CUSTOM
H2 | BSC5 | C90G5 | DIAGNOSTIC | TRANSMON GREEN & HARTMANN | 6.0 in-AR1064/532_nonwedge | CUSTOM
H2 | BSC5 | G2 | VIDEO | RMX | 5.4 DIA VP800/450009 | CATALOG
H2 | BSC5 | G3 | VIDEO | ETMX_TRANSMON | 5.4 DIA VP800/450009 | CATALOG
H2 | BSC5 | G8 | ILLUMINATION |  | 5.4 DIA VP800/450009 | iLIGO
H2 | BSC6 | C90G3 | DIAGNOSTIC | TRANSMON GREEN & HARTMANN | 6.0 in-AR1064/532_nonwedge | CUSTOM
H2 | BSC6 | C90G4 | DIAGNOSTIC | TRANSMON IR | 6.0 in-AR1064/532_nonwedge | CUSTOM
H2 | BSC6 | G8 | ILLUMINATION |  | 5.4 DIA VP800/450009 | iLIGO
H2 | BSC6 | G9 | VIDEO | TRANSMONY-IR | 5.4 DIA VP800/450009 | CATALOG
H2 | BSC7 | G11 | OPTLEV | FMX-IN/OUT | 2.7 DIA, MDC450004-AR635 | CATALOG
H2 | BSC7 | G2 | ILLUMINATION |  | 5.4 DIA VP800/450009 | iLIGO
H2 | BSC7 | G8 | VIDEO | CPX | 5.4 DIA VP800/450009 | CATALOG
H2 | BSC8 | G11 | VIDEO | CPX | 5.4 DIA VP800/450009 | CATALOG
H2 | BSC8 | G5 | ILLUMINATION |  | 5.4 DIA VP800/450009 | iLIGO
H2 | BSC8 | G8 | OPTLEV | FMY_IN/OUT | 2.7 DIA, MDC450004-AR635 | CATALOG
H2 | HAM10 | VPA1F3 | ILLUMINATION |  | 5.4 DIA VP800/450009 | iLIGO
H2 | HAM10 | VPA1F4 | DIAGNOSTIC | HARTMANN_ITMX | 6.0 in-AR800-1080_non-wedge | CUSTOM
H2 | HAM10 | VPA1F5 | DIAGNOSTIC | HARTMANN_ITMY | 6.0 in-AR800-1080_non-wedge | CUSTOM
H2 | HAM11 | VPA1F1 | ILLUMINATION |  | 5.4 DIA VP800/450009 | iLIGO
H2 | HAM11 | VPA2F4 | VIDEO | OFI_IN | 5.4 DIA VP800/450009 | CATALOG
H2 | HAM12 | BF1 | DIAGNOSTIC | AS | 6.0 in-AR1064/532_nonwedge | CUSTOM
H2 | HAM12 | BF3 | DIAGNOSTIC | OMC-REFL | 6.0 in-AR1064/532_nonwedge | CUSTOM
H2 | HAM12 | VPA2F3 | DIAGNOSTIC | OMC_TRANS | 6.0 in-AR1064/532_nonwedge | CUSTOM
H2 | HAM12 | VPA2F4 | ILLUMINATION |  | 5.4 DIA VP800/450009 | iLIGO
H2 | HAM7 | BF1 | DIAGNOSTIC | ISC Beam | 6.0 in-AR1064/532_nonwedge | CUSTOM
H2 | HAM7 | BF2 | DIAGNOSTIC | COVER GLASS WEDGED | High Quality 6 in Wedged viewport optic | CUSTOM
H2 | HAM7 | BF2 | DIAGNOSTIC | PSL-IN | High Quality 6 in Wedged viewport optic | CUSTOM
H2 | HAM7 | VPA1F2 | VIDEO | FI input | 5.4 DIA VP800/450009 | CATALOG
H2 | HAM7 | VPA1F3 | DIAGNOSTIC | POP-REFL | 6.0 in-AR1064/532_nonwedge | CUSTOM
H2 | HAM7 | VPA1F4 | DIAGNOSTIC | ALS-GREEN-BEAM | 6.0 in-AR1064/532_nonwedge | CUSTOM
H2 | HAM7 | VPA1F5 | DIAGNOSTIC | IR PSL beam | 6.0 in-AR1064/532_nonwedge | CUSTOM
H2 | HAM7 | VPA2F4 | ILLUMINATION |  | 5.4 DIA VP800/450009 | CATALOG
H2 | HAM8 | C1 | VIDEO | ZERO LENGTH REDUCER | 16 in to 10 in zero length reducer | CUSTOM
H2 | HAM8 | C1 | VIDEO | SM1, SM2, PMMT1, PMMT2, FI, MC3 | 5.4 DIA VP800/450009 | CATALOG
H2 | HAM8 | D7 | VIDEO | ZERO LENGTH REDUCER | 12 in to 10 in zero length reducer | CUSTOM
H2 | HAM8 | D7 | VIDEO | general view of HAM8 | 5.4 DIA VP800/450009 | CATALOG
H2 | HAM8 | D8 | DIAGNOSTIC | ZERO LENGTH REDUCER | 12 in to 10 in zero length reducer | CUSTOM
H2 | HAM8 | D8 | DIAGNOSTIC | COVER GLASS NON-WEDGED | 6.0 in-AR1064/532_nonwedge | CUSTOM
H2 | HAM8 | D8 | DIAGNOSTIC | REFL & PARKING DUMP BEAMS | 6.0 in-AR1064/532_nonwedge | CUSTOM
H2 | HAM8 | VPA1F1 | VIDEO | general view of HAM8 | 5.4 DIA VP800/450009 | CATALOG
H2 | HAM8 | VPA1F2 | VIDEO | FR input | 5.4 DIA VP800/450009 | CATALOG
H2 | HAM8 | VPA1F3 | VIDEO | general view of HAM8 | 5.4 DIA VP800/450009 | CATALOG
H2 | HAM8 | VPA1F4 | DIAGNOSTIC | COVER GLASS WEDGED | High Quality 6 in Wedged viewport optic | CUSTOM
H2 | HAM8 | VPA1F4 | DIAGNOSTIC | MC-REFL | High Quality 6 in Wedged viewport optic | CUSTOM
H2 | HAM8 | VPA1F5 | DIAGNOSTIC | IO-TRANS-MONBEAM/PRC-MM-MONBEAM | 6.0 in-AR1064/532_nonwedge | CUSTOM
H2 | HAM8 | VPA2F1 | VIDEO | PMMT1 | 5.4 DIA VP800/450009 | CATALOG
H2 | HAM8 | VPA2F2 | ILLUMINATION |  | 5.4 DIA VP800/450009 | CATALOG
H2 | HAM8 | VPA2F3 | DIAGNOSTIC | SM1_TRANS | 6.0 in-AR1064/532_nonwedge | CUSTOM
H2 | HAM8 | VPA2F4 | VIDEO | general view of HAM8 | 5.4 DIA VP800/450009 | CATALOG
H2 | HAM9 | VPA1F4 | ILLUMINATION |  | 5.4 DIA VP800/450009 | CATALOG
H2 | HAM9 | VPA1F5 | VIDEO | MC3 | 5.4 DIA VP800/450009 | CATALOG
H2 | HAM9 | VPA2F3 | VIDEO | PR2 | 5.4 DIA VP800/450009 | CATALOG
H2 | MCA3 | VP3 | VIDEO | MC2 | 5.4 DIA VP800/450009 | CATALOG
H2 | MCA3 | VP5 | OPTLEV | HAM9-IN/OUT | 7.8 DIA, ISI 9722012-AR635 | CATALOG
H2 | MCA3 | VP9 | VIDEO | PR2 | 5.4 DIA VP800/450009 | CATALOG
H2 | MCA4 | VP3 | VIDEO | SR2 | 5.4 DIA VP800/450009 | CATALOG
H2 | MCA4 | VP5 | OPTLEV | HAM10_IN/OUT | 7.8 DIA, ISI 9722012-AR635 | CATALOG
H2 | MCB3 | VP10 | VIDEO | PRM | 5.4 DIA VP800/450009 | CATALOG
H2 | MCB3 | VP11 | VIDEO | PR3 | 5.4 DIA VP800/450009 | CATALOG
H2 | MCB3 | VP12 | OPTLEV | PR3_OUT | 7.8 DIA, ISI 9722012-AR635 | CATALOG
H2 | MCB3 | VP2 | VIDEO | MC3 | 5.4 DIA VP800/450009 | CATALOG
H2 | MCB3 | VP3 | VIDEO | MC1 | 5.4 DIA VP800/450009 | CATALOG
H2 | MCB3 | VP5 | OPTLEV | HAM8-IN/OUT | 7.8 DIA, ISI 9722012-AR635 | CATALOG
H2 | MCB3 | VP6 | OPTLEV | PR3_IN | 7.8 DIA, ISI 9722012-AR635 | CATALOG
H2 | MCB4 | VP11 | OPTLEV | SR3-OUT | 7.8 DIA, ISI 9722012-AR635 | CATALOG
H2 | MCB4 | VP12 | VIDEO | SR3 | 5.4 DIA VP800/450009 | CATALOG
H2 | MCB4 | VP5 | OPTLEV | HAM11_IN/OUT | 7.8 DIA, ISI 9722012-AR635 | CATALOG
H2 | MCB4 | VP7 | OPTLEV | SR3-IN | 7.8 DIA, ISI 9722012-AR635 | CATALOG
H2 | MCB4 | VP9 | VIDEO | SRM | 5.4 DIA VP800/450009 | CATALOG
H2 | SEPTUM-BSC4 | VP1 | DIAGNOSTIC |  | 6.0 in-AR1064/532_nonwedge | CUSTOM
H2 | SEPTUM-IO | VP1 | VIDEO | FI input | 6 in viewport uncoated, nonwedge | CUSTOM
H2 | SEPTUM-IO | VP2 | DIAGNOSTIC | PSL-IN | High Quality 6 in Wedged viewport optic | CUSTOM
H2 | SEPTUM-IO | VP3 | DIAGNOSTIC | REFL BEAM | High Quality 6 in Wedged viewport optic | CUSTOM
H2 | SEPTUM-IO | VP4 | DIAGNOSTIC | ALS & POB BEAMS | 6.0 in-AR1064/532_nonwedge | CUSTOM
H2 | SEPTUM-OUT | VP1 | TBD |  | blank septum | CUSTOM
H2 | SEPTUM-OUT | VP2 | TBD |  | blank septum | CUSTOM
H2 | SEPTUM-OUT | VP3 | DIAGNOSTIC | AS | High Quality 6 in Wedged viewport optic | eLIGO
L1 | A-1A | VP3 | OPTLEV | ITMX-IN | 7.8 DIA, ISI 9722012-AR635 | iLIGO
L1 | A-1A | VP5 | VIDEO | ITMX | 5.4 DIA VP800/450009 | CATALOG
L1 | A-1A | VP6 | OPTLEV | ITMX-OUT | 7.8 DIA, ISI 9722012-AR635 | iLIGO
L1 | A-1B | VP1 | OPTLEV | ITMY-OUT | 7.8 DIA, ISI 9722012-AR635 | iLIGO
L1 | A-1B | VP2 | VIDEO | ITMY | 5.4 DIA VP800/450009 | CATALOG
L1 | A-1B | VP4 | OPTLEV | ITMY-IN | 7.8 DIA, ISI 9722012-AR635 | iLIGO
L1 | A-1C | VP1 | OPTLEV | ETMX-OUT | 7.8 DIA, ISI 9722012-AR635 | iLIGO
L1 | A-1C | VP2 | PHOTCAL | ETMX-OUT | 6.0 in-AR1064/532_nonwedge | CUSTOM
L1 | A-1C | VP3 | VIDEO | ETMX1 | 5.4 DIA VP800/450009 | CATALOG
L1 | A-1C | VP4 | OPTLEV | ETMX-IN | 7.8 DIA, ISI 9722012-AR635 | iLIGO
L1 | A-1C | VP5 | PHOTCAL | ETMX-IN | 6.0 in-AR1064/532_nonwedge | CUSTOM
L1 | A-1C | VP6 | VIDEO | ETMX2 | 5.4 DIA VP800/450009 | CATALOG
L1 | A-1D | VP1 | VIDEO | ETMY2 | 5.4 DIA VP800/450009 | CATALOG
L1 | A-1D | VP2 | PHOTCAL | ETMY-IN | 6.0 in-AR1064/532_nonwedge | CUSTOM
L1 | A-1D | VP3 | OPTLEV | ETMY-IN | 7.8 DIA, ISI 9722012-AR635 | iLIGO
L1 | A-1D | VP4 | VIDEO | ETMY1 | 5.4 DIA VP800/450009 | CATALOG
L1 | A-1D | VP5 | PHOTCAL | ETMY-OUT | 6.0 in-AR1064/532_nonwedge | CUSTOM
L1 | A-1D | VP6 | OPTLEV | ETMY-OUT | 7.8 DIA, ISI 9722012-AR635 | CATALOG
L1 | BSC1 | C0G5 | CO2-LASER | ITMY | TCS | CUSTOM
L1 | BSC1 | G11 | VIDEO | ITMY-CP | 5.4 DIA VP800/450009 | CATALOG
L1 | BSC1 | G3 | ILLUMINATION |  | 5.4 DIA VP800/450009 | iLIGO
L1 | BSC1-S | C0G5 | CO2-LASER | ITMY | TCS | CUSTOM
L1 | BSC2 | G2 | OPTLEV | BS-IN/OUT | 2.7 DIA, MDC450004-AR635 | CATALOG
L1 | BSC2 | G8 | VIDEO | BS | 5.4 DIA VP800/450009 | CATALOG
L1 | BSC2 | G9 | ILLUMINATION |  | 5.4 DIA VP800/450009 | iLIGO
L1 | BSC3 | C0G3 | CO2-LASER | ITMX | TCS | CUSTOM
L1 | BSC3 | G1 | VIDEO | ITMX-CP | 5.4 DIA VP800/450009 | CATALOG
L1 | BSC3 | G11 | ILLUMINATION |  | 5.4 DIA VP800/450009 | iLIGO
L1 | BSC4 | C90G4 | DIAGNOSTIC | TRANSMONX-IR | 6.0 in-AR1064/532_nonwedge | CUSTOM
L1 | BSC4 | C90G5 | DIAGNOSTIC | TRANSMONX GREEN-HARTMANN | 6.0 in-AR1064/532_nonwedge | CUSTOM
L1 | BSC4 | G2 | ILLUMINATION |  | 5.4 DIA VP800/450009 | iLIGO
L1 | BSC4 | G3 | VIDEO | TRANSMONX-IR | 5.4 DIA VP800/450009 | CATALOG
L1 | BSC5 | C90G3 | DIAGNOSTIC | TRANSMONY GREEN-HARTMANN | 6.0 in-AR1064/532_nonwedge | CUSTOM
L1 | BSC5 | C90G4 | DIAGNOSTIC | TRANSMONY-IR | 6.0 in-AR1064/532_nonwedge | CUSTOM
L1 | BSC5 | G8 | ILLUMINATION |  | 5.4 DIA VP800/450009 | iLIGO
L1 | BSC5 | G9 | VIDEO | TRANSMONY-IR | 5.4 DIA VP800/450009 | CATALOG
L1 | HAM1 | BF1 | DIAGNOSTIC | ISC Beam | 6.0 in-AR1064/532_nonwedge | CUSTOM
L1 | HAM1 | BF2 | DIAGNOSTIC | COVER GLASS WEDGED | High Quality 6 in Wedged viewport optic | CUSTOM
L1 | HAM1 | BF2 | DIAGNOSTIC | PSL-IN | High Quality 6 in Wedged viewport optic | CUSTOM
L1 | HAM1 | VPA1F3 | DIAGNOSTIC | POP-REFL | 6.0 in-AR1064/532_nonwedge | CUSTOM
L1 | HAM1 | VPA1F4 | DIAGNOSTIC | ALS-GREEN-BEAM | 6.0 in-AR1064/532_nonwedge | CUSTOM
L1 | HAM1 | VPA1F5 | DIAGNOSTIC | IR PSL beam | 6.0 in-AR1064/532_nonwedge | CUSTOM
L1 | HAM1 | VPA2F1 | VIDEO |  | 5.4 DIA VP800/450009 | CATALOG
L1 | HAM1 | VPA2F4 | ILLUMINATION |  | 5.4 DIA VP800/450009 | iLIGO
L1 | HAM2 | C1 | VIDEO | ZERO LENGTH REDUCER | 16 in to 10 in zero length reducer | CUSTOM
L1 | HAM2 | C1 | VIDEO | FI/FR OUTPUT, SM1, SM2 | 5.4 DIA VP800/450009 | CATALOG
L1 | HAM2 | D7 | VIDEO | ZERO LENGTH REDUCER | 12 in to 10 in zero length reducer | CUSTOM
L1 | HAM2 | D7 | VIDEO | MC3 | 5.4 DIA VP800/450009 | CATALOG
L1 | HAM2 | D8 | DIAGNOSTIC | ZERO LENGTH REDUCER | 12 in to 10 in zero length reducer | CUSTOM
L1 | HAM2 | D8 | DIAGNOSTIC | COVER GLASS NON-WEDGED | 6.0 in-AR1064/532_nonwedge | CUSTOM
L1 | HAM2 | D8 | DIAGNOSTIC | REFL & PARKING DUMP BEAMS | 6.0 in-AR1064/532_nonwedge | CUSTOM
L1 | HAM2 | VPA1F1 | ILLUMINATION |  | 5.4 DIA VP800/450009 | iLIGO
L1 | HAM2 | VPA1F2 | VIDEO | general view of HAM2 | 5.4 DIA VP800/450009 | CATALOG
L1 | HAM2 | VPA1F3 | VIDEO | MC1 | 5.4 DIA VP800/450009 | CATALOG
L1 | HAM2 | VPA1F4 | DIAGNOSTIC | COVER GLASS WEDGED | High Quality 6 in Wedged viewport optic | CUSTOM
L1 | HAM2 | VPA1F4 | DIAGNOSTIC | MC-REFL | High Quality 6 in Wedged viewport optic | CUSTOM
L1 | HAM2 | VPA1F5 | DIAGNOSTIC | SM1_TRANS | 6.0 in-AR1064/532_nonwedge | CUSTOM
L1 | HAM2 | VPA2F1 | VIDEO | FR input | 5.4 DIA VP800/450009 | CATALOG
L1 | HAM2 | VPA2F2 | VIDEO | general view of HAM2 | 5.4 DIA VP800/450009 | CATALOG
L1 | HAM2 | VPA2F3 | DIAGNOSTIC | IO-TRANS-MONBEAM/PRC-MM-MONBEAM | 6.0 in-AR1064/532_nonwedge | CUSTOM
L1 | HAM2 | VPA2F4 | DIAGNOSTIC | IO-TRANS-MONBEAM/PRC-MM-MONBEAM | 6.0 in-AR1064/532_nonwedge | CUSTOM
L1 | HAM2 | VPA2F5 | VIDEO | PRM | 5.4 DIA VP800/450009 | CATALOG
L1 | HAM3 | VPA1F3 | ILLUMINATION |  | 5.4 DIA VP800/450009 | iLIGO
L1 | HAM3 | VPA1F4 | DIAGNOSTIC | MC2-TRANS | 6.0 in-AR1064/532_nonwedge | CUSTOM
L1 | HAM3 | VPA1F5 | VIDEO | MC2 | 5.4 DIA VP800/450009 | CATALOG
L1 | HAM3 | VPA2F3 | VIDEO | PR2 | 5.4 DIA VP800/450009 | CATALOG
L1 | HAM4 | VPA1F4 | ILLUMINATION |  | 5.4 DIA VP800/450009 | iLIGO
L1 | HAM4 | VPA2F4 | DIAGNOSTIC | HARTMANN_ITMX | 6.0 in-AR800-1080_non-wedge | CUSTOM
L1 | HAM4 | VPA2F5 | DIAGNOSTIC | HARTMANN_ITMY | 6.0 in-AR800-1080_non-wedge | CUSTOM
L1 | HAM5 | VPA1F3 | ILLUMINATION |  | 5.4 DIA VP800/450009 | CATALOG
L1 | HAM5 | VPA2F3 | VIDEO | OFI | 5.4 DIA VP800/450009 | CATALOG
L1 | HAM6 | BF1 | DIAGNOSTIC | AS | 6.0 in-AR1064/532_nonwedge | CUSTOM
L1 | HAM6 | BF3 | DIAGNOSTIC | OMC-REFL | 6.0 in-AR1064/532_nonwedge | CUSTOM
L1 | HAM6 | VPA2F3 | DIAGNOSTIC | OMC_TRANS | 6.0 in-AR1064/532_nonwedge | CUSTOM
L1 | HAM6 | VPA2F4 | ILLUMINATION |  | 5.4 DIA VP800/450009 | CATALOG
L1 | MCA1 | VP3 | VIDEO | PR2 | 5.4 DIA VP800/450009 | CATALOG
L1 | MCA1 | VP5 | OPTLEV | HAM3_IN/OUT | 7.8 DIA, ISI 9722012-AR635 | CATALOG
L1 | MCA1 | VP9 | VIDEO | MC2 | 5.4 DIA VP800/450009 | CATALOG
L1 | MCA2 | VP10 | VIDEO | SR2 | 5.4 DIA VP800/450009 | CATALOG
L1 | MCA2 | VP5 | OPTLEV | HAM4_IN/OUT | 7.8 DIA, ISI 9722012-AR635 | CATALOG
L1 | MCB1 | VP10 | VIDEO | MC1 | 5.4 DIA VP800/450009 | CATALOG
L1 | MCB1 | VP11 | OPTLEV | PR3_OUT | 7.8 DIA, ISI 9722012-AR635 | CATALOG
L1 | MCB1 | VP12 | VIDEO | PR3 | 5.4 DIA VP800/450009 | CATALOG
L1 | MCB1 | VP3 | VIDEO | MC3 | 5.4 DIA VP800/450009 | CATALOG
L1 | MCB1 | VP5 | OPTLEV | HAM2_IN/OUT | 7.8 DIA, ISI 9722012-AR635 | CATALOG
L1 | MCB1 | VP7 | OPTLEV | PR3_IN | 7.8 DIA, ISI 9722012-AR635 | CATALOG
L1 | MCB1 | VP9 | VIDEO | PRM | 5.4 DIA VP800/450009 | CATALOG
L1 | MCB2 | VP1 | OPTLEV | SR3_OUT | 7.8 DIA, ISI 9722012-AR635 | CATALOG
L1 | MCB2 | VP12 | VIDEO | SR3 | 5.4 DIA VP800/450009 | CATALOG
L1 | MCB2 | VP5 | OPTLEV | SR3_IN | 7.8 DIA, ISI 9722012-AR635 | CATALOG
L1 | MCB2 | VP7 | OPTLEV | HAM5_IN/OUT | 7.8 DIA, ISI 9722012-AR635 | CATALOG
L1 | MCB2 | VP9 | VIDEO | SRM | 5.4 DIA VP800/450009 | CATALOG
L1 | SEPTUM-BSC2 | VP1 | DIAGNOSTIC |  | 6.0 in-AR1064/532_nonwedge | CUSTOM
L1 | SEPTUM-IO | VP1 | DIAGNOSTIC | ALS & POB BEAMS | 6.0 in-AR1064/532_nonwedge | CUSTOM
L1 | SEPTUM-IO | VP2 | DIAGNOSTIC | REFL BEAM | High Quality 6 in Wedged viewport optic | CUSTOM
L1 | SEPTUM-IO | VP3 | DIAGNOSTIC | PSL-IN | High Quality 6 in Wedged viewport optic | CUSTOM
L1 | SEPTUM-IO | VP4 | VIDEO | FI input | 6 in viewport uncoated, nonwedge | CUSTOM
L1 | SEPTUM-OUT | VP1 | TBD |  | blank septum | CUSTOM
L1 | SEPTUM-OUT | VP2 | TBD |  | blank septum | CUSTOM
L1 | SEPTUM-OUT | VP3 | DIAGNOSTIC | AS | High Quality 6 in Wedged viewport optic | eLIGO