## OVERALL BOM
[10 empty] | CALIFORNIA INSTITUTE OF TECHNOLOGY | [11 empty] | DRWG NO. REV GID
[10 empty] | MASSACHUSETTS INSTITUTE OF TECHNOLOGY | [11 empty] | E1100823-v1
ASSEMBLY NO:
[18 empty] | OVERALL BILL OF MATERIALS |  |  |  |  | D1000442
|  |  |  | TITLE: |  |  | BOM-aLIGO INTERMEDIATE MASS TOP ASSEMBLY
[10 empty] | APPROVALS: | [7 empty] | DATE: | REV | DCN NO. | BY | CHECK | DCC | DATE
|  |  |  | DRAWN / AUTHOR: | [5 empty] | CIT, JT | [7 empty] | 2012-02-07 | v1 | E1100351 | JT
(REFERENCE CONTENTS)
CHECKED:
APPROVED:
DCC RELEASE
item no | alternative | asrequired | reference | ITEM NO | quantity | required | REQ | extra | SPARE | TOT | PART NO. | number | numb | DESCRIPTION | PART NUMBER | PART NUMBER | DESCRIPTION (no longer called!) | REVISION | DESCRIPTION |  |  |  |  | MATERIAL
|  |  |  | 1 |  |  | 1 | 0 | 0 | 1 | [5 empty] | D060397 |  | v2 | aLIGO, SUS, TOP MASS QUAD N-PTYPE, TOP MASS SPACER |  |  |  |  | 304 SSTL
1 |  |  |  | 2 |  |  | 65 | 2 | 10 | 75 | [5 empty] | C-2016-NA |  |  | UC COMP, SOCKET HEAD CAP SCREW, .25-20 X 1 LG, SSTL |  |  |  |  | Ag-PLATED 300 SSTL
1 |  |  |  | 3 |  |  | 3 | 2 | 0 | 3 | [5 empty] | D1000395 |  | v1 | aLIGO INTERMEDIATE TOP MASS SPACER |  |  |  |  | 304 SSTL
|  |  |  | 4 |  |  | 4 | 0 | 0 | 4 | [5 empty] | D060409 |  | v3 | aLIGO, SUS, QUAD N-PTYPE TOP MASS, OSEM ECD UNIT |  |  |  |  | N/A
|  |  |  | 5 |  |  | 2 | 1 | 0 | 2 | [5 empty] | D1000393 |  | v2 | aLIGO INTERMEDIATE MASS TOP PLATE |  |  |  |  | 304 SSTL
|  |  |  | 6 |  |  | 1 | 1 | 0 | 1 | [5 empty] | D060412 |  | v2 | aLIGO, SUS, QUAD N-PTYPE TOP MASS, OSEM BRACKET (TOP OSEM) |  |  |  |  | 6061-T6 Al
|  |  |  | 7 |  |  | 23 | 1 | 12 | 35 | [5 empty] | 96861A600 |  |  | McMASTER, 1/4 VENTED WASHER, .255 ID X .468 OD X .032 THK, SSTL |  |  |  |  | 18-8 SSTL
|  |  |  | 8 |  |  | 2 | 1 | 1 | 3 | [5 empty] | D1001695 |  | v2 | HLTS MAGNET AND FLAG ASSEMBLY, BOSEM |  |  |  |  | N/A
|  |  |  | 9 |  |  | 2 |  | 0 | 2 | [5 empty] | D060420 |  | v2 | aLIGO, SUS, TOP MASS QUAD N-PTYPE, WIRE CLAMP ADJUSTMENT BLOCK |  |  |  |  | 6061-T6 Al
|  |  |  | 10 |  |  | 1 |  | 0 | 1 | [5 empty] | D1000394 |  | v2 | aLIGO INTERMEDIATE MASS BOTTOM PLATE |  |  |  |  | 304 SSTL
|  |  |  | 11 |  |  | 4 |  | 0 | 4 | [5 empty] | D060399 |  | v2 | aLIGO, SUS, QUAD TOP MASS N-PTYPE, STOP BRIDGE |  |  |  |  | 6061-T6 Al
|  |  |  | 12 |  |  | 4 |  | 2 | 6 | [5 empty] | D1101269 |  | v1 | NICKEL-COPPER ALLOY 400, .250-20 HEX NUT, MODIFIED |  |  |  |  | NICKEL- COPPER ALLOY 400
|  |  |  | 13 |  |  | 6 |  | 0 | 6 | [5 empty] | D1101069 |  | v1 | SUS SPRING STOP SCREW |  |  |  |  | 316 SSTL
|  |  |  | 14 |  |  | 2 |  | 0 | 2 | [5 empty] | D1000632 |  | v2 | aLIGO TOP MASS BAR |  |  |  |  | 304 SSTL
|  |  |  | 15 |  |  | 12 |  | 0 | 12 | [5 empty] | 92510A766 |  |  | McMASTER, SPACER, ALUMINUM, .252 I.D., 1/2 O.D., 5/8 LG (OR EQUIV) |  |  |  |  | 6061-T6 Al
|  |  |  | 16 |  |  | 4 |  | 4 | 8 | [5 empty] | C-2020-NA (U-C COMP) or equiv |  |  | SCREW, SOCKET HEAD CAP, 1/4-20 UNC-2A X 1.25 LONG |  |  |  |  | Ag-PLATED 300 SSTL
|  |  |  | 17 |  |  | 4 |  | 1 | 5 | [5 empty] | 94804A029 |  |  | McMASTER, HEX NUT, 1/4-20 2B, SSTL, ASME B18.2.2 |  |  |  |  | 316 SSTL
|  |  |  | 18 |  |  | 2 |  | 0 | 2 | [5 empty] | D070219 |  | v2 | aLIGO, SUS, QUAD N-PTYPE WIRING HARNESS, MASS WIRE CLAMP BASE |  |  |  |  | 6061-T6 Al
|  |  |  | 19 |  |  | 8 |  | 3 | 11 | [5 empty] | 97022A489 |  |  | McMASTER, 1/4 SHIM WASHER, .251 ID X .375 OD X .03 THK |  |  |  |  | 316 SSTL
|  |  |  | 20 |  |  | 8 |  | 4 | 12 | [5 empty] | D0900004 |  | v1 | UHV COMPATIBLE CABLE CLAMP |  |  |  |  | PEEK
|  |  |  | 21 |  |  | 4 |  | 1 | 5 | [5 empty] | C-2008-NA |  |  | U-C COMP, SOCKET HEAD CAP SCREW, .25-20 X .50 LG, SSTL |  |  |  |  | Ag-PLATED 300 SSTL
|  |  |  | 22 |  |  | 2 |  | 0 | 2 | [5 empty] | D060377 |  | v2 | aLIGO, SUS, QUAD N-PTYPE UI MASS, BLADE TIP Z POSITION ADJ (BTM HALF PART 2) |  |  |  |  | 6061-T6 Al
|  |  |  | 23 |  |  | 2 |  | 0 | 2 | [5 empty] | D060378 |  | v2 | aLIGO, SUS, QUAD N-PTYPE UI MASS, BLADE TIP Z POSITION ADJ (BTM HALF) |  |  |  |  | 304, 316 OR 302 SSTL
|  |  |  | 24 |  |  | 2 |  | 0 | 2 | [5 empty] | D060237 |  | v2 | ADV LIGO, SUS, QUAD N-PTYPE UI MASS, BOTTOM BLADE SPRINGS |  |  |  |  | MARAGING STEEL C250
|  |  |  | 25 |  |  | 2 |  | 0 | 2 | [5 empty] | D060380 |  | v2 | aLIGO, SUS, QUAD N-PTYPE UI MASS, BLADE CLAMP (TOP HALF) |  |  |  |  | 304 SSTL
|  |  |  | 26 |  |  | 4 |  | 1 | 5 | [5 empty] | 91944A028 |  |  | McMASTER, 1/4 SELF ALIGNING WASHER SET, .266 MIN ID X .50 MAX OD X .29 MAX THK APPROVED VITON ELASTOMER, SHORE A 70-75 |  |  |  |  | 18-8 SSTL
|  |  |  | 27 |  |  | 2 |  | 2 | 4 | [5 empty] | D1001697 |  | v1 | MAGNET RETAINER, BOSEM |  |  |  |  | 316 SSTL
|  |  |  | 28 |  |  | 2 |  | 4 | 6 | [5 empty] | D1001534 |  | v1 | MAGNETIC PLUG |  |  |  |  | 416 SSTL
|  |  |  | 29 |  |  | 2 |  | 2 | 4 | [5 empty] | DCNI01888/N |  |  | SINTERED NdFeB MAGNET, Ni-PLATED, 10 mm X 10 mm (MMG MAGDEV P/N OR EQUIVALENT) |  |  |  |  | NEO 35 (NdFeB)