## Sheet1
EtherCAT chassis D1102207 Cable Pull Table
Origin |  |  |  | Connector |  | Destination |  |  |  |  | Connector
Rack name | Location in Rack | Chassis number | Port name | Size and sex | Description | Rack name | Location in Rack | Chassis name | Chassis number | Port name | Size and Sex | Cable length
CER Rack AOS-C1 |  | D1102207 | Rear panel: to ITMX RH driver | DB37 F | Connection to ITMX RH driver chassis | CER Rack AOS-C1 | U33 (D1201119) | Ring Heater Driver | D1003254 | Front panel: To TCS EtherCAT chassis | DB37 M | 3 feet
CER Rack AOS-C1 |  | D1102207 | Rear panel: to ITMY RH driver | DB37 F | Connection to ITMY RH driver chassis | CER Rack AOS-C1 | U30 (D1201119) | Ring Heater Driver | D1003254 | Front panel: To TCS EtherCAT chassis | DB37 M | 3 feet
CER Rack AOS-C1 |  | D1102207 | Rear panel: to HWS ADC | DB50M | Connection to HWS ADC EtherCAT terminals | TCS L1-R1 | U36 (D1201122) | ITM HWS EtherCAT cable splitter | D1102205 | Rear panel: To HWS ADC | DB50 F | 122 feet
CER Rack AOS-C1 |  | D1102207 | Rear panel: from HWS DAC | DB50F | Connection from HWS DAC EtherCAT terminals | TCS L1-R1 | U36 (D1201122) | ITM HWS EtherCAT cable splitter | D1102205 | Rear panel: From HWS DAC | DB50 M | 122 feet
CER Rack AOS-C1 |  | D1102207 | Rear panel: from CO2-X DAC | DB37 F | Connection from CO2X DAC EtherCAT terminals | TCS L1-R1 | U23 (D1201122) | CO2P EtherCAT cable splitter | D1201063 | Rear panel: from CO2P DAC | DB37 M | 112 feet
CER Rack AOS-C1 |  | D1102207 | Rear panel: to CO2-X ADC | DB37 M | Connection to CO2X ADC EtherCAT terminals | TCS L1-R1 | U23 (D1201122) | CO2P EtherCAT cable splitter | D1201063 | Rear panel: to CO2P ADC | DB37 F | 112 feet
CER Rack AOS-C1 |  | D1102207 | Rear panel: from CO2-Y DAC | DB37 F | Connection from CO2Y DAC EtherCAT terminals | TCS L1-R2 | U23 (D1201123) | CO2P EtherCAT cable splitter | D1201063 | Rear panel: from CO2P DAC | DB37 M | 146 feet
CER Rack AOS-C1 |  | D1102207 | Rear panel: to CO2-Y ADC | DB37 M | Connection to CO2Y ADC EtherCAT terminals | TCS L1-R2 | U23 (D1201123) | CO2P EtherCAT cable splitter | D1201063 | Rear panel: to CO2P ADC | DB37 F | 146 feet
CER Rack AOS-C1 |  | D1102207 | Front Panel:IN | RJ45 | Ethernet connection to EtherCAT network | L1-ISC-R2 | U17 (D1001427) | EtherCAT ISC Common Corner | D1002961 | TCS | RJ45 | 36 feet
CER Rack AOS-C1 |  | D1102207