## Sheet1
ACCEPTANCE DOCUMENTATION REVIEW CHECK LIST
Subsystem:
Top Level Assembly:
Acceptance Doc. # - version: |  | Note: file this check list as an "Other file" in the DCC entry for the acceptance document
Review team members:
Review per M1100282
| acceptance document | document link/reference | status/comments
Documentation Tree Root DCC entry
COMMON TO ALL INSTANCES OF THE TOP ASSEMBLY
Design Requirements Doc. (DRD)
Final Design Document (FDD)
final design report
supporting analyses/models
prototype tests
drawing/document tree/list
parts list (BOM)
in-process spares list {see Operation Manual" entry below for operational spares list}
design drawings, schematics, interfaces, etc.
SW Vault files
Electronics Vault Files
Front-end or Embedded Software SVN
| Specifications | spec name #1
spec name #2
…
spec name #n
| Assembly procedure(s) | assy doc name #1
assy doc name #2
…
assy doc name #n
Installation plan/procedure(s)
Test & Commissioning Doc Tree
Test plan/procedure(s)
User Interface Software SVN
Operation Manual(s) [aka "User's Manual", "Operator's Manual"] content per M1200366-v2, in particular an operational spares list and a schedule for maintenance/inspection
Troubleshooting Guide
| Safety Docs | safety doc #1
safety doc #2
…
safety doc #n
SPECIFIC TO A PARTICULAR INSTANCE OF THE TOP ASSEMBLY
Top Assembly Name
ICS Assembly #
acceptance document
ICS inventory
S-numbers
Test results
Channel/Signal List and Calibrations