## HEPI Pier Components
E1101149 |  |  |  |  | Horizontal |  |  |  |  | Vertical
Location | Orientation | Side | Housing | Pier interface Module | Sercel L4C | HEPI Actuator | Kaman DIT5200 | Modified DYP2S Parker Control Valve | Comments | Sercel L4C | HEPI Actuator | Kaman DIT5200 | Modified DYP2S Parker Control Valve | Comments
BSC1 | NW | right | 055 | S1202916 | L41503 | 287 | S0812221-03-01 X | L104 |  | L41353 | 301 | S0812221-03-01 Y | L213
BSC1 | NE | left | 062 | S1202917 | L41509 | 361 | S0812221-03-10 X | L135 |  |  | 285 | S0812221-03-10 Y | L111
BSC1 | SE | r | 061 | S1202918 | L41500 | 392 | S0812221-06-05 X | L220 |  | NR | 368 | S0812221-06-05 Y | L174
BSC1 | SW | l | 056 | S1202919 | L41496 | 386 | S0812221-06-09 X | L103 |  | L41451 | 388 | S0812221-06-09 Y | L092
BSC2 | NW | l | 045 | S1202910 | L41506 | 303 | S0812221-06-25 X | L088 |  | L41335 | 305 | S0812221-06-25 Y | L067
BSC2 | NE | r | 077 | S1202913 | L41694 | 345 | S0812221-05-04 X | L097 |  | L41446 | 346 | S0812221-05-04 Y | L204
BSC2 | SE | l | 051 | S1202914 | L41363 | 264 | S0812221-06-22X | L115 |  | L41350 | 308 | S0812221-06-22 Y | L061
BSC2 | SW | r | 054 | S1202915 | L41377 | 275 | S0812221-02-11 X | L089 |  | L41352 | 349 | S0812221-02-11 Y | L170
BSC3 | NW | l | 064 | S1200322 | L41508 | 385 | S0812221-06-15 X | L195 |  |  | 376 | S0812221-06-15 Y | L121
BSC3 | NE | r | 069 | S1202936 | L41498 | 357 | S0812221-06-10 X | L106 |  |  | 378 | S0812221-06-10 Y | L077
BSC3 | SE | l | 076 | S1000022 | L41502 | 383 | S0812221-06-08 X | L138 |  |  | 390 | S0812221-06-08 Y | L222
BSC3 | SW | r | 072 | S0900205 | L41373 | 381 | S0812221-06-16 X | L223 |  |  | 366 | S0812221-06-16 Y | L172
BSC6 | NW | l | 080 |  | L41497 |  |  |  |  | L41650
BSC6 | NE | r | 083 |  | L41495 |  |  |  |  | L41349
BSC6 | SE | l | 046 |  | L41364 |  |  |  |  | L41341
BSC6 | SW | r | 063 |  | L41507 |  |  |  |  | L41339
BSC8 | NW | l | [6 empty] | JAN 9, 2012 replaced L4C - L41375 with L41499. Actuator Control Valve L119 was removed and replaced with L195 on FEB 7, 2012. Actuator SN 385.
BSC8 | NE | r | [6 empty] | Removed BSC8 Kaman electronic boxes after single arm work from BSC8 HEPI pier interface module SN's S0900229, S0900233, S0900152, S0900199.
BSC8 | SE | l
BSC8 | SW | r
BSC9 | NW | r | 081 | S0900154 | L41362 | 271 | S0812221-05-09 X | L167 |  |  | 289 | S0812221-05-09 Y | L063
BSC9 | NE | l | 50 | S0900161 | L41504 | 354 | S0812221-05-24 X | L175 |  |  | 342 | S0812221-05-24 X | L073
BSC9 | SE | r | 059 | S0900153 | L41378 | 307 | S0812221-02-16 X | L098 |  |  | 270 | S0812221-02-16 X | L206
BSC9 | SW | l | 60 | S0900158 | L41374 | 293 | S0812221-05-16 X | L014 |  |  | 328 | S0812221-05-16 Y | L094
BSC10 | NW |  | 84 | S0900236 | L41499 | 395 | S0812221-01-02 X | L105 |  | L41609 | 374 | S0812221-01-02 Y | L225
BSC10 | NE |  | 87 | S0900202 | L41511 | 379 | S0812221-06-36 X | L102 |  | L41448 | 371 | S0812221-06-36 Y | L136
BSC10 | SE |  | 52 | S0900178 | L41510 | 391 | S0812221-06-14 X | L208 |  | L41649 | 364 | S0812221-06-14 Y | L207
BSC10 | SW |  | 47 | S0900234 | L41376 | 396 | S0812221-06-02 X | L133 |  | L41421 | 389 | S0812221-06-02 Y | L120
HAM1 | NW | r | 008 | S0900229 | L41505 | 393 | S0812221-06-01 X | L087 |  | L41442 | 377 | S0812221-06-01 Y | L180
HAM1 | NE | l | 048 | S0900233 | L41689 | 276 | S0812221-05-06 X | L184 |  | L41344 | 280 | S0812221-05-06 Y | L182
HAM1 | SE | r | 004 | S0900152 | L41662 | 255 | S0812221-02-02 X | L145 |  | L41346 | 310 | S0812221-02-02 Y | L139
HAM1 | SW | l | 007 | S0900199 | L41365 | 277 | S0812221-02-23 X | L200 |  | L41342 | 335 | S0812221-02-23 Y | L163
HAM2 | NW | r | 025 | S1000030 | L41523 | 306 | S0812221-02-18 X | L070 |  | L41422 | 260 | S0812221-02-18 Y | L143
HAM2 | NE | l | 028 | S1202911 | L41370 | 281 | S0812221-02-29 X | L181 |  | L41420 | 352 | S0812221-02-29 Y | L082
HAM2 | SE | r | 037 | S1202921 | L41524 | 254 | S0812221-02-12 X | L144 |  | L41449 | 262 | S0812221-02-12 Y | L062
HAM2 | SW | l | 038 | S1202922 | L41527 | 326 | S0812221-05-13 X | L211 |  | L41440 | 323 | S0812221-05-13 Y | L056
HAM3 | NW | r | 043 | S1202923 | L41358 | 261 | S0812221-02-15 X | L108 |  | L41647 | 274 | S0812221-02-15 Y | L113
HAM3 | NE | l | 011 | S1202924 | L41693 | 355 | S0812221-05-25 X | L173 |  | L41441 | 336 | S0812221-05-25 Y | L165
HAM3 | SE | r | 067 | S1202925 | L41681 | 279 | S0812221-02-34 X | L095 |  | L41430 | 339 | S0812221-02-34 Y | L179
HAM3 | SW | l | 082 | S1202926 | L41366 | 286 | S0812221-06-19 X | L091 |  | L41447 | 387 | S0812221-06-19 Y | L117
HAM4 | NW | l | 040 | S0900227 | L41372 | 296 | S0812221-06-18 X | R22952 |  | L41437 | 291 | S0812221-06-18 Y | L069
HAM4 | NE | r | 031 | S1000028 | L41359 | 365 | S0812221-02-24 X | L197 |  | L41428 | 290 | S0812221-02-24 Y | L072
HAM4 | SE | l | 036 | S1000027 | L41360 | 362 | S0812221-02-26 X | L055 |  | L41434 | 320 | S0812221-02-26 Y | L054
HAM4 | SW | r | 049 | S0900230 | L41513 | 350 | S0812221-06-07 X | L076 |  | L41438 | 397 | S0812221-06-07 Y | L188
HAM5 | NW | l | 034 | S1000029 | L41516 | 332 | S0812221-06-24 X | L057 |  | L41622 | 360 | S0812221-06-24 Y | L215
HAM5 | NE | r | 029 | S1202909 | L41368 | 334 | S0812221-02-10 X | L160 |  | L41354 | 356 | S0812221-02-10 Y | L086
HAM5 | SE | l | 044 | S1202908 | L41517 | 331 | S0812221-06-32 X | L162 |  | L41435 | 253 | S0812221-06-32 Y | L090
HAM5 | SW | r | 012 | S1202907 | L41361 | 325 | S0812221-05-02 X | L161 |  | L41337 | 297 | S0812221-05-02 Y | L085
HAM6 | NW | l | 09 | S1202934 | L41531 | 324 | S0812221-06-29 X | L046 |  |  | 382 | S0812221-06-29 Y | L221
HAM6 | NE | r | 39 | S1202929 | L41668 | 367 | S0812221-02-31 X | L191 |  | L41450 | 344 | S0812221-02-31 Y | L096
HAM6 | SE | l | 58 | S1202932 | L41525 | 330 | S0812221-05-07 X | L209 |  | L41427 | 257 | S0812221-05-07 Y | L116
HAM6 | SW | r | 75 | S1202935 | L41691 | 316 | S0812221-06-35 X | L075 |  |  | 370 | S0812221-06-35 Y | L212
HAM7 | NW | r | 065 |  | L41520
HAM7 | NE | l | 70 |  | L41680
HAM7 | SE | r | 033 |  | L41513
HAM7 | SW | l | 066 |  | L41518
HAM8 | NW | r | 041 |  | L41519
HAM8 | NE | l | 078 |  | L41522
HAM8 | SE | r | 079 |  | L41655 |  |  |  |  | L41451
HAM8 | SW | l | 074 |  | L41521 |  |  |  |  | L41333
HAM9 | NW | r | 006 |  | L41665
HAM9 | NE | l | 005 |  | L41356
HAM9 | SE | r | 010 |  | L41692
HAM9 | SW | l | 003 |  | L41530
HAM10 | NW | l | 030 |  | L41371
HAM10 | NE | r | 073 |  | L41515
HAM10 | SE | l | 001 |  | L41369
HAM10 | SW | r | 027 |  | L41526
S0900179
Not yet verified
tracking descepancy
Unable to verify
| verified |  | unless noted all parts have been verified.
Issues
not yet installed
EE Lab
Assembled
Actuators in ICS as of 5/28/13 Parts not yet verified were still put in ICS
Housings in ICS as of 5/29/13 Parts not yet verified were still put in ICS
Vert and Horz L4-C's in ICS as of 5/29/13 Parts not yet verified were still put in ICS.
Parker valve in ICS as of 5/29/13 Parts not yet verified were still put in ICS
Note on H2: mitchell.robinson: D020284
Note on D2: mitchell.robinson: D020004
Note on D13: mitchell.robinson: used to be 52
Note on D12: mitchell.robinson: used to be 057
Note on D11: mitchell.robinson: used to be 084
Note on D14: mitchell.robinson: used to be 047
Note on O3: mitchell.robinson: originally L013
Note on I9: mitchell.robinson: hugh.radkins@LIGO.ORG - 16:28, Friday 10 May 2013 (6334) Alog.
Note on N9: mitchell.robinson: hugh.radkins@LIGO.ORG - 16:28, Friday 10 May 2013 (6334) Alog.
Note on F2: mitchell.robinson: D080521
Note on L33: mitchell.robinson: L41330 original actual L41346
Note on G2: mitchell.robinson: 006177.010
Note on D87: mitchell.robinson: shipment 6298 corrected 6 L4Cs from LLO to LHO shipment 6299 corrected 10 L4Cs from LLO to LHO.
Note on D28: mitchell.robinson: 57? Based on V8 BSC8
Note on F71: mitchell.robinson: Not tied to anything as of 6/4/13. Location EE lab. No Kaman 2/4/15
Note on I2: mitchell.robinson: DIT-5200-20N
Note on J2: mitchell.robinson: DYP2SCD1359
Note on L2: mitchell.robinson: 006177.009
Note on O8: mitchell.robinson: Given to Hugh for use on BSC 2 NE (corner 2)
Note on G42: mitchell.robinson: verify this is in ICS.

## 3rd IFO
Horizontal | [5 empty] | Vertical
Location | Location | HEPI Actuator | Kaman DIT5200 | Modified DYP2S Parker Control Valve | Comments | Sercel L4C | HEPI Actuator | Kaman DIT-5200 20N | Modified DYP2S Parker Control Valve | Comments
D-0L R1 | Mech bldg D-0-L Pallet 1 | C-312 | S0812221-05-01 X | L193 |  |  | C-314 | S0812221-05-01 Y | L218
|  | C-273 | S0812221-02-04 X+ | L119 | Missing Parker drip catch |  | C-263 | S0812221-02-04 | L146 | Missing Parker drip catch
|  | C-309 | S0812221-06-03 X | L060 |  |  | C-351 | S0812221-06-03 Y | L068
|  | C-313 | S0812221-01-01 X | L205 |  |  | C-288 | S0812221-01-01 Y | L002 | Missing Parker drip catch
|  | C-298 | S0812221-03-02 X | L066 |  |  | C-304 | S0812221-03-02 Y | L058
|  | C-373 | S0812221-06-28 X | L093 |  |  | C-384 | S0812221-06-28 Y | L171
|  | C-359 | S0812221-02-30 X | L199 |  |  | C-337 | S0812221-02-30 Y | L045
|  | C-278 | S0812221-05-08 X | L185 |  |  | C-283 | S0812221-05-08 | L183
| Mech bldg D-0-R Pallet 2 | C-394 | S0812221-05-26 X | L224 |  |  | C-294 | S0812221-05-26 Y | L192
|  | C-258 | S0812221-05-19 X | L130 |  |  | C-266 | S0812221-05-19 Y | L129
|  | C-315 | S0812221-02-14 X | L216 |  |  | C-300 | S0812221-02-14 Y | L-198
|  | C-272 | S0812221-02-20 X | L148 |  |  | C-267 | S0812221-02-20 Y | L053
|  | C-256 | S0812221-02-09 X | L112 |  |  | C-268 | S0812221-02-09 Y | L131
|  | C-348 | S0812221-02-08 X | L110 |  |  | C-311 | S0812221-02-08 Y | L140
|  | C-299 | S0812221-02-07 X | L214 |  |  | C-369 | S0812221-02-07 Y | L219
|  | C-353 | S0812221-02-25 X | L178 | Missing Parker drip catch |  | C-318 | S0812221-02-25 Y | L114
| Mech bldg C-0-L Pallet 3 | C-295 | S0812221-05-23 X | L132 |  |  | C-302 | S0812221-05-23 Y | L100
|  | C-347 | S0812221-02-35 X | L079 |  |  | C-341 | S0812221-02-35 Y | L124
|  | C-292 | S0812221-05-12 X | L059 |  |  | C-269 | S0812221-05-12 Y | L099
|  | C-282 | S0812221-05-14 X | L187 |  |  | C-284 | S0812221-05-14 Y | L186
|  | C-259 | S0812221-02-13 X | L052 |  |  | C-251 | S0812221-02-13 Y | L149 | Missing Parker drip catch
|  | C-363 | S0812221-02-32 X | L190 |  |  | See not complete section line 39
|  | C-358 | S0812221-03-06 X | L189 |  |  | C-319 | S0812221-03-06 Y | L168
| Mech bldg D-1-L Pallet 4 | C-327 | S0812221-06-23 X | L081 |  |  | C-321 | S0812221-06-23 Y | L064
|  | C-333 | S0812221-06-13 X | L166 |  |  | C-322 | S0812221-06-13 Y | L065 | Parker valve has dent in face
|  | C-380 | S0812221-06-26 X | L137 |  |  | C-372 | S0812221-06-26 Y | L118
|  | C-252 | S0812221-06-34 X | L217 |  |  | C-265 | S0812221-06-34 Y | L128
|  | C-338 | S0812221-05-17 X | L210 |  |  | C-317 | S0812221-05-17 Y | L164
|  | B-052 |  | 23017 |  |  | B-064 |  | 22834 | Tripod needs to be replaced
|  | B-049 |  | 23051 |  |  | B-046 |  | 23010
Actuators not complete, missing Kaman, or unattached tripod assembly
| Mech bldg C-0-R Pallet 5 | B-048 |  | L203 | Missing a Kaman |  | B-028 |  | 22969 | Missing a Kaman
|  | B-030 |  | 23023 | Missing a Kaman |  | B-058 |  | 23003 | Missing a Kaman
|  | B-074 |  | 23042 | Missing a Kaman |  | B-039 |  | 23048 | Missing a Kaman
|  | C-343 |  | L109 | Missing Kaman, Parker drip catch |  | B-032 |  | L019 | Missing a Kaman
|  | C-329 |  | L074 | Missing Kaman, Parker drip catch, and tripod assy |  | B-023 |  | 23029
|  | C-375 |  |  | Missing Kaman, Parker valve, and drip catch, and tripod assy
[7 empty] | C-340 | S0812221-02-32 Y | L177 | Shell falling apart
LLO Actuators, missing Kaman, and may need extra attention
|  | B-071 |  | 23038 |  |  | B-061 |  | 23004
|  | B-059 |  | 23040 |  |  | B-73 |  | 23104
|  | B-072 |  | 22825 |  |  | B-075 |  | 22831
|  | B-066 |  | 23102 |  |  | B-069 |  | 22955
|  | B-068 |  | 23107 |  |  | B-051 |  | 22827 | Tripod heavily damaged
|  | B-040 |  | 23096 |  |  | B-045 |  | 22992 | Tripod heavily damaged
|  | B-013 |  | L033 |  |  | B-036 |  | 22949
|  | B-34 |  | 23039 |  |  | B-033 |  | 23050 | drip pan full of nasty
Unassigned Parker Valve DYP2SCD1359
| Mech bldg A-2-R |  |  | 5013
23013
23002
L044
23032
5016
23001
Parker Valve's in need of repair
|  |  |  | 24109 | Returned to LLO for repair. |  | Shipment load 7365
|  |  |  | L194 | Returned to LLO for repair.
|  |  |  | L071 | Returned to LLO for repair.
|  |  |  | L080 | Returned to LLO for repair.
|  |  |  | R23011 | Returned to LLO for repair.
|  |  |  | R22968 | Returned to LLO for repair.
|  |  |  | L196 | Returned to LLO for repair.
|  |  |  | L176 | 2014-08-29
|  |  |  | L124 | Returned to LLO for repair.
Unused Kamans (Pair) DIT-5200 20N
|  | Unused Box 1 Mech bldg A-2-R | S08012221-05-03
S08012221-06-11
S08012221-06-31
S08012221-06-30
S08012221-05-20
|  | Unsused Box 2 Mech bldg A-2-R | S08012221-05-22
S08012221-03-08
S08012221-02-27
S08012221-06-17
S08012221-05-18
|  | Unsused Box 3 Mech bldg A-2-R | S08012221-06-04 x,y | Pier pod would not return to stop, Kaman pulled and shipped of for repairs. |  |  | Returned 2/27/14
S08012221-02-17
S08012221-03-03
Not yet verified
tracking descepancy
Unable to verify
|  | verified |  | unless noted all parts have been verified.
Issues
not yet installed
EE Lab
Assembled
Actuators in ICS as of 5/28/13 Parts not yet verified were still put in ICS
Housings in ICS as of 5/29/13 Parts not yet verified were still put in ICS
Vert and Horz L4-C's in ICS as of 5/29/13 Parts not yet verified were still put in ICS.
Parker valve in ICS as of 5/29/13 Parts not yet verified were still put in ICS
Note on C2: mitchell.robinson: D020284
Note on K3: mitchell.robinson: originally L013
Note on K2: mitchell.robinson: DYP2SCD1359
Note on C40: mitchell.robinson: Orientation undecided
Note on C4: mitchell.robinson: check that I didn't reverse the act orientation.
Note on E85: mitchell.robinson: hugh.radkins@LIGO.ORG - 16:28, Friday 10 May 2013 (6334) Alog. Returned 2/27/14
Note on F105: mitchell.robinson: shipment 6298 corrected 6 L4Cs from LLO to LHO shipment 6299 corrected 10 L4Cs from LLO to LHO.
Note on F72: mitchell.robinson: removed BSC10after it was found to be leaking.
Note on I34: mitchell.robinson: Comment from Jeremy Birch says there are no bushings.

## L4C
Hepi L4-C
Location | Vertical | Comments | Location | Horizontal | Comments
Box 1 Verts only. | L41433
L41423
L41334
L41426
L41444
L41443
L41419
L41416
L41417
L41432
Box 2 Verts Only | L41429
L41633
L41623
L41651
L41642
L41348
L41644
L41643
L41445
L41648
L41436
L41415
L41431
L41424
L41418
L41645
L41646
Box 3 Mixed
L41345
|  |  |  | L41667 | No longer in the box
L41501
L4-C's that need to be returned for rework
|  |  |  | L41659 | Bad, Hugh's office for return has one cable attached and one extra in office.
|  |  |  | L41375 | Bad, Hugh's office for return
| L41343 | This is still attached to HAM6 NW corner |  |  | pulled from BSC 1
| L41439 | This is still attached to HAM6 NW corner |  |  | pulled from BSC 1
|  | This was attached to SW HAM1 |  | L41367
Note on E2: mitchell.robinson: See first tab for installed Horizontal HAM L4-C's.

## Offsite
E1101149 |  |  |  | Horizontal |  |  |  | Vertical
Location | Orientation | Side | Housing | Sercel L4C | HEPI Actuator | Modified DYP2S Parker Control Valve | Comments | Sercel L4C | HEPI Actuator | Modified DYP2S Parker Control Valve | Comments
East side of warehouse |  |  | 35 | L41679
|  |  | 42 | L41357
|  |  | 68 | L41528
|  |  | 32 | L41355
|  |  | 26 | L41514
|  |  | 71 | L41688
|  |  | 53 | L41673
West side |  |  | 312 | 3669 | no |  |  | 3650
|  |  | 313 | 3656 |  |  |  | 3641
|  |  | 314 | 3670 |  |  |  | 3648
|  |  | 315 | 3613 |  |  |  | 3631
Crate 1 |  |  | 300 | 3659 | B-065 | 22954 |  |  | B-44 | 23026 | No load cell
Crate 1 |  |  | 301 | 3605 | B-38 | 23105 |  |  | B-41 | 23041 | No load cell
Crate 2 |  |  | 302 | 3664 |  |  |  | 3592 |  |  | No load cell
Crate 2 |  |  | 303 | 3652 |  |  |  | Yes |  |  | No load cell
Crate 3 |  |  | 304 | 3654 |  |  |  | 3640 |  |  | No load cell
Crate 3 |  |  | 305 | 3616 |  |  |  | 3637 |  |  | No load cell
Crate 4 |  |  | 306 | 3618 |  |  |  | 3559 |  |  | No load cell
Crate 4 |  |  | 307 | 3668 |  |  |  | 3588 |  |  | No load cell
Crate 5 |  |  | 308 | 3619 |  |  |  | 3634 |  |  | No load cell
Crate 5 |  |  | 309 | 3607 |  |  |  | Yes |  |  | No load cell
Crate 6 |  |  | 310 | 3655 |  |  |  | 3594 |  |  | No load cell
Crate 6 |  |  | 311 | 3662 |  |  |  | 3589 |  |  | Vert L4C cable severed
Note on D2: mitchell.robinson: D020004
Note on E2: mitchell.robinson: 006177.010
Note on F2: mitchell.robinson: D020284

## Housing status
| Housing | HAM Left | HAM Right | BSC Left | BSC Right | HAM Horz Adapter 2 | HAM Horz Adapter 1 | L4-C Mount H | L4-C Mount V | HAM Vert L4-C Adapter | HAM Crossbeam Foot Left | HAM Crossbeam Foot Right | Load cell | Horz Angle Mount Isolator | Crossbeam Attachment BSC | BSC Crossbeam Foot Left | BSC Crossbeam Foot Right
| D02004 |  |  |  |  | D080548 | D080547 | D030586 | D030586 | D080546 | D020195-03 | D020195-02 |  | D020016 | D020008 | D020195-00 | D020195-01
HAM7 | 065 |  | x |  |  | x | x | x |  | x |  | x | x
NE | 70 | x |  |  |  | x | x | x |  | x | x |  | x
SE | 033 |  | x |  |  | x | x | x |  | x |  | x | x
SW | 066 | x |  |  |  | x | x | x |  | x | x |  | x
HAM8 | 041 |  | x |  |  | x | x | x |  | x |  | x | x
NE | 078 | x |  |  |  | x | x | x |  | x | x |  | x
SE | 079 |  | x |  |  | x | x | x |  | x |  | x | x
SW | 074 | x |  |  |  | x | x | x |  | x | x |  | x
HAM9 | 006 |  | x |  |  | x | x | x |  | x |  | x | x
NE | 005 | x |  |  |  | x | x | x |  | x | x |  | x
SE | 010 |  | x |  |  | x | x | x |  | x |  | x | x
SW | 003 | x |  |  |  | x | x | x |  | x | x |  | x
HAM10 | 030 | x |  |  |  | x | x | x |  | x | x |  | x
NE | 073 |  | x |  |  | x | x | x |  | x |  | x | x
SE | 001 | x |  |  |  | x | x | x |  | x | x |  | x
SW | 027 |  | x |  |  | x | x | x |  | x |  | x | x
BSC9 | 081 |  |  | x | [8 empty] | x | x | x | x
NE | 50 |  |  |  | x | [7 empty] | x | x | x |  | x
SE | 059 |  |  | x | [8 empty] | x | x | x | x
SW | 60 |  |  |  | x | [7 empty] | x | x | x |  | x
X-mid | 35 |  | x |  |  | x | x | x |  |  |  | x | x
X-mid | 42 | x |  |  |  | x | x | x |  |  | x |  | x
X-mid | 68 | x | [8 empty] | x |  | x
X-mid | 32 | x |  |  |  | x | x | x |  |  | x |  | x
Whse | 26 | x |  |  |  | x | x | x |  |  | x |  | x
X-mid | 71 |  | x |  |  | x | x | x |  |  |  | x | x
X-mid | 53 |  | x |  |  | x | x | x |  |  |  | x | x
Mech RM | 002 |  | x |  |  | x | x | x |  |  |  | x | x
X-mid | 312 |  |  |  | x |  |  | x |  |  |  |  | x |  |  |  | x
X-mid | 313 |  |  | x |  |  |  | x |  |  |  |  | x |  |  | x
X-mid | 314 |  |  |  | x |  |  | x |  |  |  |  | x |  |  |  | x
X-mid | 315 |  |  | x |  |  |  | x |  |  |  |  | x |  |  | x
X-mid | 300 |  |  | x |  |  |  | x |  |  |  |  | x | x |  | x
X-mid | 301 |  |  |  | x |  |  | x |  |  |  |  | x | x |  |  | x
X-mid | 302 |  |  |  | x |  |  | x |  |  |  |  | x | x |  |  | x
X-mid | 303 |  |  | x |  |  |  | x |  |  |  |  | x | x |  | x
X-mid | 304 |  |  |  | x |  |  | x |  |  |  |  | x | x |  |  | x
X-mid | 305 |  |  | x |  |  |  | x |  |  |  |  | x | x |  | x
X-mid | 306 |  |  | x |  |  |  | x |  |  |  |  | x | x |  | x
X-mid | 307 |  |  |  | x |  |  | x |  |  |  |  | x | x |  |  | x
X-mid | 308 |  |  |  | x |  |  | x |  |  |  |  | x | x |  |  | x
X-mid | 309 |  |  | x |  |  |  | x |  |  |  |  | x | x |  | x
X-mid | 310 |  |  |  | x |  |  | x |  |  |  |  | x | x |  |  | x
X-mid | 311 |  |  | x |  |  |  | x |  |  |  |  | x | x |  | x
Note on I2: mitchell.robinson: 1 Horz and 1 Vert Horz should be on all units. Vert may be added later.
Note on J2: mitchell.robinson: 1 Horz and 1 Vert Horz should be on all units. Vert may be added later.
Note on I1: mitchell.robinson: See drawing in book for more V vs H differences. The H and V are the same part, just helicoiled differently.

## Additional Hepi Parts
D1100144 | HAM Left | 12
D1100146 | HAM Right | 12
D1100241 | BSC Left | 10
D1100242 | BSC Right | 10 |  |  |  | HAM Left | HAM Right | Sub total | BSC Left | BSC Right | Sub total | Total Needed | Found
D030694 | Horz Angle Mount Backup Plate Hydraulic Isolator |  |  |  |  | 1 | 1 | 24 | 1 | 1 | 20 | 44 | 45
D1100315 | Hydraulic Actuator Bracket Base 1 |  |  |  |  | 4 | 3 | 84 | 4 | 3 | 70 | 154 | 124 | 30 being ordered from Brockmans
D1100318 | Hydraulic Actuator Bracket Washer Bar 1 |  |  |  |  | 5 | 5 | 120 | 5 | 5 | 100 | 220 | 217 | 3 being ordered from Brockmans
D1100319 | Hydraulic Actuator Bracket Washer Bar 2 |  |  |  |  | 5 | 5 | 120 | 5 | 5 | 100 | 220 | 221
D1100473 | Hydraulic Actuator Bracket |  |  |  |  | 5 | 5 | 120 | 5 | 5 | 100 | 220 | 140 | 80 being ordered from Brockmans
D1100316 | Hydraulic Actuator Bracket Base 2 |  |  |  |  | 1 | 2 | 36 | 1 | 2 | 30 | 66 | 66
[12 empty] | Total Needed | LVEA | Mech | BSC6 | Found
D020269 | Double Clamp |  |  |  |  | 2 | 2 |  | 2 | 2 |  | 88 | 32 | 50 | 8 | 90
D020270 | Offset Clamp Right | [5 empty] | 1 |  |  | 1 |  | 22 | 8 | 13 | 2 | 23
D020453 | Offset Clamp Left |  |  |  |  | 1 |  |  | 1 |  |  | 22 | 8 | 13 | 2 | 23
D020271 | Straight Clamp |  |  |  |  | 1 | 1 |  | 1 | 1 |  | 44 | 16 | 26 | 4 | 46
BSC
D020011 | Spherical Housing | [10 empty] | 20
D1100474 | Actuator Shim |  | (BSC for sure) | [8 empty] | 20 maybe 44
| HAM | [6 empty] | Total Needed | LVEA | Mech | MidX | Highbay | Offsite | Found
D080456 | HAM Crossbeam |  | Plastic Plugs? |  | Rinsed? |  |  | 12 | 8 |  |  | 1 | 3 | 12
D080373 | Clamp, Support Tube Assembly | [6 empty] | 24 | 16 |  |  |  |  | 16
| D1000480 | Clamp Screw Guard, HAM Support Tube | [5 empty] | 24 |  | 24 |  |  |  | 24
| D080378 | Clamp Sleeve | [5 empty] | 24 |  | 24 |  |  |  | 24
| D080377 | Clamp Washer Plate | [5 empty] | 24 |  | 16 |  |  |  | 16 | 8 being ordered from Brockmans
| D080376 | Clamp Preload | [5 empty] | 24 |  | 24 |  |  |  | 24
| D080374 | Clamp Base | [5 empty] | 24 |  | 24 |  |  |  | 24
| D080375 | Clamp Cap | [5 empty] | 24 |  | 24 |  |  |  | 24
D080699 | Crossbeam Washer Plate #2 |  |  | x4per |  |  |  | 96 | 64 | 32 |  |  |  | 96
D080698 | Crossbeam Washer Plate #1 |  |  | x2per |  |  |  | 48 | 32 | 16 |  |  |  | 48
D080700 | Crossbeam Washer Disc |  |  | x4per |  |  |  | 96 | 64 | 32 |  |  |  | 96
D080462 | Crossbeam Connector | [6 empty] | 24 | 16 | 8 |  |  |  | 24
D080465 | Crossbeam Adapter | [6 empty] | 24 | 16 | 8 |  |  |  | 24
D030700-1 | .125" Xbeam attachment shim | [6 empty] | 25 |  | 32 |  |  |  | 32
D030700-02 | .25" Xbeam attachment shim | [6 empty] | 25 |  | 59 |  |  |  | 59
D030700-03 | .50" Xbeam attachment shim | [6 empty] | 13 |  | 29 |  |  |  | 29
D040094 | BSC Circuit Box Mount |  |  | Do we use this? |  |  |  | Total Needed
D040261 | BSC Only Circuit box mount plate | [6 empty] | 44 |  | 53 |  |  |  | 53
D040262 | BSC Only Circuti Box Slider Clamp | [6 empty] | 44 |  | 53 |  |  |  | 53
| HAM Only Mounting plate | [6 empty] | 24 |  | 72 |  |  |  | 72
| HAM Only Box holder | [6 empty] | 24 |  | 24 |  |  |  | 24
D040101 | 4-way valve mount | [6 empty] | 44 | 4 | 35 |  |  |  | 39 | 5 being ordered from Brockmans
D040102 | 4-way valve bracket | [6 empty] | 44 |  | 50 |  |  |  | 50
D1100624 | HAM Vert L4C Protector | [6 empty] | 24 |  | 24 |  |  |  | 24
D020016 | Horz Angle Mount Isolator | [6 empty] | 44 |  | 45 |  |  |  | 45
| Hepi L4C cables | [6 empty] | 24 | [5 empty] | 17 | Hugh has email out to address this
| Actuator Flag | [12 empty] | 40 | LLO is shipping these parts
| Actuator Sensor assembly w/micromoter | [12 empty] | 32
D020371 | Hepi Vertical Posts for Actuators | [13 empty] | LLO is shipping some for repairs on actuators
Note on J28: mitchell.robinson: Installed on HAMs 7-10 2/4/15
Note on J35: mitchell.robinson: Installed on HAMs 7-10 2/4/15
Note on J36: mitchell.robinson: Installed on HAMs 7-10 2/4/15
Note on J37: mitchell.robinson: Installed on HAMs 7-10 2/4/15
Note on J38: mitchell.robinson: Installed on HAMs 7-10 2/4/15
Note on J39: mitchell.robinson: Installed on HAMs 7-10 2/4/15
Note on K33: mitchell.robinson: 8 in Lg crate by mez stairs. 2/6/15 taken to Mech 2/25
Note on K34: mitchell.robinson: 6 Lg crate by mez stairs. 1 of the six has a grn mark…good or bad?
Note on O17: mitchell.robinson: 50 bottom layer of lg crate by mez stairs. 2/6/15
Note on K39: mitchell.robinson: 8 lg crate by mez stairs. 2/6/15
Note on M27: mitchell.robinson: Rinsed
Note on N27: mitchell.robinson: Not rinsed. 2/6/15
Note on J51: mitchell.robinson: Installed on HAM10