## serial
Delay Line Phase Shifter | [8 empty] | E1200075-v3
No. | Serial | Mul. | Frequency | Site | Location | Ifo | System | Box | Ship
1 | S1103437 | single | 24.4071 | LHO | X-end | H1 | ISC
2 | S1103442 | single | 24.4407 | LHO | Y-end | H1 | ISC
3 | S1103421 | double | 25.00/35.00 | LHO | corner | H1 | PSL
4 | S1103426 | double | 24.0784 | LHO | corner | H1 | ISC/IO
5 | S1103417 | double | 9.0995 | LHO | corner | H1 | ISC
6 | S1103435 | single | INJ | LHO | spare | H1 | PSL
31 | S2101386 | single |  | LHO | extra | H1 | SQZ
7 | S1103778 | double |  | LHO | spare | H1 | ISC
8 | S2101385 | double |  | LHO | spare | H1 | ISC
9 | S1103423 | double | 24.0784 | LLO | corner | L1 | ISC/IO
10 | S1103433 | single | 24.4071 | LLO | X-end | L1 | ISC
11 | S1103416 | double | 9.0995 | LLO | corner | L1 | ISC
12 | S1103430 | single | 24.4407 | LLO | Y-end | L1 | ISC
13 | S1103441 | single |  | LLO | spare | L1 | ISC
14 | S1103560 | double |  | LLO | spare | L1 | ISC
15 | S1103438 | single | 24.4821 | LHO | X-end | H2 | ISC
16 | S1103436 | single | 24.5157 | LHO | Y-end | H2 | ISC
17 | S1103413 | double | 25.00/35.00 | LHO | corner | H2 | PSL
18 | S1103412 | double | 22.9931 | LHO | corner | H2 | ISC
19 | S1103414 | double | 8.6844 | LHO | corner | H2 | ISC
20 | S1103434 | single | INJ | LHO | corner | H2 | PSL
21 | S1103443 | single |  | LHO | spare | H2 | ISC
22 | S1103425 | double |  | LHO | spare | H2 | ISC
23 | S1700103 | double | 35.5/80.0 | LHO | corner | H1 | SQZ
24 | S1700104 | double | 3.125 | LHO | corner | H1 | SQZ
25 | S1700105 | double | 6.25 | LHO | corner | H1 | SQZ
26 | S1700106 | double |  | LHO | spare | H1 | SQZ
27 | S1700107 | double | 35.5/80.0 | LHO | corner | L1 | SQZ
28 | S1700108 | double | 3.125 | LHO | corner | L1 | SQZ
29 | S1700109 | double | 6.25 | LHO | corner | L1 | SQZ
30 | S1700110 | double |  | LHO | spare | L1 | SQZ
32 | S2101387 | single |  | LHO | extra | H1 | SQZ
33 | S2101388 | single |  | LHO | extra | H1 | SQZ
34 | S2101389 | single |  | LHO | extra | H1 | SQZ