February 14, 2012

Margot Phelps

California Institute of Technology / LIGO

Pasadena, CA  91125

Dear Margot,

Per your request.

Carbon Dioxide

| Product Grade | Product Specifications | Price Per Cylinder |
| --- | --- | --- |
| Industrial | 99.5% Min Purity | 25.00/Cyl |
| Bone Dry | 99.8% Min Purity H2O - <20PPM | 35.00/Cyl |
| Anaerobic | 99.9% Min Purity Ar/O2 - <10PPM | 50.00/Cyl |
| Coleman | 99.99% Min Purity Ar/O2/THC/Moisture - <15PPM | 62.00/Cyl |
| Supercritical | 99.99% Min Purity O2/N2/CO/THC - <100PPM 1000lb Helium Pad | 120.00/Cyl |
| Ultra Clean | 99.998% Min Purity AR/N2/O2/CO/THC/Moisture - <50PPM | 300.00/Cyl |
| Research | 99.998% Min Purity AR/N2/O2/CO/THC/Moisture - <10PPM | 800.00/Cyl |
| Notes: Each Cylinder holds 50lb Product CGA-320 Valve Research Grade in a vacuum baked cylinder Ultra Clean and Research Grades come with C of A for each cylinder |

If you require any other information, please let me know.

Sincerely:

Graham Atkins

Packaged Gases and Equipment

off  225-343-4806

cell  225-445-2745

e-mail   graham.atkins@gasandsupply.com