## Slide 1: Power Monitoring – Requirements (1)
Provide, install, and commission a Honeywell SXB36 Network Power Meter at each of the following electrical services:
Corner Station Mechanical Room (2000 amp 480/277 volt)
Maintenance Building/Chiller (2000 amp 480/277 volt)
Science Education Center (xxx amp xxx volt)
X West Tunnel (800 amp 480/277 volt)
Y South Tunnel (800 amp 480/277 volt)
Provide, install, and commission five Honeywell WEBs Network Area Controllers to collect data and provide and provide an operator interface for the power meters as follows: Network Area Controller #1: Corner Station Mechanical Room Network Area Controller #2: Maintenance Building/Chiller Network Area Controller #3: Science Education Center Network Area Controller #4: X West Tunnel Network Area Controller #5: Y South Tunnel

## Slide 2: Power Monitoring – Requirements (2)
* Provide a graphical user interface to allow for real-time data monitoring, historical data trending and report generation, and system critical alarm notification. (Note: Honeywell WEBs Network Area Controllers provides this user interface.) * Provide access to the Network Area Controllers from any computer, smart phone or internet appliance with network connectivity and an internet browser. Note: The Honeywell WEBs system does not require any software to be resident on the local access device. Information can be made accessible through the owner's WAN, LAN or through the internet if desired. * Provide and pull network transmission wiring from the Staging Building to the Corner Station Mechanical Room in existing underground conduit. * Provide operator training.

## Slide 3: Power Monitoring – Required Parameters
1) Variations in the peak and RMS voltage
2) Spikes, Impulses, or Surges
3) Undervoltage events
4) Overvoltage events
5) Variations in Frequency
6) Variations in Harmonic Content
7) Non-zero Low- and High-frequency Total Load Impedance
8) Total Power Factor

## Slide 4: LIGO Livingston Observatory
Network Controller #5
Corner Network Controllers #1, #2, and #3
Network Controller #4

## Slide 5: Corner Station
Maintenance Building/Chiller
Network Controller #2
Mechanical Room
Network Controller #1
Science Education Center Network Controller #3

## Slide 6: LLO Fiber Optics Cable Run
63’
36’
83’
136’
160’
142’
112’
20
83
136
160
142
10
---
551 Mechanical Room to Maintenance Building
20’
10’
(If no PULL STRING, use ELECTRICAL SNAKE to fish PULL STRING.)
1. Use existing PULL STRING to PULL ROPE.
2. Use PUL ROPE to PULL CABLE and NEW PULL STRING.

## Slide 7: CTs and Controller Components

## Slide 8: LVEA Access Points
CTs for CER Transformer
<< LVEA, Corner Station
CTs for Corner MAINS Power
Siemens Systems
Mechanical Room VAC
Network Switch
CER Transformer
Patch Panel
Media Converter
Network Switch
Network #1
SXBC - CER
SXBC - MAINS
WEB201
Controller #1

## Slide 9: CTs for Corner MAINS

## Slide 10: CTs for CER Transformer

## Slide 11: Controller #1 (at C MAINS)

## Slide 12: Controller #1 (at Corner MAINS)
3 x 5 x 5
4.14 x 4.14 x 1.2
3 x 10.75 x 5.75
6.313 x 4.82 x 2.483
14 x 12 x 8 (plus .5 door depth)

## Slide 13: Network #1 (at Corner MAINS)
Mechanical Room |  | 
Port | Left | Right
1 | Blue | Orange
2 | Green | Brown
3 | Gray | White
Fiber Patch

## Slide 14: Network #1 (at Corner MAINS)
14 x 12 x 8 (plus .5 door depth)
3 x 5 x 5
6.3 x 5.5 x 2
3 x 10.75 x 5.75
4.7 x 3.5 x 1
3.7 x 4.1 x 1.1

## Slide 15: Chiller Access Points
<< LVEA, Corner Station
CTs for Chiller MAINS Power
SXBC - MAINS
WEB201
Controller #2
Patch Panel
Media Converters
Network Switch
Network #2
Siemens System

## Slide 16: CTs for Chiller MAINS

## Slide 17: Controller #2 (at Chiller MAINS)

## Slide 18: Controller #2 (at Chiller MAINS)
3 x 5 x 5
4.14 x 4.14 x 1.2
3 x 10.75 x 5.75
6.313 x 4.82 x 2.483
14 x 12 x 8 (plus .5 door depth)

## Slide 19: Network #2 (at Chiller MAINS)
Chiller Room |  | 
Port | Left | Right
1 | Blue | Orange
2 | Green | Brown
3 | Gray | White
Fiber Patch

## Slide 20: Network #2 (at Chiller MAINS)
3 x 5 x 5
6.3 x 5.5 x 2
3 x 10.75 x 5.75
4.7 x 3.5 x 1
3.7 x 4.1 x 1.1
14 x 12 x 8 (plus .5 door depth)

## Slide 21: Staging Building, HPLF, SEC As Built
LIGO-D000294
<< LVEA, Corner Station
SXBC
WEB201
Controller #3

## Slide 22: SEC As Built
SXBC
WEB201
Controller #3
100’
90’

## Slide 23: CTs for SEC

## Slide 24: Controller #3 (at SEC)
3 x 5 x 5
4.14 x 4.14 x 1.2
3 x 10.75 x 5.75
6.313 x 4.82 x 2.483
14 x 12 x 8 (plus .5 door depth)

## Slide 25: X-End Station (West)
Network Controller #4

## Slide 26: VEAX Access Control Locations
26
<< X-End, VEAX
CTs for X-End MAINS Power
SXBC
WEB201
Controller #4

## Slide 27: CTs for X-End MAINS

## Slide 28: Controller #4 (at X-End MAINS)

## Slide 29: Controller #4 (at X-End MAINS)
12 x 14 x 6.5 (plus .5 door depth)
3 x 5 x 5
4.14 x 4.14 x 1.2
3 x 10.75 x 5.75
6.313 x 4.82 x 2.483
Similar

## Slide 30: Y-End Station (South)
Network Controller #5

## Slide 31: Y-End Access Points
<< Y-End, VEAY
CTs for Y-End MAINS Power
SXBC
WEB201
Controller #5

## Slide 32: CTs for Y-End MAINS

## Slide 33: Controller #5 (at Y-End MAINS)

## Slide 34: Controller #5 (at Y-End MAINS)
12 x 14 x 6.5 (plus .5 door depth)
3 x 5 x 5
4.14 x 4.14 x 1.2
3 x 10.75 x 5.75
6.313 x 4.82 x 2.483
Similar

## Slide 35: UPS Systems
Tripp-Lite ECO650LCD
Location | Model | Serial Number
Corner MAINS | ECO650LCD | 2225EYOBC794100399
Corner Network | ECO650LCD | 2225EYOBC7941xxxxx
Chiller MAINS | ECO650LCD | 2225EYOBC794100055
Chiller Network | ECO650LCD | 2225EYOBC7941xxxxx
X-End MAINS | ECO650LCD | 2225EYOBC794100400
Y-End MAINS | ECO650LCD | 2225EYOBC794100386

## Slide 36: Network Integration – LLO Corner

## Slide 37: Network Integration – LLO X-End

## Slide 38: Network Integration – LLO Y-End

## Slide 39: IP Addresses
Entity | IP Address
WEB201 – Mechanical Room | 
WEB201 – Maintenance Building | 
WEB201 – Science Education Center | 
WEB201 – End X Mechanical Room | 10.110.70.10
WEB201 – End Y Mechanical Room | 10.110.70.30
Mechanical Room Siemens 1 | 
Mechanical Room Siemens 2 | 
Maintenance Building Siemens | 
End X Siemens | 10.110.70.11
End Y Siemens | 10.110.70.31
Gateway | 10.110.70.1
Network | 255.255.255.6