
|  |  |  |
| --- | --- | --- |
| **AUTHOR(S)** | DATE | Document Change Notice, Release or Approval |
| Eric James | 19 Jan 2012 | see LIGO DCC record Status |

This document is intended to serve as a description of this assembly until a real assembly drawing can be made.



This assembly is made from the following parts purchased from McMaster Carr:

|  |  |  |  |
| --- | --- | --- | --- |
| Item | Part number | Description | Quantity |
| 1 | 90385K46 | 23 lb lead weight | 2 |
| 2 | 95412A460 | 1/4-20 x 6" threaded rod | 1 |
| 3 | 9029K12 | 1/4" diam. Viton cord x 1/4" long | 2 |
| 4 | 91841A195 | 1/4-20 Hex Nut | 2 |
| 5 | 90860A107 | 1/4-20 Weld Nut | 1 |