## Sheet1
Calculation of the test path transconductance and the test switch isolation
Magnitude with switch on (dB) | Magnitude with switch off (dB | Test Path Transconductance (mA/V) | Test Switch Isolation (dB)
18.9 | -10.5 | 20.9656 | 29.4
This is Mike Z's method for shot noise limited sensitivity as outlined in T010121 section 3.3.1, it takes into account the instrument noise
Observed (dBm/rtHz) on RF Spectrum Analyzer with no light (Sdark) | RF Preamp Gain (dB) | Actual (dBm/rtHz) | Vrms/rtHz | V^2/Hz (Sdark)
-128.8 | 20.4 | -149.2 | 7.7533e-09 | 6.0113e-17
Observed (dBm/rtHz) on RF Spectrum Analyzer with 6mA to 10mA (Slamp) | RF Preamp Gain (dB) | Actual (dBm/rtHz) | Vrms/rtHz | V^2/Hz (Slamp) | Photocurrent (mA)
-121.1 | 20.4 | -141.5 | 1.8814e-08 | 3.5397e-16 | 5.2
Observed (dBm/rtHz) on RF Spectrum Analyzer with LNA terminated in 50 ohms (Sinst) | RF Preamp Gain (dB) | Actual (dBm/rtHz) | Vrms/rtHz | V^2/Hz (Sinst)
-142.5 | 20.4 | -162.9 | 1.6013e-09 | 2.5643e-18
V^2/Hz (S'dark) | V^2/Hz (S'lamp) | Shotnoise Limited Sensitivity (mA) | RF Transimpedance (ohms)
5.7549e-17 | 2.9386e-16 | 1.0184 | 420.2361