# LIGO LABORATORY

California Institute of Technology

1200 E. California Blvd.

Pasadena, CA  91125

Statement of Work

C1203960-v4

Note to LIGO users: all red text in this template is font type ‘hidden’ and comprises instructions to complete the SOW.  Easier than deleting them, you can hide all red text before saving.  In Word 2010, click File, Options (on the left side), Display (on the left side), and then unclick “Hidden Text”.

The “TEMPLATE” watermark can be removed by clicking Page Layout, Watermark, and then Remove Watermark.

- Scope (LIGO sub-system)

This SOW is for the procurement of the custom manufactured in-vacuum components of the PCAL Periscope Frame.

Briefly describe the work.  For example: Fabrication of Vacuum Pod components for Advanced LIGO BSC-ISI Seismometers.

- Document Access

Many supplemental documents and specifications are incorporated into and made a part this Statement of Work.  Click on the document links to access these documents from the LIGO Document Control Center (DCC) or go on line to the LIGO Public DCC at https://dcc.ligo.org/ to access the DCC#.

Component and assembly drawings and models are available in Solidworks 2012 and will be provided.

- Commercial Terms and Applicable LIGO Specifications:

Note: The documents listed below are invoked for this Statement of Work and comprise additional requirements which are integral to this Statement of Work.

Important: C080185 and Q0900001 apply to all SOWs. Add/delete others as appropriate.

Check to be sure the latest revisions are specified below (please notify QAME or Systems if this template needs to be updated).

- LIGO-C080185-v1	LIGO Commercial Items or Services Contract General Provisions

- LIGO-Q0900001-v5 	Advanced LIGO Supplier Quality Requirements

- LIGO-Q1100003-v1	Acceptable Quality Level (AQL) for Inspection of LIGO Components

- LIGO-E0900364-v8 	Metal Components for use in the Advanced LIGO Vacuum System

- Quality System:

Referring to the above referenced LIGO Specification Q0900001, Suppliers should include a copy of their current ISO 9001, AS9100, or TS16949 certification in their bid package.  Suppliers lacking current certification must send a copy of their Quality Manual with their bid package.

- Parts/Assemblies to be manufactured, Quantity Required, and Inspection requirements:

Note: refer to Section 8.0 for delivery schedule and location

List all parts to be made, including the public hyperlink to the latest revision, and the total quantity required.  If you have more than ten parts, create a separate drawing document posted to the DCC as a public document, and link here.

| Drawing # | Part Description | Total Qty: | AQL number (Inspection Frequency) |
| --- | --- | --- | --- |
| D1200993-1-v4 | ALIGO, PCAL PERISCOPE FRAME (ETMY ASSEMBLY) | 3 | 1.0 for all component parts |
| D1200993-2-v4 | ALIGO, PCAL PERISCOPE FRAME (ETMX ASSEMBLY) | 3 | 1.0 for all component parts |

Note: refer to LIGO-Q1100003-v1 for the AQL table.

Note 1: Care should be given to the selection of the AQL number.  Consider the amount of time (which equals cost) required to 100% inspect a given number of parts.  Contact QAME for advice.

Note 2: Additional inspection instructions beyond the AQL number can be given – such as 100% inspection of all threaded holes.

- Manufacturing:

  - Requirements:

- THE SUPPLIER HAS THE RESPONSIBILITY TO MANUFACTURE EACH COMPONENT SUCH THAT EACH ASSEMBLY WILL BOLT TOGETHER WITHOUT INTERFERENCE.  (Minor alignment with hand pressure is acceptable)  THIS REQUIREMENT SUPERSEDES THE DIMENSIONAL AND GD&T TOLERANCES ON THE COMPONENT DRAWINGS.  LIGO reserves the right to witness a fit check of each assembly at the supplier’s facility before shipping.

- Suppliers must refer to the LIGO Specifications referenced in Section 3 for additional, and in some cases, non-industry standard requirements.

- Please note, per the drawings and LIGO spec. E0900364, both sides of D1200726 and D1200727 must be machined to a surface finish of 63 microinch Ra or better.

- Please note, per LIGO spec. E0900364, the surface finish of the cutouts of D1200725, D1200726, D1200727, and D1102354 must be a machined finish, not waterjet or laser.  Those methods may be used to rough out the holes but the final finish must be machined.

- Before rolling D1102354, the rollers must be cleaned to remove grease and oils and the surfaces of D1102354 must be protected by paper or other suitable material to prevent the embedding of foreign particles, grease and oil into the surface.

- Please note that all non-STI threads are to be +.005” (GH11 taps).  +.005 plug gages are required for inspection of the threaded holes.

  - Sub-Contracted Work:

- LIGO expects that at least 2/3 (by dollar value) of the contracted work be performed by the Supplier named on the Purchase Order.  The Supplier shall be responsible for all sub-contracted work.

  - Precedence:

All parts are to be manufactured to the referenced 2D drawings.  If there are any discrepancies between the drawings and the CAD models, the drawings take precedence.  However, please also contact a LIGO representative to resolve any discrepancies or uncertainties in the documentation or instructions.

  - Special Instructions:

- Per Flag Note 5 on the drawings, all component parts must be marked with the Add special manufacturing notescomponent part number and serial number.  A spreadsheet should be provided cross-referencing the component serial numbers which make up each unique assembly serial number (Refer to the first bullet point in 6.1 above).

  - Exclusions:  Add/delete as appropriate

- Supplier is NOT responsible for the procurement of fasteners (Items 6 and 7 in the BOM of D1200993-1 and D1200993-2).

- Supplier is NOT responsible for the procurement and installation of Heli-Coils.  DO NOT INSTALL HELI-COILS.

- End Item Data Package:  Add/delete lines as necessary

Before delivery of the parts, the Supplier shall provide the following data, as a minimum:

- Any as-built modifications (with approval of the LIGO Contracting Officer) as mark-ups to the drawings

- Material certifications

- Electro-polish certifications, if applicable

- Inspection reports of all dimensional features for the number of parts specified per the AQL number and referenced in the AQL table LIGO-Q1100003-v1 and any other inspection requirements detailed in Section 5 of this SOW

- Certificate of compliance for each part number stating conformance to contract and drawing requirements

- Serial number spreadsheet detailed in section 6.4.

- Delivery Requirements:

  - Shipping Containers and Packaging:

- Crating and shipping charges will be handled separately from this SOW and subsequent PO.

- The wood crates and inner packing must be sufficiently robust to protect the components from damage from the transportation environment (weather, handling, accidents, etc.).  Mating edges of parts should be especially protected from damage during shipping.  The crates should be closed with screws or latches (not nails) to facilitate reusing the crates.

- The part and serial number of the assembly(ies) must be written on the outside of the crates.

Note any special packaging requirements here (i.e., wrap in UHV foil and Ameristat).

  - Shipping Destination(s):

The deliveries are FOB the vendor’s manufacturing facility.

Delete shipping destinations that don’t apply to this SOW.  Be sure to reference the shipping abbreviations (i.e., LLO) in the Delivery Schedule if there is more than one shipping destination.

LIGO Hanford Observatory (LHO)
Attn:  Rick Savage
127124 North Route 10
Richland, WA  99354

  - Delivery Schedule:

- First assembly:  6-8 weeks ARO.  LIGO requests that manufacturing of subsequent assemblies not start until after the successful fit check and acceptance of the first assembly.

- Subsequent assemblies: one assembly every 2 weeks after acceptance of the first assembly.

- If unable to meet the requested delivery schedule, please state the best delivery.

Insert a list or table detailing the delivery requirements (by P/N, as necessary).  Delivery should be specified in weeks ARO (after receipt of order).  Please also specify the shipping destination (i.e. LLO).

Note any first article requirements.  If applicable, the SOW must state upfront that LIGO wants to assemble the first articles for fit check before the rest of the order is completed.