## Slide 1: LLO Y-End
CERY
VEAY
PVC – 6” x 10
PVC – 6” Cap
PVC – 6” Cap
¾” QuickEdge
5/8” QuickEdge
6+” hole centered 24” up, 39” over

## Slide 2: VEAY LLO Existing Cable Piers Locations
17.5
46.5
95.0
92.5
95.0
426.0
Corner Station ®
Cargo Door
Reference (0) ®
47.0
149.0
145.5
24.0
115.0
144.0
192.0
12.0
12.0
20.0
43.0
44.0
119.0
Hole
= 10.0 x 10.0
= 4.0 d
Waterfall
Waterfall
408.0
84.0
184.0
48.0

## Slide 3: VEAY LLO Existing Cable Piers Locations
91.0
95.0
426.0
Corner Station ®
Cargo Door
Reference (0) ®
144.0
24.0
115.0
12.0
119.0
Hole
= 10.0 x 10.0
= 4.0 d
Waterfall
408.0
48.0
VE Pump
26 x 56.5
VAC
SUS
ISCB5R
72 x 48
ISC

## Slide 4: VEAY Overlay
Things that can be done: (Note: Green trace is new tray.)
1) Remove old cable tray and pier that interferes with dome parking.
2) Relocate existing piers to support cable tray to L1-SUS-YR1.
3) Locate L1-ISC-YR1 farther away from existing pier for clearance.
4) Suggest joining basket around BSC to existing cable tray at waterfall.
5) Add cable tray to reach L1-SUS-YR1.
Questions and comments:
1) Where does 11U Short Rack (D1001423-v11) go? (Ignore)
2) Where does L1-AOS-YR1 (if it needs to exist) go? (Does not exist)
3) What does pentagon-2 mean regarding tray removal? Is there tray across the beam tube from L1-SUS-YR1? (Ignore)
4) Is the called-out 10’ height important for some reason? LLO height is 8’. (OK)
5) What are the double doors in the note all about? (Ignore)
6) A door is missing from the garb room to the VEA. (Ignore)
7) The doors are missing from the mechanical room. (Ignore)
8) L1-VAC-YR1 is missing. (Shown)
9) All cabling that currently uses under-beam tray and the waterfall is missing. (Kurt)
10) The Photon Calibrator is missing. (Mounted to tube – part of OPLEV)
11) VE Pumps are not shown. (Shown)
12) Size of ISCB5R is not specified. (72 x 48)
1
2
3
4
5
Existing layout
New layout

## Slide 5: CDS Electronics Room Y-End (CERY) Rack Layout
CERY
(L1-VDC-YC1)
(L1-VDC-YC2)
(L1-DAQ-YC1)
(L1-SEI-YC1)
(L1-SUS-YC1)
(L1-SUS-YC2)
(L1-TCS-YC1)
(L1-FAC-YC1)
<< Y-End Racks
AC Power
Signals and Fiber
DC Power
It is 65’ from the L1-FAC-YC1 Rack to the knee of the waterfall in the VEAY.
The height of the cable trays is 8’.