## READ-ME
E1300178-v1 - Pilot Hang Prism Jig Settings Spreadsheet
How to use this spreadsheet
1 | TBD
Troubleshooting
Please contact Mark Barton
For bonding on face S3
dSLIDER1 = yJIG+yPH-d4-dCOMz-dBL
dSLIDER2 = yJIG+yPH-d4-dCOMz-dFL
dSCREW2 = xJIG2+xPH-xM/2
For bonding on face S4
dSLIDER1 = yJIG+yPH-d4-dCOMz-dBR
dSLIDER2 = yJIG+yPH-d4-dCOMz-dFR
dSCREW1 = xJIG1-xPH-xM/2

## Settings calc
JIG settings calculation | [10 empty] | These values are retrieved from the other sheets - do not edit.
Mass | Flat | Prism holder | Jig | dSLIDER1 | dSLIDER2 | dSCREW1 | dSCREW2 | d4eff | flex3 | d4 | yJIG | xJIG1 | xJIG2 | dFL | dFR | dBL | dBR | xM | dCOMz | xPH | yPH
ETM03 | s3 | 1 | 1 | 13.04 | 13.2325 |  | 8.0445 | 1 | 2.16 | -1.16 | 3.14 | 58.205 | 72.997 | 1.1675 | -0.76 | 1.36 | -0.68 | 199.905 | -0.1 | 35 | 10
ETM03 | s4 | 2 | 1 | 13.72 | 13.64 | -76.7475 |  | 1 | 2.16 | -1.16 | 3.14 | 58.205 | 72.997 | 1.1675 | -0.76 | 1.36 | -0.68 | 199.905 | -0.1 | 35 | 10
[8 empty] | 1 | 2.16 | -1.16 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[8 empty] | 1 | 2.16 | -1.16 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[8 empty] | 1 | 2.16 | -1.16 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[8 empty] | 1 | 2.16 | -1.16 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[8 empty] | 1 | 2.16 | -1.16 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[8 empty] | 1 | 2.16 | -1.16 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[8 empty] | 1 | 2.16 | -1.16 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[8 empty] | 1 | 2.16 | -1.16 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[8 empty] | 1 | 2.16 | -1.16 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[8 empty] | 1 | 2.16 | -1.16 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[8 empty] | 1 | 2.16 | -1.16 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[8 empty] | 1 | 2.16 | -1.16 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[8 empty] | 1 | 2.16 | -1.16 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[8 empty] | 1 | 2.16 | -1.16 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[8 empty] | 1 | 2.16 | -1.16 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Calculations
If bonding on flat s3
dSLIDER1 = yJIG+yPH-d4-dCOMz-dBL
dSLIDER2 = yJIG+yPH-d4-dCOMz-dFL
dSCREW2 = xJIG2+xPH-xM/2
If bonding on flat s4
dSLIDER1 = yJIG+yPH-d4-dCOMz-dBR
dSLIDER2 = yJIG+yPH-d4-dCOMz-dFR
dSCREW1 = xJIG1-xPH-xM/2
Note on I2: van Veggel: effective flexure point position of fibre with respect to COM

## Jig data
Jig Data
Bonding jig no. | yJIG | xJIG1 | xJIG2
1 | 3.14 | 58.205 | 72.997
2 | 3.14 | 58.187 | 73.159
The data in this table should be measured for each jig available at the site of bonding.
Only remeasure if the jig has been mistreated or gone through a high temperature cycle (clean bake)

## Mass data
Mass measurements
Mass no. | Measurement reference document | dFL | dFR | dBL | dBR | tTOP | tBTM | tLEFT | tRIGHT | COMz | xM
ETM03 | E1300113 | 1.1675 | -0.76 | 1.36 | -0.68 | 199.81 | 200.08 | 199.84 | 199.89 | -0.1 | 199.905
[10 empty] | -0.1 | 0
[10 empty] | -0.1 | 0
[10 empty] | -0.1 | 0
[10 empty] | -0.1 | 0
[10 empty] | -0.1 | 0
[10 empty] | -0.1 | 0
[10 empty] | -0.1 | 0
[10 empty] | -0.1 | 0
[10 empty] | -0.1 | 0
[10 empty] | -0.1 | 0
[10 empty] | -0.1 | 0
[10 empty] | -0.1 | 0
[10 empty] | -0.1 | 0
[10 empty] | -0.1 | 0
[10 empty] | -0.1 | 0
[10 empty] | -0.1 | 0
[10 empty] | -0.1 | 0
[10 empty] | -0.1 | 0
[10 empty] | -0.1 | 0
[10 empty] | -0.1 | 0
[10 empty] | -0.1 | 0
[10 empty] | -0.1 | 0
[10 empty] | -0.1 | 0

## Prism holder data
Prism Holder Data
Each loading of a set of prisms into the holder gets a new line in the table
The yNOTCHn values should be measured with a travelling microscope from the bottom of the holder.
The xNOTCHn values should be measured with a travelling microscope from the right end of the holder.
| left | right | left | right
Prism Holder Load | xNOTCH1 | xNOTCH2 | yNOTCH1 | yNOTCH2 | xPH | yPH | xDELTA | yDELTA
1 | 50 | 20 | 10 | 10 | 35 | 10 | 30 | 0
2 | 50 | 20 | 10 | 10 | 35 | 10
3 | 50 | 20 | 10 | 10 | 35 | 10
4 | 50 | 20 | 10 | 10 | 35 | 10
5 | 50 | 20 | 10 | 10 | 35 | 10
6 | 50 | 20 | 10 | 10 | 35 | 10
7 | 50 | 20 | 10 | 10 | 35 | 10
8 | 50 | 20 | 10 | 10 | 35 | 10
9 | 50 | 20 | 10 | 10 | 35 | 10
10 | 50 | 20 | 10 | 10 | 35 | 10
11 | 50 | 20 | 10 | 10 | 35 | 10
12 | 50 | 20 | 10 | 10 | 35 | 10
13 | 50 | 20 | 10 | 10 | 35 | 10
14 | 50 | 20 | 10 | 10 | 35 | 10
15 | 50 | 20 | 10 | 10 | 35 | 10
16 | 50 | 20 | 10 | 10 | 35 | 10
17 | 50 | 20 | 10 | 10 | 35 | 10
18 | 50 | 20 | 10 | 10 | 35 | 10
19 | 50 | 20 | 10 | 10 | 35 | 10
20 | 50 | 20 | 10 | 10 | 35 | 10
21 | 50 | 20 | 10 | 10 | 35 | 10
22 | 50 | 20 | 10 | 10 | 35 | 10
23 | 50 | 20 | 10 | 10 | 35 | 10
24 | 50 | 20 | 10 | 10 | 35 | 10
25 | 50 | 20 | 10 | 10 | 35 | 10
26 | 50 | 20 | 10 | 10 | 35 | 10
27 | 50 | 20 | 10 | 10 | 35 | 10
28 | 50 | 20 | 10 | 10 | 35 | 10
29 | 50 | 20 | 10 | 10 | 35 | 10
30 | 50 | 20 | 10 | 10 | 35 | 10
31 | 50 | 20 | 10 | 10 | 35 | 10
32 | 50 | 20 | 10 | 10 | 35 | 10
33 | 50 | 20 | 10 | 10 | 35 | 10
34 | 50 | 20 | 10 | 10 | 35 | 10
35 | 50 | 20 | 10 | 10 | 35 | 10
36 | 50 | 20 | 10 | 10 | 35 | 10