## Purchased or In-Hand
Required per Location
Component | Company | Code | Comment | Unit Cost | Qty - In-Hand | ISCT1 | ISCTEY | ISCEX | PSL-IO | IFO | LHO+LLO | Spares after LHO+LLO |  | Spares After INDIA |  | Additional Costs
Prometheus Laser | InnoLight GmbH | Prometheus P50 NE |  |  | 6 | 0 | 1 | 1 | 0 | 2 | 4 | 2 | 0 | 0 |  | 0
Mirror 1" 532nm | Precision Photonics | MI1045-DY | bulk price | 70 | 120 | 5 | 10 | 10 | 0 | 25 | 50 | 70 | 0 | 45 |  | 0
Mirror 2" 532nm | Precision Photonics | MI2045-DY |  | 250 | 55 | 2 | 5 | 5 | 0 | 12 | 24 | 31 | 0 | 19 |  | 0
[13 empty] | 0 | 0 |  | 0
R=80% @532nm Wdg | Precision Photonics | Custom R = 80% @ 532nm |  | 470 | 12 | 2 | 1 | 1 | 0 | 4 | 8 | 4 | 0 | 0 |  | 0
R=50% @532nm | Precision Photonics | Custom FS 1" dia x 1/4" thick 532nm BS |  | 185 | 30 | 3 | 1 | 1 | 0 | 5 | 10 | 20 | 0 | 15 |  | 0
R=50% @532nm - 2" | Precision Photonics | Custom FS 2" dia x 3/8" thick 532nm BS |  | 375 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 0 | 30 |  | 0
R=10% @532nm | Precision Photonics | Custom FS 1" dia x 1/4" thick 532nm R=10 |  | 275 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 0 | 15 |  | 0
R=10% @532nm, AR@1064nm | Precision Photonics | P/N Custom R = 10% @ 532nm |  | 400 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 12 |  | 0
Unc-AR @532nm | Precision Photonics | Custom AR @ 532nm |  | 225 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 12 |  | 0
[13 empty] | 0 | 0 |  | 0
PBS 0.5" 532nm | Precision Photonics | PBS-1005-DY |  | 675 | 25 | 1 | 0 | 0 | 0 | 1 | 2 | 23 | 0 | 22 |  | 0
HWP 1" 532nm | Precision Photonics | WPZ10-H-DY |  | 375 | 40 | 1 | 3 | 3 | 0 | 7 | 14 | 26 | 0 | 19 |  | 0
QWP 1" 532nm | Precision Photonics | WPZ10Q-DY |  | 575 | 15 | 0 | 1 | 1 | 0 | 2 | 4 | 11 | 0 | 9 |  | 0
Dichroic R1064-T532 | Precision Photonics | Custom FS 1" dia x 1/4 thick R-1064 |  | 725 | 10 | 1 | 0 | 0 | 0 | 1 | 2 | 8 | 0 | 7 |  | 0
[13 empty] | 0 | 0 |  | 0
Mirror 1" 1064nm | Precision Photonics | MI1045-FY |  | 70 | 100 | 3 | 3 | 3 | 8 | 17 | 34 | 66 | 0 | 49 |  | 0
Mirror 2" 1064nm | Precision Photonics | MI2045-FY |  | 325 | 20 | 2 | 3 | 3 | 0 | 8 | 16 | 4 | 0 | -4 |  | 1300
[13 empty] | 0 | 0 |  | 0
R=5% @1064nm Wdg | Precision Photonics | Custom R = 5% @ 1064nm |  | 400 | 12 | 1 | 1 | 1 | 0 | 3 | 6 | 6 | 0 | 3 |  | 0
R=10% @1064nm Wdg | Precision Photonics | Custom R = 10% @ 1064nm |  | 400 | 12 | 0 | 1 | 1 | 0 | 2 | 4 | 8 | 0 | 6 |  | 0
R=50% @1064nm | Precision Photonics | Custom FS 1/ dia x 1/4" thick 1064nm |  | 185 | 30 | 0 | 1 | 1 | 0 | 2 | 4 | 26 | 0 | 24 |  | 0
AR-AR @1064nm | Precision Photonics | Custom AR/AR @1064nm |  | 300 | [8 empty] | 0 | 0 |  | 0
[13 empty] | 0 | 0 |  | 0
PBS 0.5" 1064nm | Precision Photonics | PBS-1005-FY |  | 562 | 25 | 0 | 2 | 2 | 0 | 4 | 8 | 17 | 0 | 13 |  | 0
HWP 1" 1064nm | Precision Photonics | WPZ10H-FY |  | 485 | 40 | 1 | 2 | 2 | 1 | 6 | 12 | 28 | 0 | 22 |  | 0
QWP 1" 1064nm | Precision Photonics | WPZ10Q-FY |  | 485 | 35 | 0 | 1 | 1 | 0 | 2 | 4 | 31 | 0 | 29 |  | 0
0
VIS Coated at 532nm ONLY | [12 empty] | 0 | 0 |  | 0
ROC = +50mm - 1" | Laseroptik GmbH | S-00791 Q2 Ø25x6,35mm | Dual AR/AR Coating runs are not included | 104.5 | 10 | 1 | 0 | 0 | 0 | 1 | 2 | 8 | 0 | 7 |  | 0 | converted from Euro to USD by multiplying by 1.3
ROC = +75mm - 1" | Laseroptik GmbH | S-00078 Q2 Ø25x6, 35mm | run 691EUR per side, for 54 substrates | 100 | 5 | 1 | 0 | 0 | 0 | 1 | 2 | 3 | 0 | 2 |  | 0 | converted from Euro to USD by multiplying by 1.3
ROC = +100mm - 1" | Laseroptik GmbH | S-00079 Q2 Ø25x6,35mm | with a 1" diameter per run. | 90 | 5 | 1 | 0 | 0 | 0 | 1 | 2 | 3 | 0 | 2 |  | 0 | converted from Euro to USD by multiplying by 1.3
ROC = +150mm - 1" | Laseroptik GmbH | S-01304 Q2 Ø25x6,35mm |  | 90 | 3 | 0 | 2 | 2 | 0 | 4 | 8 | -5 | 585 | -9 |  | 1053 | converted from Euro to USD by multiplying by 1.3
ROC = +175mm - 1" | Laseroptik GmbH | S-03720 Q2 Ø25x6,35mm | AR coating run is 691EUR per side, for | 200 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 3 |  | 0 | converted from Euro to USD by multiplying by 1.3
ROC = +200mm - 1" | Laseroptik GmbH | S-00080 Q2 Ø25x6,35mm | 10 substrates with a 2" diameter per run. | 90 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 3 |  | 0 | converted from Euro to USD by multiplying by 1.3
ROC = +250mm - 1" | Laseroptik GmbH | S-00391 Q2 Ø25x6,35mm |  | 90 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 3 |  | 0 | converted from Euro to USD by multiplying by 1.3
ROC = +300mm - 1" | Laseroptik GmbH |  | That is ~USD910 per coating run. | 90 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 |  | 0
ROC = +350mm - 1" | Laseroptik GmbH | S-01306 Q2 Ø25x6, 35mm |  | 90 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 3 |  | 0 | converted from Euro to USD by multiplying by 1.3
ROC = +500mm - 1" | Laseroptik GmbH | S-00081 Q2 Ø25x6,35mm |  | 90 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 3 |  | 0 | converted from Euro to USD by multiplying by 1.3
ROC = +750mm - 1" | Laseroptik GmbH | S-00452 Q2 Ø25x6,35mm |  | 90 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 3 |  | 0 | converted from Euro to USD by multiplying by 1.3
ROC = -75mm - 1" | Laseroptik GmbH | S-00207 Q2 Ø25x6,35mm |  | 90 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 3 |  | 0 | converted from Euro to USD by multiplying by 1.3
ROC = -100mm - 1" | Laseroptik GmbH | S-00071 Q2 Ø25x6,35mm |  | 80 | 3 | 0 | 1 | 1 | 0 | 2 | 4 | -1 | 104 | -3 |  | 312 | converted from Euro to USD by multiplying by 1.3
ROC = -150mm - 1" | Laseroptik GmbH | S-00044 Q2 Ø25x6,35mm |  | 80 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 3 |  | 0 | converted from Euro to USD by multiplying by 1.3
ROC = -175mm - 1" | Laseroptik GmbH | S-03719 Q2 Ø25x6,35mm |  | 200 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 3 |  | 0 | converted from Euro to USD by multiplying by 1.3
ROC = +750mm - 2" | Laseroptik GmbH | S-03717 Q2 Ø50x9,5mm |  | 490 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2 |  | 0 | converted from Euro to USD by multiplying by 1.3
ROC = +500mm - 2" | Laseroptik GmbH | S-03164 Q2 Ø50x9,5mm |  | 490 | 2 | 0 | 1 | 1 | 0 | 2 | 4 | -2 | 1274 | -4 |  | 2548 | converted from Euro to USD by multiplying by 1.3
0
PLCC-25.4-103.0-C-532 | CVI Melles Griot | PLCC-25.4-103.0-C-532 |  | 185 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2 |  | 0
PLCC-25.4-77.3-C-532 | CVI Melles Griot | PLCC-25.4-77.3-C-532 |  | 185 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2 |  | 0
PLCX-25.4-103.0-C-532 | CVI Melles Griot | PLCX-25.4-103.0-C-532 |  | 185 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2 |  | 0
PLCX-25.4-154.5-C-532 | CVI Melles Griot | PLCX-25.4-154.5-C-532 |  | 185 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2 |  | 0
PLCX-25.4-180.3-C-532 | CVI Melles Griot | PLCX-25.4-180.3-C-532 |  | 185 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2 |  | 0
PLCX-25.4-206.0-C-532 | CVI Melles Griot | PLCX-25.4-206.0-C-532 |  | 185 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2 |  | 0
PLCX-50.8-515.1-C-532 | CVI Melles Griot | PLCX-50.8-515.1-C-532 |  | 230 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 |  | 0
PLCX-25.4-51.5-C-532 | CVI Melles Griot | PLCX-25.4-51.5-C-532 |  | 185 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2 |  | 0
PLCX-25.4-77.3-UV-532 | CVI Melles Griot | PLCX-25.4-77.3-UV-532 |  | 185 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2 |  | 0
0
IR Coated at 1064nm ONLY | [12 empty] | 0
ROC = +50mm - 1" - IR | Laseroptik GmbH | S-00791 Q2 Ø25x6,35mm | Dual AR/AR Coating runs are not included | 104.5 | 0 | 1 | 1 | 1 | 0 | 3 | 6 | -6 | 815.1 | -9 |  | 1222.65 | converted from Euro to USD by multiplying by 1.3
ROC = +75mm - 1" - IR | Laseroptik GmbH | S-00078 Q2 Ø25x6, 35mm | run 691EUR per side, for 54 substrates | 100 | 0 | 1 | 1 | 1 | 3 | 6 | 12 | -12 | 1560 | -18 |  | 2340 | converted from Euro to USD by multiplying by 1.3
ROC = +100mm - 1" - IR | Laseroptik GmbH | S-00079 Q2 Ø25x6,35mm | with a 1" diameter per run. | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | converted from Euro to USD by multiplying by 1.3
ROC = +150mm - 1" - IR | Laseroptik GmbH | S-01304 Q2 Ø25x6,35mm |  | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | converted from Euro to USD by multiplying by 1.3
ROC = +175mm - 1" - IR | Laseroptik GmbH | S-03720 Q2 Ø25x6,35mm | AR coating run is 691EUR per side, for | 200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | converted from Euro to USD by multiplying by 1.3
ROC = +200mm - 1" - IR | Laseroptik GmbH | S-00080 Q2 Ø25x6,35mm | 10 substrates with a 2" diameter per run. | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | converted from Euro to USD by multiplying by 1.3
ROC = +250mm - 1" - IR | Laseroptik GmbH | S-00391 Q2 Ø25x6,35mm |  | 90 | 0 | 0 | 0 | 0 | 1 | 1 | 2 | -2 | 234 | -3 |  | 351 | converted from Euro to USD by multiplying by 1.3
ROC = +350mm - 1" - IR | Laseroptik GmbH |  | That is ~USD910 per coating run. | 90 | 0 | 1 |  |  |  | 1 | 2 | -2 | 234 | -3 |  | 351
ROC = +500mm - 1" - IR | Laseroptik GmbH | S-01306 Q2 Ø25x6, 35mm |  | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | converted from Euro to USD by multiplying by 1.3
ROC = +750mm - 1" - IR | Laseroptik GmbH | S-00081 Q2 Ø25x6,35mm |  | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | converted from Euro to USD by multiplying by 1.3
ROC = -75mm - 1" - IR | Laseroptik GmbH | S-00452 Q2 Ø25x6,35mm |  | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | converted from Euro to USD by multiplying by 1.3
ROC = -100mm - 1" - IR | Laseroptik GmbH | S-00207 Q2 Ø25x6,35mm |  | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | converted from Euro to USD by multiplying by 1.3
ROC = -150mm - 1" - IR | Laseroptik GmbH | S-00071 Q2 Ø25x6,35mm |  | 80 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | converted from Euro to USD by multiplying by 1.3
ROC = -175mm - 1" - IR | Laseroptik GmbH | S-00044 Q2 Ø25x6,35mm |  | 80 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | converted from Euro to USD by multiplying by 1.3
ROC = +750mm - 2" - IR | Laseroptik GmbH | S-03719 Q2 Ø25x6,35mm |  | 200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | converted from Euro to USD by multiplying by 1.3
ROC = +500mm - 2" - IR | Laseroptik GmbH | S-03717 Q2 Ø50x9,5mm |  | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | converted from Euro to USD by multiplying by 1.3
0
0
PLCX-25.4-77.3-UV-1064, f=171.9mm (iLIGO) | CVI Melles Griot | CVI PLCX-25.4-77.3-UV-1064 | iLIGO | 225 | 2 | 0 | 0 | 0 | 2 | 2 | 4 | -2 | 450 | -4 |  | 900
PLCX-25.4-257.5-UV-1064, f= 573.1mm (iLIGO) | CVI Melles Griot | CVI PLCX-25.4-257.5-UV-1064 | iLIGO | 225 | 1 | 0 | 0 | 0 | 1 | 1 | 2 | -1 | 225 | -2 |  | 450
PLCX-25.4-72.1-UV-1064, f= 160.4mm (iLIGO) | CVI Melles Griot | CVI PLCX-25.4-72.1-UV-1064 | iLIGO | 225 | 1 | 0 | 0 | 0 | 1 | 1 | 2 | -1 | 225 | -2 |  | 450
PLCX-25.4-64.4 -UV-1064 | CVI Melles Griot | CVI-PLCX-25.4-64.4 -UV-1064 | iLIGO | 225 | 1 | 1 | 0 | 0 | 0 | 1 | 2 | -1 | 225 | -2
PLCX-25.4-309.1-UV-1064 | CVI Melles Griot | CVI-PLCX-25.4-309.1-UV-1064 | iLIGO | 225 | 1 | 1 | 0 | 0 | 0 | 1 | 2 | -1 | 225 | -2
0
PRISM | EKSMA | 330-0252+1025-i45+3025-i45 |  | 161 | 0 | 1 | 0 | 0 | 0 | 1 | 2 | -2 | 322 | -3 |  | 627.9 | converted from Euro to USD by multiplying by 1.3
SHG |  |  |  |  | 2 | 1 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | -1 |  | 0
[13 empty] | 0 | 0 |  | 0
Faraday Isolator-1 @532nm | ISOWAVE |  | LHO |  | 4 | 0 | 2 | 0 | 0 | 2 | 4 | 0 | 0 | -2 |  | 0
Faraday Isolator-2 @532nm | ISOWAVE | incl. waveplates | LLO | 2045 | 4 | 0 | 2 | 2 | 0 | 4 | 8 | 0 | 0 | -4 |  | 8180
Faraday Isolator-1 @1064nm | ISOWAVE |  | LHO |  | 2 | 0 | 1 | 0 | 0 | 1 | 2 | 0 | 0 | -1 |  | 0
Faraday Isolator-2 @1064nm | ISOWAVE | incl. waveplates | LLO | 3015 | 4 | 0 | 1 | 1 | 2 | 4 | 8 | 0 | 0 | -4 |  | 12060
Faraday Isolator-3 @1064nm | Thorlabs |  | LHO |  | 2 | 0 | 0 | 0 | 2 | 2 | 4 | -2 | 0 | -4 |  | 0
EOM @532nm | New Focus/Newport | 4001NF |  | 4055 | 4 | 0 | 1 | 1 | 0 | 2 | 4 | 0 | 0 | -2 |  | 8110
Fibre Coupler @1064nm | Thorlabs | F220APC-1064 |  | 187.5 | 9 | 0 | 1 | 1 | 0 | 2 | 4 | 5 | 0 | 3 |  | 0
[13 empty] | 0 | 0 |  | 0
DC PD - Voltaic | Thorlabs | SM1PD1A | don't know if any are ordered - aLIGO | 124 | 21 | 0 | 3 | 3 | 1 | 7 | 14 | 7 | 0 | 0 |  | 0
DC PD - Transimpedance | Thorlabs | PDA100A |  | 305 | 18 | 0 | 3 | 3 | 0 | 6 | 12 | 6 | 0 | 0 |  | 0
DC PD - BBPD | LIGO | Broadbanrd PD | assume they are available - aLIGO |  | 4 | 0 | 1 | 1 | 0 | 2 | 4 | 0 | 0 | -2 |  | 0
RF PD - REFL | LIGO | RF LSC PD @24MHz | All are accounted for - aLIGO |  | 6 | 0 | 1 | 1 | 0 | 2 | 4 | 2 | 0 | 0 |  | 0
Beamdump | Thorlabs | LB1 |  | 45.2 | 30 | 0 | 4 | 4 | 4 | 12 | 24 | 6 | 0 | -6 |  | 271.2
[13 empty] | 0 | 0 |  | 0
SS100-F2H | Newport | SS100-F2H | actually 8+30 SS100-F3H and 16+84 SS100-F2H | 131.99 | 138 | 8 | 12 | 12 | 3 | 35 | 70 | 68 | 0 | 33 |  | 0
SS100-F3H | Newport | SS100-F3H |  | 142.99 | [8 empty] | 0 |  |  | 0
SN100C-F | Newport | SN100C-F |  | 185.86 | 40 | 7 | 7 | 7 | 2 | 23 | 46 | -6 | 1115.16 | -29 |  | 5389.94
LAIV-XY | Newport | LAIV-XY |  | 164.99 | 79 | 6 | 8 | 8 | 4 | 26 | 52 | 27 | 0 | 1 |  | 0
RSP-1T | Newport | RSP-1T |  | 219.99 | 72 | 2 | 7 | 7 | 1 | 17 | 34 | 38 | 0 | 21 |  | 0
UGP1 | Newport | UGP1 |  | 329.99 | 15 | 2 | 2 | 2 | 0 | 6 | 12 | 3 | 0 | -3 |  | 989.97
UGP KIT-1 | Newport | UGP KIT-1 |  | 27.49 | 15 | 1 | 2 | 2 | 0 | 5 | 10 | 5 | 0 | 0 |  | 0
U200-A2K | Newport | U200-A2K | iLIGO | 159.99 |  | 4 | 7 | 7 | 0 | 18 | 36 | -36 | 5759.64 | -54 |  | 8639.46
New Focus 9071 | New Focus/Newport | New Focus 9071 |  | 453.88 | 20 | 0 | 1 | 1 | 0 | 2 | 4 | 16 | 0 | 14 |  | 0
New Focus 9082 | New Focus/Newport | New Focus 9082 |  | 823.26 | 2 | 1 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | -1 |  | 823.26
0
D0901749 C | LIGO |  | Don't know how many are made or available |  | 77 | 21 | 27 | 27 | 9 | 84 | 168 | -91 | 0 | -175 |  | 0
D0901749 B | LIGO |  | 3/4" diameter post |  | 10 | 2 | 7 | 7 | 1 | 17 | 34 | -24 | 0 | -41 |  | 0
SHG Base | ANU |  | SHG Oven Base |  | 4 | 1 | 0 | 0 | 0 | 1 | 2 | 2 | 0 | 1 |  | 0
D1300607 | ANU |  | MCL PZT Mirror base, metal base |  | 2 | 0 | 2 | 2 | 0 | 4 | 8 | -6 | 0 | -10 |  | 0
D1300608 | ANU |  | Non-conductive Plastic spacer for D1300607 |  | 2 | 0 | 2 | 2 | 0 | 4 | 8 | -6 | 0 | -10
D1300606 | ANU |  | Faraday Isolator base |  | 5 | 0 | 3 | 3 | 1 | 7 | 14 | -9 | 0 | -16 |  | 0
D1300604 | ANU |  | EOM base |  | 1 | 0 | 1 | 1 | 0 | 2 | 4 | -3 | 0 | -5 |  | 0
REFL Base | LIGO |  | RF REFL Diode Base |  | 1 | 0 | 1 | 1 | 0 | 2 | 4 | -3 | 0 | -5 |  | 0
D1100314 | ANU |  | Laser base |  | 1 | 0 | 1 | 1 | 0 | 2 | 4 | -3 | 0 | -5
D1300610 | ANU |  | Faraday Isolator Adjustable Base |  | 1 | 0 | 0 | 0 | 1 | 1 | 2 | -1 | 0 | -2
D1300611 | ANU |  | Faraday Isolator Adjustable Spacer, used with D1300610 |  | 1 | 0 | 0 | 0 | 1 | 1 | 2 | -1 | 0 | -2
0
Thorlabs BA2 | Thorlabs | BA2 | Also incl. are 5x BA3 | 7.3 | 145 | 15 | 37 | 37 | 9 | 98 | 196 | -51 | 372.3 | -149 |  | 1087.7
Thorlabs BA1 | Thorlabs | BA1 |  | 6.8 |  | 8 | 9 | 9 | 2 | 28 | 56 | -56 | 380.8 | -84 |  | 571.2
Thorlabs PH1.5 | Thorlabs | PH1.5 |  | 7.22 | 8 | [7 empty] | 0 |  |  | 0
Thorlabs PH2 | Thorlabs | PH2 | algamation of PH1.5, 2 and 3 | 7.7 | 49 | 0 | 0 | 0 | 0 | 0 | 0 | 49 | 0 | 49 |  | 0
Thorlabs PH3 | Thorlabs | PH3 |  | 8.27 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 0 | 30 |  | 0
Thorlabs RS2 | Thorlabs | RS2 |  | 20 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 18 | 0 | 18 |  | 0
Thorlabs RS05 | Thorlabs | RS05 |  | 16 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 18 | 0 | 18 |  | 0
Thorlabs RS01 | Thorlabs | RS01 |  | 6.8 | 18 | 2 | 7 | 7 | 1 | 17 | 34 | -16 | 108.8 | -33 |  | 224.4
Thorlabs TR1.5 | Thorlabs | TR1.5 |  | 4.97 | 8 | [7 empty] | 0 |  |  | 0
Thorlabs TR2 | Thorlabs | TR2 |  | 5.19 | 11 | [7 empty] | 0 |  |  | 0
[13 empty] | 0 | 0 |  | 0
Watec 902B | Watec | WAT-902B | iLIGO |  | 4 | 0 | 1 | 1 | 0 | 2 | 4 | 0 | 0 | -2 |  | 0
[13 empty] | 14214.8 |  | Total | 58252.68
Orange cells (like F67) indicate that I have a manual entry to correct deviations form the standard adding of components.
an example of that are the lenses. Currently there is a mixture of Laseroptik and CVI lenses. I modified the counting and added the already installed CVI lenses are added to an equivalent laseroptik version. So when we order more lenses, the tally in column 'T' represents the cost.
Cells which have an orange 'text' represent that they are utilised in an other 'orange cell'.

## ISCT1
Name | Optic | Mount | Post | Base |  | Component | Qty
ISCT1-ALS-M1 | Mirror 2" 1064nm | U200-A2K |  |  |  | Prometheus Laser | 0
ISCT1-ALS-M2 | Mirror 2" 1064nm | U200-A2K
ISCT1-ALS-M3 | Mirror 1" 1064nm | SS100-F2H | D0901749 C | Thorlabs BA2 |  | Mirror 1" 532nm | 5
ISCT1-ALS-M4 | Mirror 1" 1064nm | SS100-F2H | D0901749 C | Thorlabs BA2 |  | Mirror 2" 532nm | 2
ISCT1-ALS-M5 | Mirror 1" 1064nm | SS100-F2H | D0901749 C | Thorlabs BA2 |  | R=50% @532nm | 3
ISCT1-ALS-M6 | Mirror 1" 532nm | SS100-F2H | D0901749 C | Thorlabs BA2 |  | R=80% @532nm Wdg | 2
ISCT1-ALS-M7 | Mirror 1" 532nm | SS100-F2H | D0901749 C | Thorlabs BA2 |  | HWP 1" 532nm | 1
ISCT1-ALS-M8 | Mirror 2" 532nm | U200-A2K |  |  |  | QWP 1" 532nm | 0
ISCT1-ALS-M9 | Mirror 2" 532nm | U200-A2K |  |  |  | PBS 0.5" 532nm | 1
ISCT1-ALS-M10 | Mirror 1" 532nm | SS100-F2H | D0901749 C | Thorlabs BA2 |  | Dichroic R1064-T532 | 1
ISCT1-ALS-M11 | Mirror 1" 532nm | SS100-F2H | D0901749 C | Thorlabs BA2
ISCT1-ALS-M12 | Mirror 1" 532nm | SS100-F2H | D0901749 C | Thorlabs BA2 |  | Mirror 1" 1064nm | 3
ISCT1-ALS-L1 | ROC = +50mm - 1" - IR | LAIV-XY | D0901749 C | Thorlabs BA1 |  | Mirror 2" 1064nm | 2
ISCT1-ALS-L2 | PLCX-25.4-64.4 -UV-1064 | LAIV-XY | D0901749 C | Thorlabs BA1 |  | R=5% @1064nm Wdg | 1
ISCT1-ALS-L3 | ROC = +75mm - 1" | LAIV-XY | D0901749 C | Thorlabs BA1 |  | R=10% @1064nm Wdg | 0
ISCT1-ALS-L4 | ROC = +100mm - 1" | LAIV-XY | D0901749 C | Thorlabs BA1 |  | R=50% @1064nm | 0
ISCT1-ALS-L5 | ROC = +50mm - 1" | LAIV-XY | D0901749 C | Thorlabs BA1 |  | HWP 1" 1064nm | 1
ISCT1-ALS-L6 | [5 empty] | QWP 1" 1064nm | 0
ISCT1-ALS-L7 | [5 empty] | PBS 0.5" 1064nm | 0
ISCT1-ALS-L8 | PLCX-25.4-309.1-UV-1064 | LAIV-XY | D0901749 C | Thorlabs BA1
ISCT1-ALS-BS1 | R=5% @1064nm Wdg | SN100C-F | D0901749 C | Thorlabs BA2 | VIS at 532nm | ROC = +50mm - 1" | 1
ISCT1-ALS-BS2 | R=5% @532nm | SN100C-F | D0901749 C | Thorlabs BA2 |  | ROC = +75mm - 1" | 1
ISCT1-ALS-BS3 | R=50% @532nm | SN100C-F | D0901749 C | Thorlabs BA2 |  | ROC = +100mm - 1" | 1
ISCT1-ALS-BS4 | R=50% @532nm | SN100C-F | D0901749 C | Thorlabs BA2 |  | ROC = +150mm - 1" | 0
ISCT1-ALS-BS5 | R=80% @532nm | SN100C-F | D0901749 C | Thorlabs BA2 |  | ROC = +175mm - 1" | 0
ISCT1-ALS-BS6 | R=50% @532nm | SN100C-F | D0901749 C | Thorlabs BA2 |  | ROC = +200mm - 1" | 0
ISCT1-ALS-BS7 | R=80% @532nm | SN100C-F | D0901749 C | Thorlabs BA2 |  | ROC = +250mm - 1" | 0
ISCT1-ALS-PBS1 | PBS 0.5" 532nm | UGP1, UGP KIT-1 |  |  |  | ROC = +350mm - 1" | 0
ISCT1-ALS-HWP1 | HWP 1" 1064nm | RSP-1T | D0901749 B | Thorlabs BA1 + RS01 |  | ROC = +500mm - 1" | 0
ISCT1-ALS-HWP2 | HWP 1" 532nm | RSP-1T | D0901749 B | Thorlabs BA1 + RS01 |  | ROC = +750mm - 1" | 0
ISCT1-ALS-SHG | SHG | New Focus 9082 |  | SHG base |  | ROC = -75mm - 1" | 0
ISCT1-ALS-D1 | Dichroic R1064-T532 |  |  |  |  | ROC = -100mm - 1" | 0
ISCT1-ALS-PRISM1 | PRISM | UGP1 |  |  |  | ROC = -150mm - 1" | 0
[6 empty] | ROC = -175mm - 1" | 0
[6 empty] | ROC = +750mm - 2" | 0
[6 empty] | ROC = +500mm - 2" | 0
[5 empty] | IR at 1064nm | ROC = +50mm - 1" - IR | 1
[6 empty] | ROC = +75mm - 1" - IR | 0
[6 empty] | ROC = +100mm - 1" - IR | 0
[6 empty] | ROC = +150mm - 1" - IR | 0
[6 empty] | ROC = +175mm - 1" - IR | 0
[6 empty] | ROC = +200mm - 1" - IR | 0
[6 empty] | ROC = +250mm - 1" - IR | 0
[6 empty] | ROC = +350mm - 1" - IR | 0
[6 empty] | ROC = +500mm - 1" - IR | 0
[6 empty] | ROC = +750mm - 1" - IR | 0
[6 empty] | ROC = -75mm - 1" - IR | 0
[6 empty] | ROC = -100mm - 1" - IR | 0
[6 empty] | ROC = -150mm - 1" - IR | 0
[6 empty] | ROC = -175mm - 1" - IR | 0
[6 empty] | ROC = +750mm - 2" - IR | 0
[6 empty] | ROC = +500mm - 2" - IR | 0
[6 empty] | PLCX-25.4-64.4 -UV-1064 | 1
[6 empty] | PLCX-25.4-309.1-UV-1064 | 1
[6 empty] | PRISM | 1
[6 empty] | Faraday Isolator-2 @532nm | 0
[6 empty] | Faraday Isolator-2 @1064nm | 0
[6 empty] | EOM @532nm | 0
[6 empty] | Fibre Coupler @1064nm | 0
[6 empty] | Mad City Labs Nano-MTA2 | 0
[6 empty] | SHG | 1
[6 empty] | DC PD - Voltaic | 0
[6 empty] | DC PD - Transimpedance | 0
[6 empty] | DC PD - BBPD | 0
[6 empty] | RF PD - REFL | 0
[6 empty] | Beamdump | 0
[6 empty] | Watec 902B | 0
[6 empty] | SS100-F2H | 8
[6 empty] | SN100C-F | 7
[6 empty] | LAIV-XY | 6
[6 empty] | RSP-1T | 2
[6 empty] | UGP1 | 2
[6 empty] | UGP KIT-1 | 1
[6 empty] | U200-A2K | 4
[6 empty] | 4001NF | 0
[6 empty] | New Focus 9082 | 1
[6 empty] | D0901749 C | 21
[6 empty] | D0901749 B | 2
[6 empty] | Thorlabs BA2 | 15
[6 empty] | Thorlabs BA1 | 8
[6 empty] | Thorlabs PH2 | 0
[6 empty] | Thorlabs RS01 | 2
[6 empty] | SHG Base | 1
see LIGO-D1201103, ISCT1 Optical Layout

## ISCTEY
Name | Component | Mount | Post | Base |  | Component | Qty
ISCTEY-ALS-LASER1 | Laser 532nm and 1064nm |  |  | D1100314 |  | Prometheus Laser | 1
ISCTEY-ALS-M1 | Mirror 1" 1064nm | SS100-F2H | D0901749 C | Thorlabs BA2
ISCTEY-ALS-M2 | Mirror 1" 1064nm | SS100-F2H | D0901749 C | Thorlabs BA2 |  | Mirror 1" 532nm | 10
ISCTEY-ALS-M3 | Mirror 1" 1064nm | SS100-F2H | D0901749 C | Thorlabs BA2 |  | Mirror 2" 532nm | 5
ISCTEY-ALS-M4 | Mirror 1" 532nm | SS100-F2H | D0901749 C | Thorlabs BA2 |  | R=50% @532nm | 1
ISCTEY-ALS-M5 | Mirror 1" 532nm | SS100-F2H | D0901749 C | Thorlabs BA2 |  | R=80% @532nm Wdg | 1
ISCTEY-ALS-M6 | Mirror 1" 532nm | SS100-F2H | D0901749 C | Thorlabs BA2 |  | HWP 1" 532nm | 3
ISCTEY-ALS-M7 | Mirror 1" 532nm | SS100-F2H | D0901749 C | Thorlabs BA2 |  | QWP 1" 532nm | 1
ISCTEY-ALS-M8 | Mirror 1" 532nm - MCL | Nano-MTA2 | D1300608 | D1300607 |  | PBS 0.5" 532nm | 0
ISCTEY-ALS-M9 | Mirror 1" 532nm | SS100-F2H | D0901749 C | Thorlabs BA2
ISCTEY-ALS-M10 | Mirror 2" 532nm - MCL | Nano-MTA2 | D1300608 | D1300607
ISCTEY-ALS-M11 | Mirror 2" 532nm | U200-A2K |  | Thorlabs BA2 |  | Mirror 1" 1064nm | 3
ISCTEY-ALS-M12 | Mirror 2" 532nm | U200-A2K |  | ANU |  | Mirror 2" 1064nm | 3
ISCTEY-ALS-M13 | Mirror 2" 532nm | U200-A2K |  | ANU |  | R=5% @1064nm Wdg | 1
ISCTEY-ALS-M14 | Mirror 1" 532nm | SS100-F2H | D0901749 C | Thorlabs BA2 |  | R=10% @1064nm Wdg | 1
ISCTEY-ALS-M15 | Mirror 1" 532nm | SS100-F2H | D0901749 C | Thorlabs BA2 |  | R=50% @1064nm | 1
ISCTEY-ALS-M16 | Mirror 1" 532nm | SS100-F2H | D0901749 C | Thorlabs BA2 |  | HWP 1" 1064nm | 2
ISCTEY-ALS-M17 | Mirror 1" 532nm | SS100-F2H | D0901749 C | Thorlabs BA2 |  | QWP 1" 1064nm | 1
ISCTEY-ALS-M18 | Mirror 2" 532nm | U200-A2K |  | ANU |  | PBS 0.5" 1064nm | 2
ISCTEY-ALS-L1 | ROC = +50mm - 1" - IR | LAIV-XY | D0901749 C | Thorlabs BA2
ISCTEY-ALS-L2 | ROC = mm - 1" | LAIV-XY | D0901749 C | Thorlabs BA2 |  | ROC = +50mm - 1" | 0
ISCTEY-ALS-L3 | ROC = +75mm - 1" - IR | LAIV-XY | D0901749 C | Thorlabs BA2 |  | ROC = +75mm - 1" | 0
ISCTEY-ALS-L4 | ROC = +150mm - 1" | LAIV-XY | D0901749 C | Thorlabs BA2 |  | ROC = +100mm - 1" | 0
ISCTEY-ALS-L5 | ROC = +150mm - 1" | LAIV-XY | D0901749 C | Thorlabs BA2 |  | ROC = +150mm - 1" | 2
ISCTEY-ALS-L6 | ROC = -100mm - 1" | LAIV-XY | D0901749 C | Thorlabs BA2 |  | ROC = +175mm - 1" | 0
ISCTEY-ALS-L7 | ROC = +500mm - 2" | LAIV-XY | D0901749 C | Thorlabs BA2 |  | ROC = +200mm - 1" | 0
[6 empty] | ROC = +250mm - 1" | 0
ISCTEY-ALS-BS1 | R=5% @1064nm Wdg | SN100C-F | D0901749 C | Thorlabs BA2 |  | ROC = +350mm - 1" | 0
ISCTEY-ALS-BS2 | R=50% @1064nm | SN100C-F | D0901749 C | Thorlabs BA2 |  | ROC = +500mm - 1" | 0
ISCTEY-ALS-BS3 |  | SN100C-F | D0901749 C | Thorlabs BA2 |  | ROC = +750mm - 1" | 0
ISCTEY-ALS-BS4 | R=10% @1064nm Wdg | SN100C-F | D0901749 C | Thorlabs BA2 |  | ROC = -75mm - 1" | 0
ISCTEY-ALS-BS5 | R=80% @532nm | SN100C-F | D0901749 C | Thorlabs BA2 |  | ROC = -100mm - 1" | 1
ISCTEY-ALS-BS6 | R=50% @532nm | SN100C-F | D0901749 C | Thorlabs BA2 |  | ROC = -150mm - 1" | 0
ISCTEY-ALS-PBS1 | PBS 0.5" 1064nm | UGP1, UGP KIT-1 |  |  |  | ROC = -175mm - 1" | 0
ISCTEY-ALS-PBS2 | PBS 0.5" 1064nm | UGP1, UGP KIT-1 |  |  |  | ROC = +750mm - 2" | 0
ISCTEY-ALS-HWP1 | HWP 1" 1064nm | RSP-1T | D0901749 B | Thorlabs BA1 + RS01 |  | ROC = +500mm - 2" | 1
ISCTEY-ALS-HWP2 | HWP 1" 1064nm | RSP-1T | D0901749 B | Thorlabs BA1 + RS01
ISCTEY-ALS-HWP3 | HWP 1" 532nm | RSP-1T | D0901749 B | Thorlabs BA1 + RS01 | IR at 1064nm | ROC = +50mm - 1" - IR | 1
ISCTEY-ALS-HWP4 | HWP 1" 532nm | RSP-1T | D0901749 B | Thorlabs BA1 + RS01 |  | ROC = +75mm - 1" - IR | 1
ISCTEY-ALS-HWP5 | HWP 1" 532nm | RSP-1T | D0901749 B | Thorlabs BA1 + RS01 |  | ROC = +100mm - 1" - IR | 0
ISCTEY-ALS-QWP1 | QWP 1" 1064nm | RSP-1T | D0901749 B | Thorlabs BA1 + RS01 |  | ROC = +150mm - 1" - IR | 0
ISCTEY-ALS-QWP2 | QWP 1" 532nm | RSP-1T | D0901749 B | Thorlabs BA1 + RS01 |  | ROC = +175mm - 1" - IR | 0
ISCTEY-ALS-FI1 | Faraday Isolator-1 @1064nm |  |  | D1300606 |  | ROC = +200mm - 1" - IR | 0
ISCTEY-ALS-FI2 | Faraday Isolator-1 @532nm |  |  | D1300606 |  | ROC = +250mm - 1" - IR | 0
ISCTEY-ALS-FI3 | Faraday Isolator-1 @532nm |  |  | D1300606 |  | ROC = +350mm - 1" - IR | 0
ISCTEY-ALS-EOM1 | EOM @532nm | New Focus 9071 |  | D1300604 |  | ROC = +500mm - 1" - IR | 0
ISCTEY-ALS-BDx | Beamdump | Thorlabs TR1 | Thorlabs PH2 | Thorlabs BA1 |  | ROC = +750mm - 1" - IR | 0
ISCTEY-ALS-FC1 | Fibre Coupler @1064nm | SN100C-F | D0901749 C | Thorlabs BA2 |  | ROC = -75mm - 1" - IR | 0
ISCTEY-ALS-PD1 | DC PD - Voltaic | Thorlabs TR1 | Thorlabs PH2 | Thorlabs BA2 |  | ROC = -100mm - 1" - IR | 0
ISCTEY-ALS-PD2 | DC PD - Voltaic | Thorlabs TR1 | Thorlabs PH2 | Thorlabs BA2 |  | ROC = -150mm - 1" - IR | 0
[6 empty] | ROC = -175mm - 1" - IR | 0
ISCTEY-ALS-PD4 | DC PD - Transimpedance | Thorlabs TR1 | Thorlabs PH2 | Thorlabs BA2 |  | ROC = +750mm - 2" - IR | 0
ISCTEY-ALS-PD5 | DC PD - Voltaic | Thorlabs TR1 | Thorlabs PH2 | Thorlabs BA2 |  | ROC = +500mm - 2" - IR | 0
ISCTEY-ALS-PD6 | DC PD - Transimpedance | Thorlabs TR1 | Thorlabs PH2 | Thorlabs BA2
ISCTEY-ALS-PD7 | DC PD - BBPD | Thorlabs TR1 | Thorlabs PH2 | Thorlabs BA2 |  | Faraday Isolator-1 @532nm | 2
ISCTEY-ALS-PD8 | RF PD - REFL |  |  | REFL Base |  | Faraday Isolator-1 @1064nm | 1
ISCTEY-ALS-CCD1 | Watec 902B |  |  | BA1 |  | EOM @532nm | 1
[6 empty] | Fibre Coupler @1064nm | 1
ISCTEY-TR-M1 | Mirror 2" 1064nm | U200-A2K
ISCTEY-TR-M2 | Mirror 2" 1064nm | U200-A2K |  |  |  | Mad City Labs Nano-MTA2 | 2
ISCTEY-TR-M3 | Mirror 2" 1064nm | U200-A2K |  | Thorlabs BA2
ISCTEY-TR-L1 | ROC = mm - 1" | LAIV-XY | D0901749 C | Thorlabs BA2
ISCTEY-TR-PD1 | DC PD - Transimpedance | Thorlabs TR1 | Thorlabs PH2 | Thorlabs BA2 |  | DC PD - Voltaic | 3
[6 empty] | DC PD - Transimpedance | 3
ISCTEY-HWS-BS1 | R=10% @532nm - 2" |  |  | Thorlabs BA2 |  | DC PD - BBPD | 1
ISCTEY-HWS-BS2 | [5 empty] | RF PD - REFL | 1
ISCTEY-HWS-M1 | [5 empty] | Beamdump | 4
ISCTEY-HWS-M2 | [5 empty] | Watec 902B | 1
ISCTEY-HWS-M3
ISCTEY-HWS-M4 | [5 empty] | SS100-F2H | 12
ISCTEY-HWS-M5 | [5 empty] | SN100C-F | 7
ISCTEY-HWS-M6 | [5 empty] | LAIV-XY | 8
ISCTEY-HWS-M7 | [5 empty] | RSP-1T | 7
ISCTEY-HWS-L1 | [5 empty] | UGP1 | 2
ISCTEY-HWS-L2 | [5 empty] | UGP KIT-1 | 2
ISCTEY-HWS-L3 | [5 empty] | U200-A2K | 7
ISCTEY-HWS-CCD1 | [5 empty] | 4001NF | 1
[6 empty] | New Focus 9071 | 1
[6 empty] | D0901749 C | 27
[6 empty] | D0901749 B | 7
[6 empty] | Thorlabs BA2 | 37
[6 empty] | Thorlabs BA1 | 9
[6 empty] | Thorlabs PH2 | 0
[6 empty] | Thorlabs RS01 | 7
[6 empty] | D1300607 | 2
[6 empty] | D1300608 | 2
[6 empty] | D1300606 | 3
[6 empty] | D1300604 | 1
[6 empty] | REFL Base | 1
[6 empty] | D1100314 | 1
see LIGO-D1100607, ALS Y-End Station Optical Table Layout (ISCTEY)

## ISCTEX
Name | Component | Mount | Post | Base |  | Component | Qty
ISCTEX-ALS-LASER1 | Laser 532nm and 1064nm |  |  | D1100314 |  | Prometheus Laser | 1
ISCTEX-ALS-M1 | Mirror 1" 1064nm | SS100-F2H | D0901749 C | Thorlabs BA2
ISCTEX-ALS-M2 | Mirror 1" 1064nm | SS100-F2H | D0901749 C | Thorlabs BA2 |  | Mirror 1" 532nm | 10
ISCTEX-ALS-M3 | Mirror 1" 1064nm | SS100-F2H | D0901749 C | Thorlabs BA2 |  | Mirror 2" 532nm | 5
ISCTEX-ALS-M4 | Mirror 1" 532nm | SS100-F2H | D0901749 C | Thorlabs BA2 |  | R=50% @532nm | 1
ISCTEX-ALS-M5 | Mirror 1" 532nm | SS100-F2H | D0901749 C | Thorlabs BA2 |  | R=80% @532nm Wdg | 1
ISCTEX-ALS-M6 | Mirror 1" 532nm | SS100-F2H | D0901749 C | Thorlabs BA2 |  | HWP 1" 532nm | 3
ISCTEX-ALS-M7 | Mirror 1" 532nm | SS100-F2H | D0901749 C | Thorlabs BA2 |  | QWP 1" 532nm | 1
ISCTEX-ALS-M8 | Mirror 1" 532nm - MCL | Nano-MTA2 | D1300608 | D1300607 |  | PBS 0.5" 532nm | 0
ISCTEX-ALS-M9 | Mirror 1" 532nm | SS100-F2H | D0901749 C | Thorlabs BA2
ISCTEX-ALS-M10 | Mirror 2" 532nm - MCL | Nano-MTA2 | D1300608 | D1300607
ISCTEX-ALS-M11 | Mirror 2" 532nm | U200-A2K |  | Thorlabs BA2 |  | Mirror 1" 1064nm | 3
ISCTEX-ALS-M12 | Mirror 2" 532nm | U200-A2K |  | ANU |  | Mirror 2" 1064nm | 3
ISCTEX-ALS-M13 | Mirror 2" 532nm | U200-A2K |  | ANU |  | R=5% @1064nm Wdg | 1
ISCTEX-ALS-M14 | Mirror 1" 532nm | SS100-F2H | D0901749 C | Thorlabs BA2 |  | R=10% @1064nm Wdg | 1
ISCTEX-ALS-M15 | Mirror 1" 532nm | SS100-F2H | D0901749 C | Thorlabs BA2 |  | R=50% @1064nm | 1
ISCTEX-ALS-M16 | Mirror 1" 532nm | SS100-F2H | D0901749 C | Thorlabs BA2 |  | HWP 1" 1064nm | 2
ISCTEX-ALS-M17 | Mirror 1" 532nm | SS100-F2H | D0901749 C | Thorlabs BA2 |  | QWP 1" 1064nm | 1
ISCTEX-ALS-M18 | Mirror 2" 532nm | U200-A2K |  | ANU |  | PBS 0.5" 1064nm | 2
ISCTEX-ALS-L1 | ROC = +50mm - 1" - IR | LAIV-XY | D0901749 C | Thorlabs BA2
ISCTEX-ALS-L2 | ROC = mm - 1" | LAIV-XY | D0901749 C | Thorlabs BA2 |  | ROC = +50mm - 1" | 0
ISCTEX-ALS-L3 | ROC = +75mm - 1" - IR | LAIV-XY | D0901749 C | Thorlabs BA2 |  | ROC = +75mm - 1" | 0
ISCTEX-ALS-L4 | ROC = +150mm - 1" | LAIV-XY | D0901749 C | Thorlabs BA2 |  | ROC = +100mm - 1" | 0
ISCTEX-ALS-L5 | ROC = +150mm - 1" | LAIV-XY | D0901749 C | Thorlabs BA2 |  | ROC = +150mm - 1" | 2
ISCTEX-ALS-L6 | ROC = -100mm - 1" | LAIV-XY | D0901749 C | Thorlabs BA2 |  | ROC = +175mm - 1" | 0
ISCTEX-ALS-L7 | ROC = +500mm - 2" | LAIV-XY | D0901749 C | Thorlabs BA2 |  | ROC = +200mm - 1" | 0
[6 empty] | ROC = +250mm - 1" | 0
ISCTEX-ALS-BS1 | R=5% @1064nm Wdg | SN100C-F | D0901749 C | Thorlabs BA2 |  | ROC = +350mm - 1" | 0
ISCTEX-ALS-BS2 | R=50% @1064nm | SN100C-F | D0901749 C | Thorlabs BA2 |  | ROC = +500mm - 1" | 0
ISCTEX-ALS-BS3 |  | SN100C-F | D0901749 C | Thorlabs BA2 |  | ROC = +750mm - 1" | 0
ISCTEX-ALS-BS4 | R=10% @1064nm Wdg | SN100C-F | D0901749 C | Thorlabs BA2 |  | ROC = -75mm - 1" | 0
ISCTEX-ALS-BS5 | R=80% @532nm | SN100C-F | D0901749 C | Thorlabs BA2 |  | ROC = -100mm - 1" | 1
ISCTEX-ALS-BS6 | R=50% @532nm | SN100C-F | D0901749 C | Thorlabs BA2 |  | ROC = -150mm - 1" | 0
ISCTEX-ALS-PBS1 | PBS 0.5" 1064nm | UGP1, UGP KIT-1 |  |  |  | ROC = -175mm - 1" | 0
ISCTEX-ALS-PBS2 | PBS 0.5" 1064nm | UGP1, UGP KIT-1 |  |  |  | ROC = +750mm - 2" | 0
ISCTEX-ALS-HWP1 | HWP 1" 1064nm | RSP-1T | D0901749 B | Thorlabs BA1 + RS01 |  | ROC = +500mm - 2" | 1
ISCTEX-ALS-HWP2 | HWP 1" 1064nm | RSP-1T | D0901749 B | Thorlabs BA1 + RS01
ISCTEX-ALS-HWP3 | HWP 1" 532nm | RSP-1T | D0901749 B | Thorlabs BA1 + RS01 | IR at 1064nm | ROC = +50mm - 1" - IR | 1
ISCTEX-ALS-HWP4 | HWP 1" 532nm | RSP-1T | D0901749 B | Thorlabs BA1 + RS01 |  | ROC = +75mm - 1" - IR | 1
ISCTEX-ALS-HWP5 | HWP 1" 532nm | RSP-1T | D0901749 B | Thorlabs BA1 + RS01 |  | ROC = +100mm - 1" - IR | 0
ISCTEX-ALS-QWP1 | QWP 1" 1064nm | RSP-1T | D0901749 B | Thorlabs BA1 + RS01 |  | ROC = +150mm - 1" - IR | 0
ISCTEX-ALS-QWP2 | QWP 1" 532nm | RSP-1T | D0901749 B | Thorlabs BA1 + RS01 |  | ROC = +175mm - 1" - IR | 0
ISCTEX-ALS-FI1 | Faraday Isolator-2 @1064nm |  |  | D1300606 |  | ROC = +200mm - 1" - IR | 0
ISCTEX-ALS-FI2 | Faraday Isolator-2 @532nm |  |  | D1300606 |  | ROC = +250mm - 1" - IR | 0
ISCTEX-ALS-FI3 | Faraday Isolator-2 @532nm |  |  | D1300606 |  | ROC = +350mm - 1" - IR | 0
ISCTEX-ALS-EOM1 | EOM @532nm | New Focus 9071 |  | D1300604 |  | ROC = +500mm - 1" - IR | 0
ISCTEX-ALS-BDx | Beamdump | Thorlabs TR1 | Thorlabs PH2 | Thorlabs BA1 |  | ROC = +750mm - 1" - IR | 0
ISCTEX-ALS-FC1 | Fibre Coupler @1064nm | SN100C-F | D0901749 C | Thorlabs BA2 |  | ROC = -75mm - 1" - IR | 0
ISCTEX-ALS-PD1 | DC PD - Voltaic | Thorlabs TR1 | Thorlabs PH2 | Thorlabs BA2 |  | ROC = -100mm - 1" - IR | 0
ISCTEX-ALS-PD2 | DC PD - Voltaic | Thorlabs TR1 | Thorlabs PH2 | Thorlabs BA2 |  | ROC = -150mm - 1" - IR | 0
[6 empty] | ROC = -175mm - 1" - IR | 0
ISCTEX-ALS-PD4 | DC PD - Transimpedance | Thorlabs TR1 | Thorlabs PH2 | Thorlabs BA2 |  | ROC = +750mm - 2" - IR | 0
ISCTEX-ALS-PD5 | DC PD - Transimpedance | Thorlabs TR1 | Thorlabs PH2 | Thorlabs BA2 |  | ROC = +500mm - 2" - IR | 0
ISCTEX-ALS-PD6 | DC PD - Transimpedance | Thorlabs TR1 | Thorlabs PH2 | Thorlabs BA2
ISCTEX-ALS-PD7 | DC PD - BBPD | Thorlabs TR1 | Thorlabs PH2 | Thorlabs BA2
ISCTEX-ALS-PD8 | RF PD - REFL |  |  | REFL Base |  | Faraday Isolator-2 @532nm | 2
ISCTEX-ALS-CCD1 | Watec 902B |  |  | BA1 |  | Faraday Isolator-2 @1064nm | 1
[6 empty] | EOM @532nm | 1
ISCTEX-TR-M1 | Mirror 2" 1064nm | U200-A2K |  |  |  | Fibre Coupler @1064nm | 1
ISCTEX-TR-M2 | Mirror 2" 1064nm | U200-A2K
ISCTEX-TR-M3 | Mirror 2" 1064nm | U200-A2K |  | Thorlabs BA2 |  | Mad City Labs Nano-MTA2 | 2
ISCTEX-TR-L1 | ROC = mm - 1" | LAIV-XY | D0901749 C | Thorlabs BA2
ISCTEX-TR-PD1 | DC PD - Voltaic | Thorlabs TR1 | Thorlabs PH2 | Thorlabs BA2
[6 empty] | DC PD - Voltaic | 3
ISCTEX-HWS-BS1 | R=10% @532nm - 2" |  |  | Thorlabs BA2 |  | DC PD - Transimpedance | 3
ISCTEX-HWS-BS2 | [5 empty] | DC PD - BBPD | 1
ISCTEX-HWS-M1 | [5 empty] | RF PD - REFL | 1
ISCTEX-HWS-M2 | [5 empty] | Beamdump | 4
ISCTEX-HWS-M3 | [5 empty] | Watec 902B | 1
ISCTEX-HWS-M4
ISCTEX-HWS-M5 | [5 empty] | SS100-F2H | 12
ISCTEX-HWS-M6 | [5 empty] | SN100C-F | 7
ISCTEX-HWS-M7 | [5 empty] | LAIV-XY | 8
ISCTEX-HWS-L1 | [5 empty] | RSP-1T | 7
ISCTEX-HWS-L2 | [5 empty] | UGP1 | 2
ISCTEX-HWS-L3 | [5 empty] | UGP KIT-1 | 2
ISCTEX-HWS-CCD1 | [5 empty] | U200-A2K | 7
[6 empty] | 4001NF | 1
[6 empty] | New Focus 9071 | 1
[6 empty] | D0901749 C | 27
[6 empty] | D0901749 B | 7
[6 empty] | Thorlabs BA2 | 37
[6 empty] | Thorlabs BA1 | 9
[6 empty] | Thorlabs PH2 | 0
[6 empty] | Thorlabs RS01 | 7
[6 empty] | D1300607 | 2
[6 empty] | D1300608 | 2
[6 empty] | D1300606 | 3
[6 empty] | D1300604 | 1
[6 empty] | REFL Base | 1
[6 empty] | D1100314 | 1
see LIGO-D1201448, ISCTEX Optical Layout

## PSL-IO
Name | Component | Mount | Post | Base | Comment |  | Component | Qty
IO-ALS-M1 | Mirror 1" 1064nm | U100-A-LH-2K | D1100569 |  | UF |  | Prometheus Laser | 0
IO-ALS-M2 | Mirror 1" 1064nm | U100-A-LH-2K | D1100569 |  | UF
IO-ALS-M3 | Mirror 1" 1064nm | U100-A2K-NL | D1100569 |  | UF |  | Mirror 1" 532nm | 0
IO-ALS-M4 | Mirror 1" 1064nm | U100-A2K-NL | D1100935 |  | UF |  | Mirror 2" 532nm | 0
IO-ALS-M5 | Mirror 1" 1064nm | U100-A2H |  |  | UF |  | R=50% @532nm | 0
IO-ALS-M6 | Mirror 1" 1064nm | SS100-F2H | D0901749 C | Thorlabs BA2 | ANU |  | R=80% @532nm Wdg | 0
IO-ALS-M7 | Mirror 1" 1064nm | SS100-F2H | D0901749 C | Thorlabs BA2 | ANU |  | HWP 1" 532nm | 0
IO-ALS-M8 | Mirror 1" 1064nm | SS100-F2H | D0901749 C | Thorlabs BA3 | ANU |  | QWP 1" 532nm | 0
IO-ALS-L1 | PLCX-25.4-77.3-UV-1064, f=171.9mm (iLIGO) | LAIV-XY | D0901749 C | Thorlabs BA2 | iLIGO optics, ANU hardware |  | PBS 0.5" 532nm | 0
IO-ALS-L2 | PLCX-25.4-257.5-UV-1064, f= 573.1mm (iLIGO) | LAIV-XY | D0901749 C | Thorlabs BA2 | iLIGO optics, ANU hardware
IO-ALS-L3 | PLCX-25.4-72.1-UV-1064, f= 160.4mm (iLIGO) | LAIV-XY | D0901749 C | Thorlabs BA2 | iLIGO optics, ANU hardware
IO-ALS-L4 | PLCX-25.4-77.3-UV-1064, f=171.9mm (iLIGO) | LAIV-XY | D0901749 C | Thorlabs BA2 | iLIGO optics, ANU hardware |  | Mirror 1" 1064nm | 8
IO-ALS-BS1 | R=95% @1064nm Wdg | SN100C-F | D0901749 C | Thorlabs BA2 | iLIGO optics, ANU hardware |  | Mirror 2" 1064nm | 0
IO-ALS-HWP1 | HWP 1" 1064nm | RSP-1T | D0901749 B | Thorlabs BA1 + RS01 | ANU |  | R=5% @1064nm Wdg | 0
IO-ALS-FI1 | Faraday Isolator-3 @1064nm | New Focus 9071 | D1300611 | D1300610 | ANU |  | R=10% @1064nm Wdg | 0
IO-ALS-FI2 | Faraday Isolator-3 @1064nm |  |  | D1300606 | ANU |  | R=50% @1064nm | 0
IO-ALS-BDx | Beamdump | Thorlabs TR1 | Thorlabs PH2 | Thorlabs BA1 | ANU |  | HWP 1" 1064nm | 1
IO-ALS-FC1 | Thorlabs Fiber Collimator, F220 APC-1064 (ANU) | SN100C-F | D0901749 C | Thorlabs BA2 | ANU |  | QWP 1" 1064nm | 0
IO-ALS-PD1 | DC PD - Voltaic | Thorlabs TR1 | Thorlabs PH2 | Thorlabs BA2 | ANU |  | PBS 0.5" 1064nm | 0
[7 empty] | ROC = +50mm - 1" | 0
[7 empty] | ROC = +75mm - 1" | 0
[7 empty] | ROC = +100mm - 1" | 0
[7 empty] | ROC = +150mm - 1" | 0
[7 empty] | ROC = +175mm - 1" | 0
[7 empty] | ROC = +200mm - 1" | 0
[7 empty] | ROC = +250mm - 1" | 0
[7 empty] | ROC = +350mm - 1" | 0
[7 empty] | ROC = +500mm - 1" | 0
[7 empty] | ROC = +750mm - 1" | 0
[7 empty] | ROC = -75mm - 1" | 0
[7 empty] | ROC = -100mm - 1" | 0
[7 empty] | ROC = -150mm - 1" | 0
[7 empty] | ROC = -175mm - 1" | 0
[7 empty] | ROC = +750mm - 2" | 0
[7 empty] | ROC = +500mm - 2" | 0
[6 empty] | IR at 1064nm | ROC = +50mm - 1" - IR | 0
[7 empty] | ROC = +75mm - 1" - IR | 0
[7 empty] | ROC = +100mm - 1" - IR | 0
[7 empty] | ROC = +150mm - 1" - IR | 0
[7 empty] | ROC = +175mm - 1" - IR | 0
[7 empty] | ROC = +200mm - 1" - IR | 0
[7 empty] | ROC = +250mm - 1" - IR | 0
[7 empty] | ROC = +350mm - 1" - IR | 0
[7 empty] | ROC = +500mm - 1" - IR | 0
[7 empty] | ROC = +750mm - 1" - IR | 0
[7 empty] | ROC = -75mm - 1" - IR | 0
[7 empty] | ROC = -100mm - 1" - IR | 0
[7 empty] | ROC = -150mm - 1" - IR | 0
[7 empty] | ROC = -175mm - 1" - IR | 0
[7 empty] | ROC = +750mm - 2" - IR | 0
[7 empty] | ROC = +500mm - 2" - IR | 0
[7 empty] | PLCX-25.4-77.3-UV-1064, f=171.9mm (iLIGO) | 2
[7 empty] | PLCX-25.4-257.5-UV-1064, f= 573.1mm (iLIGO) | 1
[7 empty] | PLCX-25.4-72.1-UV-1064, f= 160.4mm (iLIGO) | 1
[7 empty] | Faraday Isolator-2 @532nm | 0
[7 empty] | Faraday Isolator-2 @1064nm | 0
[7 empty] | Faraday Isolator-3 @1064nm | 2
[7 empty] | EOM @532nm | 0
[7 empty] | Fibre Coupler @1064nm | 0
[7 empty] | Mad City Labs Nano-MTA2 | 0
[7 empty] | DC PD - Voltaic | 1
[7 empty] | DC PD - Transimpedance | 0
[7 empty] | DC PD - BBPD | 0
[7 empty] | RF PD - REFL | 0
[7 empty] | Beamdump | 4
[7 empty] | Watec 902B | 0
[7 empty] | SS100-F2H | 3
[7 empty] | SN100C-F | 2
[7 empty] | LAIV-XY | 4
[7 empty] | RSP-1T | 1
[7 empty] | UGP1 | 0
[7 empty] | UGP KIT-1 | 0
[7 empty] | U200-A2K | 0
[7 empty] | 4001NF | 0
[7 empty] | New Focus 9082 | 0
[7 empty] | D0901749 C | 9
[7 empty] | D0901749 B | 1
[7 empty] | D1300606 | 1
[7 empty] | D1300610 | 1
[7 empty] | D1300611 | 1
[7 empty] | Thorlabs BA2 | 9
[7 empty] | Thorlabs BA1 | 2
[7 empty] | Thorlabs PH2 | 0
[7 empty] | Thorlabs RS01 | 1
[7 empty] | FI Base | 0
Note 1: The mirrors -M1 to -M5 (optics and hardware) are provided by the IO group (UF).
Note 2: The lenses -L1 to -L4 are from the LHO solution, and based on available lenses at LHO. LLO will have a slightly different set of lenses.
Note 3: The faraday isolators -FI1 and -FI2 at LHO are Thorlabs isolators, while at LLO they will be ISOWAVE with integrated waveplates.
Note 4: The beamsplitter -BS1 is a R=95% version obtained from the iLIGO stock at LHO. LLo will see to obtain a silimar beam sampler.
see LIGO-D0902114, PSL Table Layout for Advanced LIGO

## Sheet1
VIS Coated at 532nm ONLY | [12 empty] | 0 | 0
ROC = +150mm - 1" | Laseroptik GmbH | S-01304 Q2 Ø25x6,35mm |  | 90 | 3 | 0 | 2 | 2 | 0 | 4 | 8 | -5 | -9 | 1053 | #REF!
ROC = -100mm - 1" | Laseroptik GmbH | S-00071 Q2 Ø25x6,35mm |  | 80 | 3 | 0 | 1 | 1 | 0 | 2 | 4 | -1 | -3 | 312 | #REF!
ROC = +500mm - 2" | Laseroptik GmbH | S-03164 Q2 Ø50x9,5mm |  | 490 | 2 | 0 | 1 | 1 | 0 | 2 | 4 | -2 | -4 | 2548 | #REF!
IR Coated at 1064nm ONLY
ROC = +50mm - 1" - IR | Laseroptik GmbH | S-00791 Q2 Ø25x6,35mm | Dual AR/AR Coating runs are not included | 104.5 | 0 | 1 | 1 | 1 | 0 | 3 | 6 | -6 | -9 | 1222.65 | converted from Euro to USD by multiplying by 1.3
ROC = +75mm - 1" - IR | Laseroptik GmbH | S-00078 Q2 Ø25x6, 35mm | run 691EUR per side, for 54 substrates | 100 | 0 | 0 | 1 | 1 | 0 | 2 | 4 | -4 | -6 | 780 | converted from Euro to USD by multiplying by 1.3
ROC = +50mm - 1" - IR | Laseroptik GmbH | S-03164 Q2 Ø50x9,5mm |  | 490 | 0 | 1 | 1 | 1 | 0 | 3 | 6 | -6 | -9 | 5733 | 0

## Version
Version | Date | Comment
v1
v2
v3 | 2013-08-23 | Changed the waveplate bases from BA2 to BA1
v4 | 2013-08-28 | set the Qty in-Hand for the D0901749-C post to 1x EY +1x ISCT1 + 1x PSL-IO + 20 (at LLO) and -B post to 1x EY + 1x ISCT1 +1x PSL-IO. Also added this Version sheet