## Total Chassis per IFO
Count of Column | Column Labels | RFPDs | Quantity
Chassis Type | Quantity | In-air Single Channel WFS RFPD (24.078 MHz) | 2
10.0 MHz Frequency Divider | 1 | In-air LSC Style In-air RFPD (24.078 MHz) | 1
158.8 MHz Frequency Doubler | 2 | In-air LSC RFPD ( 9 MHZ and 45 MHz ) | 3
21.5 MHZ RF Source (2U) | 1 | In-air WFS RFPD (9 MHz and 45 MHz) | 2
24.078 / 22.993 MHz RF Source (2U) | 1 | In-air WFS RFPD (36 MHz and 45 MHz) | 2
24.4 MHZ RF Source (2U) | 2 | In-air PSL Style RFPD (21.5 MHz) | 1
2-Ch Phase Frequency Discriminator | 3 | In-vac LSC RFPD ( 9 MHZ and 45 MHz ) | 2
2-Channel RF Demodulator | 4 | In-vac WFS RFPD (9 MHz and 45 MHz) | 2
35.5 MHz RF Source (2U) | 1 | In-vac WFS RFPD (36 MHz and 45 MHz) | 2
384 Ch Binary Output | 6
39.7 MHz Frequency Divider | 3
4 CH Coil Driver | 5
71 MHz RF Source (2U) | 3
79.4 MHz VCO | 5
80.0 MHz RF Source (2U) | 1
9.099/8.684 MHz Harmonic Generator | 1
9.099/8.684 MHz Harmonic Power Supply | 1
9.099/8.684 MHz RF Source (2U) | 1
AA | 15
Aeroflex 2023A Diagnostics | 3
AI | 5
ALS Laser Disribution | 1
ASC Demod Concentrator | 5
Aux Signals Conc. 4 | 1
Aux Signals Concentrator 2 | 2
Aux Signals Concentrator 5 | 2
Auxiliary Signals Concentrator 1 | 4
Auxiliary Signals Concentrator 3 | 1
Beckhoff EtherCAT 2 (3U) | 1
Beckhoff EtherCAT 3 (3U) | 1
Beckhoff EtherCAT 4 (3U) | 1
Beckhoff EtherCAT 5 (3U) | 1
Beckhoff EtherCAT 6 (3U) SPARE | 1
Beckhoff EtherCAT 1 (3U) | 3
Beckhoff EtherCAT 2 (3U) | 2
CM Summing Chassis | 1
Common Mode Servo | 6
Demodulator RF Patch Panel | 3
Distribution Amplifier | 24
Dual Delay Line Phase Shifter | 4
Dual D-Sub Breakout Panel | 2
Dual QPD Transimpedance Amplifier | 10
IO Ext Chassis (4U) | 4
ISC 8 Channel Whitening Filter Chassis | 27
LSC Demod Concentrator | 6
LSC Demodulator Patch Panel | 3
LSC Quad I&Q RF Demodulator | 4
LSC RFPD Interface | 3
OMC Piezo Driver Chassis | 1
Quad Differential to Single Ended Reciever | 3
RF Amp Comparator/Freq Counter 1 & 2 (1.5 U each) | 1
RF Amp Concentrator 3 (actually 1.5 U) | 2
RF Patch Panel | 24
RF Preamplifier | 2
Serial Concentrator for Timing | 1
SUS Sat Amp | 3
Timing Comparator/Freq Counter | 1
Timing Fanout Module | 1
WFS Demodulator Patch Panel | 7
WFS Quad I&Q RF Demodulator | 11
WFS RFPD Interface | 3

## L1-ISC-C1
ISC RACK S1201186 L1-ISC-C1 | Chassis Type | D# | S# | NOTES | Chassis Type | Count of Chassis Type
42 |  |  |  |  | 4 CH Coil Driver | 5
41 |  |  |  |  | AA | 11
40 |  |  |  |  | AI | 3
39 |  |  |  |  | IO Ext Chassis (4U) | 2
38 |  |  |  |  | Total Result | 21
37 | AA | D0902783 | S1102773 | ASC (ADC_0)
36 | AA | D0902783 | S1102772 | ASC (ADC_1)
35
34 | AA | D0902783 | S1102767 | ASC (ADC_2)
33 | AA | D0902783 | S1102769 | ASC (ADC_3)
32
31 | AA | D0902783 | S1102775 | ASC (ADC_4)
30 | AA | D0902783 | S1102771 | ASC (ADC_5)
29
28 | AA | D0902783 | S1102708 | ASC (ADC_6)
27 | AA | D0902783 | S1102780 | ASC (ADC_7)
26
25 | 4 CH Coil Driver | D1100687 | S1200615 | Tip/Tilt REFL HAM1
24 | 4 CH Coil Driver | D1100687 | S1200616 | Tip/Tilt REFL HAM1
23
22 | 4 CH Coil Driver | D1100687 | S1200604 | Tip/Tilt OMC
21 | 4 CH Coil Driver | D1100687 | S1106047 | Tip/Tilt OMC
20
19 | 4 CH Coil Driver | D1100687 | S1200603 | Tip/Tilt OMC
18 | AI | D070081 | S1102757 | ASC (DAC_0)
17
16 | AI | D070081 | S1102756 | ASC (DAC_1)
15
14 | IO Ext Chassis (4U) | D1001715 | S1106300 | ASC
13
12
11
10
9 | AA | D0902783 | S1102768 | LCS (ADC_0)
8 | AA | D0902783 | S1102779 | LCS (ADC_1)
7
6 | AA | D0902783
5 | AI | D070081 |  | LCS (DAC_0)
4 | IO Ext Chassis (4U) | D1001715 | S1106342 | LCS
3
2
1

## L1-ISC-C2
ISC RACK S1201187 L1-ISC-C2 | Chassis Type | D# | S# | NOTES | Chassis Type | Count of Chassis Type
42 |  |  |  |  | 384 Ch Binary Output | 4
41 |  |  |  |  | Beckhoff EtherCAT 2 (3U) | 1
40 |  |  |  |  | Beckhoff EtherCAT 3 (3U) | 1
39 |  |  |  |  | Beckhoff EtherCAT 4 (3U) | 1
38 |  |  |  |  | Beckhoff EtherCAT 5 (3U) | 1
37 |  |  |  |  | Beckhoff EtherCAT 6 (3U) SPARE | 1
36 |  |  |  |  | Beckhoff EtherCAT 1 (3U) | 1
35 | Serial Concentrator for Timing | D1100632 | S1103476 |  | Serial Concentrator for Timing | 1
34 |  |  |  |  | Total Result | 11
33 | 384 Ch Binary Output | D1100251 | S1201215 | R1 & R2 Whitening (BO1)
32
31 | 384 Ch Binary Output | D1100251 | S1201216 | R2 & R4 Whitening (BO2)
30
29
28 | 384 Ch Binary Output | D1100251 | S1201217 | R3 & R5 Whitening (BO3)
27
26 | 384 Ch Binary Output | D1100251 | S1203281 | R5 Whitening (BO4)
25
24
23 | Beckhoff EtherCAT 6 (3U) SPARE |  |  | SPARE
22
21
20
19 | Beckhoff EtherCAT 1 (3U) | D1002961 | S1102617 | CM Servo, VCO, Delay Line
18
17
16
15 | Beckhoff EtherCAT 2 (3U) | D1100680 | S1107446 | Picomotor, serial Ports, Modbus
14
13
12
11 | Beckhoff EtherCAT 3 (3U) | D1100681 | S1107449 | LSC Demod, VCO, Delay Line, RF Amps
10
9
8
7 | Beckhoff EtherCAT 4 (3U) | D1101266 | S1107452 | ASC Demod
6
5
4
3 | Beckhoff EtherCAT 5 (3U) | D1200132 | S1200506 | Beam diverters, Shutters, Aux channels The S number was S1200506
2
1

## L1-ISC-C3
ISC RACK S1201188 L1-ISC-C3 | Chassis Type | D# | S# | NOTES | Chassis Type | Count of Chassis Type
42 | RF Patch Panel | D1101479 |  | Installed and cabled | 10.0 MHz Frequency Divider | 1
41 |  |  |  |  | 21.5 MHZ RF Source (2U) | 1
40 | RF Patch Panel | D1101479 |  | Installed and cabled | 35.5 MHz RF Source (2U) | 1
39 |  |  |  |  | 39.7 MHz Frequency Divider | 1
38 | RF Patch Panel | D1101479 |  | TCS | 80.0 MHz RF Source (2U) | 1
37 |  |  |  |  | Distribution Amplifier | 5
36 |  |  |  |  | RF Amp Comparator/Freq Counter 1 & 2 (1.5 U each) | 1
35 |  |  |  |  | RF Patch Panel | 3
34 |  |  |  |  | Timing Comparator/Freq Counter | 1
33 |  |  |  |  | Timing Fanout Module | 1
32 | 21.5 MHZ RF Source (2U) | D080702 | S1000546 |  | Total Result | 16
31
30 | Distribution Amplifier | D1000124 | S1000674
29 | 35.5 MHz RF Source (2U) | D080702 | S1000551
28
27 | Distribution Amplifier | D1000124 | S1000672
26
25 | 80.0 MHz RF Source (2U) | D080702 | S1000567
24
23 | Distribution Amplifier | D1000124 | S1000654
22 | 39.7 MHz Frequency Divider | D1002182 | S1000751
21 | Distribution Amplifier | D1000124 | S1000655
20 | 10.0 MHz Frequency Divider | D1100974 | S1103488
19 | Distribution Amplifier | D1000124 | S1000671
18 | RF Amp Comparator/Freq Counter 1 & 2 (1.5 U each) | D1100262 x 2 | S1103461
17
16 |  |  | S1103460
15
14
13
12 | Timing Comparator/Freq Counter | D1001370 | S1202500
11 | Timing Fanout Module | D080534 | S1201221
10
9
8
7
6
5
4
3
2
1

## L1-ISC-C4
ISC RACK S1201189 L1-ISC-C4 | Chassis Type | D# | S# | NOTES | Chassis Type | Count of Chassis Type
42 | RF Patch Panel | D1101479 |  | Installed and cabled | 24.078 / 22.993 MHz RF Source (2U) | 1
41 |  |  |  |  | 71 MHz RF Source (2U) | 1
40 | RF Patch Panel | D1101479 |  | Installed and cabled | 9.099/8.684 MHz Harmonic Generator | 1
39 |  |  |  |  | 9.099/8.684 MHz Harmonic Power Supply | 1
38 | RF Patch Panel | D1101479 |  | Installed and cabled | 9.099/8.684 MHz RF Source (2U) | 1
37 |  |  |  |  | Aeroflex 2023A Diagnostics | 1
36 | RF Patch Panel | D1101479 |  | Installed and cabled | Distribution Amplifier | 9
35 |  |  |  |  | RF Patch Panel | 6
34 | RF Patch Panel | D1101479 |  | Installed and cabled | Total Result | 21
33
32 | RF Patch Panel | D1101479 |  | Installed and cabled
31
30 | Aeroflex 2023A Diagnostics
29
28 | 9.099/8.684 MHz RF Source (2U) | D080702
27
26 | Distribution Amplifier | D1000124 | S1000657
25
24 | 9.099/8.684 MHz Harmonic Generator |  | S1000799
23 | 9.099/8.684 MHz Harmonic Power Supply | D1002735 | S1000795 | SPARE
22 | Distribution Amplifier | D1000124 | S1000660
21 | Distribution Amplifier | D1000124 | S1000661
20 | Distribution Amplifier | D1000124 | S1000662
19 | Distribution Amplifier | D1000124 | S1000664
18 | Distribution Amplifier | D1000124 | S1000667
17 | Distribution Amplifier | D1000124 | S1000668
16
15
14 | 24.078 / 22.993 MHz RF Source (2U) | D080702 | S1000572
13
12 | Distribution Amplifier | D1000124 | S1000656
11 | 71 MHz RF Source (2U) | D080702 | S1000560
10
9 | Distribution Amplifier | D1000124 | S1000651
8
7
6
5
4
3
2
1

## L1-ISC-R1
ISC RACK S1201192 L1-ISC-R1 | Chassis Type | D# | S# | NOTES | Chassis Type | Count of Chassis Type
42 | RF Patch Panel | D1101479 | NA |  | 158.8 MHz Frequency Doubler | 2
41 |  |  |  |  | 79.4 MHz VCO | 3
40 | RF Patch Panel | D1101479 | NA |  | ASC Demod Concentrator | 1
39 |  |  |  |  | Demodulator RF Patch Panel | 1
38 | RF Patch Panel | D1101479 |  | Not installed | Distribution Amplifier | 1
37 |  |  |  |  | Dual D-Sub Breakout Panel | 1
36 |  |  |  |  | ISC 8 Channel Whitening Filter Chassis | 2
35 | Distribution Amplifier | D1000124 | S1000673 |  | LSC Demod Concentrator | 1
34 |  |  |  |  | LSC RFPD Interface | 1
33 | 79.4 MHz VCO | D0900605 | S1200576 | (ALS) to Beckhoff in C2 | Quad Differential to Single Ended Reciever | 1
32 |  |  |  |  | RF Patch Panel | 3
31 | Dual D-Sub Breakout Panel | D1201450 | NA |  | WFS Quad I&Q RF Demodulator | 2
30 | 158.8 MHz Frequency Doubler | D1002178 | S1000740 |  | 2-Ch Phase Frequency Discriminator | 1
29 | 2-Ch Phase Frequency Discriminator | D1002476 | S1000766 |  | 2-Channel RF Demodulator | 1
28 | Demodulator RF Patch Panel | D1201470 |  | Do I Have it?; needs installed | Common Mode Servo | 1
27 | 79.4 MHz VCO | D0900605 | S1200575 | (ALS) to Beckhoff in C2 | Dual Delay Line Phase Shifter | 1
26 |  |  |  |  | WFS Demodulator Patch Panel | 1
25 |  |  |  |  | WFS RFPD Interface | 1
24 | 79.4 MHz VCO | D0900605 | S1200580 | (PSL) to Beckhoff in C2 | Total Result | 25
23
22 | 158.8 MHz Frequency Doubler | D1002178 | S1000739
21 | Dual Delay Line Phase Shifter | D0900128 | S1103423
20 | 2-Channel RF Demodulator | D1000181 | S1000788 | S1000783 needs repair! Spare used
19
18 | Common Mode Servo | D0901781 | S1102629
17
16 | LSC Demod Concentrator | D1100691 | S1004005
15 | ASC Demod Concentrator | D1100696 | S1103984 | No S# on front panel!
14 | LSC RFPD Interface | D1102079 | S1200449
13 | WFS RFPD Interface | D1101906 | S1200429
12
11 | ISC 8 Channel Whitening Filter Chassis | D1002559 | S1101612 | ASC IMC WFS_A 24MHz
10
9 | WFS Quad I&Q RF Demodulator | D0902796 | S1000991 | ASC IMC WFS_A 24MHz
8 | WFS Demodulator Patch Panel | D1100905
7 | WFS Quad I&Q RF Demodulator | D0902796 | S1001024 | ASC IMC WFS_B 24MHz
6
5 | ISC 8 Channel Whitening Filter Chassis | D1002559 | S1101571 | ASC IMC WFS_B 24MHz
4
3 | Quad Differential to Single Ended Reciever | D1100482 | S1202844
2
1

## L1-ISC-R2
ISC RACK S1201193 L1-ISC-R2 | Chassis Type | D# | S# | NOTES | Chassis Type | Count of Chassis Type
42 | RF Patch Panel | D1101479 |  |  | Distribution Amplifier | 2
41 |  |  |  |  | ISC 8 Channel Whitening Filter Chassis | 9
40 | RF Patch Panel | D1101479 |  |  | LSC Demodulator Patch Panel | 2
39 |  |  |  |  | LSC Quad I&Q RF Demodulator | 3
38 | Distribution Amplifier | D1000124 | S1000665 |  | RF Patch Panel | 2
37 | Distribution Amplifier | D1000124 | S1000658 |  | WFS Demodulator Patch Panel | 3
36 | Dual Delay Line Phase Shifter | D0900128 | S1103416 |  | WFS Quad I&Q RF Demodulator | 4
35 |  |  |  |  | 2-Channel RF Demodulator | 1
34 | 2-Channel RF Demodulator | D1000181 | S1000784 | REFLAIR A 9 | Dual Delay Line Phase Shifter | 1
33 |  |  |  |  | Total Result | 27
32 | ISC 8 Channel Whitening Filter Chassis | D1002559 | S1101620 | (LSC POPAIR A 9&45, LSC REFLAIR A 45)
31
30 | LSC Quad I&Q RF Demodulator | D0902796 | S1001004 | LSC POPAIR A 9&45, LSC REFLAIR A 45
29 | LSC Demodulator Patch Panel | D1100956
28 | LSC Quad I&Q RF Demodulator | D0902796 | S1001007 | LSC POPAIR B 18&90, LSC REFLAIR B 27&135
27
26 | ISC 8 Channel Whitening Filter Chassis | D1002559 | S1101624 | LSC POPAIR B 18&90, LSC REFLAIR B 27&135
25
24 | LSC Quad I&Q RF Demodulator | D0902796 | S1001012 | LSC POP A, LSC REFL A
23 | LSC Demodulator Patch Panel | D1100956
22 | ISC 8 Channel Whitening Filter Chassis | D1002559 | S1101625 | LSC POP A, LSC REFL A
21
20 | ISC 8 Channel Whitening Filter Chassis | D1002559 | S1101596 | ASC REFLAIR A 9MHz
19
18 | WFS Quad I&Q RF Demodulator | D0902796 | S1001030 | ASC REFLAIR A 9MHz
17 | WFS Demodulator Patch Panel | D1100905
16 | ISC 8 Channel Whitening Filter Chassis | D1002559 | S1000986 | ASC REFLAIR A 45MHz
15
14 | ISC 8 Channel Whitening Filter Chassis | D1002559 | S1101167 | ASC REFLAIR A 45MHz
13
12 | ISC 8 Channel Whitening Filter Chassis | D1002559 | S1101621 | ASC REFLAIR B 9MHz
11
10 | WFS Quad I&Q RF Demodulator | D0902796 | S1000987 | ASC REFLAIR B 9MHz
9 | WFS Demodulator Patch Panel | D1100905
8 | WFS Quad I&Q RF Demodulator | D0902796 | S1000990 | ASC REFLAIR B 45MHz
7
6 | ISC 8 Channel Whitening Filter Chassis | D1002559 | S1101609 | ASC REFLAIR B 45MHz
5
4 | WFS Quad I&Q RF Demodulator | D0902796 | S1000973 | Spare chain for air to vac leapfrog
3 | WFS Demodulator Patch Panel | D1100905
2 | ISC 8 Channel Whitening Filter Chassis | D1002559 | S1101597 | Spare chain for air to vac leapfrog
1

## L1-ISC-R3
ISC RACK S1201194 L1-ISC-R3 | Chassis Type | D# | S# | NOTES | Chassis Type | Count of Chassis Type
42 | RF Patch Panel | D1101479 |  |  | Distribution Amplifier | 3
41 |  |  |  |  | ISC 8 Channel Whitening Filter Chassis | 6
40 | RF Patch Panel | D1101479 |  |  | LSC Demodulator Patch Panel | 1
39 |  |  |  |  | LSC Quad I&Q RF Demodulator | 1
38 |  |  |  |  | RF Patch Panel | 2
37 | Distribution Amplifier | D1000124 | S1000659 |  | WFS Demodulator Patch Panel | 3
36 |  |  |  |  | WFS Quad I&Q RF Demodulator | 5
35 | Distribution Amplifier | D1000124 | S1000663 |  | Total Result | 21
34
33 | Distribution Amplifier | D1000124 | S1000666
32
31 | ISC 8 Channel Whitening Filter Chassis | D1002559 | S1101588 | ASC ASAIR A 36MHz
30
29 | WFS Quad I&Q RF Demodulator | D0902796 | S1001033 | ASC ASAIR A 36MHz
28 | WFS Demodulator Patch Panel | D1100905
27 | WFS Quad I&Q RF Demodulator | D0902796 | S1001027 | ASC ASAIR A 45MHz
26
25 | ISC 8 Channel Whitening Filter Chassis | D1002559 | S1101575 | ASC ASAIR A 45MHz
24
23 | ISC 8 Channel Whitening Filter Chassis | D1002559 | S1101589
22
21 | WFS Quad I&Q RF Demodulator | D0902796 | S1000983 | (Spare D0902796 Chain for air to vac leapfrog
20 | WFS Demodulator Patch Panel | D1100905 |  | (Spare D0902796 Chain for air to vac leapfrog
19
18 | ISC 8 Channel Whitening Filter Chassis | D1002559 | S1101598 | ASC ASAIR B 36MHz
17
16 | WFS Quad I&Q RF Demodulator | D0902796 | S1000988 | ASC ASAIR B 36MHz
15 | WFS Demodulator Patch Panel | D1100905
14 | WFS Quad I&Q RF Demodulator | D0902796 | S1001025 | ASC ASAIR B 45MHz
13
12 | ISC 8 Channel Whitening Filter Chassis | D1002559 | S1101610 | ASC ASAIR B 45MHz
11
10 | ISC 8 Channel Whitening Filter Chassis | D1002559 | S1101592 | LSC ASAIR A 45MHz, LSC ASAIRB 19MHz, LSCASAIR B 90 MHz
9
8 | LSC Quad I&Q RF Demodulator | D0902796 | S1001001 | LSC ASAIR A 45MHz, LSC ASAIRB 19MHz, LSCASAIR B 90 MHz
7 | LSC Demodulator Patch Panel | D1100956
6
5
4
3
2
1

## L1-ISC-R4
ISC RACK S1201195 L1-ISC-R4 | Chassis Type | D# | S# | NOTES | Chassis Type | Count of Chassis Type
42 | LSC Demod Concentrator | D1100691 | S1104007 |  | ALS Laser Disribution | 1
41 | LSC Demod Concentrator | D1100691 | S1104006 |  | ASC Demod Concentrator | 2
40 | ASC Demod Concentrator | D1100696 | S1103987 |  | Auxiliary Signals Concentrator 1 | 1
39 | ASC Demod Concentrator | D1100696 | S1103985 |  | Auxiliary Signals Concentrator 3 | 1
38 | LSC RFPD Interface | D1102079 | S1200323 |  | CM Summing Chassis | 1
37 | WFS RFPD Interface | D1101906 | S1200428 |  | Dual QPD Transimpedance Amplifier | 3
36 |  |  |  |  | ISC 8 Channel Whitening Filter Chassis | 3
35 | ALS Laser Disribution | D1200136 | S1202531 |  | LSC Demod Concentrator | 2
34 |  |  |  |  | LSC RFPD Interface | 1
33 |  |  |  |  | SUS Sat Amp | 1
32 | ISC 8 Channel Whitening Filter Chassis | D1002559 | S1101599 | SM2 (IM4 TRANS)/ ISS QPD; (HAM2) | Common Mode Servo | 1
31 | Dual QPD Transimpedance Amplifier | D1002481 | S1102824 | SM2 (IM4 TRANS)/ ISS QPD; (HAM2) | WFS RFPD Interface | 1
30 |  |  |  |  | Total Result | 18
29 | ISC 8 Channel Whitening Filter Chassis | D1002559 | S1101611 | MC2 (HAM3)
28 | Dual QPD Transimpedance Amplifier | D1002481 | S1102812 | MC2 (HAM3)
27
26 | ISC 8 Channel Whitening Filter Chassis | D1002559 | S1101586 | ISC-ASC_POP (HAM3)
25 | Dual QPD Transimpedance Amplifier | D1002481 | S1102814 | ISC-ASC_POP (HAM3)
24
23 | SUS Sat Amp | D1002818 | S1200172 | HAM 1 Tip/Tilt
22
21 | Auxiliary Signals Concentrator 1 | D1102065 | S1200549
20 | Auxiliary Signals Concentrator 3 | D1201345 | S1300242
19
18
17 | CM Summing Chassis | D1200148
16
15 | Common Mode Servo | D0901781 | S1102623
14
13
12
11
10
9
8
7
6
5
4
3
2
1

## L1-ISC-R5
ISC RACK S1201196 L1-ISC-R5 | Chassis Type | D# | S# | NOTES | Chassis Type | Count of Chassis Type
42 |  |  |  |  | ASC Demod Concentrator | 2
41 |  |  |  |  | Aux Signals Conc. 4 | 1
40 |  |  |  |  | Dual D-Sub Breakout Panel | 1
39 |  |  |  |  | Dual QPD Transimpedance Amplifier | 3
38 |  |  |  |  | ISC 8 Channel Whitening Filter Chassis | 3
37 |  |  |  |  | LSC Demod Concentrator | 1
36 | LSC Demod Concentrator | D1100691 | S1104008 |  | LSC RFPD Interface | 1
35 | ASC Demod Concentrator | D1100696 | S1103983 | needs S# on front panel | SUS Sat Amp | 2
34 | ASC Demod Concentrator | D1100696 | S1103986 | needs S# on front panel | WFS RFPD Interface | 1
33 |  |  |  |  | Auxiliary Signals Concentrator 1 | 1
32 | LSC RFPD Interface | D1102079 | S1200463 |  | OMC Piezo Driver Chassis | 1
31 |  |  |  |  | Total Result | 17
30 | WFS RFPD Interface | D1101906 | S1200443
29
28 | SUS Sat Amp | D1002818 | S1105381 | Tip/Tilt (OM1 & OM2)
27
26 | SUS Sat Amp | D1002818 | S1200168 | Tip/Tilt (OM3)
25
24 | Dual QPD Transimpedance Amplifier | D1002481 | S1102830 | ASC OMCR A&B
23
22 | ISC 8 Channel Whitening Filter Chassis | D1002559 | S1101608 | ASC OMCR A&B
21
20 | Dual QPD Transimpedance Amplifier | D1002481 | S1102834 | ASC AS C
19
18 | ISC 8 Channel Whitening Filter Chassis | D1002559 | S1101164 | ASC AS C, OMC DCPD A&B
17
16 | Auxiliary Signals Concentrator 1 | D1102065 | S1200550
15 | Aux Signals Conc. 4 | D1201349 | S1300245
14
13 | OMC Piezo Driver Chassis | D1300485 | S1301186 | OMC HV/LV
12 | Dual D-Sub Breakout Panel | D1201450 | N/A | Dual D-Sub Breakout Panel
11
10 | Dual QPD Transimpedance Amplifier | D1002481 | Steal on from ends | ASC OMC A & B
9
8 | ISC 8 Channel Whitening Filter Chassis | D1002559 | S1101639 | ASC OMC A & B
7
6
5
4
3
2
1

## IOT2L
| Left Side |  |  |  | Right Side
ISC RACK S#??? L1-ISCT2L | Chassis Type | D# | S# | NOTES | Chassis Type | D# | S# | NOTES
4 | Picomotor Interface x2 (L & R) | D1100323 | S1107553 | PMC #5 HAM2 | Picomotor Interface x2 (L & R) | D1100323 | S1107541 | PMC #3 HAM1/HAM3
3 |  |  |  | Mounted on top of ISCT2L |  |  |  | Mounted on top of ISCT2L
2 | Shutter Controller | D1102312-V2 | S1203622 |  | Picomotor Interface x2 (L & R) | D1100323 | S1107542 | PMC #4 IOT1/ISCT2L
1 |  |  |  | Mounted on top of ISCT2L |  |  |  | Mounted on top of ISCT2L

## ISCT1
| Left Side |  |  |  | Right Side
ISC RACK S#??? L1-IOT1 | Chassis Type | D# | S# | NOTES | Chassis Type | D# | S# | NOTES
4 | Shutter Controller | D1102312 | S1203627
3 |  |  |  | Mounted on top of IOT1
2 | Shutter Controller | D1102312 | S1203626
1 |  |  |  | Mounted on top of IOT1

## L1-ISC-XC1
ISC XEND Remote RACK S1202948 L1-ISC-XC1 D1201084 | Chassis Type | D# | S# | NOTES | Chassis Type | Count of Chassis Type
42 | RF Patch Panel | D1101479 |  |  | 24.4 MHZ RF Source (2U) | 1
41 |  |  |  |  | 384 Ch Binary Output | 1
40 | RF Patch Panel | D1101479 |  |  | 71 MHZ RF Source (2U) | 1
39 |  |  |  |  | AA | 2
38 | 71 MHZ RF Source (2U) | D080702 | S1000561 |  | Aeroflex 2023A Diagnostics | 1
37 |  |  |  |  | AI | 1
36 | Distribution Amplifier | D1000124 | S1000652 |  | Distribution Amplifier | 2
35 |  |  |  |  | IO Ext Chassis (4U) | 1
34 | 24.4 MHZ RF Source (2U) | D080702 | S1000583 |  | RF Amp Concentrator 3 (actually 1.5 U) | 1
33 |  |  |  |  | RF Patch Panel | 2
32 | Distribution Amplifier | D1000124 | S1000669 |  | (empty)
31 |  |  |  |  | Beckhoff EtherCAT 2 (3U) | 1
30 | Aeroflex 2023A Diagnostics | IFR (Marconi) |  |  | Beckhoff EtherCAT 1 (3U) | 1
29 |  |  |  |  | Total Result | 15
28 | RF Amp Concentrator 3 (actually 1.5 U) | D1100262 | S1106463
27
26
25
24
23
22 | 384 Ch Binary Output | D1100251 | S1203283
21
20
19 | Beckhoff EtherCAT 1 (3U) | D1002961 | S1102618
18
17
16
15 | Beckhoff EtherCAT 2 (3U) | D1100682
14
13
12
11 | AA | D0902783
10 | AA | D0902783
9 | AI | D070081
8
7
6
5
4 | IO Ext Chassis (4U) | D1001715 | S1000536
3
2
1

## L1-ISC-XR1
ISC XEND Field S1202951 RACK L1-ISC-XR1 D1201087 | Chassis Type | D# | S# | NOTES | Chassis Type | Count of Chassis Type
42 | RF Patch Panel | D1101479 |  |  | 39.7 MHz Frequency Divider | 1
41 |  |  |  |  | 79.4 MHz VCO | 1
40 | RF Patch Panel | D1101479 |  |  | Aux Signals Concentrator 2 | 1
39 |  |  |  |  | Aux Signals Concentrator 5 | 1
38 | Dual Delay Line Phase Shifter | D0900128 | S1103433 |  | Demodulator RF Patch Panel | 1
37 |  |  |  |  | Dual QPD Transimpedance Amplifier | 2
36 | 2-Channel RF Demodulator | D1000181 | S1000785 |  | ISC 8 Channel Whitening Filter Chassis | 2
35 | Demodulator RF Patch Panel | D1201470 |  |  | LSC Demod Concentrator | 1
34 | 79.4 MHz VCO | D0900605 | S1200577 |  | RF Patch Panel | 2
33 |  |  |  |  | RF Preamplifier | 1
32 | 39.7 MHz Frequency Divider | D1002182 | S1000752 |  | 2-Ch Phase Frequency Discriminator | 1
31 | RF Preamplifier | D1201294 | S1203937 |  | 2-Channel RF Demodulator | 1
30 | 2-Ch Phase Frequency Discriminator | D1002476 | S1000767 |  | Auxiliary Signals Concentrator 1 | 1
29 |  |  |  |  | Common Mode Servo | 2
28 | Common Mode Servo | D0901781 | S1102643 |  | Dual Delay Line Phase Shifter | 1
27 |  |  |  |  | Quad Differential to Single Ended Reciever | 1
26 | Common Mode Servo | D0901781 | S1102639 |  | Total Result | 20
25
24 | LSC Demod Concentrator | D1100691 | S1104009
23
22 | Aux Signals Concentrator 2 | D1102045 | S1200534 | Aux Signals Concentrator 2
21 | Auxiliary Signals Concentrator 1 | D1102065 | S1200551 | Aux Signals Concentrator 1
20 | Aux Signals Concentrator 5 | D1201352 | S1300250 | Aux Signals Concentrator 5
19
18
17
16
15
14
13
12
11
10
9
8
7 | Quad Differential to Single Ended Reciever | D1100482 | S1203309
6
5 | ISC 8 Channel Whitening Filter Chassis | D1002559 | S1101646
4 | Dual QPD Transimpedance Amplifier | D1002481 | S1102826
3 | Dual QPD Transimpedance Amplifier | D1002481 | S1102825
2 | ISC 8 Channel Whitening Filter Chassis | D1002559 | S1101168
1

## L1-ISC-YC1
ISC XEND Remote RACK S1202955 L1-ISC-YC1 | Chassis Type | D# | S# | NOTES | Chassis Type | Count of Chassis Type
42 | RF Patch Panel | D1101479 |  |  | 24.4 MHZ RF Source (2U) | 1
41 |  |  |  |  | 384 Ch Binary Output | 1
40 | RF Patch Panel | D1101479 |  |  | 71 MHZ RF Source (2U) | 1
39 |  |  |  |  | AA | 2
38 | 71 MHZ RF Source (2U) | D080702 | S1000562 |  | Aeroflex 2023A Diagnostics | 1
37 |  |  |  |  | AI | 1
36 | Distribution Amplifier | D1000124 | S1000653 |  | Distribution Amplifier | 2
35 |  |  |  |  | IO Ext Chassis (4U) | 1
34 | 24.4 MHZ RF Source (2U) | D080702 | S1000577 |  | RF Amp Concentrator 3 (actually 1.5 U) | 1
33 |  |  |  |  | RF Patch Panel | 2
32 | Distribution Amplifier | D1000124 | S1000670 |  | Beckhoff EtherCAT 1 (3U) | 1
31 |  |  |  |  | Beckhoff EtherCAT 2 (3U) | 1
30 | Aeroflex 2023A Diagnostics | IFR (Marconi) |  |  | Total Result | 15
29
28 | RF Amp Concentrator 3 (actually 1.5 U) | D1100262 | S1103463
27
26
25
24
23
22 | 384 Ch Binary Output | D1100251 | S1203282
21
20
19 | Beckhoff EtherCAT 1 (3U) | D1002961 | S1102619
18
17
16
15 | Beckhoff EtherCAT 2 (3U) | D1100682
14
13
12
11 | AA | D0902783
10 | AA | D0902783
9 | AI | D070081
8
7
6
5
4 | IO Ext Chassis (4U) | D1001715 | S1001145
3
2
1

## L1-ISC-YR1
ISC YEND Field RACK S1202958 L1-ISC-YR1 | Chassis Type | D# | S# | NOTES | Chassis Type | Count of Chassis Type
42 | RF Patch Panel | D1101479 |  |  | 39.7 MHz Frequency Divider | 1
41 |  |  |  |  | 79.4 MHz VCO | 1
40 | RF Patch Panel | D1101479 |  |  | Aux Signals Concentrator 2 | 1
39 |  |  |  |  | Aux Signals Concentrator 5 | 1
38 | Dual Delay Line Phase Shifter | D0900128 | S1103430 |  | Demodulator RF Patch Panel | 1
37 |  |  |  |  | Dual QPD Transimpedance Amplifier | 2
36 | 2-Channel RF Demodulator | D1000181 | S1000786 |  | ISC 8 Channel Whitening Filter Chassis | 2
35 | Demodulator RF Patch Panel | D1201470 |  |  | LSC Demod Concentrator | 1
34 | 79.4 MHz VCO | D0900605 | S1200578 |  | RF Patch Panel | 2
33 |  |  |  |  | RF Preamplifier | 1
32 | 39.7 MHz Frequency Divider | D1002182 | S1000753 |  | 2-Ch Phase Frequency Discriminator | 1
31 | RF Preamplifier | D1201294 | S1203938 |  | 2-Channel RF Demodulator | 1
30 | 2-Ch Phase Frequency Discriminator | D1002476 |  |  | Auxiliary Signals Concentrator 1 | 1
29 |  |  |  |  | Common Mode Servo | 2
28 | Common Mode Servo | D0901781 | S1102646 |  | Dual Delay Line Phase Shifter | 1
27 |  |  |  |  | Quad Differential to Single Ended Reciever | 1
26 | Common Mode Servo | D0901781 | S1102647 |  | Total Result | 20
25
24 | LSC Demod Concentrator | D1100691 | S1104010
23
22 | Aux Signals Concentrator 2 | D1102045 | S1200535 | Aux Signals Concentrator 2
21 | Auxiliary Signals Concentrator 1 | D1102065 | S1200552 | Aux Signals Concentrator 1
20 | Aux Signals Concentrator 5 | D1201352 | S1300251 | Aux Signals Concentrator 5
19
18
17
16
15
14
13
12
11
10
9
8
7 | Quad Differential to Single Ended Reciever | D1100482 | S1203308
6
5 | ISC 8 Channel Whitening Filter Chassis | D1002559 | S1101629
4 | Dual QPD Transimpedance Amplifier | D1002481 | S1102831
3 | Dual QPD Transimpedance Amplifier | D1002481 | S1102816
2 | ISC 8 Channel Whitening Filter Chassis | D1002559 | S1101169
1