## Sheet1
Detector Viewer Summary
File : H:\ADLIGO\IFO\full_ifo_layout\D0901920 H1 Zemax layout.zmx
Title: D0901920-v4, Advanced LIGO, H1 Layout
Date : SAT FEB 5 2011
Incoherent Data
| Power | fractional scatter | ZEMAX coordinate
. |  |  | x | y | z | scattering length | incident angle, deg | incident angle, rad
ITM HR surface |  |  | 80 | -200 | 5001
Detector Surf 1140: total scatter ITMX | 9.9961
Rectangular Volume 1130: WIDE ANGLE BAF TOP LEDGE ITMX | 0.89258 | 0.071996 | -445 | -200 | 5315 | 611.7361 | 59.1166 | 1.0318
Rectangular Volume 1131: WIDE ANGLE BAF BOTTOM LEDGE ITMX | 2.4121 | 0.19456 | 300 | -200 | 5330 | 395.779 | 33.7704 | 0.5894
Rectangular Volume 1132: WIDE ANGLE BAF PLATE 1 ITMX | 0.44727 | 0.036077 | 80 | 1046 | 5308 | 1283.2634 | 76.1587 | 1.3292
Rectangular Volume 1133: WIDE ANGLE BAF PLATE 2 ITMX | 1.1446 | 0.092324 | 80 | 718 | 5618 | 1106.08 | 56.0944 | 0.97903
Rectangular Volume 1134: WIDE ANGLE BAF PLATE 3 ITMX | 1.4941 | 0.12051 | 80 | -1019 | 5327 | 881.497 | 68.2951 | 1.192
Rectangular Volume 1135: WIDE ANGLE BAF PLATE 4 ITMX | 2.0107 | 0.16218 | 80 | -662 | 5665 | 808.9129 | 34.8295 | 0.60789
Rectangle 1181: Plate above TM | 0.066406 | 0.0053563 | -159 | -200 | 5042 | 242.4912 | 80.2658 | 1.4009
Rectangular Pipe 1182: SUS ring around TM | 0.099609 | 0.0080345 | 254 | -200 | 5012 | 174.3474 | 86.3827 | 1.5077
Rectangle 1141: total ACB baffle | 2.8535 | 0.23016 | -70 | 0 | 5760 | 799.1126 | 18.2309 | 0.31819
Rectangle 1143: UPPER BSC | 0.03418 | 0.002757 | -2000 | -200 | 5364 | 2111.4377 | 80.1005 | 1.398
Rectangle 1144: FLOOR BSC | 0.078125 | 0.0063016 | 896 | -200 | 5120 | 824.6314 | 81.7029 | 1.426
Detector Surf 1146: ADAPTER FLANGE OPENING (leaves BSC) | 0.48737 | 0.039311
Detector Surf 1147: 3A-15 VIEWPORT FLANGE DETECTOR (enters manifold) | 0.37712 | 0.030419 | 80 | -620 | 10000 | 5016.6125 | 4.8025 | 0.08382
total scatter | 12.3977 | 1
derived spoolpiece scatter | 0.11025 | 0.0088928 | 80 | -600 | 7300 | 2333.5383 | 9.87 | 0.17226
GV2-48inch ITMX | 0.43333 | 0.0043333 | -620 | 0 | 7157 | 2275.5957 | 84.9639 | 1.4829
Rectangular Volume 1173: WIDE ANGLE BAF TOP LEDGE ITMX
Peak Power 4.9512E-001 Watts, Total Power = 8.9258E-001 Watts
Rectangular Volume 1174: WIDE ANGLE BAF BOTTOM LEDGE ITMX
Peak Power 1.2549E+000 Watts, Total Power = 2.4121E+000 Watts
Rectangular Volume 1175: WIDE ANGLE BAF PLATE 1 ITMX
Peak Power 3.1250E-001 Watts, Total Power = 4.4727E-001 Watts
Rectangular Volume 1176: WIDE ANGLE BAF PLATE 2 ITMX
Peak Power 8.9844E-001 Watts, Total Power = 1.1446E+000 Watts
Rectangular Volume 1177: WIDE ANGLE BAF PLATE 3 ITMX
Peak Power 1.2324E+000 Watts, Total Power = 1.4941E+000 Watts
Rectangular Volume 1178: WIDE ANGLE BAF PLATE 4 ITMX
Peak Power 1.1670E+000 Watts, Total Power = 2.0107E+000 Watts
Rectangle 1181: Plate above TM
Peak Power 5.9570E-002 Watts, Total Power = 6.6406E-002 Watts
Rectangular Pipe 1182: SUS ring around TM
Peak Power 1.9531E-002 Watts, Total Power = 9.9609E-002 Watts
Detector Surf 1183: total scatter ITMX
Peak Power 6.4160E-001 Watts, Total Power = 9.9961E+000 Watts
Rectangle 1184: total ACB baffle
Peak Power 1.8789E+000 Watts, Total Power = 2.8535E+000 Watts
Rectangle 1186: UPPER BSC
Peak Power 2.6367E-002 Watts, Total Power = 3.4180E-002 Watts
Rectangle 1187: FLOOR BSC
Peak Power 7.8125E-002 Watts, Total Power = 7.8125E-002 Watts
Detector Surf 1189: ADAPTER FLANGE OPENING
Peak Power 3.9063E-003 Watts, Total Power = 4.8737E-001 Watts
Detector Surf 1190: 3A-15 VIEWPORT FLANGE DETECTOR
Peak Power 1.9531E-003 Watts, Total Power = 3.7712E-001 Watts