LASER INTERFEROMETER GRAVITATIONAL WAVE OBSERVATORY

CALIFORNIA INSTITUTE OF TECHNOLOGY

MASACHUSETTS INSTITUTE OF TECHNOLOGY

Laser SOP LIGO-MXXXXXXX-VX [Date]

[Site] [Power] [Subsystem] SOP

Submitted By: [Author list]

LIGO Hanford Observatory					LIGO Livingston Observatory

P.O. Box 159							19100 LIGO Lane

Richland, WA 99352						Livingston, LA 70754

Phone (509) 372-8106						Phone (225) 686-3100

Fax (509) 372-8137						Fax (225) 686-7189

E-mail: info@ligo.caltech.edu				E-mail: info@ligo.caltech.edu

California Institute of Technology				Massachusetts Institute of Technology

LIGO Project – MS 100-36					LIGO Project – NW22-295

Pasadena, CA 91125						185 Albany St. Cambridge, MA 01239

Phone (626) 395-2129						Phone (617) 253-4824

Fax (626) 304-9834						Fax (617) 253-7014

E-mail: info@ligo.caltech.edu				E-mail: info@ligo.mit.edu

Table of Contents

APPROVAL SIGNATURES	2

CHANGE LOG	3

PREFACE	4

1. INTRODUCTION	4

2. HAZARDS	11

2.1 Nominal Hazard Zone	11

3. CONTROLS	12

3.1 Access and Administrative Controls	12

3.2 Physical Controls: Exposure Control	12

3.3 Physical Controls: Electrical Controls	15

3.4 Eye Protection	16

4. OPERATING PROCEDURES	17

4.1 Responsible Laser Operator	17

4.2 Start-up Procedures	17

4.3 Shutdown Procedures	17

5. TRAINING	18

6. RESPONSIBILITIES	19

7. References	20

# APPROVAL SIGNATURES

Subsystem Coordinator Name, Laser Subsystem Coordinator  	Date

Site LSO Name, [Site] Laser Safety Officer 	Date

Site Safety Coordinator Name, [Site] Site Safety Coordinator 	Date

Site Head Name, [Site] Head 	Date

LIGO LSO Name, LIGO Laser Safety Officer 	Date

LIGO Safety Coordinator Name, LIGO Safety Coordinator 	Date

# CHANGE LOG

| Version | Author | Date | Summary of Changes |
| --- | --- | --- | --- |
| V1 | Original Author(s) | DD MMM YYYY | Original |

# PREFACE

Table of Documentation Hierarchy

Tier 1 = M950046 (LIGO Laboratory System Safety Plan)

Tier 2 = M960001 (LIGO Laser Safety Program)

Tier 3 = M1000228 (LLO Laser Safety Plan) (Site-specific)

Tier 4 = Site-specific, laser-specific SOPs, FMEAs, and special procedures

Tier 5 = Operating, user, or other technical manuals from the manufacturer

Tier 6 = Wiki entries instructing operators "how-to".

This document is for individuals who require basic knowledge about this laser equipment.  It is not a substitute for operating manuals or for one-on-one training.  Standard operating procedures (SOPs) are site-specific and equipment-specific documents that fall under the jurisdiction of the site laser safety officer. Candidate laser operators must read and understand all site-specific laser safety plans as well as laser-specific SOPs.  Candidate laser operators must understand that reading this documentation is necessary, but does not automatically qualify personnel to work on this laser equipment.  Neither does it clear anyone to operate identical hardware at any other LIGO location.

# 1. INTRODUCTION

To the Laser Sponsors,

This is a template with instructions.  It is found in LIGO-M1400242. Standard operating procedures are manuscripts that briefly inform the world about various aspects of the laser system installed at our observatory.  This SOP is not meant to be a manufacturer’s user’s manual (a tier 5 document).  Instead it briefly describes the laser, its components, its location(s) with illustrations and images of experiment hall floor plans, hazards, safety features or controls, laser light parameters, and safe operating practices around the laser table.  This manuscript is required to be detailed enough to inform staff how to activate and to disable lasers as well as train staff to become liaisons to laser working groups.

It is your responsibility to generate and maintain this SOP.  No one knows the lasers to be installed better than you.  Questions may be directed to the site LSOs at any time.

Thanks - the LIGO Laser Safety Officers.

The following minimal outline is recommended to be followed.  There are seven sections required.

1) INTRODUCTION

2) HAZARDS

3) CONTROLS

4) OPERATING PROCEDURES

5) TRAINING

6) RESPONSIBILITIES

7) REFERENCES

Additional sub-sections may be added if necessary.  All sections highlighted in yellow ought to be changed appropriately.  Sections left non-highlighted may not be altered.  Laser sponsors are required to understand the non-highlighted sections.

The INTRODUCTION should contain:

- General information about the laser: power, wavelength, manufacturer, location on site (include NHZ floor plans)

- Component names and locations: power supplies, cooling systems, pump lasers

- Cognizant laser team (i.e. the school and team responsible for this laser)

- An illustration of the laser system and its appropriate NHZs are shown.

Figure 1: Modify this image to show the location of an SOP’s laser in its respective experiment hall, with its NHZ.

- Magnified views of NHZs may necessary to clearly show component locations.  Make sure that pictures are labeled and the appropriate NHZs are shown.

NHZ

PSL Enclosure

NHZ

MOPA

PSL Table

PSL Acoustic Enclosure

PSL Anteroom

Fibers from LDR

PSL Electronics Racks

Figure 2:  Modify your images as needed to clearly show the relationship of the laser to the NHZ.

P

NHZ

Not NHZ

PSL Chiller

Pump Laser Diodes (PLD)

Clean Suits and Goggles

Laser Status Panel

Equipment Doors

Laser Hazard Status Sign

Emergency Shutdown Buttons

Figure 3:  Descriptive captions go here that clarify safety components of the NHZ.

- Orientation images of the laser, position on an optical table, and accompanying descriptions.

Mephisto 2 W NPRO

Electro-mechanical Shutter

Manual shutter      (on front exterior)

Fiber optics from LDR

Power Amplifier

Mephisto Manual Shutter

Figure 4: The table layout is important.

PSL Table Sliding Doors

Optics

Reference Cavity

PSL periscope

PSL MOPA

Figure 5:  More than one  photograph may be needed to clarify the table layout.

- Provide power supply location photos and brief descriptions.

Beckhofff Automation Control Box

Activation Key

Activation Key

Mephisto Power Supply

Figure 6:  A photograph showing the front panels of the installed power supply.

- Continue descriptions of special and essential components.

Activation Key

Figure 7: The important special contents that are essential to the understanding of the laser system should be shown.

LDR NHZ Room

LDR Clean Suits

PSL Chiller

Particulate Filter

Cutoff Valves

Figure 8:  The location of special components should be shown as well.

- Required: The parameters for the primary output of the (laser) are listed in table 1.

Table 1:  Laser parameters.

| Description | Value/Designation |
| --- | --- |
| Laser Type | MOPA, excimer, diode, gas CO2? |
| Class | X |
| Emission center wavelength | Nm |
| Emission repetition rate | Continuous Wave |
| Emission waist (minimum radius) | Mm |
| Waist location | With respect to aperture |
| Beam divergence | Mrads |
| Output polarization | s-pol or p-pol? Vertical or Horizontal |
| Maximum power output | Watts |
| Interlocked | Will this be monitored? |
| Authorized locations | NHZ names |

# 2. HAZARDS

- What hazards does this laser present? (fire, burns, eyesight)

- What type of beam dumps may be used?

- Are there electrical hazards? What voltage and currents can one expect?

- Is coolant water used?  Could it leak into electrical circuits and pose a risk?

## 2.1 Nominal Hazard Zone

The nominal hazard zone (NHZ) for the LIGO (laser name) is considered to be the following:

List the associated floor plan.

NHZ

NHZ

EX with VEAx NHZ in red

EY with VEAy NHZ in red

Gowning Room

Main Entrance

Figure 9:  The associated floor plans are illustrated.

# 3. CONTROLS

## 3.1 Access and Administrative Controls

- Is access to the laser controlled?

- How is it controlled administratively?

- Where are lighted laser status signs found?

Lighted warning signs are found at access points of each associated NHZ and indicate either a “Laser Hazard” or “Laser Safe” condition.  These locations are as follows:

- List or diagram the locations of pertinent signs.

## 3.2 Physical Controls: Exposure Control

- How is access to laser light controlled physically? Explain? (shutters, beam tubes)

- Are there redundancies and fail-safes?

- Can the physical controls terminate full beam power indefinitely?

- Are shutters on the laser source interlocked?  Do they stop emissions or lasing?

Note: Insertion and extraction of beam dumps for the primary beam requires care due to the scale of momentarily scattered light.  Beam dumps placed in high power beams for long periods of time must be either water cooled or high power plate-style beam dumps.

Figure 10:  Engineering controls should be illustrated.

Sliding Shutter Seen Edge On

Pad Lock with Tag

Beam Tube

Figure 11: Other engineering controls are also illustrated.

## 3.3 Physical Controls: Electrical Controls

- Describe the electrical control safety systems.

  - Are there keyed activation switches?

  - Can the hardware keys override software commands?

- Where are the emergency laser shutdown buttons?

Access key card for exit

Main Door

Figure 13: Location of the “Emergency Laser Shutdown” button and other interlocks are illustrated.

## 3.4 Eye Protection

All personnel working in the (NHZ) while the laser is capable of being or is energized must wear protective laser safety eyewear whose optical density is specified in Table 2.

Table 2: Laser safety eyewear minimum optical density (OD) for the PSL with fibers removed and LDR

| Wavelength (nm) | Minimum O.D. | Beam parameters (est) |
| --- | --- | --- |
|  | minOD | Max Power; waist |
|  | minOD | Max. Power; waist |

# 4. OPERATING PROCEDURES

## 4.1 Responsible Laser Operator

The Responsible Laser Operator (RLO) coordinates tasks in the (NHZs) with the control room operator on duty.  If a work permit is required, one must be filed before any work begins.

- Are there special rules for the RLO?  If not modify the following paragraphs appropriately.  Else, briefly describe the special responsibilities.

## 4.2 Start-up Procedures

- Describe the standard operating procedures for starting the laser.

NOTE: If a laser beam with power in excess of 2 mW is found (reported by any observer), leaving the optics table, the laser will be shut down by the LSO and will remain “OFF” until start-up authorization is received.

NOTE:  It is the responsibility of each person working within the Laser Nominal Hazard Zone (NHZ) to ensure that LIGO standards for safe laser operation are being followed at all times

## 4.3 Shutdown Procedures

- Describe the shutdown procedures for the laser

# 5. TRAINING

LIGO basic laser safety training must be completed before any individual can work around any class 3b and/or class 4 laser emission.

Access to the PSL enclosure and the LDR is only on an “as needed” basis for qualified laser operators.  To become a qualified laser operator, an individual must complete the following requirements.

- Received LIGO basic laser safety training

- Have a full understanding of this SOP and its associated FMEA

- Understand emergency and safety procedures

- Received authorization from the LIGO Livingston laser safety officer

NOTE: Training on any specific laser system does not automatically qualify individuals for other lasers at the LIGO facilities and associated university labs.

# 6. RESPONSIBILITIES

- Each person working within the LIGO NHZ Name is responsible for ensuring that safe laser practices are being followed at all times.

- The responsible laser operator is responsible for conducting tasks on a specific laser system in accordance with the prescribed control measures and in compliance with this SOP.

- The responsible laser operator is responsible for informing any and all assisting personnel regarding the control measures and SOP for the specific laser system.

- The responsible laser operator is responsible for any communications with other site personnel regarding changes in the operational status of the specific laser system.

- In case of safety incidents, contact the personnel in the immediate vicinity and (if necessary) emergency medical services as soon as possible.

- Any identified flaws in procedures or potential improvements that could enhance safety should be brought to the attention of the LLO Laser Safety Officer or cognizant laser personnel.

# 7. References

- American National Standard for Safe Use of Lasers, ANSI Z136.1-2007

Laser Institute of America, ISBN 0-912035-65-X

- LIGO-M950046 (LIGO Laboratory System Safety Plan)

- LIGO-M960001 (LIGO Laser Safety Program)

- LIGO-M080368 (LLO NHZ Transition Procedures)

- LIGO-M0900241 (Laser Safety Training for Certification and Recertification of LIGO Personnel)

- LIGO-M1000228 (LLO Laser Safety Plan)

- LIGO-G0901007 (LIGO Basic Laser Safety Training Presentation)

- LIGO-G1000017 (LLO Addendum to Basic Laser Safety Training)