## Sheet1
ITEM NO. | PART NUMBER | DESCRIPTION | MATERIAL | REQ | TOTAL | WHO | NOTES | Ordered | Recv.
37 | Thermocouple system | Thermocouple system | N/A | 14 | 14 | Bob for now |  | 14 | 11 | Bob
36 | Bag | Bag | Bag | 2 | 50 | Calum for now (then Nicki) | Need to do trial |  | 20 | Calum
35 | MAKE FROM: 8955K121 McMASTER-CARR OR EQ. | Copper Tubing, COILED, 1/4" Tube Size, 3/8" OD, .277" ID, .049" Wall | COPPER | 1 | 60 ft | Gary from McMaster | Qty: 1 50ft $117.88 Qty: 6 10ft $47.15 = 282.90 | Ordered 6 10ft | 6 | 282 | BUY MCM
34 | 89495K455 | 316 SSTL TUBING, 1" OD X .065 WALL | 316 SSTL | 1 | 60 ft | Gary from McMaster | 4ft lenghts $72.57x 15=$1088.55 | Ordered 15 4ft | 15 | 1088 | BUY MCM
33 | MAKE FROM: 9797T14 McMASTER-CARR OR EQ. | Cleaned & Capped SSTL Tubing, 3/8" OD, .305" ID, .035" Wall | 316 SSTL | 1 | 400 ft | Gary from McMaster | 6ft lenghts $38.76x 67=$2596.92 | Ordered 67 6ft | 67 | 2596 | BUY MCM
32 | 5182K636 McMASTER-CARR OR EQ. | Tubing Cap for 3/8" Tube OD | 316 SSTL | 1 | 17 | Melanie from McMaster | 160.14 | ordered 17 | 17 | Melanie
31 | 5182K849 McMaster-Carr or EQ. | Tubing Cap for 1" Tube OD | 316 SSTL | 2 | 34 | Melanie from McMaster | 1475.6 | Ordered 34 | 34 | Melanie
30 | 5272K242 McMASTER-CARR OR EQ. | Tube Fitting, 90 Degree Elbow for 3/8" Tube OD | Brass | 1 | 17 | Melanie from McMaster | 189.21 | Ordered 17 | 17 | Melanie
29 | 5182K266 McMASTER-CARR OR EQ. | Yor-Lok Fitting, Straight Adapter for 3/8" Tube OD x 1/4 NPT Female | 316 SSTL | 2 | 34 | Melanie from McMaster | 677.62 | Ordered 34 | 34 | Melanie
28 | 5182K715 McMASTER-CARR OR EQ. | Yor-Lok Tube Fitting, Straight Connector for 1" Tube OD | 316 SSTL | 2 | 34 | Melanie from McMaster | 2752.64 | Ordered 34 | 34 | Melanie
27 | 5182K156 McMASTER-CARR OR EQ. | Yor-Lok Tube Fitting, 90 Degree Elbow for 3/8" Tube OD x 1/4 NPT Male | 316 SSTL | 1 | 17 | Melanie from McMaster | 340 | Ordered 17 | 17 | Melanie
26 | 5182K266 McMASTER-CARR OR EQ. | Yor-Lok Tube Fitting, Straight Adapter for 3/8" Tube OD x 1/4 NPT Female | 316 SSTL | 1 | 17 | Melanie from McMaster | 245.99 | Ordered 17 | 17 | Melanie
25 | 51205K311 McMASTER-CARR OR EQ. | Threaded Pipe Fitting, 1/4 Female x 1/4 Male Pipe Size, Adapter | 316 SSTL | 1 | 17 | Melanie from McMaster | 314.84 | Ordered 17 | 17 | Melanie
24 | 32255K44 McMASTER-CARR OR EQ. | Gas Gauge Brass Case, 2-1/2" Dial, 1/4 NPT Male Bottom | - | 2 | 34 | Melanie from McMaster | 724.54 | Ordered 34 | 34 | Melanie | Pressure Range 0-200 psi
23 | 47065T37 McMASTER-CAR OR EQ. | TUBE HOLDER, 1" TUBE, SINGLE | - | 2 | 34 | Melanie from McMaster | 1198.16 | Ordered 34 | 34 | Melanie
22 | 3631K21 McMASTER-CARR OR EQ. | High-Temperature Heat Cable with Temperature Controller,1/2" Width, 2' Length, 120 Volt | - | 1 | 14 | Bob for now | $135.40x 14= $1895.60 |  | 14 | Nicki buying
21 | 93475K62 McMASTER-CARR OR EQ. | Foam, 3/4" Thick, 24" x 48" Sheet, Polypropylene-Coated | - | 1 | 17 | Bob for now | $66.45 per pkx 2= $132.90 |  | 2pk of 8 | Nicki buying
20 | S-14748, ULINE OR EQ. | 15" x 19" Hazmat Medium Sorbent Pads | - | 1 | 17 | Gary | Qty: 100 $104.01 | Ordered 1 carton | 1 carton | 84 | BUY
19 | 200007 TOLEDO METAL SPINNING OR EQ. | SEAMLESS SSTL FLANGED CUPS, 10" ID X 5.13 H X .07 WALL | 304, 316 OR 302 SSTL | 1 | 14 | Gary | Qty: 14@ $156.79= $2195.06 | Ordered 14 | 14 | 3429 | BUY
18 | B-600-1-4 SWAGELOK OR EQ. | Tube Fitting, Male Connector, 3/8 in. Tube OD x 1/4 in. Male NPT | Brass | 2 | 34 | Gary from Swagelock | $3.62x 34= $123.08 | Ordered 34 | 34 | 123 | BUY SWAG
17 | SS-1KM4, SWAGELOK OR EQ. | SS Integral Bonnet Needle Valve, 0.37 Cv, 1/4 in. MNPT, PCTFE Stem Tip | - | 1 | 17 | Gary from Swagelock | $68.67x 17= $1167.39 | Ordered 17 | 17 | 1167 | BUY SWAG
16 | SS-600-1-12 SWAGELOK OR EQ. | Tube Fitting, Male Connector, 3/8 in. Tube OD x 3/4 in. Male NPT | 316 SSTL | 2 | 34 | Gary from Swagelock | $17.56x 34= $597.04 | Ordered 34 | 34 | 597 | BUY SWAG
15 | 316L-600-2-4 SWAGELOK OR EQ. | Tube Fitting, Male Elbow, 3/8 in. Tube OD x 1/4 in. Male NPT | 316 SSTL | 2 | 34 | Gary from Swagelock | $19.31x 34= $656.54 | Ordered 34 | 34 | 656 | BUY SWAG
14 | SS-16BHT-36, SwageloK | PTFE-Lined, SS Braided Hose Assembly, 1 in. SS Swagelok Tube Adapters, 32.3 in. Live Length | 316 SSTL | 1 | 60 ft | Gary from Swagelock | $241.12x 23 pieces= $5545.76 | Ordered 14 | 14 | 0 |  | But on separate order with Swagelock but only buy 14 pieces
13 | SS-6BHT-18 SWAGELOK OR EQ. | PTFE-Lined, SS Braided Hose Assembly, 3/8 in. SS Swagelok Tube Adapters, 16.4 in. Live Length | 316 SSTL | 1 | 60 ft | Gary from Swagelock | $82.18x 44 pieces= $3615.92 | Ordered 14 | 14 | 0 |  | But on separate order with Swagelock but only buy 14 pieces
12 | SS-1610-3-16-6 SWAGELOK OR EQ. | SS Tube Fitting, Reducing Union Tee, 1 in. x 1 in. x 3/8 in. Tube OD | 316 SSTL | 1 | 17 | Gary from Swagelock | $168.41x 17= $2862.97 | Ordered 17 | 17 | 2862 | BUY SWAG
11 | SS-62TW6T35-3 SWAGELOK OR EQ. | SS 3-Piece 60 Series Ball Valve, Reinforced PTFE Seats, 3 x 3/8 x 0.035 in. Tube Extensions | 316 SSTL | 1 | 17 | Gary from Swagelock | $270.52x 17= $4598.84 | Ordered 14 | 14 | 3787.28 | BUY SWAG BUT ONLY 14x |  | TOTAL | 9192.28 | SWAG
10 | 3043K53 McMaster-Carr OR EQ. | SS 3-Piece 60 Series Ball Valve, Reinforced PTFE Seats, 3 x 1 x 0.065 in. Tube Extension, SC-11 Cleaned | 316 SSTL | 2 | 34 | Gary from McMaster | $390.48x 34= $13276.32 | Ordered 34 | 34 | lets find 2nd vendor for these and compete also cut quantity to 28 - ask Bob if need vendor |  |  | use this as 2nd quote i.e. 3043K53 from McMaster Carr and buy from McMaster Carr (as cheaper)
9 | IDL11GN12J7 PALL FILTER | FILTER, 3/4 NPT INLET/OUTLET X 1/4 NPT VENT | - | 1 | N/A | Bought already |  |  | 17 | Bought with CIT
8 | 3813A-CGA MATHESON | REGULATOR, DUAL STAGE HIGH PURITY, SS | - | 1 | N/A | Bought already |  |  | 17 | Bought with Gary
7 | GF-6541-1250 Gilmont Instruments | FLOW METER, Gilmont Accucal 150mm, Size 250 w/Valve | - | 1 | N/A | Bought already |  |  | 17 | on order
6 | D1500111-101 | Copper Tubing, STRAIGHT .25 Tube Size, .375 OD, .277 ID, .049 Wall (MAKE FROM: 8967K93 McMASTER-CARR OR EQ.) | COPPER | 1 | 100 ft | Gary from McMaster | 6ft lenghth $23.24x 17= $395.08 | Ordered 17 6ft | 17 | 395 | BUY MCM
5 | D1500111 | Copper Tubing, COILED, 1/4" Tube Size, 3/8" OD, .277" ID, .049" Wall (MAKE FROM: 8955K121 McMASTER-CARR OR EQ.) | COPPER | 1 | 100 ft | Gary from McMaster | 50ft lenghth $117.88x 2= $235.76 | Ordered 2 x50' 6x 10' | 2x 50'6x 10' | 235 | BUY MCM
4 | D1500112 | aLIGO, SYS, TMDS Gas Delivery System, COLD TRAP MT. BRACKET | 5052-H32 | 1 | 14 | Eddie |  |  | 14 | Eddie
3 | D1500110 | aLIGO, SYS, TMDS Gas Delivery System, PALL FILTER MT. BRACKET | 6061-T6 Al | 1 | 14 | Eddie |  |  | 14 | Eddie
2 | D1500109 | aLIGO, SYS, TMDS GAS DELIVERY SYSTEM, FLOW METER MT. BRACKET | 6061-T6 Al | 1 | 14 | Eddie |  |  | 14 | Eddie
| SS-4-VCR-6-400-SC11 Swagelok | 1/4" VCR |  |  | 20 | Gary from Swagelock | 398.4 | 20 | 20
| SS-600-6-4 Swagelok | Reducing Union 3/8" TUBE x 1/4" TUBE |  |  | 20 | Gary from Swagelock | 310.2 | 20 | 20
| CU-4-VCR-2-GR Swagelok | Copper VCR Face Seal Fitt 1/4" Gasket Retainer Assy |  |  | 20 | Gary from Swagelock | 64.8 | 20 | 20
1 | - | PORTABLE TEST BENCH OR CART | 5052-H32 | 1 | 14 | Kyle / Calum for now | Then get Gary to buy | 14 | 1 | Nicki buying
ITEM NO. | PART NUMBER | DESCRIPTION | MATERIAL | REQ | TOTAL | WHO | NOTES