## Slide 1: aLIGO operating at full power
Laser Power: 125.00 Watt
SRM Detuning: 0.00 degree
SRM transmission: 0.3500
ITM transmission: 0.0140
PRM transmission: 0.0300
Finesse: 446.41
Power Recycling Factor: 40.54
Arm power: 710.81 kW
Power on beam splitter: 5.07 kW
Thermal load on ITM: 0.385 W
Thermal load on BS: 0.051 W
BNS range: 191.04 Mpc (comoving)
BNS horizon: 436.32 Mpc (comoving)
BNS reach: 272.08 Mpc (comoving)
BBH range: 1.37 Gpc (comoving, z = 0.3)
BBH horizon: 3.24 Gpc (comoving, z = 0.9)
BBH reach: 2.12 Gpc (comoving, z = 0.5)
Stochastic Omega: 2.42e-09

## Slide 2: ..plus squeezing with ~100m scale filter cavity
Laser Power: 125.00 Watt
SRM Detuning: 0.00 degree
SRM transmission: 0.3500
ITM transmission: 0.0140
PRM transmission: 0.0300
Finesse: 446.41
Power Recycling Factor: 40.54
Arm power: 710.81 kW
Power on beam splitter: 5.07 kW
Thermal load on ITM: 0.385 W
Thermal load on BS: 0.051 W
BNS range: 258.72 Mpc (comoving)
BNS horizon: 592.49 Mpc (comoving)
BNS reach: 370.29 Mpc (comoving)
BBH range: 1.74 Gpc (comoving, z = 0.4)
BBH horizon: 4.14 Gpc (comoving, z = 1.3)
BBH reach: 2.77 Gpc (comoving, z = 0.8)
Stochastic Omega: 9.32e-10

## Slide 3: ..plus coating thermal noise reduction
Laser Power: 125.00 Watt
SRM Detuning: 0.00 degree
SRM transmission: 0.3500
ITM transmission: 0.0140
PRM transmission: 0.0300
Finesse: 446.41
Power Recycling Factor: 40.54
Arm power: 710.81 kW
Power on beam splitter: 5.07 kW
Thermal load on ITM: 0.385 W
Thermal load on BS: 0.051 W
BNS range: 354.06 Mpc (comoving)
BNS horizon: 814.04 Mpc (comoving)
BNS reach: 510.28 Mpc (comoving)
BBH range: 2.24 Gpc (comoving, z = 0.6)
BBH horizon: 5395.58 Mpc (comoving, z = 2.1)
BBH reach: 3700.64 Mpc (comoving, z = 1.1)
Stochastic Omega: 6.78e-10