## Slide 1: N2 Gas Cool-Down Method
Jaimi Salone & Edgard Bonilla
08/28/18

## Slide 2: Final Configuration:

## Slide 3
Reservoir
ADP 81
Outer Shield
Inner Shield
Vacuum Chamber
Optic
Temp Sensor
PF1
PF2
vent
fill
system: shut-off
system: calibrated leak
Pump valve
PF1: Pressure Gauge inside inner shield
PF2: Pressure Gauge on Reservoir
PF3: Pressure Gauge on ADP 81
PF4: Pressure Gauge on Small Turbo (Interior)
PF5: Pressure Gauge in Main Chamber
Target Pressures
small turbo pump
Cryo-System Diagram
Scroll Pump
vent
PF3
V15
V14
PF4
PF5
Sensor Readout/Control
Blue Dewar (LN2)
LN2 Outlet
Heating Tray
J. Salone 08/23/18
Sensor Readout/Control
Heat Gun
1.5*10-4 Torr
3*10-2 Torr
10 Torr
10-3 Torr

## Slide 4
(View from top with inner shield closed)
8.5”
11”
3.75”
1.625”
8.5”
2.625”
11”
1.5”
3”
1.25”
Shield Diagram
Outer shield
Inner shield
*Electric feedthrough not included in diagram
Inlet on inner shield
Outlet to small turbo pump
Inlet on outer shield
Thermal links
J. Salone 08/28/18
LN2 inlet

## Slide 5
3.75”
3”
3.625”
11”
14.25”
4.25”
2”
3”
 Left side
6.5”
8”
11”
LN2 inlets for shields
Copper nitrogen piping
Small Turbo Pump outlet
Gaseous nitrogen inlet
*Electric feed-through not included in diagram.
Shield Diagram
J. Salone 08/28/18

## Slide 6: Goals for gas run:
Maintain Pressure internally: still need to retrieve data
  1.5 E-4 Torr in Chamber
    Appears to maintain in 1.5 E-4 Torr range +/- 5E-5 , and lower, virtually the whole test.
  10 Torr for the Reservoir
    The component with the most human interaction. We tried to keep it between 13 and 8 Torr the whole time. Less important so long as Inner Shield pressure is constant.
  3 E-2 Torr in the Inner Shield
    Adjusted Reservoir specifically to maintain this pressure, appeared +/- 1.5E-2.
  1 E-3 Torr for the Small Turbo
    Great success, stayed in the E-4 range the whole time.
    Didn’t bust the Small Turbo!
Cool down the test mass faster: clear results

## Slide 7: Radiative Cool-Down:

## Slide 8: N2 Gas Cool-Down:

## Slide 9: Test Mass Curves: