+Timing Comparator
For additional VCO
channels
D1001370
Key
40 MHz
35.5 MHz
(SHG)
80 MHz
OPO
Existing ALS
Fiber Distribution
E1200138
RLF VCOctrl
(digital)
New Electronics for FC
ADF Digital
PLL-ACT
D1600498
 (x5)
 200 MHz
Electronics from SQZ install
ADF VCXO
203.125MHz
D1600500
(or Aeroflex/SRS VCO, if only
For commissioning
To EOM3
(532 nm FCGS)
RF summing
Board
D040469
VCXO
200.105MHz
D1900XXX
(similar to D1600500)
LSC RFPD
Interface box
D1102079
Tip-tilts and VOPO
Suspension electronics
(coil drivers, sat amplifier
AI board, AA board, DAC, ADC)
SQZ LO
(homodyne)
PSL + RefCav
Sample at
158.8 MHz
For TTFSS
To EOM2
(532 nm)
AOM Driver
(2W)
D1700006
Distrib Amp
D1000124
D1700008
 (÷32)
 6.25 MHz (CLF)
To EOM1
(1064 nm)
LSC DC
Interface box
D1002932
Distrib Amp
D1000124
D1002182 (÷ 2)
 3.125MHz
(SQZANG)
200MHz
GAOM1 OSC
to
GAOM3
Slow controls, including
OPO crystal temperature
Controller, OPO crystal
Translation stage, OPO
Platform lens stage
picomotors
LSC RFPD
Patch Panel
3.125MHz
ADF REF-B
200MHz
CLF DRV
384 chn BIO
D1100251
Distrib Amp
D10000124
45.5MHz
(ISC)
200MHz
CLF DRV
RF Amp
Concentrator
D1100262
3.125MHz
ADF REF-B
Power supplies
Squeezing RF
Triumvirate Chassis
D1900514
Design internals: E1900382
Homodyne (HD)
PD RF
OMC
PD RF
WFS
interface box
D1101906
42.4 MHz
Synthesizer
D1600499
LSCPD AMP
interface box
D1900XXX
with >105kHz
High transimpedance
Capacitance bootstrap
BNC monitors
HAM7 FCWFS
DC QPDs
HAM7 LSC
105kHz DCPD
OMC RF Breakout
D1700393
SQZ ASC
(AS A/B)
8-chn
Delay Line (2ch)
D0900128
WFS
RFPatchPanel
D1100905-v3
OMC IQ to digital
High-BW 1,2
Distrib Amp
D1000124
2ch demod board
D10000181-mod+
High-speed taps
BNC monitors
105kHz Notches
Dual QPD AMP
interface box
D1900XXX
with >105kHz
High transimpedance
Capacitance bootstrap
BNC monitors
Delay Line (2ch)
D0900128
ISS+AOM amp
D1900045
CLF
PD DC
HD IQ to digital
High-BW 3,4
RLF PLL
Digital
High-BW 5
Delay Line (2ch)
D0900128
RLF PLL Digital
High-BW 5
OMC IQ to digital
High-BW 3,4
8chn
ADF Digital
PLL-ERR
To AOM3
(CLF200+RLF)
ISC whitening
& Gain
>105kHz BW
ISC whitening
& Gain
>105kHz BW
HD IQ to digital
High-BW 1,2
14 total high-speed
channels needed,
6 LSC, 8 ASC
SHG
PD RF
CLF
PD RF
FCGS 532
REFL PD RF
OPO
PD RF
4chn
4chn
8chn
8chn
>=256kHz
ADCs
>=256kHz
ADCs
(or aliasing-demod)
Quad demod
D0902796
Quad demod
D0902796
Quad demod
D0902796
2ch demod board
D10000181
2ch demod board
D10000181
Filter Cavity LSC
High Speed
Filter Cavity ASC
High Speed
OPO Trans DC
200MHz
GAOM1 OSC
4chn
4chn
Isc whitening
D1002559-v3
Isc whitening
D1002559-v3
OPO Controls
Common Mode Board
D040180-v6
SHG Controls
Common Mode Board
D040180-v6
CLF Controls
Common Mode Board
D040180-v6
SQZangle Controls
Common Mode Board
D040180-v6
FC 532 VCO-lock
Common Mode Board
D040180-v6
1064 FC-Trans
DC QPDs
532 FC-Trans
DC QPDs
ISS+AOM amp
D1900045
Dual QPD AMP
interface box
D1002481
(high transimpedance)
Dual QPD AMP
interface box
D1002481
ISC anti-alias
D0902783-v3
VCXO
203.125MHz
D1600500
VCO (79.4 MHz)
D0900605
To
GAOM1
VCO (79.4 MHz)
D0900605
Isc whitening
D1002559-v3
Isc whitening
D1002559-v3
AOM Driver
(2W)
D1700006
AOM Driver
(2W)
D1700006
PZT Driver
(now using D1001200)
D1002178
(x2)
158.8 MHz
ISC anti-alias
D0902783-v3
ISC anti-alias
D0902783-v3
to
GAOM2
to
AOM2
FSS1
PD RF
(BW 2-10kHz)
(BW 20-30kHz)
8chn
8chn
To
SHG
PZT
To
SQZ LO
PZT
To
OPO
M2 PZT
To
OPO
M4 PZT
TTFSS1
ISC ADCs
ISC ADCs
TTFSS
Interface box
(BW 1kHz)
(BW 1-3kHz)