## Slide 1
A+ HAM7 ISC OPTICAL PATH LAYOUT
Authors: Don Griffith
Related Documents: D1800092

## Slide 2
+X
+Y
HAM7
HAM5
ZM6
ZM5
(SEE NEXT PAGE FOR DETAILS)
BEAM PATH FROM HAM5 TO HAM7
TIP-TILT WITH ECD BRACKETS P/N D1800092
118 DEGREES
15mm BEAM DIAMETER

## Slide 3
+X
+Y
ZM5
ZM3
ZM1
ZM4
ZM2
TO ZM6 (HAM5)
HAM7
PARTS
ZM1: TIP-TILT, SQUEEZER
ZM2: HDS + SAMS
ZM3: TIP-TILT, SQUEEZER
ZM4: HDS + SAMS
ZM5: HDS + SAMS
ZM6 (HAM5): TIP-TILT, SQUEEZER
FC1: HSTS
VOPO
FC1
BEAM PATH LENGTH
FC1* to ZM3 = 39.0”
ZM3 to ZM2 = 72.0”
ZM2 to ZM1 = 59.0”
ZM1 to VOPO = 6.23”
ZM6 (HAM5) to ZM5 = 188.3”
ZM5 to ZM4 = 66.19”
ZM4 to VOPO = 43.04”
* FROM REAR SURFACE OF HSTS OPTICS
TOTAL LENGTH FROM
FC1* to ZM3 to ZM2 = 111.0”
TIP-TILT WITH ECD BRACKETS P/N D1800092