## Sheet1
Parts to upgrade a V3 IO Chassis to V4
Part | Part number | Task | Vendor | Amnt per board | Amnt per chassis | Comment
Power fanout | D1800033-V2 | PCB fabrication | Sunstone | 30.13 | 30.13
Power fanout | D1800033-V2 | Assembly | Screaming Circuits | 55.09 | 55.09
Power fanout | D1800033-V2 | Parts | Digikey via SC | 70 | 70
PCIe expansion board | D0902029-V4 | PCB fabrication | Sunstone | 72.36 | 72.36
PCIe expansion board | D0902029-V4 | Assembly | Screaming Circuits | 89.08 | 89.08
PCIe expansion board | D0902029-V4 | Parts | Digikey | 185 | 185
Adnaco Boards | S1B 5Gb/s over fiber… | parts | Adnacom.com | 470 | 1880 | 4 per chassis
Chassis added parts | D1700343-V5, D1700344-V4 | Fabrication | Hamilton | 399 | 399
Rear panel | D1500101-V3 | Fabrication | Front Panel Express | 64 | 64
Fibers: octopus | PRO-770-F12M3L-3-NP-B24-M |  | lanshack | 166.42 | 166.42
Fibers: single pair | FA-DLC-DLC-M-01-10GIG-AQ |  | lanshack | 24.81 | 49.62 | 1 rear panel to Adnaco #4, 1 timing slave to rear panel
Adapter board #1 | D1700449-V3 |  | Front Panel Express | 69.3 | 69.3
Adapter board #2 | D1700450-v2 |  | Front Panel Express | 98.25 | 98.25
Adapter board #3 | D1700451-v4 |  | Front Panel Express | 93.21 | 93.21
MTP Feedthrough | MTP-ADPT |  | Fibertronics | 18.07 | 18.07
Duplex feedthrough | TL1531-ND |  | Digikey | 12.6 | 25.2 | 2 per chassis
ATX Cable, 6 in. |  |  | Compatible Cable | 28.65 | 28.65
ATX Cable, 10 in. |  |  | Compatible Cable | 29.1 | 29.1
ATX Cable, 16 in. |  |  | Compatible Cable | 29.55 | 29.55
ATX Cable, 34 in. |  |  | Compatible Cable | 34.65 | 34.65
Power cable: disk drive type |  |  | Compatible Cable | 12 | 12
2 pin molex, 0.1 spacing | WM2011-ND |  | in stock | 0.11 | 0.99 | 1 for FP LED, 8 for pwr fanout to Adnaco
3 pin molex, 0.1 spacing | WM2012-ND |  | Digikey | 0.11 | 0.55 | 3 per chassis, 2 for fans
pins for molex connectors, 0.1 |  |  | in stock | 0.49 | 10.78 | 2 for FP LED, 4 for fans, 16 for power to Adnacos
Screw 2-56 x 1/4
Flat head screws for base plates? | 90273A145 |  | McMaster-Carr | 4.43 | 2.22
Screws, pan head | 90272A145 |  | McMaster-Carr | 1.99 | 0.995 | 46 per chassis, shown price is for 100
Power boards? | [5 empty] | May have to re-install the 3 pos terminal connector
3 terminal power conn for power Bd | [5 empty] | We have these in stock
Terminal lugs | 920040-02-ND |  | Digikey | 0.49 | 0.98 | 2 per chassis
Wire, Red 18 AWG | A541816R-100-ND |  | Digikey | 25.88 |  | For power board to rear panel
Wire, Black 18 AWG | A541816B-100-ND |  | Digikey | 25.88 |  | For power board to rear panel
Wire, White 20 awg | [5 empty] | For FP LED extension, and pwr fanout to Adnaco
Wire, White 20 awg | [5 empty] | For FP LED extension
Heat shrink | [5 empty] | For FP LED extension
|  |  | Cost per chassis = |  | 3515.195