## Slide 1: ETM Profiling to mitigate cavity loss due to point absorbers G2001160, G2001530
LLO data
LIGO-P2000122 PRD accepted 2020
Model prediction of arm power loss due to point absorber and coating absorption

## Slide 2: Addition on November 14, 2020 optimized polishing may not be necessary
RTL using optimized surface shape vs using coating thickness nonuniformity
100 cases with #PA = 0~4, random location, random power
O3 ETM map
Latest coating nonuniformity

## Slide 3: polishing design to realize idealistic mirror surface
A is idealistic mirror surface
Ap is A – power term to simplify the RoC specification
B is the latest coating shape
Bp is to make the polishing easier
Polishing [A-B],[Ap-B],[Ap-Bp] are various options of mirror surface polishing

## Slide 4: Effect of new coating is close to that of optimal shape
H1X H1Y L1X L1Y
power RTL power RTL power RTL. power RTL
sphere 262, 62.1 277, 65.4 266, 53.9 266, 55.5
sph+B 262, 63.6 277, 63.8 266, 56.5 266, 57.2
A-B 262, 65.2 277. 65.4 266, 57.8 266, 58.4
A-Bp 262, 70.7 277, 71.0 266, 60.8 266, 61.1
Ap-B 262, 65.6 277, 65.6 266, 57.7 266, 58.4
Ap-Bp 262, 70.5 277, 70.6 266, 60.3 266, 60.7
sphere 257, 211 272, 183 261, 185 261, 195
sph+B 261, 113 275 107 265 99.5 265, 94.9
A-B 261, 98.9 276, 97.2 265, 89.3 265, 86.8
A-Bp 261, 108 275, 107 265, 95.5 265, 92.5
Ap-B 261, 102 276, 98.9 265, 90.5 265, 87.7
Ap-Bp 261, 109 275 107 265, 95.5 265, 92.4
Power and RTL(ppm) with different ETM surface
sph+B : no special polishing, A-B : optimal polishing
No point absorber
One point absorber at 2cm with 30mW

## Slide 5: new coating shape is closer to optimal shape than O3 ETM
O3 map vs new LMA and optimal

## Slide 6: Performance with multiple PAs
# point absorbers | 0 | 1 | 2 | 3 | 4 | all
Sph - Sph | 264 55.9 5.26, 6.14 | 263 99.3 5.26, 6.13 | 262 121 5.25, 6.12 | 262 110 5.25, 6.12 | 257 271 5.22, 6.10 | 262 126 5.25, 6.12
ITM - Sph | 264 58.4 5.26, 6.14 | 262 109 5.25, 6.12 | 262 131 5.25, 6.12 | 262 121 5.24, 6.12 | 257 282 5.22, 6.09 | 262 136 5.25, 6.12
As built O3 ETM maps | 264 57.7 5.23, 6.12 | 263 88.0 5.22, 6.11 | 263 100 5.21, 6.10 | 263 94.0 5.21, 6.10 | 260 179 5.19, 6.08 | 263 102 5.21, 6.10
Latest coating map (B) | 264 60.2 5.25, 6.12 | 264 77.6 5.24, 6.11 | 263 87.8 5.23, 6.11 | 263 82.3 5.23, 6.11 | 261 142 5.21, 6.08 | 263 88.5 5.23, 6.11
Optimal mirror shape (A) | 264 61.7 5.23, 6.09 | 264 74.6 5.23, 6.08 | 263 83.1 5.22, 60.8 | 263 78.0 5.22, 6.07 | 262 124 5.20, 6.05 | 263 83.2 5.22, 6.08
Power (W)
RTL(ppm)
wITM,wETM(cm)

## Slide 7: Performance with multiple PAs
200 cases with #PA = 0~4, random location, random power, generated in 4 aLIGO arms
RTL(#PA=3) > RTL(#PA=2) is because the production rate of relevant HOM is less with #PA=3 than #PA=2 in the analyzed case
Sph-sph : ITM is spherical, all other cases use as measured phasemap
Beam size variation is 2%
Polished surface maps are used when real ITM or ETM maps are NOT used

## Slide 8: Mode analysis
Random PA sources in aLIGO arms
The optical gains (3rd column), cavity power (2nd column) / production of modes by ETM (1st column), are independent on the number of point absorbers.
The ordering of HOM powers in the arm (colored lines in 2nd col) is the same as the ordering of production rates.
RTL is determined by the 7th HOM population, so smaller 7th mode in the arm means smaller RTL.
Less production of 7th mode with #PA=3 than #PA=2 is the cause of RTL(#PA=3) < RTL(#PA=2).

## Slide 9: Addition on October 6th
100 cases of point absorbers are analyzed
11 FP cases, different map combinations, studied
RoC variations among 4 arms are small
ITM coatings with and without LMA coating masks do make difference
Optical gain vs map combinations
  No surprise
RTL vs map combinations
  No surprise

## Slide 10: 11 FP map combinations for 4 arms
I, E means coated maps of ITM and ETM
Ix, Ex means the maps of uncoated maps (very uniform out to the edge) are used with RoC of the coated surface. This is used to make a surface with specified fall off shape.
Corr(a,b) is the fall off correction
Differences among four arms for case 1 and 11 are RoC’s of coated surfaces
100 sets of point absorbers are generated, and RTL and cavity powers are calculated for 4 arms with these mirror maps.
Following are average of events.
Plots with and without RH give uncertainty due to RoC correction
Ix - Ex
I - Ex
I - E
I - Ex*corr(0.1,15)
I - Ex*corr(0.1,20)
I - Ex*corr(0.1,25)
I - Ex*corr(0.1,30)
I - Ex*corr(0.1,35)
I - Ex*corr(0.1,40)
I - Ex*corr(0.1,30,2e4)
Ix *corr(0.1,15) - Ex*corr(0.1,15)

## Slide 11: Optical gain 1:no fall off vs 11:both fall off

## Slide 12: Optical gains of 6,7,8th modes shapes of different #PAs are close

## Slide 13: RTL vs FP maps average of all events

## Slide 14: RTL for difference #PAs
Without RH
With RH

## Slide 15: Addition on October 4tn
“Spherical surface” is based on polished surface map with spherical shape using the RoC of coated surface
Comparison of H1 and L1 with the current ITM masks
  ITM coating mask affects some
Optical gain of 7th mode
  Fall off improve for all cases
Small difference affects small
  Fall off affects in a similar way for all arms
  Ring heater correction does not change the main effects
  Different point absorbers cause different effects
More analysis coming with more case studies
  Different correction shapes

## Slide 16: RTL : for A+ ITM with existing mask ETM : sphere vs fall off
This fall off helps to reduce RTL

## Slide 17: In the future, When both ITM and ETM are polished both are spherical vs with fall off
The difference among 4 cases are caused by RoCs of mirrors
Effects of fall off on optical gain and RTL are the same
Gains and loss can be different from case by case, depending on PA populations

## Slide 18: Cause and effect of point absorbers on test masses
Mirror
  Point absorption on mirror surface causes thermal distortion of the surface and substrate
  Many HOMs are induced on reflection
FP cavity
  aLIGO arm is close to resonance of TEMnm, n+m=7, and this mode is amplified in the cavity,
  HOM has long power tail and induces large RTL
aLIGO IFO, DRFPM
  Large RTL reduces PRG
  Curvature mismatch of fields from two arms reduces PRG
    RTL of FP
    PRG of full DRFPM
(A)
(B)
(C)
(A)
(B)
(C)
7th mode 15%
(D)
(D)
Point abs
coating abs

## Slide 19: Test Mass surface profiling to suppress higher order modes
PRG is compromised by point absorbers on test masses
  Higher order mode excitation by point absorber on a mirror
  Large roundtrip loss due to long tails of resonating higher order modes
Two ways to reduce point absorber effects
  Suppress the excitation of higher order mode by point absorbers
  Suppress the resonance condition of the 7th order mode
A mirror surface profile suppressing the 7th mode resonance (motivated by LMA coating, next page)
  at central region : RoC=Rm, at peripheral region : RoC > Rm
  Low order mode (00) : spherical surface with RoC=Rm
  High order mode (7th) : RoC change from central to edge, affects resonance condition

## Slide 20: Map specifications and performance
Functional form motivated by
“Diffraction losses of a Fabry-Perot cavity with nonidentical non-spherical mirrors"
by Poplavskiy, Matsko, Yamamoto, Vyatchanin Article reference: JOPT-107582.R1

## Slide 21: What are studied
Does this shape suppress 7th mode efficiently
Performance when there is no point absorber
Performance when there is coating absorption
Performance when beam is tilted to reduce the point absorber effect
Requirement on polishing and coating

## Slide 22: * Stationary field by FFT * Field is mode-expanded using standard HG or LG
ITM
ETM
E
FFT simulation
standard HG or LG

## Slide 23: Optical gain 7th mode gain is suppressed but …
Clipping loss
Does this shape suppress 7th mode efficiently

## Slide 24: Optical gain with various ETM surface profile

## Slide 25: RTL = gain x clipping loss
6%,4ppm
15%,5ppm
27%,1ppm
39%,4ppm
15%,30ppm
clipping loss (%),
absolute loss (ppm)

## Slide 26: Dependence on mirror maps
 | ITM and ETM maps | ITM map ETM no map | ITM map ETM cor (0.1,30) | ITM no map ETM cor(0.1,30) | TEM00 gain loss
 | Current performance (PA / no PA) | Larger loss w/o ETM map | Performance with new ETM maps (O4) | Smooth ITM (O5) with new ETM maps (O4) | Loss of the signal (fit / as is)pp
H1 X arm ITM07-ETM13 | 148 / 58 | 195 | 95 | 91 | 0.5% / 1.3%
H1 Y arm ITM11-ETM16 | 140 / 59 | 190 | 96 | 90 | 0.5% / 1.2%
L1 X arm ITM04-ETM10 | 137 / 57 | 180 | 88 | 91 | 0.5% / 1.1%
L1 Y arm ITM08-ETM15 | 120 / 58 | 193 | 87 | 90 | 0.5% / 0.9%
RTL with one PA on ETM (2cm, 30mW)
Fit : a=0.1, b=30
00 loss = 1 - 00 power on ETM with PA / without PA
Does this shape suppress 7th mode efficiently

## Slide 27: one vs two PAs dE = E-TEM00
dEI
dEE
±3cm
±20cm
one absorber 10mW
at x=2cm, y=0
No mirror maps
dRTL=10ppm
one absorber 10mW
at x=2cm, y=0
L1 x arm maps
dRTL= 17ppm
two absorbers 10mW
at 2cm & -2cm
L1 x arm maps
dRTL= 11ppm
dRTL = RTL – RTL0, RTL0 = RTL(without map and absorber) = 48ppm

## Slide 28: Multiple point absorbers Random locations and powers
LLO Y arm
ITM:phase map
ETM:uncoated map
+correction
#PAs : 0~4 poisson (ave=2)
Locations(x,y) : normal (sig=3cm)
Power( r ) = normal( 30mW)*exp(-2r2/w^2)
Does this shape suppress 7th mode efficiently
-b - c )

## Slide 29: Effect of edge fall off shape when there is no PA but with coating absorption
 | LHO X | LHO Y | LLO X | LLOY
No thermal (power/RTL) | 262 / 62 262 / 65 | 277 / 63 277 / 65 | 266 / 54 266 / 57 | 266 / 55 266 / 58, 266 / 58
Coating abs No RH | 261 / 57 260 / 64 | 276 / 57 275 / 66 | 265 / 54 264 / 60 | 265 / 55 264 / 60, 264 / 59
Coating abs RH corr | 262 / 61 262 / 69 | 277 / 62 277 / 71 | 266 / 55 266 / 58 | 266 / 56 266 / 59, 266 / 60
Arm power (W) / RTL (ppm) without fall off
Arm power (W) / RTL (ppm) with fall off
Arm power (W) / RTL (ppm) with ETM15 map
ITM : phasemap as is
ETM : uncoated map + fall off shape exp(-a r2 –b r4)
Performance when there is no point absorber
Poorman’s ring heater

## Slide 30: Point absorber (2cm,30mW) on ETM, Coating absorption(700kW,0.5ppm), Ring heater (HR RoC)
Thermal aberration by coating absorption by Hello-Vinet
Ring heater nullifies LG(1,0) excitation by HR RoC change
LLO PRG : without RH 30.3, with RH 28.5
Performance when there is coating absorption
Coating thermal
RH correction
Edge shape

## Slide 31: Thermal effect in DRFPM When or how to use RH
case | Coating abs | PA on EY | Correction ETM | RH (ITM,ETMX) | RH (ETMY) | PRG
1 | 0 | 0 | no | no | no | 53
2 vs 4 | 0 | 30mW | no | no | no | 27
3 vs 5~7 | 0.35W | 30mW | no | no | no | 33
4 | 0 | 30mW | 0.1,30 | no | no | 44
5 | 0.35W | 30mW | 0.1,30 | no | no | 33
6 | 0.35W | 30mW | 0.1,30 | yes | no | 27
7 | 0.35W | 30mW | 0.1,30 | yes | yes | 23
LLO : ITM coated map, ETM uncoated map + corr(0.1,30)
Performance when there is coating absorption

## Slide 32: Beam offset on ETM
ITM : ITM08 coated phase map
ETM : ETM15 uncoated phase map with correction (0.1,30)
Coating absorption on ITM and ETM, 0.35W each
Point absorber on ETM at -20mm from center (power=30mW exp(-2 r2 / 6.2cm2))
Tilt ETM to make the resonating beam position on ETM to have offset, 0~40mm (opposite to point absorber), keeping the beam on ITM to be centered
RH correction calculated with beam at the center of ETM
Input beam is tilted to make proper mode matching between the input and the resonating cavity mode
Mode expansion using the cavity axis
8 cases compared
  Coating absorption off / on
  Point absorber off / on
  shape correction off / on
Performance when beam is tilted to reduce the point absorber effect

## Slide 33: Power and RTL vs offset
Performance when beam is tilted to reduce the point absorber effect
solid : flat map, dashed : fall off
red and purple : no coating abs blue and cyan : with coating abs
red and blue : no point abs purple and cyan : with point abs

## Slide 34: Extra factors
Polishing spec = idealistic surface – all possible deformations
Coating stress effect on RoC (T970176, T050057)
  Waiting for LMA report
Intrinsic coating non uniformity (T2000398)
  Waiting for LMA report
Deformation by gravity (T050184)
  Negligible
Polishing requirement
  In radius > 8cm, height variation less 10%
Anything else?

## Slide 35: Summary
The surface shape correction of test mass to reduce the thickness at the edge by O(1%) works OK
The effect by a single absorber seems to be improved by a factor
When the thermal deformations by coating absorption and point absorber mix badly, a careful ring heater correction will be necessary and this shape does not help, nor does it harm.
Nominal ring heater to restore the central region curvature adds to much curvature at the edge. Another ring heater to handle the edge may be necessary.

## Slide 36: Answer to recommendations
For this case, what is the eigenfrequency for the 6th & 7th order modes (delta_f from the TEM00 mode)?
  df is not all to determine the mode gain
  loss or width or coupling to other modes matter
This matches with analytic calculation for the 7th mode
Analytic df for 6th mode

## Slide 37: Answer to recommendations
G2001747-v3, slide 32, upper right plot. Is there any understanding why the RTL for the solid purple curve is lower than for the solid red curve for offsets greater than 2.5 cm ? A : there was a bug to setup a FP cavity with offset. Needs to be redone.
Also why is the RTL for the dashed cyan curve higher than for the solid cyan at zero offset? A : see the answer in the last page. The thermal bump by the coating absorption distorts the field and the edge fall off does not work as is naively expected.
As the beam is moved, does the absorbed power stay the same, or decrease as it’s moved away from the PA? A : Power changes as exp(-2 d2 / w2) where d is the distance between the beam and the point absorber.

## Slide 38: Answer to recommendations
Can you comment on the benefit of retaining or removing the slight spherical aberration, induced by the coating, using a custom polish?
  Simply filling the central dip harms => larger 6th mode gain
  RTL(flat) is 10% larger than RTL(B)
Curvature correction
flattening

## Slide 39: Answer to recommendations
From G2001747-v3 page 32 - Are labels swapped? Cyan with corr is worse than without at center alignment. A: labels are not swapped. These are plots of ITM and ETM surfaces with 0.35W coating absorption. Bump at the center by the absorption affects the cavity mode a lot.
Also plots on slide 2 - are the axes labels swapped? A : Yes, axes are swapped

## Slide 40: Cases studied
ITM (measured map and measured RoC) + ETM sphere (polished surface + measured RoC of the arm)
ITM + ETM as measured map and measured RoC
ITM + ETM sphere + coating thickness B
ITM + ETM sphere + B + 200mW coating absorption
ITM + ETM sphere + B + 200mW + ring heater RoC correction
100 events generated, up to 4 point absorbers on ETM, at random locations with random power Prand, each PA absorbs Prand*exp(-2r2/w2) (r is distance between the beam at center and the individual PA).

## Slide 41: ETM surfaces

## Slide 42: Beam size measured beam size / modal model value - 1
#PA = 0
#PA = 1
#PA = 2
#PA = 3
#PA = 4

## Slide 43: RTL, #PAs and effect of B

## Slide 44: More on RTL vs shape
RTL(#PA=1)-RTL(#PA=0)
RTL(#PA=0)
RTL(#PA=2)-RTL(0)
RTL(#PA=3)-RTL(0)
RTL(#PA=4)-RTL(0)

## Slide 45: Optical Gains vs Modes HOM gains are weakly depends on #PAs

## Slide 46: Mode gain vs shape (#PA=1)

## Slide 47: Offset dependence
PA absorption of 30mW x exp(-2r2/w2) is placed at -2cm, where r is the distance between the PA and the beam center
Beam center is moved away from the PA
The center of the 200mW thermal bump by coating is the location of the beam on EM
Mode is calculated using the cavity axis as z axis

## Slide 48: RTL vs offset
0cm vs 4cm
0cm
4cm