## Slide 1: Mariner Suspension for Cryogenic Interferometers
By Juan Gamez
Mentors: Koji Arai, Rana Adhikari

## Slide 2: Overview
Background
-Motivation
-Advance Ligo
-Voyager Project
-Mariner Suspension
-OSEM
My Summer Work
-Experiments
Summary

## Slide 3: Background

## Slide 4: Motivation
Current Ligo Detectors will soon reach their Thermodynamic and quantum mechanical limits of their designs

## Slide 5: Voyager Upgrade
Increase range by factor 4-5 over aLIGO
Increase event rate by approximately 100 times

## Slide 6: Mirror Suspension Comparison
aLIGO
Quad pendulum
40 kg Test Mass fused silica
Glass Fibers
Voyager Project
Quad pendulum with Lower half cooled
Cryogenic chamber
200 kg test mass (silicon)
Silicon Ribbon

## Slide 7: Voyager Project
Silicon Ribbon
~ 300 k
~ 123k
Silicon Test Mass ~(200 kg)
Quad Pendulum
Temperature Difference
Cryo Shield

## Slide 8: Mariner Suspension

## Slide 9: What is Mariner?
Bottom Stage of Voyager
Built at Caltech
Double Pendulum
Cryo-cooled(123 k)
Inner Shield
Outer Shield
Cold Finger

## Slide 10: Mariner
Vibration Isolation
Active Control
Thermal Isolation

## Slide 11: optical sensor - electromagnetic motor unit (OSEM)
Aluminum Block
PhotoDiode
LED
Coil
Magnet

## Slide 12: OSEM

## Slide 13: Coil Driver & Sat Amp
Coil Driver -
Drivers Current to the
OSEM coil
Sat Amp -
Give power to LED
Collect Data
Coil Driver
Sat Amp
OSEM

## Slide 14: What have I done ?

## Slide 15: Build & Test
Coil Driver - 3
Sat Amp - 4

## Slide 16: Experiments

## Slide 17: Force Actuation

## Slide 18: OSEM
OSEM - 108
OSEM - 008
OSEM - 106
X [mm]
Force [N]

## Slide 19: OSEM
OSEM - 108
OSEM - 008
OSEM - 106
X [mm]
Vpd [V]

## Slide 20: Transfer Function of Coil Input/Output

## Slide 21
f= 0.788 Hz

## Slide 22: Summary
-Voyager
- Need Prototype (Mariner)
Why my work Is import ?
Setup Electrical ground work for Mariner
Test and verified that OSEM are functioning properly

## Slide 23: Thank you!
To Koji Arai,
Rana Adhikari,

## Slide 24: Refrence
[1] Advanced ligo. Classical and quantum gravity, 32(7):074001, 2015.
[2] Benjamin P Abbott, Richard Abbott, TD Abbott, MR Abernathy, Fausto Acernese, Kendall Ackley, Carl Adams, Thomas Adams, Paolo Addesso, RX Adhikari, et al. Observation of gravitational waves from a binary black hole merger. Physical review letters, 116(6):061102, 2016.
[3] Rana X Adhikari, Koji Arai, AF Brooks, C Wipf, O Aguiar, Paul Altin, B Barr, L Barsotti, R Bassiri, A Bell, et al. A cryogenic silicon interferometer for gravitational-wave detection. Classical and Quantum Gravity, 37(16):165003, 2020.
[4] Stefan Hild, Simon Chelkowski, Andreas Freise, Janyce Franc, Nazario Morgado, Raffaele Flaminio, and Riccardo DeSalvo. A xylophone configuration for a third-generation gravitational wave detector. Classical and Quantum Gravity, 27(1):015003, 2009.
[5] Eiichi Hirose, Dan Bajuk, GariLynn Billingsley, Takaaki Kajita, Bob Kestner, Norikatsu Mio, Masatake Ohashi, Bill Reichman, Hiroaki Yamamoto, and Liyuan Zhang. Sapphire mirror for the kagra gravitational wave detector. Physical Review D, 89(6):062003, 2014.
[6] John Miller, Lisa Barsotti, Salvatore Vitale, Peter Fritschel, Matthew Evans, and Daniel Sigg. Prospects for doubling the range of advanced ligo. Physical Review D, 91(6):062005, 2015.