LIGO Laboratory / LIGO Scientific Collaboration

LIGO-T2300390-v2	Advanced LIGO	18 October 2023

Additional ISC Electronics for Balanced Homodyne Readout

Daniel Sigg

Distribution of this document:

LIGO Scientific Collaboration

This is an internal working note

of the LIGO Laboratory.

| California Institute of Technology LIGO Project – MS 18-34 1200 E. California Blvd. Pasadena, CA 91125 Phone (626) 395-2129 Fax (626) 304-9834 E-mail: info@ligo.caltech.edu | Massachusetts Institute of Technology LIGO Project – NW22-295 185 Albany St Cambridge, MA 02139 Phone (617) 253-4824 Fax (617) 253-7014 E-mail: info@ligo.mit.edu |
| --- | --- |
| LIGO Hanford Observatory P.O. Box 1970 Richland WA 99352 Phone 509-372-8106 Fax 509-372-8137 | LIGO Livingston Observatory P.O. Box 940 Livingston, LA 70754 Phone 225-686-3100 Fax 225-686-7189 |

http://www.ligo.caltech.edu/

# Overview

The current BHD preliminary design, T2000581, and final design, T2200032, calls for an additional two WFSs in reflection of one of the OMCs, and an additional LSC detector in reflection of the other OMC. Since a second OMC is also required, two DCPDs and two QPDs will also be added.  Drawing, D2000405, shows a QPD in a pick-off path to the LO monitoring the position of the LO beam. Drawing, D2100601, shows two 105 kHz QPD assemblies that seem to point nowhere. We ignore these for now.

The WFS nomenclature in the BHD design is somewhat unfortunate: It relabels the existing two AS port WFSs as 45-WFS-1 and 45-WFS-2, despite the fact that they are used at 36MHz, 42MHz, 45MHz and 72MHz. The existing names are ASC-AS_A and ASC-AS_B.

The two new WFSs are labeled 36-WFS-1 and 36-WFS-2, presumably since they only require demodulation at 36 MHz. A better name may be ASC-LO_A and ASC-LO_B.

The existing LSC DC monitor PD in reflection of the OMC will be eliminated.

A list of existing ISC detectors with names can be found in T1000264. An updated list for HAM6 can be found in Table 1. We select to keep the existing names for the AS port sensors and use names that are compatible with the old scheme for the new detectors.

# New Detectors

## WFS

There are basically 2 ways to implement the new WFSs needed for aligning the LO beam:

We leave the AS WFS readout chain as is and build two new WFSs tuned to 35MHz with the second RF readout unused. This will also require new WFS demodulation and whitening chassis.

We eliminate the 36 MHz sensing path from the AS WFS and replace them with a 72 MHz readout. In this case, we can repurpose the existing AS port WFS for the LO path and build two new 45MHz/72MHz WFS for the AS path. This will not require new WFS demodulation and whitening chassis.

At present, neither observatory has completely eliminated the 36 MHz readout chain from the AS port. This would need to be commissioned and tested prior to any decision.

Using the 36MHz/45MHz WFS units in reflection of the BHD allows for the sensing of the squeezer beam alignment assuming that the 45MHz RF signal are routed to the outside. This potentially has a better signal-to-noise ratio than the AS port pick-off beam.

## QPD

Three new QPD readout chains are required. These are ASC-OMC_C, ASC-OMC_D, and ASC_LO_C. The required in-air electronics are a dual QPD transimpedance amplifier and a whitening chassis. Potentially, the old OMCR QPD chain can be repurposed, but some or all of the electronics may have been reused elsewhere. Currently, ASC-AS_C is using half of a dual QPD chain, so the spare half could be used by ASC-LO_C.

| Detector | Sub | Output | Freq. | DOF | Location |
| --- | --- | --- | --- | --- | --- |
| ASC-AS_A (45-WFS-1) | WFS | RF45 | 45 MHz | DIFF Hard | HAM6 |
|  |  | RF72 | 72 MHz | SRM/BS |  |
|  |  | RF42 | 42 MHz | SQZa |  |
|  |  | RF36 | 36 MHz | SRM/BS |  |
|  |  | DC |  | centering |  |
| ASC-AS_B (45-WFS-2) | WFS | RF45 | 45 MHz | DIFF Hard | HAM6 |
|  |  | RF72 | 72 MHz | SRM/BS |  |
|  |  | RF42 | 42 MHz | SQZa |  |
|  |  | RF36 | 36 MHz | SRM/BS |  |
|  |  | DC |  | centering |  |
| ASC-AS_C | QPD | DC |  | SR2/SR3 | HAM6 |
| ASC-LO_A (36-WFS-1) | WFS | RF36 | 36 MHz | LO | HAM6 |
|  |  | RF42 | 42 MHz | SQZa |  |
|  |  | DC |  | centering |  |
| ASC-LO_B (36-WFS-2) | WFS | RF36 | 36 MHz | LO | HAM6 |
|  |  | RF42 | 42 MHz | SQZa |  |
|  |  | DC |  | centering |  |
| ASC-LO_C | QPD | DC |  | LO | HAM6 |
| OMC-REFL_A | LSC | RF36 | 36 MHz | LO | HAM6 |
|  |  | DC |  | Normalization |  |
| OMC-DCPD_A | LSC | DC |  | DARM | HAM6 |
| OMC-DCPD_B | LSC | DC |  | DARM | HAM6 |
| OMC-DCPD_C | LSC | DC |  | DARM | HAM6 |
| OMC-DCPD_D | LSC | DC |  | DARM | HAM6 |
| ASC-OMC_A | QPD | DC |  | OMC alignment | HAM6 |
| ASC-OMC_B | QPD | DC |  | OMC alignment | HAM6 |
| ASC-OMC_C | QPD | DC |  | OMC alignment | HAM6 |
| ASC-OMC_D | QPD | DC |  | OMC alignment | HAM6 |
| a The squeezer alignment signals in reflection of the OMC potentially have better SNR. |  |  |  |  |  |

Table 1: List of ISC detectors in HAM6.

## LSC

A new RF LSC detector will be required as well as a readout chain consisting of a 2-channel demodulator and a whitening. The two new DCPDs will require another OMC DCPD whitening filter chassis. The squeezer 3.125MHz combiner chassis will need a simple modification to accommodate all 4 DCPD 3MHz signals.

## Auxiliary Hardware

### Fast Shutter

The current design calls for a total of 2 fast shutters, whereas the existing O4 setup has only 1. However, a new design of a high-reliability ultra-fast mechanical shutter is in progress, so the old units won’t be recycled. It may be possible to use only one fast shutter located before the first turning mirror OM0. In the baseline design ASC-AS_C is used as the trigger PD which is located in transmission of OM0, and one would have to either revise our fast shutter safety protocol, or implement a different trigger PD (maybe utilizing a ghost beam of the OFI).

### Beam Diverter

Some of the BHD design notes call for a total of 3 beam diverter to shutter each of the light beams leaving HAM6. I believe the OMC transmitted beam currently has no beam diverter, and if the light level is low enough, probably doesn’t need it. Since we need a good way to dump the LO beam, when we don’t need it, an additional beam diverter may be required in the LO path.

### Tip-Tilt Mirrors

The AS WFS use 2 tip-tilt mirrors for alignment. These HTTS units are fully accounted for in the SUS design.

### Picomotors

Currently, there are picomotor controlled alignment mirrors planned for ASC-AS_C (QPD). ASC-LO_C (QPD), ASC-LO_A (WFS) and ASC-LO_B (WFS). Even so there are 2 tip-tilt mirrors aligning the beam towards ASC-AS_A (WFS) and ASC-AS_B (WFS), both are in the far field which makes centering on the second WFS nearly degenerate. For all other ISC WFS we have 2 picomotors.

There isn’t any motor controlled steering mirror towards OMC_REFL_A (LSC RF36) neither. The only way to align to this PD would be with the entire OMC platform. This seems over constraint and a picomotor may be required.

# Required Hardware

The required additional hardware is listed in Table 2. We distinguish between plan 1 that assumes the 36 MHz WFS chain on the AS port is repurposed for the LO WFS, and plan 2 that requires new hardware for the LO WFS. We assume that all current electronics in HAM6 is getting reused, if possible.

| Chassis | Description | Plan 1 | Plan 2 |
| --- | --- | --- | --- |
| D1101992-v5 | In-vacuum LSC RF PD | 1 | 1 |
| D1102002-v6 | In-vacuum WFS | 2 | 2 |
| D1100789-v1 | In-vacuum QPD Assembly | 1 | 1 |
| D2000592-v3 | In-vacuum DCPD Front-End | 2 | 2 |
| D1201279-v4 | In-vacuum OMC QPD Mount Assembly | 2 | 2 |
| D2200426-v1 | High-Reliability Ultra-Fast Mechanical Shutter | 2 | 2 |
| D1100642-v9 | In-vacuum beam diverter | 0e | 0e |
| D1100905-v3 | Wavefront Sensor Demodulator Patch Panel | 0 | 1 |
| D0902796-v4 | Quad IQ Demodulator Chassis | 0 | 2 |
| D1101906-v1 | WFS Interface Chassis | 0 | 0 |
| D1100696-v1 | ASC Demodulator Concentrator | 0 | 1 |
| D1100956-v3 | LSC RFPD Demodulator Patch Panel | 1 | 1 |
| D1000181-v3 | Dual IQ Demodulator Chassis | 1 | 1 |
| D1102079-v1 | LSC RFPD Interface Chassis | 1 | 1 |
| D1100691-v1 | LSC Demodulator Concentrator | 1 | 1 |
| D2100759-v4 | Squeezer 3.125MHz Combiner Chassis | 0 | 0 |
| D2200215-v1 | OMC DCPD Whitening Filter Chassis | 1 | 1 |
| D1300485-v2 | OMC Piezo Driver Chassis | 1 | 1 |
| D1002481-v2 | ISC Dual QPD Transimpedance Amplifier Chassis | 1a | 1a |
| D1002559-v3 | ISC Whitening Chassis Assembly | 2a,b | 4a,b |
| D1100251-v3 | 384 Channel Binary Output | 0c | 0c |
| D1400078-v2 | ISC Fast Shutter Driver Chassis | 1 | 1 |
| D0902783-v3 | AA Chassis (8x DB9) | 0c | 1d |
| D1101521-v1 | AI Chassis (4x DB9) | 1d | 1d |
|  | 32-channel ADC | 0c | 1c |
|  | 16-channel DAC | 1d | 1d |
|  | Slow controls terminals (EtherCAT) |  |  |
| a 1 fewer chassis required, if OMCR chain is still available, 1 additional chassis required, if ASC-AS_C chain cannot be shared with ASC-LO_C. b 1 fewer chassis required, if the whitening in the 2-chn demodulators is sufficient. c Available BIO and ADC channels depend on other DI projects such as the JAC. d May be able to split REFL/AS DAC channels differently and avoid new DAC chain. e Additional beam diverter may be needed for OMC Trans beams and LO. |  |  |  |

Table 2: List of additional ISC electronics required for the BHD.