## Part List Report
Bill of Materials |  |  | LIGO Project |  | D2500160 | Revision | 2
Project: |  | EtherCATCheta.PrjPCB |  |  | Number of boards |  | 4
Author: |  | Daniel Sigg
Report Date: |  | 9/9/2025 | 3:36 PM
Print Date: |  | 2025-09-09 | 45909.6628
Quantity | Distributor | Part Number | Comment | Description | Designator | Footprint | Assembly Type | Extra | Excess | Add | Quantity to Order
1 | Beckhoff | EK1100 | Beckhoff EtherCAT coupler | Beckhoff EtherCAT coupler | B1 |  | M | 5 | 0% | 5 | 9
1 | Beckhoff | EL7342 | 2-channel DC motor output stage 50 V DC, 3.5 A | 2-channel DC motor output stage 50 V DC, 3.5 A | B2 |  | M | 5 | 0% | 5 | 9
1 | Beckhoff | EL1094 | 4-channel digital input terminals, 24V | 8-channel digital input terminal, 24V, 10 µs, n-type | B3 |  | M | 5 | 0% | 5 | 9
2 | Beckhoff | EL9190 | Feed terminal, arbitrary voltage | Feed terminal, arbitrary voltage | B4, B13 |  | M | 5 | 0% | 5 | 13
2 | Beckhoff | EL1124 | 4-channel digital input terminals, 5V | 4-channel digital input terminals, 5V | B5, B8 |  | M | 5 | 0% | 5 | 13
2 | Beckhoff | EL9011 | End cap | End cap | B6, B16 |  | M | 5 | 0% | 5 | 13
1 | Beckhoff | EK1101 | EtherCAT coupler w/ ID switch | Beckhoff EtherCAT coupler w/ ID switch | B7 |  | M | 5 | 0% | 5 | 9
1 | Beckhoff | EL2124 | 4-channel digital output terminals, 5V | 4-channel digital output terminals, 5V | B9 |  | M | 5 | 0% | 5 | 9
1 | Beckhoff | EL3104 | 4-channel analog input terminals, differential, 16 bits | 4-channel analog input terminals, differential, 16 bits | B10 |  | M | 5 | 0% | 5 | 9
1 | Beckhoff | EL3202-0010 | 2-channel high precision input terminal PT100 (RTD) | 2-channel high precision input terminal PT100 (RTD) for 2- or 3-wire connection | B11 |  | M | 5 | 0% | 5 | 9
1 | Beckhoff | EL2612 | 2-channel relay output terminal, change-over | 2-channel relay output terminal, change-over | B12 |  | M | 5 | 0% | 5 | 9
2 | Beckhoff | EL3602 | 2-channel analog input terminals, differential, 24 bits | 2-channel analog input terminals, differential, 24 bits | B14, B15 |  | M | 5 | 0% | 5 | 13
2 | Digi-Key | 1866-5043-ND | 5V/3A isolated DC-DC converter, Mean Well DDR-15G-5 | 5V/3.0A isolated DC-DC converter, Mean Well USA, DDR-15G-5 | B17, B18 |  | M | 5 | 0% | 5 | 13
10 | McMaster-Carr | 91099A205 | #6-32 1/4" flat | #6-32 1/4" flat head screw | E1, E2, E3, E4, M1, M3, M5, M7, M9, M11 |  | M | 5 | 0% | 5 | 45
78 | McMaster-Carr | 91771A111 | #4-40 3/16" flat | #4-40 3/16" flat head screw | E5, E6, E8, E9, E10, E11, E13, E14, E15, E16, E18, E19, E20, E21, E23, E24, E25, E26, E28, E29, E30, E31, E32, E33, E34, E35, E36, E37, E38, E39, E40, E41, E42, E43, E44, E45, E46, E47, E48, E49, E50, E51, E52, E53, E54, E55, E56, E57, E58, E59, E60, E61, E62, E63, E64, E65, E66, E67, E68, E69, E70, E71, E72, E73, E74, E75, E76, E77, E78, E79, E80, E81, E82, E83, E84, E85, E86, E87 |  | M | 0 | 0% | 0 | 312
5 | McMaster-Carr | 90402A821 | #10-32 1/4" pan | #10-32 1/4" pan w/ washer | E7, E12, E17, E22, E27 |  | M | 5 | 0% | 5 | 25
2 | Mouser | 534-481 | Handle, 4.5" | Rack handle 3U | H1, H2 |  | M | 5 | 0% | 5 | 13
4 | Mouser | 534-7163 | Ferrule, 0.25" | Ferrule | H3, H4, H5, H6 |  | M | 5 | 0% | 5 | 21
5 | McMaster-Carr | 92871A243 | M5 spacer | M5 spacer | M2, M4, M6, M8, M10 |  | M | 5 | 0% | 5 | 25
5 | McMaster-Carr | 91420A320 | M5 10mm flat | M5 10mm flat head screw | M12, M16, M20, M24, M28 |  | M | 5 | 0% | 5 | 25
5 | McMaster-Carr | 90591A260 | M5 nut | M5 nut | M13, M17, M21, M25, M29 |  | M | 5 | 0% | 5 | 25
5 | McMaster-Carr | 97985A550 | M5 lock washer | M5 lock washer | M14, M18, M22, M26, M30 |  | M | 5 | 0% | 5 | 25
4 | McMaster-Carr | 91099A265 | #8-32 1/2" flat | #8-32 1/2" flat head screw | M15, M19, M23, M27 |  | M | 5 | 0% | 5 | 21
1 | LIGO | D2500163-v1 | Enclosure | Additional part number | PN1 |  | M | 5 | 0% | 5 | 9
2 | Digi-Key | 5214-C6PATCH2BK-ND | Ethernet patch cable, 24' | Additional part number | PN2, PN3 |  | M | 5 | 0% | 5 | 13
1 | Digi-Key | 277-2006-ND | Power Distribution Block | Blank | PN4 |  | M | 5 | 0% | 5 | 9
1 | LIGO | D2500161-v2 | Front panel | Additional part number | PN5 |  | M | 5 | 0% | 5 | 9
1 | LIGO | D2500162-v2 | Rear panel | Additional part number | PN6 |  | M | 5 | 0% | 5 | 9
8 | Digi-Key | ARFX1905-ND | BNC isolated | Additional part number | PN7, PN8, PN10, PN11, PN20, PN21, PN24, PN25 |  | M | 5 | 0% | 5 | 37
4 | Digi-Key | 236-XS5P-D427-5-ND | M12 socket | Additional part number | PN9, PN14, PN22, PN26 |  | M | 5 | 0% | 5 | 21
2 | LIGO | D1300131-v1/E | Rotation stage adapter | Additional part number | PN12, PN13 |  | M | 5 | 0% | 5 | 13
4 | LIGO | D0902557-v1 | Adapter panel | Blank | PN15, PN16, PN17, PN18 |  | M | 5 | 0% | 5 | 21
2 | Digi-Key | 5073-U3A00057-03M-ND | USB-C Extension | Additional part number | PN19, PN23 |  | M | 5 | 0% | 5 | 13
1 | Thorlabs | PM101 | Power Meter Interface | Additional part number | PN27 |  | M | 5 | 0% | 5 | 9
1 | Digi-Key | 5-747904-5-ND | DB9/male | Additional part number | PN28 |  | M | 5 | 0% | 5 | 9
1 | Thorlabs | PM102 | Power Meter Interface | Additional part number | PN29 |  | M | 5 | 0% | 5 | 9
2 | Digi-Key | 626-1140-ND | Power pin, AWG 16-20 | Additional part number | PN30, PN33 |  | M | 5 | 0% | 5 | 13
4 | Digi-Key | A27824CT-ND | Terminal, QC, AWG 16 | Additional part number | PN31, PN34, PN35, PN38 |  | M | 5 | 0% | 5 | 21
1 | Digi-Key | A27243-ND | Ring terminal, #10, AWG 16 | Additional part number | PN32 |  | M | 5 | 0% | 5 | 9
1 | Newark | 80K5431 | Jack screw | Additional part number | PN36 |  | M | 5 | 0% | 5 | 9
1 | Digi-Key | 626-1144-ND | Power socket, AWG 16-20 | Additional part number | PN37 |  | M | 5 | 0% | 5 | 9
1 | Digi-Key | 679-1536-ND | LED Indicator | Additional part number | PN39 |  | M | 5 | 0% | 5 | 9
2 | Digi-Key | 5073-ECF504-SC5E-ND | Modular coupler | Additional part number | PN40, PN41 |  | M | 5 | 0% | 5 | 13
1 | Digi-Key | 626-1098-ND | D-sub shell, 3W3C | Additional part number | PN42 |  | M | 5 | 0% | 5 | 9
1 | Digi-Key | 486-2381-ND | Thermal breaker | Additional part number | PN43 |  | M | 5 | 0% | 5 | 9
1 | Digi-Key | ADR3515-S1400-ND | DIN rail, 14" | Additional part number | PN44 |  | M | 5 | 0% | 5 | 9
185 | Total pieces
Summary per Board
| Total # of unique parts |  | 46
| SMT Placements per board |  | 0
| Thru-Hole placement per board |  | 0
| Fine pitch placement per board |  | 0
| BGA placement per board |  | 0
| Mechanical placement per board |  | 185